## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI711-0 | HI716-0 | HI718-0 | HI93711-0 | HI93716-0 | HI93718-0 | HI93757-0 | MI524-0 | MI527-0
1163 | HI93757-0 | CP-R35 | W 36/1 |  | Parameter Formula | Cl2 | Br2 | I2 | Cl2 | Br2 | I2 | Ozone | Chlorine | Iodine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Ozone Reagent | 2027-09-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 135 | 165
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2025-09-15 | 2025-09-16 | 1 HEAD |  |  | 1135
[6 empty] | Expiration A | Expiration B | Expiration D
2027-07-01
Meter
Meter 1 Family | Meter 1 Code
HI801 | CTO-618
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.02 |  | MR67C |  | 0.02 | & | 2% | 100% |  | 6.1 | 5.7 | 6.3
2 | 0.40 | 0.37 | 0.43
3 | 1.60 | 1.55 | 1.65
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 Label17 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2025-09-15 | 19:54 | 2025-09-15 | 19:08 | GIORGIANA | 4 | 0.00 | / | / | / | 0.009 |  |  |  | 0.62 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 2 | Old A | 2025-09-15 | 19:55 | 2025-09-15 | 19:08 | GIORGIANA | 4 | 0.00 | / | / | / | 0.005 |  |  |  | 0.54 |  |  | Andrea V |  | 3 | 1
2 | 0.40 | 3 | Old A | 2025-09-15 | 19:56 | 2025-09-15 | 19:08 | GIORGIANA | 4 | 0.38 | / | / | / | 0.309 |  |  |  | 0.87 |  |  | Andrea V |  | 3 | 2 | 113542
2 | 0.40 | 4 | Old A | 2025-09-15 | 19:58 | 2025-09-15 | 19:08 | GIORGIANA | 4 | 0.37 | / | / | / | 0.306 |  |  |  | 0.86 |  |  | Andrea V |  | 3 | 2 | 113542
3 | 1.60 | 5 | Old A | 2025-09-15 | 19:59 | 2025-09-15 | 19:08 | GIORGIANA | 4 | 1.62 | / | / | / | 1.219 |  |  |  | 1.13 |  |  | Andrea V |  | 3 | 3 | 113542
3 | 1.60 | 6 | Old A | 2025-09-15 | 20:00 | 2025-09-15 | 19:08 | GIORGIANA | 4 | 1.55 | / | / | / | 1.170 |  |  |  | 1.67 |  |  | Andrea V |  | 3 | 3 | 113542
1 | 0.00 | 7 | P/FINAL | 2025-09-15 | 20:43 | 2025-09-15 | 19:08 | GIORGIANA | 4 | 0.00 | / | / | / | 0.009 |  |  |  | 0.18 | 146 |  | Andrea V |  | 3 | 1 | 113542
1 | 0.00 | 8 | P/FINAL | 2025-09-15 | 20:44 | 2025-09-15 | 19:08 | GIORGIANA | 4 | 0.00 | / | / | / | 0.006 |  |  |  | 0.16 | 136 |  | Andrea V |  | 3 | 1 | 113542
2 | 0.40 | 9 | P/FINAL | 2025-09-15 | 20:46 | 2025-09-15 | 19:08 | GIORGIANA | 4 | 0.37 | / | / | / | 0.302 | 6.281 |  |  | 0.20 | 141 |  | Andrea V |  | 3 | 2 | 113542
2 | 0.40 | 10 | P/FINAL | 2025-09-15 | 20:46 | 2025-09-15 | 19:08 | GIORGIANA | 4 | 0.37 | / | / | / | 0.304 |  |  |  | 0.21 | 138 |  | Andrea V |  | 3 | 2 | 113542
2 | 0.40 | 11 | P/FINAL | 2025-09-15 | 20:47 | 2025-09-15 | 19:08 | GIORGIANA | 4 | 0.38 | / | / | / | 0.311 | 6.272 |  |  | 0.30 |  |  | Andrea V |  | 3 | 2 | 113542
3 | 1.60 | 12 | P/FINAL | 2025-09-15 | 20:48 | 2025-09-15 | 19:08 | GIORGIANA | 4 | 1.59 | / | / | / | 1.199 |  |  |  | 0.45 | 136 |  | Andrea V |  | 3 | 3 | 113542
3 | 1.60 | 13 | P/FINAL | 2025-09-15 | 20:51 | 2025-09-15 | 19:08 | GIORGIANA | 4 | 1.55 | / | / | / | 1.173 | 6.262 |  |  | 0.55 | 136 |  | Andrea V |  | 3 | 3 | 113542
3 | 1.60 | 14 | P/FINAL | 2025-09-15 | 20:51 | 2025-09-15 | 19:08 | GIORGIANA | 4 | 1.58 | / | / | / | 1.193 |  |  |  | 0.17 |  |  | Andrea V |  | 3 | 3 | 113542
2 | 0.40 | 15 | Old A | 2025-09-16 | 09:54 | 2025-09-16 | 07:12 | DORINA | 1 | 0.37 | / | / | / | 0.305 |  |  |  | 25.0 |  |  | Kinga |  | 3 | 2 | 113542
2 | 0.40 | 16 | Old A | 2025-09-16 | 09:54 | 2025-09-16 | 07:12 | DORINA | 1 | 0.38 | / | / | / | 0.309 |  |  |  | 3.93 |  |  | Kinga |  | 3 | 2 | 113542
2 | 0.40 | 17 | P/FINAL | 2025-09-16 | 09:55 | 2025-09-16 | 07:12 | DORINA | 1 | 0.37 | / | / | / | 0.296 |  |  |  | 0.36 |  |  | Kinga |  | 3 | 2 | 113542
2 | 0.40 | 18 | P/FINAL | 2025-09-16 | 09:55 | 2025-09-16 | 07:12 | DORINA | 1 | 0.40 | / | / | / | 0.329 | 6.156 |  |  | 3.84 |  |  | Kinga |  | 3 | 2 | 113542
2 | 0.40 | 19 | P/FINAL | 2025-09-16 | 09:56 | 2025-09-16 | 07:12 | DORINA | 1 | 0.38 | / | / | / | 0.319 |  |  |  | 3.85 | 144 |  | Kinga |  | 3 | 2 | 113542
1 | 0.00 | 20 | Old A | 2025-09-16 | 09:59 | 2025-09-16 | 07:12 | DORINA | 1 | 0.00 | / | / | / | -0.004 |  |  |  | 3.63 | 139 |  | Kinga |  | 3 | 1 | 113542
1 | 0.00 | 21 | Old A | 2025-09-16 | 10:00 | 2025-09-16 | 07:12 | DORINA | 1 | 0.00 | / | / | / | 0.006 |  |  |  | 0.68 | 128 |  | Kinga |  | 3 | 1 | 113542
1 | 0.00 | 22 | P/FINAL | 2025-09-16 | 10:15 | 2025-09-16 | 07:12 | DORINA | 1 | 0.00 | / | / | / | -0.004 | 5.879 |  |  | 0.68 | 138 |  | Kinga |  | 3 | 1 | 113542
1 | 0.00 | 23 | P/FINAL | 2025-09-16 | 10:16 | 2025-09-16 | 07:12 | DORINA | 1 | 0.00 | / | / | / | 0.009 |  |  |  | 0.33 | 149 |  | Kinga |  | 3 | 1 | 113542
3 | 1.60 | 24 | P/FINAL | 2025-09-16 | 10:18 | 2025-09-16 | 07:12 | DORINA | 1 | 1.55 | / | / | / | 1.168 |  |  |  | 0.43 | 140 |  | Kinga |  | 3 | 3 | 113542
3 | 1.60 | 25 | P/FINAL | 2025-09-16 | 10:18 | 2025-09-16 | 07:12 | DORINA | 1 | 1.56 | / | / | / | 1.175 |  |  |  | 3.03 |  |  | Kinga |  | 3 | 3 | 113542
3 | 1.60 | 26 | P/FINAL | 2025-09-16 | 10:20 | 2025-09-16 | 07:12 | DORINA | 1 | 1.56 | / | / | / | 1.169 | 6.198 |  |  | 0.75 |  |  | Kinga |  | 3 | 3 | 113542
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 4 | 0 mg/L | 4 | 4 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 6 | 0.38 mg/L | 6 | 6 | 0.38 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 6 | 1.57 mg/L | 6 | 6 | 1.57 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.02 | 0.00 | YES
0.40 | 0.37 ÷ 0.43 | 0.38 | YES
1.60 | 1.55 ÷ 1.65 | 1.57 | YES
Validation Date | by