## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI711-0 | HI716-0 | HI718-0 | HI93711-0 | HI93716-0 | HI93718-0 | HI93757-0 | MI524-0 | MI527-0
1255 | HI93757-0 | CP-R35 | W 48/1 |  | Parameter Formula | Cl2 | Br2 | I2 | Cl2 | Br2 | I2 | Ozone | Chlorine | Iodine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Ozone Reagent | 2027-11-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 135 | 165
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2025-11-28 | 2025-12-05 | 1 HEAD |  |  | 1231
[6 empty] | Expiration A | Expiration B | Expiration D
2027-11-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97757 | CTO-868
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98713 | CTO-810
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.40 | 0.37 | 0.43 |  | MR67C |  | 0.02 | & | 2% | 100% |  | 6.1 | 5.7 | 6.3
3 | 1.60 | 1.55 | 1.65
1 | 0.00 | 0.00 | 0.02
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97757 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.40 | 1 | Old A | 2025-11-28 | 11:53 | 2025-11-28 | 09:07 | DORINA |  | 0.38 | 0.39 | / | / | 0.315 |  |  |  | 0.61 |  |  | Andrea V |  | 3 | 2
2 | 0.40 | 2 | Old A | 2025-11-28 | 11:53 | 2025-11-28 | 09:07 | DORINA |  | 0.38 | 0.38 | / | / | 0.313 |  |  |  | 0.52 |  |  | Andrea V |  | 3 | 2
3 | 1.60 | 3 | Old A | 2025-11-28 | 11:55 | 2025-11-28 | 09:07 | DORINA |  | 1.61 | 1.62 | / | / | 1.211 |  |  |  | 0.64 |  |  | Andrea V |  | 3 | 3 | 113655
3 | 1.60 | 4 | Old A | 2025-11-28 | 11:55 | 2025-11-28 | 09:07 | DORINA |  | 1.63 | 1.64 | / | / | 1.222 |  |  |  | 0.66 |  |  | Andrea V |  | 3 | 3 | 113655
1 | 0.00 | 5 | Old A | 2025-11-28 | 11:58 | 2025-11-28 | 09:07 | DORINA |  | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.59 |  |  | Andrea V |  | 3 | 1 | 113655
1 | 0.00 | 6 | Old A | 2025-11-28 | 11:58 | 2025-11-28 | 09:07 | DORINA |  | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.96 |  |  | Andrea V |  | 3 | 1 | 113655
2 | 0.40 | 7 | P/FINAL | 2025-11-28 | 12:00 | 2025-11-28 | 09:07 | DORINA | 4 | 0.38 | 0.38 | / | / | 0.310 |  |  |  | 0.33 |  |  | Andrea V |  | 3 | 2 | 113655
2 | 0.40 | 8 | P/FINAL | 2025-11-28 | 12:02 | 2025-11-28 | 09:07 | DORINA | 4 | 0.39 | 0.38 | / | / | 0.319 | 6.215 |  |  | 0.30 | 153 |  | Andrea V |  | 3 | 2 | 113655
2 | 0.40 | 9 | P/FINAL | 2025-11-28 | 12:02 | 2025-11-28 | 09:07 | DORINA | 4 | 0.37 | 0.37 | / | / | 0.308 |  |  |  | 0.36 | 158 |  | Andrea V |  | 3 | 2 | 113655
3 | 1.60 | 10 | P/FINAL | 2025-11-28 | 12:05 | 2025-11-28 | 09:07 | DORINA | 4 | 1.65 | 1.65 | / | / | 1.238 |  |  |  | 0.61 |  |  | Andrea V |  | 3 | 3 | 113655
3 | 1.60 | 11 | P/FINAL | 2025-11-28 | 12:05 | 2025-11-28 | 09:07 | DORINA | 4 | 1.63 | 1.63 | / | / | 1.224 | 6.122 |  |  | 0.27 | 142 |  | Andrea V |  | 3 | 3 | 113655
3 | 1.60 | 12 | P/FINAL | 2025-11-28 | 12:06 | 2025-11-28 | 09:07 | DORINA | 4 | 1.61 | 1.62 | / | / | 1.210 |  |  |  | 0.24 |  |  | Andrea V |  | 3 | 3 | 113655
1 | 0.00 | 13 | P/FINAL | 2025-11-28 | 12:07 | 2025-11-28 | 09:07 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.009 |  |  |  | 0.34 |  |  | Andrea V |  | 3 | 1 | 113655
1 | 0.00 | 14 | P/FINAL | 2025-11-28 | 12:07 | 2025-11-28 | 09:07 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.008 | 6.206 |  |  | 0.25 | 137 |  | Andrea V |  | 3 | 1 | 113655
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0.38 mg/L | 3 | 6 | 0.38 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 1.63 mg/L | 3 | 6 | 1.63 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 2 | 4 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.02 | 0.00 | YES
0.40 | 0.37 ÷ 0.43 | 0.38 | YES
1.60 | 1.55 ÷ 1.65 | 1.63 | YES
Validation Date | by