## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI711-0 | HI716-0 | HI718-0 | HI93711-0 | HI93716-0 | HI93718-0 | HI93757-0 | MI524-0 | MI527-0
0867 | MI524-0 | CP-R35 | W 50/1 |  | Parameter Formula | Cl2 | Br2 | I2 | Cl2 | Br2 | I2 | Ozone | Chlorine | Iodine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Total Chlorine Reagent | 2026-12-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 135 | 165
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2024-12-20 | 2024-12-21 | 1HEAD |  |  | 0768
[6 empty] | Expiration A | Expiration B | Expiration D
2026-10-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.50 | 0.46 | 0.55 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
3 | 2.80 | 2.69 | 2.91
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.50 | 1 | Old A | 2024-12-20 | 10:31 | 2024-12-20 | 07:39 | MARA | 1 | 0.47 | 0.48 | / | / | 0.253 |  |  |  | 0.71 |  |  | Kinga |  | 3 | 2 | 101325
3 | 2.80 | 2 | Old A | 2024-12-20 | 10:33 | 2024-12-20 | 07:39 | MARA | 1 | 2.74 | 2.74 | / | / | 1.371 |  |  |  | 0.60 |  |  | Kinga |  | 3 | 3 | 101325
1 | 0.00 | 3 | Old A | 2024-12-20 | 10:34 | 2024-12-20 | 07:39 | MARA | 1 | 0.00 | 0.00 | / | / | 0.010 |  |  |  | 1.22 |  |  | Kinga |  | 3 | 1 | 101325
3 | 2.80 | 4 | P/Final | 2024-12-20 | 10:44 | 2024-12-20 | 07:39 | MARA | 1 | 2.69 | 2.70 | / | / | 1.347 |  |  |  | 0.31 | 139 |  | Kinga |  | 3 | 3 | 101325
3 | 2.80 | 5 | P/Final | 2024-12-20 | 10:46 | 2024-12-20 | 07:39 | MARA | 1 | 2.74 | 2.73 | / | / | 1.370 | 5.930 |  |  | 0.47 | 125 |  | Kinga |  | 3 | 3 | 101325
2 | 0.50 | 6 | P/Final | 2024-12-20 | 11:10 | 2024-12-20 | 07:39 | MARA | 1 | 0.47 | 0.52 | / | / | 0.262 |  |  |  | 0.41 | 143 |  | Kinga |  | 3 | 2
2 | 0.50 | 7 | P/Final | 2024-12-20 | 11:11 | 2024-12-20 | 07:39 | MARA | 1 | 0.49 | 0.50 | / | / | 0.275 | 5.973 |  |  | 0.95 | 141 |  | Kinga |  | 3 | 2
1 | 0.00 | 8 | P/Final | 2024-12-20 | 11:16 | 2024-12-20 | 07:39 | MARA | 1 | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 0.58 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 9 | P/Final | 2024-12-20 | 11:17 | 2024-12-20 | 07:39 | MARA | 1 | 0.00 | 0.00 | / | / | 0.005 | 5.908 |  |  | 0.58 |  |  | Kinga |  | 3 | 1
3 | 2.80 | 10 | P/Final | 2024-12-21 | 06:52 | 2024-12-21 | 20:48 | TAMARA | 1 | 2.85 | 2.87 | / | / | 1.418 |  |  |  | 0.96 |  |  | Brigitta P |  | 3 | 3 | 101325
3 | 2.80 | 11 | P/Final | 2024-12-21 | 06:52 | 2024-12-21 | 20:48 | TAMARA | 1 | 2.86 | 2.84 | / | / | 1.421 |  |  |  | 1.01 |  |  | Brigitta P |  | 3 | 3 | 101325
2 | 0.50 | 12 | P/Final | 2024-12-21 | 06:53 | 2024-12-21 | 20:48 | TAMARA | 1 | 0.47 | 0.46 | / | / | 0.270 |  |  |  | 2.05 |  |  | Brigitta P |  | 3 | 2 | 101325
2 | 0.50 | 13 | P/Final | 2024-12-21 | 06:54 | 2024-12-21 | 20:48 | TAMARA | 1 | 0.49 | 0.48 | / | / | 0.273 |  |  |  | 0.84 |  |  | Brigitta P |  | 3 | 2 | 101325
1 | 0.00 | 14 | P/Final | 2024-12-21 | 06:55 | 2024-12-21 | 20:48 | TAMARA | 1 | 0.00 | 0.00 | / | / | -0.001 |  |  |  | -0.001 |  |  | Brigitta P |  | 3 | 1 | 101325
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.49 mg/L | 4 | 8 | 0.49 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 2.79 mg/L | 4 | 8 | 2.79 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0 mg/L | 3 | 6 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
0.50 | 0.46 ÷ 0.55 | 0.49 | YES
2.80 | 2.69 ÷ 2.91 | 2.79 | YES
Validation Date | by