## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI711-0 | HI716-0 | HI718-0 | HI93711-0 | HI93716-0 | HI93718-0 | HI93757-0 | MI524-0 | MI527-0
1163 | MI524-0 | CP-R35 | W 36/1 |  | Parameter Formula | Cl2 | Br2 | I2 | Cl2 | Br2 | I2 | Ozone | Chlorine | Iodine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Total Chlorine Reagent | 2027-09-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 135 | 165
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2025-09-10 | 2025-09-12 | 1 HEAD |  |  | 1135
[6 empty] | Expiration A | Expiration B | Expiration D
2027-07-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.03 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
2 | 0.50 | 0.46 | 0.55
3 | 2.80 | 2.69 | 2.91
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2025-09-10 | 12:55 | 2025-09-10 | 12:10 | MARA | 1 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.01 |  |  | Kinga |  | 3 | 1 | 85908
1 | 0.00 | 2 | Old A | 2025-09-10 | 12:55 | 2025-09-10 | 12:10 | MARA | 1 | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 0.72 |  |  | Kinga |  | 3 | 1 | 85908
1 | 0.00 | 3 | P/FINAL | 2025-09-10 | 12:56 | 2025-09-10 | 12:10 | MARA | 1 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.57 |  |  | Kinga |  | 3 | 1 | 85908
1 | 0.00 | 4 | P/FINAL | 2025-09-10 | 12:56 | 2025-09-10 | 12:10 | MARA | 1 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.75 |  |  | Kinga |  | 3 | 1 | 85908
2 | 0.50 | 5 | Old A | 2025-09-10 | 13:36 | 2025-09-10 | 12:10 | MARA | 1 | 0.47 | 0.47 | / | / | 0.265 |  |  |  | 0.52 |  |  | Kinga |  | 3 | 2 | 85908
2 | 0.50 | 6 | Old A | 2025-09-10 | 13:36 | 2025-09-10 | 12:10 | MARA | 1 | 0.47 | 0.49 | / | / | 0.265 | 6.118 |  |  | 0.53 | 140 |  | Kinga |  | 3 | 2 | 85908
2 | 0.50 | 7 | P/FINAL | 2025-09-10 | 13:40 | 2025-09-10 | 12:10 | MARA | 1 | 0.48 | 0.47 | / | / | 0.271 |  |  |  | 1.21 | 152 |  | Kinga |  | 3 | 2 | 85908
2 | 0.50 | 8 | P/FINAL | 2025-09-10 | 13:40 | 2025-09-10 | 12:10 | MARA | 1 | 0.49 | 0.50 | / | / | 0.274 |  |  |  | 0.84 | 136 |  | Kinga |  | 3 | 2 | 85908
2 | 0.50 | 9 | P/FINAL | 2025-09-10 | 13:41 | 2025-09-10 | 12:10 | MARA | 1 | 0.48 | 0.47 | / | / | 0.270 | 6.045 |  |  | 0.83 | 153 |  | Kinga |  | 3 | 2 | 85908
3 | 2.80 | 10 | Old A | 2025-09-10 | 13:41 | 2025-09-10 | 12:10 | MARA | 1 | 2.84 | 2.80 | / | / | 1.415 |  |  |  | 0.68 | 140 |  | Kinga |  | 3 | 3 | 85908
3 | 2.80 | 11 | Old A | 2025-09-10 | 13:42 | 2025-09-10 | 12:10 | MARA | 1 | 2.83 | 2.78 | / | / | 1.411 |  |  |  | 0.82 | 157 |  | Kinga |  | 3 | 3 | 85908
3 | 2.80 | 12 | P/FINAL | 2025-09-10 | 13:45 | 2025-09-10 | 12:10 | MARA | 1 | 2.79 | 2.80 | / | / | 1.357 |  |  |  | 0.47 |  |  | Kinga |  | 3 | 3 | 85908
3 | 2.80 | 13 | P/FINAL | 2025-09-10 | 13:46 | 2025-09-10 | 12:10 | MARA | 1 | 2.87 | 2.79 | / | / | 1.427 |  |  |  | 1.26 |  |  | Kinga |  | 3 | 3 | 85908
3 | 2.80 | 14 | P/FINAL | 2025-09-10 | 13:47 | 2025-09-10 | 12:10 | MARA | 1 | 2.69 | 2.70 | / | / | 1.351 | 6.136 |  |  | 0.36 |  |  | Kinga |  | 3 | 3 | 85908
1 | 0.00 | 15 | P/FINAL | 2025-09-10 | 15:22 | 2025-09-10 | 14:12 | TAMARA | 1 | 0.00 | 0.00 | / | / | 0.017 |  |  |  | 0.21 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 16 | P/FINAL | 2025-09-10 | 15:23 | 2025-09-10 | 14:12 | TAMARA | 1 | 0.00 | 0.00 | / | / | 0.008 | 6.070 |  |  | 0.22 | 133 |  | Andrea V |  | 3 | 1
2 | 0.50 | 17 | P/FINAL | 2025-09-10 | 15:24 | 2025-09-10 | 14:12 | TAMARA | 1 | 0.47 | 0.48 | / | / | 0.263 |  |  |  | 0.32 | 138 |  | Andrea V |  | 3 | 2 | 114433
2 | 0.50 | 18 | P/FINAL | 2025-09-10 | 15:25 | 2025-09-10 | 14:12 | TAMARA | 1 | 0.47 | 0.48 | / | / | 0.267 | 6.115 |  |  | 0.18 | 152 |  | Andrea V |  | 3 | 2 | 114433
2 | 0.50 | 19 | P/FINAL | 2025-09-10 | 15:26 | 2025-09-10 | 14:12 | TAMARA | 1 | 0.47 | 0.48 | / | / | 0.266 |  |  |  | 0.18 | 132 |  | Andrea V |  | 3 | 2 | 114433
3 | 2.80 | 20 | P/FINAL | 2025-09-10 | 15:31 | 2025-09-10 | 14:12 | TAMARA | 1 | 2.86 | 2.89 | / | / | 1.424 |  |  |  | 0.14 | 132 |  | Andrea V |  | 3 | 3 | 114433
3 | 2.80 | 21 | P/FINAL | 2025-09-10 | 15:32 | 2025-09-10 | 14:12 | TAMARA | 1 | 2.90 | 2.89 | / | / | 1.438 | 6.105 |  |  | 0.15 | 131 |  | Andrea V |  | 3 | 3 | 114433
3 | 2.80 | 22 | P/FINAL | 2025-09-10 | 15:33 | 2025-09-10 | 14:12 | TAMARA | 1 | 2.90 | 2.91 | / | / | 1.440 |  |  |  | 0.17 |  |  | Andrea V |  | 3 | 3 | 114433
2 | 0.50 | 23 | Old A | 2025-09-11 | 08:53 | 2025-09-11 | 06:41 | MARA | 1 | 0.49 | 0.50 | / | / | 0.277 |  |  |  | 12,7 |  |  | Kinga |  | 3 | 2 | 31052
2 | 0.50 | 24 | Old A | 2025-09-11 | 08:54 | 2025-09-11 | 06:41 | MARA | 1 | 0.55 | 0.52 | / | / | 0.308 |  |  |  | 11.6 |  |  | Kinga |  | 3 | 2 | 31052
1 | 0.00 | 25 | Old A | 2025-09-11 | 08:55 | 2025-09-11 | 06:41 | MARA | 1 | 0.00 | 0.00 | / | / | 0.011 |  |  |  | 2.77 |  |  | Kinga |  | 3 | 1 | 31052
1 | 0.00 | 26 | Old A | 2025-09-11 | 08:56 | 2025-09-11 | 06:41 | MARA | 1 | 0.00 | 0.00 | / | / | 0.017 |  |  |  | 2.19 |  |  | Kinga |  | 3 | 1 | 31052
3 | 2.80 | 27 | Old A | 2025-09-11 | 09:00 | 2025-09-11 | 06:41 | MARA | 1 | 2.80 | 2.89 | / | / | 1.398 |  |  |  | 5.42 |  |  | Kinga |  | 3 | 3 | 31052
3 | 2.80 | 28 | Old A | 2025-09-11 | 09:01 | 2025-09-11 | 06:41 | MARA | 1 | 2.78 | 2.80 | / | / | 1.388 |  |  |  | 4.67 |  |  | Kinga |  | 3 | 3 | 31052
3 | 2.80 | 29 | P/FINAL | 2025-09-11 | 09:07 | 2025-09-11 | 06:41 | MARA | 1 | 2.78 | 2.77 | / | / | 1.388 |  |  |  | 0.57 |  |  | Kinga |  | 3 | 3 | 31052
2 | 0.50 | 30 | P/FINAL | 2025-09-11 | 09:08 | 2025-09-11 | 06:41 | MARA | 1 | 0.47 | 0.47 | / | / | 0.255 |  |  |  | 0.87 | 147 |  | Kinga |  | 3 | 2 | 31052
2 | 0.50 | 31 | P/FINAL | 2025-09-11 | 09:09 | 2025-09-11 | 06:41 | MARA | 1 | 0.48 | 0.47 | / | / | 0.270 |  |  |  | 0.68 | 149 |  | Kinga |  | 3 | 2 | 31052
2 | 0.50 | 32 | P/FINAL | 2025-09-11 | 09:10 | 2025-09-11 | 06:41 | MARA | 1 | 0.49 | 0.47 | / | / | 0.268 | 6.048 |  |  | 0.74 | 139 |  | Kinga |  | 3 | 2 | 31052
1 | 0.00 | 33 | P/FINAL | 2025-09-11 | 09:12 | 2025-09-11 | 06:41 | MARA | 1 | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 0.64 | 131 |  | Kinga |  | 3 | 1 | 31052
1 | 0.00 | 34 | P/FINAL | 2025-09-11 | 09:12 | 2025-09-11 | 06:41 | MARA | 1 | 0.00 | 0.00 | / | / | 0.008 | 6.092 |  |  | 0.65 | 118 |  | Kinga |  | 3 | 1 | 31052
3 | 2.80 | 35 | P/FINAL | 2025-09-11 | 09:15 | 2025-09-11 | 06:41 | MARA | 1 | 2.83 | 2.84 | / | / | 1.408 |  |  |  | 1.49 | 150 |  | Kinga |  | 3 | 3 | 31052
3 | 2.80 | 36 | P/FINAL | 2025-09-11 | 09:15 | 2025-09-11 | 06:41 | MARA | 1 | 2.83 | 2.81 | / | / | 1.411 |  |  |  | 0.76 |  |  | Kinga |  | 3 | 3 | 31052
3 | 2.80 | 37 | P/FINAL | 2025-09-11 | 09:16 | 2025-09-11 | 06:41 | MARA | 1 | 2.82 | 2.80 | / | / | 1.406 | 6.098 |  |  | 0.99 |  |  | Kinga |  | 3 | 3 | 31052
1 | 0.00 | 38 | Old A | 2025-09-12 | 08:50 | 2025-09-12 | 07:02 | MARA | 1 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.41 |  |  | Kinga |  | 3 | 1 | 31052
1 | 0.00 | 39 | Old A | 2025-09-12 | 08:50 | 2025-09-12 | 07:02 | MARA | 1 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.59 |  |  | Kinga |  | 3 | 1 | 31052
2 | 0.50 | 40 | Old A | 2025-09-12 | 08:54 | 2025-09-12 | 07:02 | MARA | 1 | 0.47 | 0.47 | / | / | 0.266 |  |  |  | 1.65 |  |  | Kinga |  | 3 | 2 | 31052
2 | 0.50 | 41 | Old A | 2025-09-12 | 08:55 | 2025-09-12 | 07:02 | MARA | 1 | 0.49 | 0.47 | / | / | 0.266 |  |  |  | 0.88 |  |  | Kinga |  | 3 | 2 | 31052
3 | 2.80 | 42 | Old A | 2025-09-12 | 08:56 | 2025-09-12 | 07:02 | MARA | 1 | 2.74 | 2.75 | / | / | 1.370 |  |  |  | 0.26 |  |  | Kinga |  | 3 | 3 | 31052
3 | 2.80 | 43 | Old A | 2025-09-12 | 08:57 | 2025-09-12 | 07:02 | MARA | 1 | 2.82 | 2.83 | / | / | 1.407 |  |  |  | 0.81 |  |  | Kinga |  | 3 | 3 | 31052
2 | 0.50 | 44 | P/FINAL | 2025-09-12 | 09:03 | 2025-09-12 | 07:02 | MARA | 1 | 0.47 | 0.47 | / | / | 0.245 |  |  |  | 0.43 | 142 |  | Kinga |  | 3 | 2 | 31052
2 | 0.50 | 45 | P/FINAL | 2025-09-12 | 09:03 | 2025-09-12 | 07:02 | MARA | 1 | 0.47 | 0.48 | / | / | 0.264 | 6.155 |  |  | 2.08 | 126 |  | Kinga |  | 3 | 2 | 31052
2 | 0.50 | 46 | P/FINAL | 2025-09-12 | 09:04 | 2025-09-12 | 07:02 | MARA | 1 | 0.47 | 0.48 | / | / | 0.262 |  |  |  | 0.31 | 165 |  | Kinga |  | 3 | 2 | 31052
3 | 2.80 | 47 | P/FINAL | 2025-09-12 | 09:06 | 2025-09-12 | 07:02 | MARA | 1 | 2.86 | 2.84 | / | / | 1.423 |  |  |  | 6.61 | 118 |  | Kinga |  | 3 | 3 | 31052
3 | 2.80 | 48 | P/FINAL | 2025-09-12 | 09:07 | 2025-09-12 | 07:02 | MARA | 1 | 2.77 | 2.76 | / | / | 1.383 | 6.238 |  |  | 0.50 | 143 |  | Kinga |  | 3 | 3 | 31052
3 | 2.80 | 49 | P/FINAL | 2025-09-12 | 09:08 | 2025-09-12 | 07:02 | MARA | 1 | 2.76 | 2.77 | / | / | 1.381 |  |  |  | 0.27 | 147 |  | Kinga |  | 3 | 3 | 31052
1 | 0.00 | 50 | P/FINAL | 2025-09-12 | 09:11 | 2025-09-12 | 07:02 | MARA | 1 | 0.00 | 0.00 | / | / | -0.002 |  |  |  | 0.55 |  |  | Kinga |  | 3 | 1 | 31052
1 | 0.00 | 51 | P/FINAL | 2025-09-12 | 09:12 | 2025-09-12 | 07:02 | MARA | 1 | 0.00 | 0.00 | / | / | 0.002 | 6.227 |  |  | 0.69 |  |  | Kinga |  | 3 | 1 | 31052
2 | 0.50 | 52 | P/FINAL | 2025-09-12 | 15:00 | 2025-09-12 | 14:06 | TAMARA | 1 | 0.47 | 0.47 | / | / | 0.262 |  |  |  | 1.00 |  |  | Kinga |  | 3 | 2 | 31052
2 | 0.50 | 53 | P/FINAL | 2025-09-12 | 15:01 | 2025-09-12 | 14:06 | TAMARA | 1 | 0.55 | 0.49 | / | / | 0.320 |  |  |  | 1.90 |  |  | Kinga |  | 3 | 2 | 31052
2 | 0.50 | 54 | P/FINAL | 2025-09-12 | 15:01 | 2025-09-12 | 14:06 | TAMARA | 1 | 0.47 | 0.49 | / | / | 0.255 | 6.230 |  |  | 2.56 |  |  | Kinga |  | 3 | 2 | 31052
3 | 2.80 | 55 | P/FINAL | 2025-09-12 | 15:04 | 2025-09-12 | 14:06 | TAMARA | 1 | 2.86 | 2.85 | / | / | 1.422 |  |  |  | 2.28 |  |  | Kinga |  | 3 | 3 | 31052
3 | 2.80 | 56 | P/FINAL | 2025-09-12 | 15:05 | 2025-09-12 | 14:06 | TAMARA | 1 | 2.78 | 2.78 | / | / | 1.390 |  |  |  | 0.37 |  |  | Kinga |  | 3 | 3 | 31052
3 | 2.80 | 57 | P/FINAL | 2025-09-12 | 15:05 | 2025-09-12 | 14:06 | TAMARA | 1 | 2.80 | 2.83 | / | / | 1.367 | 6.228 |  |  | 0.34 |  |  | Kinga |  | 3 | 3 | 31052
1 | 0.00 | 58 | P/FINAL | 2025-09-12 | 15:09 | 2025-09-12 | 14:06 | TAMARA | 1 | 0.00 | 0.00 | / | / | -0.014 |  |  |  | 0.25 |  |  | Kinga |  | 3 | 1 | 31052
1 | 0.00 | 59 | P/FINAL | 2025-09-12 | 15:10 | 2025-09-12 | 14:06 | TAMARA | 1 | 0.00 | 0.00 | / | / | -0.017 | 6.222 |  |  | 0.22 |  |  | Kinga |  | 3 | 1 | 31052
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
10 | 20 | 0 mg/L | 10 | 20 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
15 | 30 | 0.48 mg/L | 15 | 30 | 0.48 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
16 | 32 | 2.82 mg/L | 16 | 32 | 2.82 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
0.50 | 0.46 ÷ 0.55 | 0.48 | YES
2.80 | 2.69 ÷ 2.91 | 2.82 | YES
Validation Date | by