## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI93712B-0
0668 | HI93712B-0 | CP-R37 | W36/1 |  | Parameter Formula | Al
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Aluminum Reagent B | 2029-09-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
500 | 470 | 530
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 1.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2024-09-04 | 2024-10-08 | 1HEAD |  |  | 0655 | 0586
[6 empty] | Expiration A | Expiration B | Expiration D
[6 empty] | 2029-08-01 | 2029-05-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97712 | CTO-629
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
HI5522 | QCC-224 | HI98703 | CTO-782
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.04 |  | MR41 |  | 0.04 | & | 4% | 100% |  | 2.6 | 2.4 | 2.8
2 | 0.20 | 0.15 | 0.25 | [8 empty] | 3.3 | 3.2 | 3.5
3 | 0.80 | 0.73 | 0.87 | [8 empty] | 3.8 | 3.7 | 4.0
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Valid | 2024-09-07 | 07:24 | 2024-09-04 |  | ERIKA |  | 0.01 | 0.00 | / | / | 0.004 |  |  |  | 1.41 |  |  | Brigitta P |  | 3 | 1 | 91351
1 | 0.00 | 2 | Old B | 2024-09-07 | 07:25 | 2024-09-04 |  | ERIKA |  | 0.01 | 0.00 | / | / | 0.012 |  |  |  | 1.37 |  |  | Brigitta P |  | 3 | 1 | 91351
2 | 0.20 | 3 | Old B | 2024-09-07 | 07:26 | 2024-09-04 |  | ERIKA |  | 0.18 | 0.20 | / | / | 0.170 |  |  |  | 19.6 |  |  | Brigitta P |  | 3 | 2 | 91351
2 | 0.20 | 4 | Old B | 2024-09-07 | 07:27 | 2024-09-04 |  | ERIKA |  | 0.18 | 0.21 | / | / | 0.170 |  |  |  | 18.9 |  |  | Brigitta P |  | 3 | 2 | 91351
3 | 0.80 | 5 | Old B | 2024-09-07 | 07:28 | 2024-09-04 |  | ERIKA |  | 0.75 | 0.84 | / | / | 0.600 |  |  |  | 3.58 |  |  | Brigitta P |  | 3 | 3 | 91351
3 | 0.80 | 6 | Old B | 2024-09-07 | 07:28 | 2024-09-04 |  | ERIKA |  | 0.75 | 0.84 | / | / | 0.602 |  |  |  | 3.37 |  |  | Brigitta P |  | 3 | 3 | 91351
3 | 0.80 | 7 | Valid | 2024-09-07 | 07:50 | 2024-09-04 |  | ERIKA |  | 0.77 | 0.93 | / | / | 0.615 |  |  |  | 2.54 |  |  | Brigitta P |  | 3 | 3 | 91351
3 | 0.80 | 8 | Valid | 2024-09-07 | 07:51 | 2024-09-04 |  | ERIKA |  | 0.80 | 0.93 | / | / | 0.629 |  |  |  | 2.28 |  |  | Brigitta P |  | 3 | 3 | 91351
3 | 0.80 | 9 | Valid | 2024-09-07 | 07:52 | 2024-09-04 |  | ERIKA |  | 0.81 | 0.91 | / | / | 0.635 |  |  |  | 6.74 |  |  | Brigitta P |  | 3 | 3 | 91351
3 | 0.80 | 10 | Valid | 2024-09-07 | 07:52 | 2024-09-04 |  | ERIKA |  | 0.80 | 0.90 | / | / | 0.633 |  |  |  | 6.29 |  |  | Brigitta P |  | 3 | 3 | 91351
1 | 0.00 | 11 | Valid | 2024-09-07 | 07:53 | 2024-09-04 |  | ERIKA |  | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 2.15 |  |  | Brigitta P |  | 3 | 1 | DWA
1 | 0.00 | 12 | Valid | 2024-09-07 | 09:56 | 2024-09-04 |  | ERIKA |  | 0.00 | 0.01 | / | / | 0.002 |  |  |  | 2.04 |  |  | Brigitta P |  | 3 | 1 | DWA
1 | 0.00 | 13 | Valid | 2024-09-07 | 9:55 | 2024-09-04 |  | ERIKA |  | 0.00 | 0.00 | / | / | -0.002 |  |  |  | 1.76 |  |  | Brigitta P |  | 3 | 1 | 91351
2 | 0.20 | 14 | Valid | 2024-09-07 | 10:00 | 2024-09-04 |  | ERIKA |  | 0.18 | 0.20 | / | / | 0.170 |  |  |  | 19.6 |  |  | Brigitta P |  | 3 | 1 | 91351
2 | 0.20 | 15 | Valid | 2024-09-07 | 10:00 | 2024-09-04 |  | ERIKA |  | 0.18 | 0.20 | / | / | 0.170 |  |  |  | 19.8 |  |  | Brigitta P |  | 3 | 1 | 91351
3 | 0.80 | 16 | P/Final | 2024-09-16 | 11:34 | 2024-09-13 | 11:31 | MARA | 1 | 0.75 | 0.85 | / | / | 0.603 |  |  |  | 2.63 |  |  | Brigitta P |  | 3 | 3 | 91351
3 | 0.80 | 17 | P/Final | 2024-09-16 | 11:34 | 2024-09-13 | 11:31 | MARA | 1 | 0.77 | 0.87 | / | / | 0.611 |  |  |  | 3.23 |  |  | Brigitta P |  | 3 | 3 | 91351
3 | 0.80 | 18 | P/Final | 2024-09-16 | 11:36 | 2024-09-13 | 14:48 | IRINA | 1 | 0.78 | 0.89 | / | / | 0.620 |  |  |  | 3.18 |  |  | Brigitta P |  | 3 | 3 | 91351
3 | 0.80 | 19 | P/Final | 2024-09-16 | 11:36 | 2024-09-13 | 14:48 | IRINA | 1 | 0.78 | 0.89 | / | / | 0.619 |  |  |  | 3.20 |  |  | Brigitta P |  | 3 | 3 | 91351
3 | 0.80 | 20 | P/Final | 2024-09-16 | 11:36 | 2024-09-13 | 14:48 | IRINA | 1 | 0.78 | 0.89 | / | / | 0.620 |  |  |  | 2.11 |  |  | Brigitta P |  | 3 | 3 | 91351
3 | 0.80 | 21 | P/Final | 2024-09-16 | 11:38 | 2024-09-14 | 08:00 | IRINA | 1 | 0.79 | 0.89 | / | / | 0.620 |  |  |  | 2.00 |  |  | Brigitta P |  | 3 | 3 | 91351
3 | 0.80 | 22 | P/Final | 2024-09-16 | 11:38 | 2024-09-14 | 08:00 | IRINA | 1 | 0.79 | 0.89 | / | / | 0.626 |  |  |  | 2.06 |  |  | Brigitta P |  | 3 | 3 | 91351
3 | 0.80 | 23 | P/Final | 2024-09-16 | 11:39 | 2024-09-14 | 08:00 | IRINA | 1 | 0.80 | 0.90 | / | / | 0.632 |  |  |  | 2.02 |  |  | Brigitta P |  | 3 | 3 | 91351
2 | 0.20 | 24 | P/Final | 2024-09-16 | 11:44 | 2024-09-13 | 11:31 | MARA | 1 | 0.17 | 0.19 | / | / | 0.167 |  |  |  | 1.45 |  |  | Brigitta P |  | 3 | 2 | 91351
2 | 0.20 | 25 | P/Final | 2024-09-16 | 11:44 | 2024-09-13 | 11:31 | MARA | 1 | 0.18 | 0.19 | / | / | 0.171 |  |  |  | 1.48 |  |  | Brigitta P |  | 3 | 2 | 91351
2 | 0.20 | 26 | P/Final | 2024-09-16 | 11:45 | 2024-09-13 | 11:31 | MARA | 1 | 0.18 | 0.20 | / | / | 0.177 |  |  |  | 1.66 |  |  | Brigitta P |  | 3 | 2 | 91351
2 | 0.20 | 27 | P/Final | 2024-09-16 | 11:46 | 2024-09-13 | 14:48 | IRINA | 1 | 0.18 | 0.20 | / | / | 0.173 |  |  |  | 4.12 |  |  | Brigitta P |  | 3 | 2 | 91351
2 | 0.20 | 28 | P/Final | 2024-09-16 | 11:47 | 2024-09-13 | 14:48 | IRINA | 1 | 0.18 | 0.21 | / | / | 0.176 |  |  |  | 3.35 |  |  | Brigitta P |  | 3 | 2 | 91351
2 | 0.20 | 29 | P/Final | 2024-09-16 | 11:47 | 2024-09-13 | 14:48 | IRINA | 1 | 0.18 | 0.20 | / | / | 0.173 |  |  |  | 3.69 |  |  | Brigitta P |  | 3 | 2 | 91351
2 | 0.20 | 30 | P/Final | 2024-09-14 | 11:49 | 2024-09-16 | 08:00 | IRINA | 1 | 0.19 | 0.20 | / | / | 0.185 |  |  |  | 9.36 |  |  | Brigitta P |  | 3 | 2 | 91351
2 | 0.20 | 31 | P/Final | 2024-09-14 | 11:50 | 2024-09-16 | 08:00 | IRINA | 1 | 0.18 | 0.20 | / | / | 0.175 |  |  |  | 6.52 |  |  | Brigitta P |  | 3 | 2 | 91351
1 | 0.00 | 32 | P/Final | 2024-09-14 | 11:50 | 2024-09-16 | 08:00 | IRINA | 1 | 0.00 | 0.00 | / | / | -0.005 |  |  |  | 8.60 |  |  | Brigitta P |  | 3 | 1 | 91351
1 | 0.00 | 33 | P/Final | 2024-09-14 | 11:51 | 2024-09-16 | 08:00 | IRINA | 1 | 0.00 | 0.00 | / | / | -0.003 |  |  |  | 2.04 |  |  | Brigitta P |  | 3 | 1 | 91351
1 | 0.00 | 34 | P/Final | 2024-09-14 | 11:51 | 2024-09-16 | 08:00 | IRINA | 1 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 2.84 |  |  | Brigitta P |  | 3 | 1 | 91351
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0 mg/L | 3 | 6 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 0.19 mg/L | 8 | 16 | 0.19 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 0.83 mg/L | 8 | 16 | 0.83 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.00 | YES
0.20 | 0.15 ÷ 0.25 | 0.19 | YES
0.80 | 0.73 ÷ 0.87 | 0.83 | YES
Validation Date | by