## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI93712B-0
0838 | HI93712B-0 | CP-R37 | W47/1 |  | Parameter Formula | Al
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Aluminum Reagent B | 2029-11-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
500 | 470 | 530
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
0702 | 0838 | 0714
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2029-09-01 | 2029-11-01 | 2029-09-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 1.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2024-12-26 | 2024-12-27 | 1HEAD |  |  |  | 0586
[6 empty] | Expiration A | Expiration B | Expiration D
2029-05-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97712 | CTO-629
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
HI5522 | QCC-320 | HI93703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.20 | 0.15 | 0.25 |  | MR41 |  | 0.04 | & | 4% | 100% |  | 2.6 | 2.4 | 2.8
3 | 0.80 | 0.73 | 0.87 | [8 empty] | 3.3 | 3.2 | 3.5
1 | 0.00 | 0.00 | 0.04 | [8 empty] | 3.8 | 3.7 | 4.0
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97712 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.20 | 1 | Old B | 2024-11-21 | 09:06 | 2024-11-21 | 08:17 | ERIKA |  | 0.17 | 0.18 | / | / | 0.164 |  |  |  | 2.82 |  | 1 | Brigitta P |  | 3 | 2 | 95531
2 | 0.20 | 2 | Old B | 2024-11-21 | 09:07 | 2024-11-21 | 08:17 | ERIKA |  | 0.17 | 0.18 | / | / | 0.165 |  |  |  | 1.72 |  | 1 | Brigitta P |  | 3 | 2 | 95531
2 | 0.20 | 3 | Valid | 2024-11-21 | 09:08 | 2024-11-21 | 08:17 | ERIKA |  | 0.16 | 0.17 | / | / | 0.154 |  |  |  | 0.51 |  | 1 | Brigitta P |  | 3 | 2 | 95531
2 | 0.20 | 4 | Valid | 2024-11-21 | 09:09 | 2024-11-21 | 08:17 | ERIKA |  | 0.16 | 0.18 | / | / | 0.156 |  |  |  | 0.69 |  | 1 | Brigitta P |  | 3 | 2 | 95531
2 | 0.20 | 5 | Valid | 2024-11-21 | 09:11 | 2024-11-21 | 08:17 | ERIKA |  | 0.17 | 0.19 | / | / | 0.163 |  |  |  | 0.46 |  | 1 | Brigitta P |  | 3 | 2 | 95531
2 | 0.20 | 6 | Valid | 2024-11-21 | 09:12 | 2024-11-21 | 08:17 | ERIKA |  | 0.17 | 0.20 | / | / | 0.166 |  |  |  | 0.44 |  | 1 | Brigitta P |  | 3 | 2 | 95531
3 | 0.80 | 7 | Old B | 2024-11-21 | 09:23 | 2024-11-21 | 08:17 | ERIKA |  | 0.73 | 0.80 | / | / | 0.588 |  |  |  | 1.80 |  | 1 | Brigitta P |  | 3 | 3 | 95531
3 | 0.80 | 8 | Old B | 2024-11-21 | 09:24 | 2024-11-21 | 08:17 | ERIKA |  | 0.73 | 0.80 | / | / | 0.599 |  |  |  | 2.13 |  | 1 | Brigitta P |  | 3 | 3 | 95531
3 | 0.80 | 9 | Valid | 2024-11-21 | 09:25 | 2024-11-21 | 08:17 | ERIKA |  | 0.75 | 0.83 | / | / | 0.600 |  |  |  | 0.71 |  | 1 | Brigitta P |  | 3 | 3 | 95531
3 | 0.80 | 10 | Valid | 2024-11-21 | 09:26 | 2024-11-21 | 08:17 | ERIKA |  | 0.76 | 0.85 | / | / | 0.607 |  |  |  | 0.74 |  | 1 | Brigitta P |  | 3 | 3 | 95531
3 | 0.80 | 11 | Valid | 2024-11-21 | 09:28 | 2024-11-21 | 08:17 | ERIKA |  | 0.73 | 0.81 | / | / | 0.589 |  |  |  | 1.20 |  | 1 | Brigitta P |  | 3 | 3 | 95531
3 | 0.80 | 12 | Valid | 2024-11-21 | 09:28 | 2024-11-21 | 08:17 | ERIKA |  | 0.73 | 0.82 | / | / | 0.589 |  |  |  | 0.92 |  | 1 | Brigitta P |  | 3 | 3 | 95531
1 | 0.00 | 13 | Old B | 2024-11-21 | 09:33 | 2024-11-21 | 08:17 | ERIKA |  | 0.00 | 0.00 | / | / | -0.006 |  |  |  | 1.72 |  | 1 | Brigitta P |  | 3 | 1 | 95531
1 | 0.00 | 14 | Old B | 2024-11-21 | 09:34 | 2024-11-21 | 08:17 | ERIKA |  | 0.00 | 0.00 | / | / | -0.009 |  |  |  | 1.80 |  | 1 | Brigitta P |  | 3 | 1 | 95531
1 | 0.00 | 15 | Valid | 2024-11-21 | 09:37 | 2024-11-21 | 08:17 | ERIKA |  | 0.00 | 0.00 | / | / | -0.011 |  |  |  | 1.12 |  | 1 | Brigitta P |  | 3 | 1 | 95531
1 | 0.00 | 16 | Valid | 2024-11-21 | 09:37 | 2024-11-21 | 08:17 | ERIKA |  | 0.00 | 0.00 | / | / | -0.012 |  |  |  | 4.88 |  | 1 | Brigitta P |  | 3 | 1 | 95531 | 25.0°C
1 | 0.00 | 17 | Valid | 2024-11-21 | 09:48 | 2024-11-21 | 08:17 | ERIKA |  | 0.00 | 0.00 | / | / | -0.009 |  |  | 3.987 | 12.9 |  | 1 | Brigitta P |  | 3 | 1 | 95531 | 25.2°C
1 | 0.00 | 18 | Valid | 2024-11-21 | 09:48 | 2024-11-21 | 08:17 | ERIKA |  | 0.00 | 0.00 | / | / | -0.006 |  | 4.103 | 3.996 | 17.6 |  | 1 | Brigitta P |  | 3 | 1 | 95531 | 24.9°C
1 | 0.00 | 19 | Old B | 2024-11-26 | 12:15 | 2024-11-26 | 08:28 | ERIKA |  | 0.00 | 0.00 | / | / | -0.007 |  |  |  | 3.45 |  | 1 | Kinga |  | 3 | 1 | 95531
2 | 0.20 | 20 | Old B | 2024-11-26 | 12:15 | 2024-11-26 | 08:28 | ERIKA |  | 0.18 | 0.23 | / | / | 0.173 |  |  |  | 1.86 |  | 1 | Kinga |  | 3 | 2 | 95531
3 | 0.80 | 21 | Old B | 2024-11-26 | 12:16 | 2024-11-26 | 08:28 | ERIKA |  | 0.73 | 0.81 | / | / | 0.583 |  |  |  | 3.22 |  | 1 | Kinga |  | 3 | 3 | 95531
1 | 0.00 | 22 | P/Final | 2024-11-26 | 12:17 | 2024-11-26 | 08:28 | ERIKA |  | 0.00 | 0.00 | / | / | -0.006 |  |  |  | 0.64 |  | 1 | Kinga |  | 3 | 1 | 95531
1 | 0.00 | 23 | P/Final | 2024-11-26 | 12:17 | 2024-11-26 | 08:28 | ERIKA |  | 0.00 | 0.00 | / | / | -0.002 |  |  |  | 0.79 |  | 1 | Kinga |  | 3 | 1 | 95531
2 | 0.20 | 24 | P/Final | 2024-11-26 | 12:18 | 2024-11-26 | 08:28 | ERIKA |  | 0.17 | 0.19 | / | / | 0.165 |  |  |  | 0.73 |  | 1 | Kinga |  | 3 | 2 | 95531
2 | 0.20 | 25 | P/Final | 2024-11-26 | 12:18 | 2024-11-26 | 08:28 | ERIKA |  | 0.17 | 0.19 | / | / | 0.164 |  |  |  | 0.58 |  | 1 | Kinga |  | 3 | 2 | 95531
3 | 0.80 | 26 | P/Final | 2024-11-26 | 12:19 | 2024-11-26 | 08:28 | ERIKA |  | 0.74 | 0.78 | / | / | 0.587 | 3.919 |  |  | 2.14 |  | 1 | Kinga |  | 3 | 3 | 95531
3 | 0.80 | 27 | P/Final | 2024-11-26 | 12:20 | 2024-11-26 | 08:28 | ERIKA |  | 0.73 | 0.78 | / | / | 0.590 | 3.945 |  |  | 1.21 |  | 1 | Kinga |  | 3 | 3 | 95531
2 | 0.20 | 28 | P/Final | 2024-11-26 | 16:05 | 2024-11-26 | 14:40 | MARA | 1 | 0.17 | 0.19 | / | / | 0.166 | 3.940 |  |  | 0.97 | 506 | 1 | Kinga |  | 3 | 2 | 95531
2 | 0.20 | 29 | P/Final | 2024-11-26 | 16:06 | 2024-11-26 | 14:40 | MARA | 1 | 0.17 | 0.19 | / | / | 0.163 | 3.950 |  |  | 0.63 | 491 | 1 | Kinga |  | 3 | 2 | 95531
3 | 0.80 | 30 | P/Final | 2024-11-26 | 16:06 | 2024-11-26 | 14:40 | MARA | 1 | 0.73 | 0.81 | / | / | 0.577 | 3.944 |  |  | 2.47 | 467 | 1 | Kinga |  | 3 | 3 | 95531
3 | 0.80 | 31 | P/Final | 2024-11-26 | 16:07 | 2024-11-26 | 14:40 | MARA | 1 | 0.74 | 0.84 | / | / | 0.592 | 3.954 |  |  | 2.73 | 512 | 1 | Kinga |  | 3 | 3 | 95531
1 | 0.00 | 32 | P/Final | 2024-11-26 | 16:08 | 2024-11-26 | 14:40 | MARA | 1 | 0.00 | 0.00 | / | / | -0.009 | 3.931 |  |  | 0.60 |  | 1 | Kinga |  | 3 | 1 | 95531
1 | 0.00 | 33 | P/Final | 2024-11-26 | 16:09 | 2024-11-26 | 14:40 | MARA | 1 | 0.00 | 0.00 | / | / | -0.005 |  |  |  | 0.88 |  | 1 | Kinga |  | 3 | 1 | 95531
1 | 0.00 | 34 | Old B | 2024-11-27 | 09:57 | 2024-11-27 | 07:14 | TAMARA |  | 0.00 | 0.00 | / | / | -0.002 |  |  |  | 0.92 |  | 1 | Kinga |  | 3 | 1 | 95531
2 | 0.20 | 35 | Old B | 2024-11-27 | 09:58 | 2024-11-27 | 07:14 | TAMARA |  | 0.16 | 0.18 | / | / | 0.156 |  |  |  | 0.75 |  | 1 | Kinga |  | 3 | 2 | 95531
3 | 0.80 | 36 | Old B | 2024-11-27 | 09:58 | 2024-11-27 | 07:14 | TAMARA |  | 0.74 | 0.84 | / | / | 0.597 |  |  |  | 3.09 |  | 1 | Kinga |  | 3 | 3 | 95531
1 | 0.00 | 37 | P/Final | 2024-11-27 | 09:59 | 2024-11-27 | 07:14 | TAMARA |  | 0.00 | 0.00 | / | / | -0.002 |  |  |  | 0.92 |  | 1 | Kinga |  | 3 | 1 | 95531
1 | 0.00 | 38 | P/Final | 2024-11-27 | 09:59 | 2024-11-27 | 07:14 | TAMARA |  | 0.00 | 0.00 | / | / | -0.002 |  |  |  | 0.27 |  | 1 | Kinga |  | 3 | 1 | 95531
2 | 0.20 | 39 | P/Final | 2024-11-27 | 10:00 | 2024-11-27 | 07:14 | TAMARA |  | 0.17 | 0.19 | / | / | 0.165 | 3.938 |  |  | 0.85 | 503 | 1 | Kinga |  | 3 | 2 | 95531
2 | 0.20 | 40 | P/Final | 2024-11-27 | 10:01 | 2024-11-27 | 07:14 | TAMARA |  | 0.17 | 0.18 | / | / | 0.163 | 3.960 |  |  | 0.65 | 527 | 1 | Kinga |  | 3 | 2 | 95531
3 | 0.80 | 41 | P/Final | 2024-11-27 | 10:02 | 2024-11-27 | 07:14 | TAMARA |  | 0.75 | 0.80 | / | / | 0.597 |  |  |  | 3.59 | 544 | 1 | Kinga |  | 3 | 3 | 95531
3 | 0.80 | 42 | P/Final | 2024-11-27 | 10:02 | 2024-11-27 | 07:14 | TAMARA |  | 0.76 | 0.83 | / | / | 0.608 | 3.942 |  |  | 1.12 |  | 1 | Kinga |  | 3 | 3 | 95531
3 | 0.80 | 43 | P/Final | 2024-11-27 | 10:03 | 2024-11-27 | 07:14 | TAMARA |  | 0.77 | 0.84 | / | / | 0.613 | 3.956 |  |  | 1.73 |  | 1 | Kinga |  | 3 | 3 | 95531
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.18 mg/L | 6 | 12 | 0.18 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 14 | 0.78 mg/L | 7 | 14 | 0.78 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0 mg/L | 6 | 12 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.00 | YES
0.20 | 0.15 ÷ 0.25 | 0.18 | YES
0.80 | 0.73 ÷ 0.87 | 0.78 | YES
Validation Date | by