## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI93712B-0
0952 | HI93712B-0 | CP-R37 | W 11/1 |  | Parameter Formula | Al
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Aluminum Reagent B | 2030-03-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
500 | 470 | 530
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
0702 | 0952 | 0874
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2029-09-01 | 2030-03-01 | 2029-12-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 1.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-03-18 | 2025-03-20 | 1HEAD |  |  |  | 0838
[6 empty] | Expiration A | Expiration B | Expiration D
2029-11-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97712 | CTO-629
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.20 | 0.15 | 0.25 |  | MR41 |  | 0.04 | & | 4% | 100% |  | 2.6 | 2.4 | 2.8
3 | 0.80 | 0.73 | 0.87 | [8 empty] | 3.3 | 3.2 | 3.5
1 | 0.00 | 0.00 | 0.04 | [8 empty] | 3.8 | 3.7 | 4.0
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97712 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.20 | 1 | Old B | 2025-03-11 | 09:42 | 2025-03-11 | 09:01 | ERIKA |  | 0.16 | 0.18 | / | / | 0.156 |  |  |  | 0.68 |  | 1 | Kinga |  | 3 | 2
2 | 0.20 | 2 | Old B | 2025-03-11 | 09:42 | 2025-03-11 | 09:01 | ERIKA |  | 0.16 | 0.18 | / | / | 0.157 |  |  |  | 0.58 |  | 1 | Kinga |  | 3 | 2
2 | 0.20 | 3 | Valid | 2025-03-11 | 09:45 | 2025-03-11 | 09:01 | ERIKA |  | 0.17 | 0.19 | / | / | 0.165 |  |  |  | 0.34 |  | 1 | Kinga |  | 3 | 2
2 | 0.20 | 4 | Valid | 2025-03-11 | 09:46 | 2025-03-11 | 09:01 | ERIKA |  | 0.18 | 0.19 | / | / | 0.169 |  |  |  | 0.34 |  | 1 | Kinga |  | 3 | 2
2 | 0.20 | 5 | Valid | 2025-03-11 | 09:49 | 2025-03-11 | 09:01 | ERIKA |  | 0.17 | 0.22 | / | / | 0.166 |  |  |  | 2.36 |  | 1 | Kinga |  | 3 | 2
2 | 0.20 | 6 | Valid | 2025-03-11 | 09:49 | 2025-03-11 | 09:01 | ERIKA |  | 0.17 | 0.22 | / | / | 0.166 |  |  |  | 2.92 |  | 1 | Kinga |  | 3 | 2
3 | 0.80 | 7 | Valid | 2025-03-11 | 09:59 | 2025-03-11 | 09:01 | ERIKA |  | 0.73 | 0.78 | / | / | 0.588 |  |  |  | 4.37 |  | 1 | Kinga |  | 3 | 3
3 | 0.80 | 8 | Valid | 2025-03-11 | 10:00 | 2025-03-11 | 09:01 | ERIKA |  | 0.74 | 0.80 | / | / | 0.592 |  |  |  | 0.89 |  | 1 | Kinga |  | 3 | 3
3 | 0.80 | 9 | Valid | 2025-03-11 | 10:01 | 2025-03-11 | 09:01 | ERIKA |  | 0.73 | 0.79 | / | / | 0.586 |  |  |  | 0.97 |  | 1 | Kinga |  | 3 | 3
3 | 0.80 | 10 | Valid | 2025-03-11 | 10:01 | 2025-03-11 | 09:01 | ERIKA |  | 0.73 | 0.80 | / | / | 0.590 |  |  |  | 0.40 |  | 1 | Kinga |  | 3 | 3
3 | 0.80 | 11 | Old B | 2025-03-11 | 10:02 | 2025-03-11 | 09:01 | ERIKA |  | 0.73 | 0.82 | / | / | 0.586 |  |  |  | 2.16 |  | 1 | Kinga |  | 3 | 3
3 | 0.80 | 12 | Old B | 2025-03-11 | 10:02 | 2025-03-11 | 09:01 | ERIKA |  | 0.74 | 0.84 | / | / | 0.593 |  |  |  | 2.29 |  | 1 | Kinga |  | 3 | 3
1 | 0.00 | 13 | Old B | 2025-03-11 | 10:34 | 2025-03-11 | 09:01 | ERIKA |  | 0.01 | 0.01 | / | / | 0.007 |  |  |  | 0.58 |  | 1 | Kinga |  | 3 | 1
1 | 0.00 | 14 | Old B | 2025-03-11 | 10:34 | 2025-03-11 | 09:01 | ERIKA |  | 0.01 | 0.01 | / | / | 0.008 |  |  |  | 0.68 |  | 1 | Kinga |  | 3 | 1
1 | 0.00 | 15 | P/Prod | 2025-03-11 | 10:35 | 2025-03-11 | 09:01 | ERIKA | 1 | 0.01 | 0.00 | / | / | 0.004 |  |  |  | 2.81 |  | 1 | Kinga |  | 3 | 1
1 | 0.00 | 16 | P/Prod | 2025-03-11 | 10:36 | 2025-03-11 | 09:01 | ERIKA | 1 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 2.79 |  | 1 | Kinga |  | 3 | 1
2 | 0.20 | 17 | Old B | 2025-03-18 | 09:39 | 2025-03-18 | 07:15 | TAMARA | 1 | 0.15 | 0.17 | / | / | 0.144 |  |  |  | 1.70 |  | 1 | Kinga |  | 3 | 2 | 90639
1 | 0.00 | 18 | Old B | 2025-03-18 | 09:41 | 2025-03-18 | 07:15 | TAMARA | 1 | 0.00 | 0.00 | / | / | -0.005 |  |  |  | 1.58 |  | 1 | Kinga |  | 3 | 1 | 90639
3 | 0.80 | 19 | Old B | 2025-03-18 | 09:43 | 2025-03-18 | 07:15 | TAMARA | 1 | 0.78 | 0.79 | / | / | 0.597 |  |  |  | 2.49 |  | 1 | Kinga |  | 3 | 3 | 90639
2 | 0.20 | 20 | P/Prod | 2025-03-18 | 09:47 | 2025-03-18 | 07:15 | TAMARA | 1 | 0.15 | 0.16 | / | / | 0.142 |  |  |  | 0.33 |  | 1 | Kinga |  | 3 | 2 | 90639
2 | 0.20 | 21 | P/Prod | 2025-03-18 | 09:49 | 2025-03-18 | 07:15 | TAMARA | 1 | 0.16 | 0.17 | / | / | 0.157 |  |  |  | 0.39 |  | 1 | Kinga |  | 3 | 2 | 90639
2 | 0.20 | 22 | P/Prod | 2025-03-18 | 09:50 | 2025-03-18 | 07:15 | TAMARA | 1 | 0.16 | 0.18 | / | / | 0.157 |  | 4.049 |  | 0.35 |  | 1 | Kinga |  | 3 | 2 | 90639
3 | 0.80 | 23 | P/Prod | 2025-03-18 | 09:52 | 2025-03-18 | 07:15 | TAMARA | 1 | 0.67 | 0.76 | / | / | 0.537 |  | 4.054 |  | 0.79 |  | 1 | Kinga |  | 3 | 3 | 90639
3 | 0.80 | 24 | P/Prod | 2025-03-18 | 09:55 | 2025-03-18 | 07:15 | TAMARA | 1 | 0.66 | 0.75 | / | / | 0.544 |  | 4.138 |  | 0.79 | 487 | 1 | Kinga |  | 3 | 3 | 90639
3 | 0.80 | 25 | P/Prod | 2025-03-18 | 09:55 | 2025-03-18 | 07:15 | TAMARA | 1 | 0.67 | 0.74 | / | / | 0.552 |  | 4.089 |  | 0.64 | 502 | 1 | Kinga |  | 3 | 3 | 90639
1 | 0.00 | 26 | P/Prod | 2025-03-18 | 09:56 | 2025-03-18 | 07:15 | TAMARA | 1 | 0.01 | 0.00 | / | / | 0.007 |  | 4.079 |  | 2.60 | 477 | 1 | Kinga |  | 3 | 1 | 90639
1 | 0.00 | 27 | P/Prod | 2025-03-18 | 09:57 | 2025-03-18 | 07:15 | TAMARA | 1 | 0.00 | 0.00 | / | / | -0.006 |  | 4.079 |  | 1.94 | 496 | 1 | Kinga |  | 3 | 1 | 90639
2 | 0.20 | 28 | P/Prod | 2025-03-18 | 15:37 | 2025-03-18 | 14:23 | MARA | 1 | 0.20 | 0.22 | / | / | 0.189 |  |  |  | 0.40 |  | 1 | Brigitta P |  | 3 | 2 | 90639
2 | 0.20 | 29 | P/Prod | 2025-03-18 | 15:37 | 2025-03-18 | 14:23 | MARA | 1 | 0.20 | 0.22 | / | / | 0.188 |  |  |  | 0.38 |  | 1 | Brigitta P |  | 3 | 2 | 90639
2 | 0.20 | 30 | P/Prod | 2025-03-18 | 15:38 | 2025-03-18 | 14:23 | MARA | 1 | 0.19 | 0.21 | / | / | 0.183 |  |  |  | 2.67 |  | 1 | Brigitta P |  | 3 | 2 | 90639
3 | 0.80 | 31 | P/Prod | 2025-03-18 | 15:42 | 2025-03-18 | 14:23 | MARA | 1 | 0.85 | 0.97 | / | / | 0.666 |  |  |  | 2.83 |  | 1 | Brigitta P |  | 3 | 3 | 90639
3 | 0.80 | 32 | P/Prod | 2025-03-18 | 15:43 | 2025-03-18 | 14:23 | MARA | 1 | 0.85 | 0.97 | / | / | 0.662 |  |  |  | 2.24 |  | 1 | Brigitta P |  | 3 | 3 | 90639
3 | 0.80 | 33 | P/Prod | 2025-03-18 | 15:43 | 2025-03-18 | 14:23 | MARA | 1 | 0.84 | 0.94 | / | / | 0.655 |  |  |  | 15.8 |  | 1 | Brigitta P |  | 3 | 3 | 90639
3 | 0.80 | 34 | P/Prod | 2025-03-18 | 15:44 | 2025-03-18 | 14:23 | MARA | 1 | 0.83 | 0.93 | / | / | 0.651 |  |  |  | 16.8 |  | 1 | Brigitta P |  | 3 | 3 | 90639
1 | 0.00 | 35 | P/Prod | 2025-03-18 | 15:45 | 2025-03-18 | 14:23 | MARA | 1 | 0.00 | 0.00 | / | / | -0.002 |  |  |  | 0.35 |  | 1 | Brigitta P |  | 3 | 1 | 90639 | BLINKING
1 | 0.00 | 36 | P/Prod | 2025-03-18 | 15:45 | 2025-03-18 | 14:23 | MARA | 1 | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 0.36 |  | 1 | Brigitta P |  | 3 | 1 | 90639
2 | 0.20 | 37 | P/Prod | 2025-03-19 | 09:50 | 2025-03-19 | 07:29 | TAMARA | 1 | 0.17 | 0.19 | / | / | 0.163 |  |  |  | 0.41 |  | 1 | Brigitta P |  | 3 | 2 | 90639
2 | 0.20 | 38 | P/Prod | 2025-03-19 | 09:50 | 2025-03-19 | 07:29 | TAMARA | 1 | 0.17 | 0.20 | / | / | 0.167 |  |  |  | 0.29 |  | 1 | Brigitta P |  | 3 | 2 | 90639
2 | 0.20 | 39 | P/Prod | 2025-03-19 | 09:51 | 2025-03-19 | 07:29 | TAMARA | 1 | 0.17 | 0.20 | / | / | 0.168 |  |  |  | 0.42 |  | 1 | Brigitta P |  | 3 | 2 | 90639
2 | 0.20 | 40 | P/Prod | 2025-03-19 | 09:52 | 2025-03-19 | 07:29 | TAMARA | 1 | 0.18 | 0.20 | / | / | 0.170 |  |  |  | 0.86 |  | 1 | Brigitta P |  | 3 | 2 | 90639
3 | 0.80 | 41 | P/Prod | 2025-03-19 | 09:56 | 2025-03-19 | 07:29 | TAMARA | 1 | 0.76 | 0.84 | / | / | 0.605 |  |  |  | 2.38 |  | 1 | Brigitta P |  | 3 | 3 | 90639
3 | 0.80 | 42 | P/Prod | 2025-03-19 | 09:56 | 2025-03-19 | 07:29 | TAMARA | 1 | 0.76 | 0.84 | / | / | 0.606 |  |  |  | 2.41 |  | 1 | Brigitta P |  | 3 | 3 | 90639
3 | 0.80 | 43 | P/Prod | 2025-03-19 | 09:57 | 2025-03-19 | 07:29 | TAMARA | 1 | 0.76 | 0.83 | / | / | 0.609 |  |  |  | 1.82 | 439 | 1 | Brigitta P |  | 3 | 3 | 90639
3 | 0.80 | 44 | P/Prod | 2025-03-19 | 09:57 | 2025-03-19 | 07:29 | TAMARA | 1 | 0.77 | 0.84 | / | / | 0.609 |  |  |  | 1.54 | 491 | 1 | Brigitta P |  | 3 | 3 | 90639
1 | 0.00 | 45 | P/Prod | 2025-03-19 | 09:58 | 2025-03-19 | 07:29 | TAMARA | 1 | 0.00 | 0.01 | / | / | -0.002 |  |  |  | 0.58 | 503 | 1 | Brigitta P |  | 3 | 1 | 90639
1 | 0.00 | 46 | P/Prod | 2025-03-19 | 09:58 | 2025-03-19 | 07:29 | TAMARA | 1 | 0.00 | 0.01 | / | / | -0.001 |  |  |  | 0.75 | 438 | 1 | Brigitta P |  | 3 | 1 | 90639
1 | 0.00 | 47 | P/Prod | 2025-03-19 | 15:29 | 2025-03-19 | 14:15 | MARA | 1 | 0.00 | 0.01 | / | / | 0.003 |  |  |  | 5.54 |  | 1 | Brigitta P |  | 3 | 1 | 90639
1 | 0.00 | 48 | P/Prod | 2025-03-19 | 15:29 | 2025-03-19 | 14:15 | MARA | 1 | 0.02 | 0.01 | / | / | 0.016 |  |  |  | 5.68 |  | 1 | Brigitta P |  | 3 | 1 | 90639
3 | 0.80 | 49 | P/Prod | 2025-03-19 | 15:31 | 2025-03-19 | 14:15 | MARA | 1 | 0.87 | 0.87 | / | / | 0.670 |  |  |  | 2.49 |  | 1 | Brigitta P |  | 3 | 3 | 90639
3 | 0.80 | 50 | P/Prod | 2025-03-19 | 15:32 | 2025-03-19 | 14:15 | MARA | 1 | 0.86 | 0.90 | / | / | 0.667 |  | 4.073 |  | 2.30 |  | 1 | Brigitta P |  | 3 | 3 | 90639
3 | 0.80 | 51 | P/Prod | 2025-03-19 | 15:33 | 2025-03-19 | 14:15 | MARA | 1 | 0.87 | 0.92 | / | / | 0.680 |  | 4.033 |  | 4.04 |  | 1 | Brigitta P |  | 3 | 3 | 90639
2 | 0.20 | 52 | P/Prod | 2025-03-19 | 15:35 | 2025-03-19 | 14:15 | MARA | 1 | 0.20 | 0.22 | / | / | 0.189 |  | 4.054 |  | 0.91 | 476 | 1 | Brigitta P |  | 3 | 2 | 90639
2 | 0.20 | 53 | P/Prod | 2025-03-19 | 15:35 | 2025-03-19 | 14:15 | MARA | 1 | 0.20 | 0.22 | / | / | 0.187 |  | 4.048 |  | 0.98 | 485 | 1 | Brigitta P |  | 3 | 2 | 90639
2 | 0.20 | 54 | P/Prod | 2025-03-19 | 15:36 | 2025-03-19 | 14:15 | MARA | 1 | 0.20 | 0.22 | / | / | 0.187 |  | 4.105 |  | 0.84 | 447 | 1 | Brigitta P |  | 3 | 2 | 90639
2 | 0.20 | 55 | P/Prod | 2025-03-19 | 15:37 | 2025-03-19 | 14:15 | MARA | 1 | 0.20 | 0.22 | / | / | 0.187 |  | 4.088 |  | 0.85 | 449 | 1 | Brigitta P |  | 3 | 2 | 90639
2 | 0.20 | 56 | P/FINAL | 2025-03-20 | 09:15 | 2025-03-20 | 07:36 | IRINA | 1 | 0.17 | 0.18 | / | / | 0.150 |  |  |  | 0.36 |  | 1 | Kinga |  | 3 | 2 | 3182025
2 | 0.20 | 57 | P/FINAL | 2025-03-20 | 09:16 | 2025-03-20 | 07:36 | IRINA | 1 | 0.20 | 0.19 | / | / | 0.154 |  |  |  | 0.44 |  | 1 | Kinga |  | 3 | 2 | 3182025
2 | 0.20 | 58 | P/FINAL | 2025-03-20 | 09:17 | 2025-03-20 | 07:36 | IRINA | 1 | 0.30 | 0.18 | / | / | 0.167 |  |  |  | 0.44 |  | 1 | Kinga |  | 3 | 2 | 3182025
3 | 0.80 | 59 | P/FINAL | 2025-03-20 | 09:21 | 2025-03-20 | 07:36 | IRINA | 1 | 0.84 | 0.75 | / | / | 0.680 |  | 4.039 |  | 0.68 |  | 1 | Kinga |  | 3 | 3 | 3182025
3 | 0.80 | 60 | P/FINAL | 2025-03-20 | 09:23 | 2025-03-20 | 07:36 | IRINA | 1 | 0.85 | 0.78 | / | / | 0.607 |  | 4.024 |  | 0.83 | 447 | 1 | Kinga |  | 3 | 3 | 3182025
3 | 0.80 | 61 | P/FINAL | 2025-03-20 | 09:24 | 2025-03-20 | 07:36 | IRINA | 1 | 0.79 | 0.75 | / | / | 0.665 |  | 4.044 |  | 0.73 | 447 | 1 | Kinga |  | 3 | 3 | 3182025
1 | 0.00 | 62 | P/FINAL | 2025-03-20 | 09:25 | 2025-03-20 | 07:36 | IRINA | 1 | 0.00 | 0.00 | / | / | -0.001 |  | 4.047 |  | 0.59 | 464 | 1 | Kinga |  | 3 | 1 | 3182025
1 | 0.00 | 63 | P/FINAL | 2025-03-20 | 09:27 | 2025-03-20 | 07:36 | IRINA | 1 | 0.00 | 0.00 | / | / | 0.002 |  | 4.096 |  | 1.12 | 435 | 1 | Kinga |  | 3 | 1 | 3182025
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
17 | 34 | 0.19 mg/L | 17 | 34 | 0.19 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
17 | 34 | 0.82 mg/L | 17 | 34 | 0.82 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
12 | 24 | 0 mg/L | 12 | 24 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.00 | YES
0.20 | 0.15 ÷ 0.25 | 0.19 | YES
0.80 | 0.73 ÷ 0.87 | 0.82 | YES
Validation Date | by