## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI93712C-0
0874 | HI93712C-0 | CP-R38 | W 50 |  | Parameter Formula | Al
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Aluminum Reagent C | 2029-05-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
90 | 80 | 100
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
0702 | 0586 | 0874
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2029-09-01 | 2029-05-01 | 2029-12-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 1.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2024-12-19 | 2024-12-19 | 1 HEAD
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97712 | CTO-629
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.20 | 0.15 | 0.25 |  | MR41 |  | 0.04 | & | 4% | 100% |  | 2.6 | 2.4 | 2.8
3 | 0.80 | 0.73 | 0.87 | [8 empty] | 3.3 | 3.2 | 3.5
1 | 0.00 | 0.00 | 0.04 | [8 empty] | 3.8 | 3.7 | 4.0
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.20 | 1 | Old C | 2024-12-10 | 14:45 | 2024-12-10 | 12:42 | ERIKA |  | 0.19 | 0.20 | / | / | 0.182 |  |  |  | 1.50 |  | 1 | Kinga |  | 3 | 2 | 13430
2 | 0.20 | 2 | Old C | 2024-12-10 | 14:46 | 2024-12-10 | 12:42 | ERIKA |  | 0.19 | 0.21 | / | / | 0.185 |  |  |  | 1.50 |  | 1 | Kinga |  | 3 | 2 | 13430
2 | 0.20 | 3 | Valid | 2024-12-10 | 14:47 | 2024-12-10 | 12:42 | ERIKA |  | 0.20 | 0.21 | / | / | 0.192 |  |  |  | 1.52 |  | 1 | Kinga |  | 3 | 2 | 13430
2 | 0.20 | 4 | Valid | 2024-12-10 | 14:47 | 2024-12-10 | 12:42 | ERIKA |  | 0.19 | 0.21 | / | / | 0.186 |  |  |  | 1.46 |  | 1 | Kinga |  | 3 | 2 | 13430
2 | 0.20 | 5 | Valid | 2024-12-10 | 14:53 | 2024-12-10 | 12:42 | ERIKA |  | 0.20 | 0.22 | / | / | 0.192 |  |  |  | 4.13 |  | 1 | Kinga |  | 3 | 2 | 13430
2 | 0.20 | 6 | Valid | 2024-12-10 | 14:53 | 2024-12-10 | 12:42 | ERIKA |  | 0.20 | 0.22 | / | / | 0.191 |  |  |  | 3.08 |  | 1 | Kinga |  | 3 | 2 | 13430
3 | 0.80 | 7 | Old C | 2024-12-10 | 14:56 | 2024-12-10 | 12:42 | ERIKA |  | 0.75 | 0.82 | / | / | 0.599 |  |  |  | 1.55 |  | 1 | Kinga |  | 3 | 3 | 13430
3 | 0.80 | 8 | Old C | 2024-12-10 | 14:57 | 2024-12-10 | 12:42 | ERIKA |  | 0.74 | 0.82 | / | / | 0.595 |  |  |  | 1.59 |  | 1 | Kinga |  | 3 | 3 | 13430
3 | 0.80 | 9 | Valid | 2024-12-10 | 14:57 | 2024-12-10 | 12:42 | ERIKA |  | 0.76 | 0.86 | / | / | 0.606 |  |  |  | 1.58 |  | 1 | Kinga |  | 3 | 3 | 13430
3 | 0.80 | 10 | Valid | 2024-12-10 | 14:58 | 2024-12-10 | 12:42 | ERIKA |  | 0.76 | 0.86 | / | / | 0.607 |  |  |  | 1.69 |  | 1 | Kinga |  | 3 | 3 | 13430
3 | 0.80 | 11 | Valid | 2024-12-10 | 14:59 | 2024-12-10 | 12:42 | ERIKA |  | 0.80 | 0.89 | / | / | 0.633 |  |  |  | 1.50 |  | 1 | Kinga |  | 3 | 3 | 13430
3 | 0.80 | 12 | Valid | 2024-12-10 | 14:59 | 2024-12-10 | 12:42 | ERIKA |  | 0.80 | 0.89 | / | / | 0.633 |  |  |  | 1.84 |  | 1 | Kinga |  | 3 | 3 | 13430
1 | 0.00 | 13 | Old C | 2024-12-10 | 15:07 | 2024-12-10 | 12:42 | ERIKA |  | 0.00 | 0.00 | / | / | -0.002 |  |  |  | 1.65 |  | 1 | Kinga |  | 3 | 1 | 13430
1 | 0.00 | 14 | Old C | 2024-12-10 | 15:08 | 2024-12-10 | 12:42 | ERIKA |  | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 1.57 |  | 1 | Kinga |  | 3 | 1 | 13430
1 | 0.00 | 15 | Valid | 2024-12-10 | 15:09 | 2024-12-10 | 12:42 | ERIKA |  | 0.01 | 0.00 | / | / | 0.006 |  |  |  | 1.60 |  | 1 | Kinga |  | 3 | 1 | 13430
1 | 0.00 | 16 | Valid | 2024-12-10 | 15:10 | 2024-12-10 | 12:42 | ERIKA |  | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 1.61 |  | 1 | Kinga |  | 3 | 1 | 13430
1 | 0.00 | 17 | Valid | 2024-12-10 | 15:10 | 2024-12-10 | 12:42 | ERIKA |  | 0.01 | 0.01 | / | / | 0.005 |  |  |  | 1.60 |  | 1 | Kinga |  | 3 | 1 | 13430
1 | 0.00 | 18 | Valid | 2024-12-10 | 15:11 | 2024-12-10 | 12:42 | ERIKA |  | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 1.66 |  | 1 | Kinga |  | 3 | 1 | 13430
2 | 0.20 | 19 | Old C | 2024-12-18 | 20:22 | 2024-12-18 | 16:31 | TAMARA | 1 | 0.18 | 0.21 | / | / | 0.170 |  |  |  | 1.46 |  | 1 | Brigitta P |  | 3 | 2 | 13430
2 | 0.20 | 20 | Old C | 2024-12-18 | 20:23 | 2024-12-18 | 16:31 | TAMARA | 1 | 0.18 | 0.21 | / | / | 0.176 |  |  |  | 2.03 |  | 1 | Brigitta P |  | 3 | 2 | 13430
2 | 0.20 | 21 | P/Final | 2024-12-18 | 20:24 | 2024-12-18 | 16:31 | TAMARA | 1 | 0.18 | 0.21 | / | / | 0.177 |  |  |  | 1.79 | 94 | 1 | Brigitta P |  | 3 | 2 | 13430
2 | 0.20 | 22 | P/Final | 2024-12-18 | 20:25 | 2024-12-18 | 16:31 | TAMARA | 1 | 0.17 | 0.20 | / | / | 0.164 |  |  |  | 1.65 | 98 | 1 | Brigitta P |  | 3 | 2 | 13430
2 | 0.20 | 23 | P/Final | 2024-12-18 | 20:26 | 2024-12-18 | 16:31 | TAMARA | 1 | 0.17 | 0.19 | / | / | 0.165 |  |  |  | 1.98 | 83 | 1 | Brigitta P |  | 3 | 2 | 13430
2 | 0.20 | 24 | P/Final | 2024-12-18 | 20:26 | 2024-12-18 | 16:31 | TAMARA | 1 | 0.17 | 0.19 | / | / | 0.160 |  |  |  | 1.98 | 88 | 1 | Brigitta P |  | 3 | 2 | 13430
3 | 0.80 | 25 | P/Final | 2024-12-18 | 20:48 | 2024-12-18 | 16:31 | TAMARA | 1 | 0.79 | 0.88 | / | / | 0.626 |  |  |  | 5.02 |  | 1 | Brigitta P |  | 3 | 3 | 13430
3 | 0.80 | 26 | P/Final | 2024-12-18 | 20:49 | 2024-12-18 | 16:31 | TAMARA | 1 | 0.79 | 0.89 | / | / | 0.628 |  |  |  | 4.84 |  | 1 | Brigitta P |  | 3 | 3 | 13430
3 | 0.80 | 27 | Old C | 2024-12-18 | 20:50 | 2024-12-18 | 16:31 | TAMARA | 1 | 0.78 | 0.87 | / | / | 0.622 |  |  |  | 11.9 |  | 1 | Brigitta P |  | 3 | 3 | 13430
3 | 0.80 | 28 | Old C | 2024-12-18 | 20:51 | 2024-12-18 | 16:31 | TAMARA | 1 | 0.79 | 0.87 | / | / | 0.626 |  |  |  | 14.8 |  | 1 | Brigitta P |  | 3 | 3 | 13430
3 | 0.80 | 29 | P/Final | 2024-12-18 | 20:52 | 2024-12-18 | 16:31 | TAMARA | 1 | 0.77 | 0.86 | / | / | 0.613 |  |  |  | 2.50 |  | 1 | Brigitta P |  | 3 | 3 | 13430
3 | 0.80 | 30 | P/Final | 2024-12-18 | 20:52 | 2024-12-18 | 16:31 | TAMARA | 1 | 0.77 | 0.86 | / | / | 0.612 |  |  |  | 2.50 |  | 1 | Brigitta P |  | 3 | 3 | 13430
1 | 0.00 | 31 | P/Final | 2024-12-18 | 21:16 | 2024-12-18 | 16:31 | TAMARA | 1 | 0.00 | 0.00 | / | / | -0.003 |  |  |  | 15.9 |  | 1 | Brigitta P |  | 3 | 1 | 13430
1 | 0.00 | 32 | Old C | 2024-12-18 | 21:16 | 2024-12-18 | 16:31 | TAMARA | 1 | 0.00 | 0.00 | / | / | -0.001 |  |  |  | 18.3 |  | 1 | Brigitta P |  | 3 | 1 | 13430
1 | 0.00 | 33 | Old C | 2024-12-18 | 21:17 | 2024-12-18 | 16:31 | TAMARA | 1 | 0.00 | 0.02 | / | / | -0.001 |  |  |  | 27.2 |  | 1 | Brigitta P |  | 3 | 1 | 13430
1 | 0.00 | 34 | P/Final | 2024-12-18 | 21:18 | 2024-12-18 | 16:31 | TAMARA | 1 | 0.01 | 0.02 | / | / | 0.009 |  |  |  | 24.7 |  | 1 | Brigitta P |  | 3 | 1 | 13430
1 | 0.00 | 35 | P/Final | 2024-12-18 | 21:19 | 2024-12-18 | 16:31 | TAMARA | 1 | 0.01 | 0.01 | / | / | 0.010 |  |  |  | 10.9 |  | 1 | Brigitta P |  | 3 | 1 | 13430
1 | 0.00 | 36 | P/Final | 2024-12-18 | 21:20 | 2024-12-18 | 16:31 | TAMARA | 1 | 0.02 | 0.01 | / | / | 0.019 |  |  |  | 11.7 |  | 1 | Brigitta P |  | 3 | 1 | 13430
2 | 0.20 | 37 | Old C | 2024-12-19 | 09:19 | 2024-12-19 | 06:38 | MARA | 1 | 0.18 | 0.19 | / | / | 0.169 |  |  |  | 4.43 |  | 1 | Kinga |  | 3 | 2 | 13430
2 | 0.20 | 38 | Old C | 2024-12-19 | 09:20 | 2024-12-19 | 06:38 | MARA | 1 | 0.18 | 0.19 | / | / | 0.169 |  |  |  | 4.43 |  | 1 | Kinga |  | 3 | 2 | 13430
3 | 0.80 | 39 | Old C | 2024-12-19 | 09:22 | 2024-12-19 | 06:38 | MARA | 1 | 0.76 | 0.77 | / | / | 0.571 |  |  |  | 5.24 |  | 1 | Kinga |  | 3 | 3 | 13430
3 | 0.80 | 40 | Old C | 2024-12-19 | 09:23 | 2024-12-19 | 06:38 | MARA | 1 | 0.76 | 0.80 | / | / | 0.578 |  |  |  | 8.47 |  | 1 | Kinga |  | 3 | 3 | 13430
1 | 0.00 | 41 | Old C | 2024-12-19 | 09:24 | 2024-12-19 | 06:38 | MARA | 1 | 0.00 | 0.00 | / | / | -0.004 |  |  |  | 1.78 |  | 1 | Kinga |  | 3 | 1 | 13430
1 | 0.00 | 42 | Old C | 2024-12-19 | 09:25 | 2024-12-19 | 06:38 | MARA | 1 | 0.00 | 0.00 | / | / | -0.002 |  |  |  | 1.90 |  | 1 | Kinga |  | 3 | 1 | 13430
2 | 0.20 | 43 | P/Final | 2024-12-19 | 09:42 | 2024-12-19 | 06:38 | MARA | 1 | 0.18 | 0.20 | / | / | 0.176 |  |  |  | 0.88 | 98 | 1 | Kinga |  | 3 | 2 | 13430
2 | 0.20 | 44 | P/Final | 2024-12-19 | 09:43 | 2024-12-19 | 06:38 | MARA | 1 | 0.19 | 0.21 | / | / | 0.183 |  |  |  | 1.98 | 94 | 1 | Kinga |  | 3 | 2 | 13430
3 | 0.80 | 45 | P/Final | 2024-12-19 | 09:44 | 2024-12-19 | 06:38 | MARA | 1 | 0.73 | 0.82 | / | / | 0.591 |  |  | 3.819 | 1.39 | 99 | 1 | Kinga |  | 3 | 3 | 13430
3 | 0.80 | 46 | P/Final | 2024-12-19 | 09:46 | 2024-12-19 | 06:38 | MARA | 1 | 0.74 | 0.87 | / | / | 0.596 |  |  |  | 1.39 | 82 | 1 | Kinga |  | 3 | 3 | 13430
1 | 0.00 | 47 | P/Final | 2024-12-19 | 09:49 | 2024-12-19 | 06:38 | MARA | 1 | 0.01 | 0.01 | / | / | 0.008 |  |  | 3.572 | 0.02 |  | 1 | Kinga |  | 3 | 1 | 13430
2 | 0.20 | 48 | P/Final | 2024-12-19 | 15:55 | 2024-12-19 | 14:26 | Tamara | 1 | 0.18 | 0.19 | / | / | 0.172 |  |  |  | 2.09 |  | 1 | Kinga |  | 3 | 2 | 13430
2 | 0.20 | 49 | P/Final | 2024-12-19 | 15:56 | 2024-12-19 | 14:26 | Tamara | 1 | 0.18 | 0.19 | / | / | 0.170 |  |  |  | 2.52 |  | 1 | Kinga |  | 3 | 2 | 13430
2 | 0.20 | 50 | P/Final | 2024-12-19 | 15:57 | 2024-12-19 | 14:26 | Tamara | 1 | 0.19 | 0.20 | / | / | 0.179 |  |  |  | 2.27 |  | 1 | Kinga |  | 3 | 2 | 13430
3 | 0.80 | 51 | P/Final | 2024-12-19 | 16:00 | 2024-12-19 | 14:26 | Tamara | 1 | 0.73 | 0.75 | / | / | 0.549 |  |  |  | 2 |  | 1 | Kinga |  | 3 | 3 | 13430
3 | 0.80 | 52 | P/Final | 2024-12-19 | 16:02 | 2024-12-19 | 14:26 | Tamara | 1 | 0.71 | 0.65 | / | / | 0.565 |  |  | 4.044 | 3.40 |  | 1 | Kinga |  | 3 | 3 | 13430
1 | 0.00 | 53 | P/Final | 2024-12-19 | 16:05 | 2024-12-19 | 14:26 | Tamara | 1 | 0.00 | 0.00 | / | / | -0.005 |  |  |  | 3.27 |  | 1 | Kinga |  | 3 | 1 | 13430
1 | 0.00 | 54 | P/Final | 2024-12-19 | 16:05 | 2024-12-19 | 14:26 | Tamara | 1 | 0.00 | 0.00 | / | / | -0.008 |  |  | 3.850 | 1.49 |  | 1 | Kinga |  | 3 | 1 | 13430
1 | 0.00 | 55 | P/Final | 2024-12-19 | 16:06 | 2024-12-19 | 14:26 | Tamara | 1 | 0.00 | 0.00 | / | / | -0.007 |  |  |  | 2.17 |  | 1 | Kinga |  | 3 | 1 | 13430
3 | 0.80 | 56 | P/Final | 2024-12-19 | 16:09 | 2024-12-19 | 14:26 | Tamara | 1 | 0.73 | 0.81 | / | / | 0.589 |  |  | 3.839 | 5.67 |  | 1 | Kinga |  | 3 | 3 | 13430
3 | 0.80 | 57 | P/Final | 2024-12-19 | 16:10 | 2024-12-19 | 14:26 | Tamara | 1 | 0.74 | 0.83 | / | / | 0.597 |  |  |  | 2.51 |  | 1 | Kinga |  | 3 | 3 | 13430
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 0.19 mg/L | 9 | 18 | 0.19 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
10 | 20 | 0.79 mg/L | 10 | 20 | 0.79 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 0.01 mg/L | 8 | 16 | 0.01 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.01 | YES
0.20 | 0.15 ÷ 0.25 | 0.19 | YES
0.80 | 0.73 ÷ 0.87 | 0.79 | YES
Validation Date | by