## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI93712C-0
1028 | HI93712C-0 | CP-R38 | W 20/1 |  | Parameter Formula | Al
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Aluminum Reagent C | 2030-05-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
90 | 80 | 100
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
0950 | 0952 | 1028
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-03-01 | 2030-03-01 | 2030-05-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 1.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97712 | CTO-629
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.20 | 0.15 | 0.25 |  | MR41 |  | 0.04 | & | 4% | 100% |  | 2.6 | 2.4 | 2.8
3 | 0.80 | 0.73 | 0.87 | [8 empty] | 3.3 | 3.2 | 3.5
1 | 0.00 | 0.00 | 0.04 | [8 empty] | 3.8 | 3.7 | 4.0
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.20 | 1 | Old C | 2025-05-13 | 10:28 | 2025-05-13 | 08:13 | ERIKA |  | 0.17 | 0.19 | / | / | 0.166 |  |  | 4.058 | 0.75 |  | 1 | Kinga |  | 3 | 2
2 | 0.20 | 2 | Old C | 2025-05-13 | 10:28 | 2025-05-13 | 08:13 | ERIKA |  | 0.18 | 0.20 | / | / | 0.169 |  |  |  | 0.68 |  | 1 | Kinga |  | 3 | 2
3 | 0.80 | 3 | Old C | 2025-05-13 | 10:28 | 2025-05-13 | 08:13 | ERIKA |  | 0.73 | 0.78 | / | / | 0.547 |  |  |  | 0.67 |  | 1 | Kinga |  | 3 | 3
3 | 0.80 | 4 | Old C | 2025-05-13 | 10:29 | 2025-05-13 | 08:13 | ERIKA |  | 0.74 | 0.77 | / | / | 0.551 |  |  | 4.008 | 0.99 |  | 1 | Kinga |  | 3 | 3
1 | 0.00 | 5 | Old C | 2025-05-13 | 10:30 | 2025-05-13 | 08:13 | ERIKA |  | 0.00 | 0.00 | / | / | -0.001 |  |  | 4.104 | 4.18 |  | 1 | Kinga |  | 3 | 1
1 | 0.00 | 6 | Old C | 2025-05-13 | 10:30 | 2025-05-13 | 08:13 | ERIKA |  | 0.00 | 0.00 | / | / | -0.001 |  |  |  | 1.97 |  | 1 | Kinga |  | 3 | 1
2 | 0.20 | 7 | Valid | 2025-05-13 | 10:45 | 2025-05-13 | 08:13 | ERIKA |  | 0.17 | 0.19 | / | / | 0.166 |  |  |  | 0.49 |  | 1 | Kinga |  | 3 | 2 | 90639
2 | 0.20 | 8 | Valid | 2025-05-13 | 10:46 | 2025-05-13 | 08:13 | ERIKA |  | 0.17 | 0.20 | / | / | 0.166 |  |  |  | 0.52 |  | 1 | Kinga |  | 3 | 2 | 90639
2 | 0.20 | 9 | Valid | 2025-05-13 | 10:46 | 2025-05-13 | 08:13 | ERIKA |  | 0.18 | 0.20 | / | / | 0.171 |  |  | 4.098 | 0.72 |  | 1 | Kinga |  | 3 | 2 | 90639
2 | 0.20 | 10 | Valid | 2025-05-13 | 10:47 | 2025-05-13 | 08:13 | ERIKA |  | 0.18 | 0.19 | / | / | 0.170 |  |  | 4.081 | 0.69 |  | 1 | Kinga |  | 3 | 2 | 90639
3 | 0.80 | 11 | Valid | 2025-05-13 | 10:48 | 2025-05-13 | 08:13 | ERIKA |  | 0.73 | 0.79 | / | / | 0.583 |  |  | 4.075 | 0.46 |  | 1 | Kinga |  | 3 | 3 | 90639
3 | 0.80 | 12 | Valid | 2025-05-13 | 10:49 | 2025-05-13 | 08:13 | ERIKA |  | 0.74 | 0.81 | / | / | 0.595 |  |  | 4.095 | 0.42 |  | 1 | Kinga |  | 3 | 3 | 90639
3 | 0.80 | 13 | Valid | 2025-05-13 | 10:49 | 2025-05-13 | 08:13 | ERIKA |  | 0.74 | 0.80 | / | / | 0.597 |  |  | 4.091 | 0.41 |  | 1 | Kinga |  | 3 | 3 | 90639
3 | 0.80 | 14 | Valid | 2025-05-13 | 10:50 | 2025-05-13 | 08:13 | ERIKA |  | 0.75 | 0.82 | / | / | 0.600 |  |  | 4.088 | 0.74 |  | 1 | Kinga |  | 3 | 3 | 90639
1 | 0.00 | 15 | Valid | 2025-05-13 | 10:51 | 2025-05-13 | 08:13 | ERIKA |  | 0.01 | 0.00 | / | / | 0.005 |  |  | 4.053 | 0.57 |  | 1 | Kinga |  | 3 | 1 | 90639
1 | 0.00 | 16 | Valid | 2025-05-13 | 10:51 | 2025-05-13 | 08:13 | ERIKA |  | 0.00 | 0.00 | / | / | 0.003 |  |  | 4.065 | 0.53 |  | 1 | Kinga |  | 3 | 1 | 90639
1 | 0.00 | 17 | Valid | 2025-05-13 | 10:52 | 2025-05-13 | 08:13 | ERIKA |  | 0.00 | 0.00 | / | / | 0.002 |  |  | 4.069 | 0.43 |  | 1 | Kinga |  | 3 | 1 | 90639
1 | 0.00 | 18 | P/FINAL | 2025-05-20 | 12:58 | 2025-05-20 | 11:12 | MARA | 1 | 0.00 | 0.00 | / | / | -0.001 |  |  |  | 2.98 |  | 1 | Brigitta P |  | 3 | 1
1 | 0.00 | 19 | P/FINAL | 2025-05-20 | 12:59 | 2025-05-20 | 11:12 | MARA | 1 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 5.91 |  | 1 | Brigitta P |  | 3 | 1
1 | 0.00 | 20 | P/FINAL | 2025-05-20 | 13:00 | 2025-05-20 | 11:12 | MARA | 1 | 0.00 | 0.00 | / | / | 0.003 |  |  | 4.059 | 2.80 | 72 | 1 | Brigitta P |  | 3 | 1
2 | 0.20 | 21 | P/FINAL | 2025-05-20 | 13:00 | 2025-05-20 | 11:12 | MARA | 1 | 0.19 | 0.22 | / | / | 0.184 |  |  |  | 0.45 | 73 | 1 | Brigitta P |  | 3 | 2
2 | 0.20 | 22 | P/FINAL | 2025-05-20 | 13:01 | 2025-05-20 | 11:12 | MARA | 1 | 0.19 | 0.22 | / | / | 0.185 |  |  | 4.077 | 0.43 | 90 | 1 | Brigitta P |  | 3 | 2
2 | 0.20 | 23 | P/FINAL | 2025-05-20 | 13:02 | 2025-05-20 | 11:12 | MARA | 1 | 0.20 | 0.23 | / | / | 0.189 |  |  |  | 0.36 |  | 1 | Brigitta P |  | 3 | 2
3 | 0.80 | 24 | P/FINAL | 2025-05-20 | 13:03 | 2025-05-20 | 11:12 | MARA | 1 | 0.78 | 0.86 | / | / | 0.619 |  |  |  | 0.51 | 80 | 1 | Brigitta P |  | 3 | 3
3 | 0.80 | 25 | P/FINAL | 2025-05-20 | 13:05 | 2025-05-20 | 11:12 | MARA | 1 | 0.79 | 0.87 | / | / | 0.625 |  |  |  | 0.78 | 75 | 1 | Brigitta P |  | 3 | 3
3 | 0.80 | 26 | P/FINAL | 2025-05-20 | 13:06 | 2025-05-20 | 11:12 | MARA | 1 | 0.81 | 0.89 | / | / | 0.635 |  |  |  | 0.37 | 78 | 1 | Brigitta P |  | 3 | 3
3 | 0.80 | 27 | P/FINAL | 2025-05-20 | 15:43 | 2025-05-20 | 14:23 | TAMARA | 1 | 0.74 | 0.84 | / | / | 0.596 |  |  |  | 5.10 | 85 | 1 | Kinga |  | 3 | 3
3 | 0.80 | 28 | P/FINAL | 2025-05-20 | 15:44 | 2025-05-20 | 14:23 | TAMARA | 1 | 0.75 | 0.83 | / | / | 0.600 |  |  | 4.062 | 2.75 | 72 | 1 | Kinga |  | 3 | 3
2 | 0.20 | 29 | P/FINAL | 2025-05-20 | 15:45 | 2025-05-20 | 14:23 | TAMARA | 1 | 0.19 | 0.22 | / | / | 0.184 |  |  |  | 2.39 |  | 1 | Kinga |  | 3 | 2
2 | 0.20 | 30 | P/FINAL | 2025-05-20 | 15:46 | 2025-05-20 | 14:23 | TAMARA | 1 | 0.18 | 0.21 | / | / | 0.173 |  |  |  | 0.96 |  | 1 | Kinga |  | 3 | 2
1 | 0.00 | 31 | P/FINAL | 2025-05-20 | 15:47 | 2025-05-20 | 14:23 | TAMARA | 1 | 0.01 | 0.00 | / | / | 0.005 |  |  | 4.077 | 0.74 |  | 1 | Kinga |  | 3 | 1
1 | 0.00 | 32 | P/FINAL | 2025-05-20 | 15:48 | 2025-05-20 | 14:23 | TAMARA | 1 | 0.01 | 0.00 | / | / | 0.005 |  |  |  | 0.80 |  | 1 | Kinga |  | 3 | 1
3 | 0.80 | 33 | P/FINAL | 2025-05-21 | 07:47 | 2025-05-21 | 06:44 | MARA | 1 | 0.82 | 0.92 | / | / | 0.642 |  |  |  | 0.46 |  | 1 | Brigitta P |  | 3 | 3 | 101222
3 | 0.80 | 34 | P/FINAL | 2025-05-21 | 07:48 | 2025-05-21 | 06:44 | MARA | 1 | 0.81 | 0.92 | / | / | 0.639 |  |  |  | 0.46 |  | 1 | Brigitta P |  | 3 | 3 | 101222
3 | 0.80 | 35 | P/FINAL | 2025-05-21 | 07:49 | 2025-05-21 | 06:44 | MARA | 1 | 0.82 | 0.92 | / | / | 0.642 |  |  |  | 0.58 | 100 | 1 | Brigitta P |  | 3 | 3 | 101222
2 | 0.20 | 36 | P/FINAL | 2025-05-21 | 07:50 | 2025-05-21 | 06:44 | MARA | 1 | 0.20 | 0.22 | / | / | 0.191 |  |  |  | 1.30 |  | 1 | Brigitta P |  | 3 | 2 | 101222
2 | 0.20 | 37 | P/FINAL | 2025-05-21 | 07:51 | 2025-05-21 | 06:44 | MARA | 1 | 0.20 | 0.22 | / | / | 0.191 |  |  |  | 1.49 | 96 | 1 | Brigitta P |  | 3 | 2 | 101222
1 | 0.00 | 38 | P/FINAL | 2025-05-21 | 07:54 | 2025-05-21 | 06:44 | MARA | 1 | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 4.95 |  | 1 | Brigitta P |  | 3 | 1 | 101222
1 | 0.00 | 39 | P/FINAL | 2025-05-21 | 07:54 | 2025-05-21 | 06:44 | MARA | 1 | 0.00 | 0.01 | / | / | 0.002 |  |  |  | 4.39 |  | 1 | Brigitta P |  | 3 | 1 | 101222
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 14 | 0.21 mg/L | 7 | 14 | 0.21 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 0.84 mg/L | 8 | 16 | 0.84 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 14 | 0 mg/L | 7 | 14 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.00 | YES
0.20 | 0.15 ÷ 0.25 | 0.21 | YES
0.80 | 0.73 ÷ 0.87 | 0.84 | YES
Validation Date | by