## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI93712C-0
1118 | HI93712C-0 | CP-R38 | W 30/1 |  | Parameter Formula | Al
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Aluminum Reagent C | 2030-07-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
90 | 80 | 100
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1036 | 1042 | 1118
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-05-01 | 2030-05-01 | 2030-07-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 1.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-07-25 | 2025-09-26 | 1 HEAD
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97712 | CTO-629
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-781
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.04 |  | MR41 |  | 0.04 | & | 4% | 100% |  | 2.6 | 2.4 | 2.8
2 | 0.20 | 0.15 | 0.25 | [8 empty] | 3.3 | 3.2 | 3.5
3 | 0.80 | 0.73 | 0.87 | [8 empty] | 3.8 | 3.7 | 4.0
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old C | `2025/07/25 | 08:49 | 2025-07-25 | 07:28 | ERIKA |  | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.79 |  | 1 | Kinga |  | 3 | 1
1 | 0.00 | 2 | Old C | `2025/07/25 | 08:49 | 2025-07-25 | 07:28 | ERIKA |  | 0.00 | 0.01 | / | / | 0.001 |  |  |  | 0.66 |  | 1 | Kinga |  | 3 | 1
2 | 0.20 | 3 | Old C | `2025/07/25 | 08:56 | 2025-07-25 | 07:28 | ERIKA |  | 0.16 | 0.17 | / | / | 0.149 |  |  |  | 0.79 |  | 1 | Kinga |  | 3 | 2
2 | 0.20 | 4 | Old C | `2025/07/25 | 08:57 | 2025-07-25 | 07:28 | ERIKA |  | 0.16 | 0.18 | / | / | 0.159 |  |  |  | 1.96 |  | 1 | Kinga |  | 3 | 2
3 | 0.80 | 5 | Old C | `2025/07/25 | 09:02 | 2025-07-25 | 07:28 | ERIKA |  | 0.74 | 0.81 | / | / | 0.643 |  |  |  | 1.16 |  | 1 | Kinga |  | 3 | 3
3 | 0.80 | 6 | Old C | 2025-07-25 | 09:02 | 2025-07-25 | 07:28 | ERIKA |  | 0.73 | 0.78 | / | / | 0.571 |  |  |  | 1.22 |  | 1 | Kinga |  | 3 | 3
1 | 0.00 | 7 | Valid | 2025-07-25 | 09:04 | 2025-07-25 | 07:28 | ERIKA |  | 0.00 | 0.00 | / | / | -0.001 |  |  |  | 1.79 |  | 1 | Kinga |  | 3 | 1
1 | 0.00 | 8 | Valid | 2025-07-25 | 09:05 | 2025-07-25 | 07:28 | ERIKA |  | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 1.60 |  | 1 | Kinga |  | 3 | 1
1 | 0.00 | 9 | Valid | 2025-07-25 | 09:06 | 2025-07-25 | 07:28 | ERIKA |  | 0.00 | 0.00 | / | / | 0.003 |  |  | 4.098 | 1.21 |  | 1 | Kinga |  | 3 | 1
2 | 0.20 | 10 | Valid | 2025-07-25 | 09:07 | 2025-07-25 | 07:28 | ERIKA |  | 0.15 | 0.16 | / | / | 0.141 |  |  |  | 3.37 |  | 1 | Kinga |  | 3 | 2
2 | 0.20 | 11 | Valid | 2025-07-25 | 09:07 | 2025-07-25 | 07:28 | ERIKA |  | 0.16 | 0.18 | / | / | 0.148 |  |  |  | 4.05 |  | 1 | Kinga |  | 3 | 2
2 | 0.20 | 12 | Valid | 2025-07-25 | 09:08 | 2025-07-25 | 07:28 | ERIKA |  | 0.17 | 0.18 | / | / | 0.168 |  |  | 4.118 | 3.63 |  | 1 | Kinga |  | 3 | 2
3 | 0.80 | 13 | Valid | 2025-07-25 | 09:11 | 2025-07-25 | 07:28 | ERIKA |  | 0.73 | 0.74 | / | / | 0.563 |  |  |  | 0.83 |  | 1 | Kinga |  | 3 | 3
3 | 0.80 | 14 | Valid | 2025-07-25 | 09:12 | 2025-07-25 | 07:28 | ERIKA |  | 0.73 | 0.75 | / | / | 0.563 |  |  |  | 0.82 |  | 1 | Kinga |  | 3 | 3
3 | 0.80 | 15 | Valid | 2025-07-25 | 09:13 | 2025-07-25 | 07:28 | ERIKA |  | 0.74 | 0.79 | / | / | 0.585 |  |  | 4.091 | 0.79 |  | 1 | Kinga |  | 3 | 3
1 | 0.00 | 16 | Old C | 2025-07-29 | 08:48 | 2025-07-28 | 16:50 | TAMARA |  | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 0.49 |  | 1 | Andrea V |  | 3 | 1
1 | 0.00 | 17 | Old C | 2025-07-29 | 08:49 | 2025-07-28 | 16:50 | TAMARA |  | 0.00 | 0.00 | / | / | -0.006 |  |  |  | 0.50 |  | 1 | Andrea V |  | 3 | 1
2 | 0.20 | 18 | Old C | 2025-07-29 | 08:50 | 2025-07-28 | 16:50 | TAMARA |  | 0.16 | 0.17 | / | / | 0.153 |  |  |  | 0.52 |  | 1 | Andrea V |  | 3 | 2
2 | 0.20 | 19 | Old C | 2025-07-29 | 08:51 | 2025-07-28 | 16:50 | TAMARA |  | 0.16 | 0.18 | / | / | 0.158 |  |  |  | 0.49 |  | 1 | Andrea V |  | 3 | 2
3 | 0.80 | 20 | Old C | 2025-07-29 | 08:52 | 2025-07-28 | 16:50 | TAMARA |  | 0.75 | 0.81 | / | / | 0.545 |  |  |  | 1.13 |  | 1 | Andrea V |  | 3 | 3
3 | 0.80 | 21 | Old C | 2025-07-29 | 08:53 | 2025-07-28 | 16:50 | TAMARA |  | 0.75 | 0.81 | / | / | 0.550 |  |  |  | 0.84 |  | 1 | Andrea V |  | 3 | 3
1 | 0.00 | 22 | P/FINAL | 2025-07-29 | 09:13 | 2025-07-28 | 16:50 | TAMARA |  | 0.00 | 0.00 | / | / | -0.001 |  |  |  | 0.52 |  | 1 | Andrea V |  | 3 | 1
1 | 0.00 | 23 | P/FINAL | 2025-07-29 | 09:14 | 2025-07-28 | 16:50 | TAMARA |  | 0.00 | 0.00 | / | / | -0.004 |  |  | 4.108 | 0.52 |  | 1 | Andrea V |  | 3 | 1
2 | 0.20 | 24 | P/FINAL | 2025-07-29 | 09:16 | 2025-07-28 | 16:50 | TAMARA |  | 0.16 | 0.18 | / | / | 0.153 |  |  |  | 0.81 | 87 | 1 | Andrea V |  | 3 | 2
2 | 0.20 | 25 | P/FINAL | 2025-07-29 | 09:17 | 2025-07-28 | 16:50 | TAMARA |  | 0.17 | 0.19 | / | / | 0.160 |  |  | 4.084 | 0.89 | 86 | 1 | Andrea V |  | 3 | 2
2 | 0.20 | 26 | P/FINAL | 2025-07-29 | 09:17 | 2025-07-28 | 16:50 | TAMARA |  | 0.17 | 0.19 | / | / | 0.160 |  |  |  | 0.80 | 85 | 1 | Andrea V |  | 3 | 2
3 | 0.80 | 27 | P/FINAL | 2025-07-29 | 09:22 | 2025-07-28 | 16:50 | TAMARA |  | 0.74 | 0.78 | / | / | 0.595 |  |  | 4.085 | 0.77 | 89 | 1 | Andrea V |  | 3 | 3
3 | 0.80 | 28 | P/FINAL | 2025-07-29 | 09:25 | 2025-07-28 | 16:50 | TAMARA |  | 0.76 | 0.84 | / | / | 0.604 |  |  |  | 1.36 | 63 | 1 | Andrea V |  | 3 | 3
3 | 0.80 | 29 | P/FINAL | 2025-07-29 | 09:25 | 2025-07-28 | 16:50 | TAMARA |  | 0.78 | 0.87 | / | / | 0.619 |  |  |  | 0.86 | 83 | 1 | Andrea V |  | 3 | 3
1 | 0.00 | 30 | P/FINAL | 2025-07-29 | 09:34 | 2025-07-29 | 06:35 | MARA | 1 | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.52 |  | 1 | Andrea V |  | 3 | 1
1 | 0.00 | 31 | P/FINAL | 2025-07-29 | 09:35 | 2025-07-29 | 06:35 | MARA | 1 | 0.01 | 0.00 | / | / | 0.004 |  |  | 4.143 | 0.54 |  | 1 | Andrea V |  | 3 | 1
2 | 0.20 | 32 | P/FINAL | 2025-07-29 | 09:40 | 2025-07-29 | 06:35 | MARA | 1 | 0.17 | 0.19 | / | / | 0.163 |  |  |  | 0.71 | 87 | 1 | Andrea V |  | 3 | 2
2 | 0.20 | 33 | P/FINAL | 2025-07-29 | 09:41 | 2025-07-29 | 06:35 | MARA | 1 | 0.17 | 0.19 | / | / | 0.160 |  |  |  | 0.65 | 86 | 1 | Andrea V |  | 3 | 2
2 | 0.20 | 34 | P/FINAL | 2025-07-29 | 09:42 | 2025-07-29 | 06:35 | MARA | 1 | 0.17 | 0.20 | / | / | 0.166 |  |  | 4.154 | 0.71 | 89 | 1 | Andrea V |  | 3 | 2
3 | 0.80 | 35 | P/FINAL | 2025-07-29 | 09:46 | 2025-07-29 | 06:35 | MARA | 1 | 0.74 | 0.81 | / | / | 0.594 |  |  |  | 1.02 | 73 | 1 | Andrea V |  | 3 | 3
3 | 0.80 | 36 | P/FINAL | 2025-07-29 | 09:46 | 2025-07-29 | 06:35 | MARA | 1 | 0.74 | 0.83 | / | / | 0.597 |  |  | 4.128 | 1.01 | 103 | 1 | Andrea V |  | 3 | 3
3 | 0.80 | 37 | P/FINAL | 2025-07-29 | 09:47 | 2025-07-29 | 06:35 | MARA | 1 | 0.74 | 0.82 | / | / | 0.594 |  |  |  | 0.77 | 90 | 1 | Andrea V |  | 3 | 3
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0 mg/L | 4 | 8 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.18 mg/L | 6 | 12 | 0.18 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.79 mg/L | 6 | 12 | 0.79 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.00 | YES
0.20 | 0.15 ÷ 0.25 | 0.18 | YES
0.80 | 0.73 ÷ 0.87 | 0.79 | YES
Validation Date | by