## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI93712C-0
1247 | HI93712C-0 | CP-R38 | W 47/1 |  | Parameter Formula | Al
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Aluminum Reagent C | 2030-11-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
90 | 80 | 100
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
0950 | 1160 | 1247
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-03-01 | 2030-09-01 | 2030-11-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 1.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-11-20 | 2025-12-08 | TABLET 3
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-832 | HI97712 | CTO-629
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.20 | 0.15 | 0.25 |  | MR41 |  | 0.04 | & | 4% | 100% |  | 2.6 | 2.4 | 2.8
3 | 0.80 | 0.73 | 0.87 | [8 empty] | 3.3 | 3.2 | 3.5
1 | 0.00 | 0.00 | 0.04 | [8 empty] | 3.8 | 3.7 | 4.0
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97712 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.20 | 1 | Valid | 2025-11-20 | 15:48 | 2025-11-20 | 12:26 | ERIKA |  | 0.17 | 0.20 | / | / | 0.167 |  |  | 3.939 | 0.89 |  | 1 | Andrea V |  | 3 | 2 | 92408
3 | 0.80 | 2 | Valid | 2025-11-20 | 15:52 | 2025-11-20 | 12:26 | ERIKA |  | 0.73 | 0.83 | / | / | 0.589 |  |  | 3.936 | 2.39 |  | 1 | Andrea V |  | 3 | 3 | 92408
1 | 0.00 | 3 | Valid | 2025-11-20 | 16:01 | 2025-11-20 | 12:26 | ERIKA |  | 0.04 | 0.05 | / | / | 0.012 |  |  |  | 0.70 |  | 1 | Andrea V |  | 3 | 1 | 92408
1 | 0.00 | 4 | Valid | 2025-11-20 | 16:01 | 2025-11-20 | 12:26 | ERIKA |  | 0.01 | 0.01 | / | / | 0.009 |  |  |  | 0.92 |  | 1 | Andrea V |  | 3 | 1 | 92408
2 | 0.20 | 5 | Valid | 2025-11-20 | 16:10 | 2025-11-20 | 12:26 | ERIKA |  | 0.19 | 0.21 | / | / | 0.181 |  |  |  | 0.48 |  | 1 | Andrea V |  | 3 | 2 | 92408
2 | 0.20 | 6 | Valid | 2025-11-20 | 16:10 | 2025-11-20 | 12:26 | ERIKA |  | 0.18 | 0.21 | / | / | 0.176 |  |  |  | 0.50 |  | 1 | Andrea V |  | 3 | 2 | 92408
3 | 0.80 | 7 | Valid | 2025-11-20 | 16:14 | 2025-11-20 | 12:26 | ERIKA |  | 0.75 | 0.87 | / | / | 0.603 |  |  |  | 2.55 |  | 1 | Andrea V |  | 3 | 3 | 92408
3 | 0.80 | 8 | Valid | 2025-11-20 | 16:14 | 2025-11-20 | 12:26 | ERIKA |  | 0.76 | 0.85 | / | / | 0.608 |  |  |  | 1.33 |  | 1 | Andrea V |  | 3 | 3 | 92408
2 | 0.20 | 9 | Old C | 2025-12-05 | 12:41 | 2025-12-05 | 07:51 | MARA | 1 | 0.16 | 0.17 | / | / | 0.153 |  |  |  | 1.58 |  | 1 | Kinga |  | 3 | 2
2 | 0.20 | 10 | Old C | 2025-12-05 | 12:42 | 2025-12-05 | 07:51 | MARA | 1 | 0.15 | 0.20 | / | / | 0.147 |  |  |  | 1.82 |  | 1 | Kinga |  | 3 | 2
1 | 0.00 | 11 | Old C | 2025-12-05 | 12:51 | 2025-12-05 | 07:51 | MARA | 1 | 0.00 | 0.00 | / | / | -0.006 |  |  |  | 0.96 |  | 1 | Kinga |  | 3 | 1
1 | 0.00 | 12 | Old C | 2025-12-05 | 12:52 | 2025-12-05 | 07:51 | MARA | 1 | 0.00 | 0.00 | / | / | -0.005 |  |  |  | 0.72 |  | 1 | Kinga |  | 3 | 1
3 | 0.80 | 13 | P/FINAL | 2025-12-05 | 14:26 | 2025-12-05 | 07:51 | MARA | 1 | 0.73 | 0.80 | / | / | 0.586 |  |  |  | 0.72 | 107 | 1 | Kinga |  | 3 | 3
3 | 0.80 | 14 | P/FINAL | 2025-12-05 | 14:27 | 2025-12-05 | 07:51 | MARA | 1 | 0.74 | 0.79 | / | / | 0.579 |  |  | 4.060 | 0.54 | 123 | 1 | Kinga |  | 3 | 3
3 | 0.80 | 15 | P/FINAL | 2025-12-05 | 14:28 | 2025-12-05 | 07:51 | MARA | 1 | 0.77 | 0.86 | / | / | 0.613 |  |  |  | 1.59 | 84 | 1 | Kinga |  | 3 | 3
2 | 0.20 | 16 | P/FINAL | 2025-12-05 | 14:29 | 2025-12-05 | 07:51 | MARA | 1 | 0.17 | 0.18 | / | / |  |  |  |  | 1.18 | 111 | 1 | Kinga |  | 3 | 2
2 | 0.20 | 17 | P/FINAL | 2025-12-05 | 14:29 | 2025-12-05 | 07:51 | MARA | 1 | 0.17 | 0.19 | / | / | 0.166 |  |  | 4.113 | 2.44 | 98 | 1 | Kinga |  | 3 | 2
2 | 0.20 | 18 | P/FINAL | 2025-12-05 | 14:30 | 2025-12-05 | 07:51 | MARA | 1 | 0.18 | 0.19 | / | / | 0.170 |  |  |  | 2.44 | 85 | 1 | Kinga |  | 3 | 2
1 | 0.00 | 19 | P/FINAL | 2025-12-05 | 14:32 | 2025-12-05 | 07:51 | MARA | 1 | 0.00 | 0.00 | / | / | -0.009 |  |  |  | 0.92 |  | 1 | Kinga |  | 3 | 1
1 | 0.00 | 20 | P/FINAL | 2025-12-05 | 14:32 | 2025-12-05 | 07:51 | MARA | 1 | 0.00 | 0.00 | / | / | -0.003 |  |  | 4.111 | 0.92 | 97 | 1 | Kinga |  | 3 | 1
2 | 0.20 | 21 | P/FINAL | 2025-12-05 | 15:43 | 2025-12-05 | 14:05 | TAMARA | 2 | 0.17 | 0.20 | / | / | 0.162 |  |  |  | 6.45 | 84 | 1 | Andrea V |  | 3 | 2
2 | 0.20 | 22 | P/FINAL | 2025-12-05 | 15:43 | 2025-12-05 | 14:05 | TAMARA | 2 | 0.18 | 0.21 | / | / | 0.169 |  |  |  | 2.61 | 107 | 1 | Andrea V |  | 3 | 2
2 | 0.20 | 23 | P/FINAL | 2025-12-05 | 15:43 | 2025-12-05 | 14:05 | TAMARA | 2 | 0.17 | 0.19 | / | / | 0.164 |  |  |  | 0.90 | 104 | 1 | Andrea V |  | 3 | 2
3 | 0.80 | 24 | P/FINAL | 2025-12-05 | 15:44 | 2025-12-05 | 14:05 | TAMARA | 2 | 0.73 | 0.83 | / | / | 0.586 |  |  |  | 1.34 | 99 | 1 | Andrea V |  | 3 | 3
3 | 0.80 | 25 | P/FINAL | 2025-12-05 | 15:44 | 2025-12-05 | 14:05 | TAMARA | 2 | 0.75 | 0.85 | / | / | 0.599 |  |  |  | 0.60 |  | 1 | Andrea V |  | 3 | 3
3 | 0.80 | 26 | P/FINAL | 2025-12-05 | 15:45 | 2025-12-05 | 14:05 | TAMARA | 2 | 0.73 | 0.81 | / | / | 0.587 |  |  |  | 0.45 |  | 1 | Andrea V |  | 3 | 3
1 | 0.00 | 27 | P/FINAL | 2025-12-05 | 15:45 | 2025-12-05 | 14:05 | TAMARA | 2 | 0.00 | 0.00 | / | / | -0.010 |  |  |  | 0.48 |  | 1 | Andrea V |  | 3 | 1
1 | 0.00 | 28 | P/FINAL | 2025-12-05 | 15:45 | 2025-12-05 | 14:05 | TAMARA | 2 | 0.00 | 0.00 | / | / | -0.002 |  |  |  | 0.51 |  | 1 | Andrea V |  | 3 | 1
1 | 0.00 | 29 | P/FINAL | 2025-12-08 | 10:32 | 2025-12-08 | 06:43 | TAMARA | 1 | 0.00 | 0.01 | / | / | -0.001 |  |  |  | 0.54 |  | 1 | Andrea V |  | 3 | 1
1 | 0.00 | 30 | P/FINAL | 2025-12-08 | 10:32 | 2025-12-08 | 06:43 | TAMARA | 1 | 0.00 | 0.00 | / | / | -0.002 |  |  | 4.123 | 0.37 | 122 | 1 | Andrea V |  | 3 | 1
2 | 0.20 | 31 | P/FINAL | 2025-12-08 | 10:33 | 2025-12-08 | 06:43 | TAMARA | 1 | 0.15 | 0.18 | / | / | 0.148 |  |  |  | 11.47 |  | 1 | Andrea V |  | 3 | 2
2 | 0.20 | 32 | P/FINAL | 2025-12-08 | 10:33 | 2025-12-08 | 06:43 | TAMARA | 1 | 0.16 | 0.18 | / | / | 0.152 |  |  |  | 0.75 | 96 | 1 | Andrea V |  | 3 | 2
2 | 0.20 | 33 | P/FINAL | 2025-12-08 | 10:33 | 2025-12-08 | 06:43 | TAMARA | 1 | 0.15 | 0.18 | / | / | 0.150 |  |  | 4.102 | 2.95 | 118 | 1 | Andrea V |  | 3 | 2
3 | 0.80 | 34 | P/FINAL | 2025-12-08 | 10:34 | 2025-12-08 | 06:43 | TAMARA | 1 | 0.74 | 0.80 | / | / | 0.592 |  |  |  | 2.43 |  | 1 | Andrea V |  | 3 | 3
3 | 0.80 | 35 | P/FINAL | 2025-12-08 | 10:35 | 2025-12-08 | 06:43 | TAMARA | 1 | 0.74 | 0.84 | / | / | 0.597 |  |  | 4.008 | 2.46 | 144 | 1 | Andrea V |  | 3 | 3
3 | 0.80 | 36 | P/FINAL | 2025-12-08 | 10:36 | 2025-12-08 | 06:43 | TAMARA | 1 | 0.73 | 0.82 | / | / | 0.591 |  |  |  | 1.27 | 87 | 1 | Andrea V |  | 3 | 3
3 | 0.80 | 37 | Old C | 2025-12-08 | 10:36 | 2025-12-08 | 06:43 | TAMARA | 1 | 0.74 | 0.82 | / | / | 0.595 |  |  |  | 1.96 |  | 1 | Andrea V |  | 3 | 3
3 | 0.80 | 38 | Old C | 2025-12-08 | 10:36 | 2025-12-08 | 06:43 | TAMARA | 1 | 0.74 | 0.82 | / | / | 0.592 |  |  |  | 3.34 |  | 1 | Andrea V |  | 3 | 3
2 | 0.20 | 39 | Old C | 2025-12-08 | 10:36 | 2025-12-08 | 06:43 | TAMARA | 1 | 0.15 | 0.17 | / | / | 0.141 |  |  |  | 1.44 |  | 1 | Andrea V |  | 3 | 2
2 | 0.20 | 40 | Old C | 2025-12-08 | 10:37 | 2025-12-08 | 06:43 | TAMARA | 1 | 0.15 | 0.18 | / | / | 0.147 |  |  |  | 1.41 |  | 1 | Andrea V |  | 3 | 2
1 | 0.00 | 41 | Old C | 2025-12-08 | 10:37 | 2025-12-08 | 06:43 | TAMARA | 1 | 0.00 | 0.00 | / | / | -0.002 |  |  |  | 0.38 |  | 1 | Andrea V |  | 3 | 1
1 | 0.00 | 42 | Old C | 2025-12-08 | 10:37 | 2025-12-08 | 06:43 | TAMARA | 1 | 0.00 | 0.00 | / | / | -0.006 |  |  |  | 0.36 |  | 1 | Andrea V |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 0.18 mg/L | 9 | 18 | 0.18 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 0.78 mg/L | 9 | 18 | 0.78 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0 mg/L | 6 | 12 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.00 | YES
0.20 | 0.15 ÷ 0.25 | 0.18 | YES
0.80 | 0.73 ÷ 0.87 | 0.78 | YES
Validation Date | by