## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI93712C-0
TEST CM 163-2 | HI93712C-0 | CP-R38 | W 30/1 |  | Parameter Formula | Al
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Aluminum Reagent C | 2030-07-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
90 | 80 | 100
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1098 | 1042 | TEST CM 163-2
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-07-01 | 2030-05-01 | 2030-07-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 1.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-07-23 | 2025-07-24 | 1 HEAD
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97712 | CTO-629
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.04 |  | MR41 |  | 0.04 | & | 4% | 100% |  | 2.6 | 2.4 | 2.8
3 | 0.80 | 0.73 | 0.87 | [8 empty] | 3.3 | 3.2 | 3.5
2 | 0.20 | 0.15 | 0.25 | [8 empty] | 3.8 | 3.7 | 4.0
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old C | 2025-07-23 | 11:26 | 2025-07-23 | 10:43 | ERIKA |  | 0.00 | 0.00 | / | / | -0.003 |  |  |  | 0.43 |  | 1 | Kinga |  | 3 | 1
1 | 0.00 | 2 | Old C | 2025-07-23 | 11:27 | 2025-07-23 | 10:43 | ERIKA |  | 0.00 | 0.01 | / | / | 0.002 |  |  | 4.103 | 3.10 |  | 1 | Kinga |  | 3 | 1
3 | 0.80 | 3 | Old C | 2025-07-23 | 11:29 | 2025-07-23 | 10:43 | ERIKA |  | 0.74 | 0.79 | / | / | 0.586 |  |  |  | 4.97 |  | 1 | Kinga |  | 3 | 3
3 | 0.80 | 4 | Old C | 2025-07-23 | 11:31 | 2025-07-23 | 10:43 | ERIKA |  | 0.74 | 0.76 | / | / | 0.585 |  |  | 4.089 | 1.78 |  | 1 | Kinga |  | 3 | 3
2 | 0.20 | 5 | Old C | 2025-07-23 | 11:35 | 2025-07-23 | 10:43 | ERIKA |  | 0.15 | 0.17 | / | / | 0.143 |  |  | 4.119 | 7.34 |  | 1 | Kinga |  | 3 | 2
2 | 0.20 | 6 | Old C | 2025-07-23 | 11:35 | 2025-07-23 | 10:43 | ERIKA |  | 0.16 | 0.18 | / | / | 0.152 |  |  |  | 6.27 |  | 1 | Kinga |  | 3 | 2
1 | 0.00 | 7 | Test | 2025-07-23 | 11:37 | 2025-07-23 | 10:43 | ERIKA |  | 0.00 | 0.00 | / | / | -0.001 |  |  | 4.112 | 0.92 |  | 1 | Kinga |  | 3 | 1
1 | 0.00 | 8 | Test | 2025-07-23 | 11:38 | 2025-07-23 | 10:43 | ERIKA |  | 0.00 | 0.00 | / | / | -0.005 |  |  | 4.101 | 0.56 |  | 1 | Kinga |  | 3 | 1
2 | 0.20 | 9 | Test | 2025-07-23 | 11:59 | 2025-07-23 | 10:43 | ERIKA |  | 0.20 | 0.22 | / | / | 0.189 |  |  |  | 1.13 |  | 1 | Kinga |  | 3 | 2
2 | 0.20 | 10 | Test | 2025-07-23 | 12:00 | 2025-07-23 | 10:43 | ERIKA |  | 0.20 | 0.22 | / | / | 0.188 |  |  |  | 0.74 |  | 1 | Kinga |  | 3 | 2
2 | 0.20 | 11 | Test | 2025-07-23 | 12:01 | 2025-07-23 | 10:43 | ERIKA |  | 0.18 | 0.21 | / | / | 0.157 |  |  | 4.134 | 0.98 |  | 1 | Kinga |  | 3 | 2
2 | 0.20 | 12 | Test | 2025-07-23 | 12:01 | 2025-07-23 | 10:43 | ERIKA |  | 0.19 | 0.21 | / | / | 0.178 |  |  | 4.149 | 0.62 |  | 1 | Kinga |  | 3 | 2
3 | 0.80 | 13 | Test | 2025-07-23 | 12:07 | 2025-07-23 | 10:43 | ERIKA |  | 0.76 | 0.85 | / | / | 0.605 |  |  | 4.110 | 7.21 |  | 1 | Kinga |  | 3 | 3
3 | 0.80 | 14 | Test | 2025-07-23 | 12:07 | 2025-07-23 | 10:43 | ERIKA |  | 0.74 | 0.83 | / | / | 0.592 |  |  | 4.128 | 1.10 |  | 1 | Kinga |  | 3 | 3
3 | 0.80 | 15 | Test | 2025-07-23 | 12:08 | 2025-07-23 | 10:43 | ERIKA |  | 0.77 | 0.86 | / | / | 0.611 |  |  |  | 7.74 |  | 1 | Kinga |  | 3 | 3
3 | 0.80 | 16 | Test | 2025-07-23 | 12:09 | 2025-07-23 | 10:43 | ERIKA |  | 0.78 | 0.86 | / | / | 0.619 |  |  |  | 0.75 |  | 1 | Kinga |  | 3 | 3
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
0 | 0 | 0 mg/L | 0 | 0 | 0 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
0 | 0 | 0 mg/L | 0 | 0 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
0 | 0 | 0 mg/L | 0 | 0 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.00 | YES
0.20 | 0.15 ÷ 0.25 | 0.00 | NO
0.80 | 0.73 ÷ 0.87 | 0.00 | NO
Validation Date | by
2025-08-05 | Eugenia