## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3855B-0 | HI93714B-0
0856 | HI93714B-0 | CP-R39 | W49/1 |  | Parameter Formula | CN | CN
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Cyanide Reagent B | 2027-12-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
200 | 190 | 210
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
0603 | 0856 | 0539
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2027-07-01 | 2027-12-01 | 2027-04-01
Reagent Range Min | Reagent Range Max
0.000 mg/L | 0.200 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK/EVELIN | 2024-11-05 | 2024-11-06 | 1HEAD |  |  | 0401
[6 empty] | Expiration A | Expiration B | Expiration D
2027-01-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97714 | CTO-628
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.000 | 0.000 | 0.005 |  | CM327 |  | 0.005 | & | 3% | 100% |  | 6.8 | 6.7 | 7.0
3 | 0.160 | 0.150 | 0.170
2 | 0.040 | 0.034 | 0.046 | [8 empty] | 6.4 | 6.2 | 6.8
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.000 | 1 | Old B | 2024-12-03 | 09:40 | 2024-12-02 | 15:53 | MARK/EVELIN |  | 0.000 | 0.001 | / | / | 0.023 |  |  |  | 10.0 |  | 1 | Brigitta P |  | 3 | 1
1 | 0.000 | 2 | Valid | 2024-12-03 | 09:41 | 2024-12-02 | 15:53 | MARK/EVELIN |  | 0.000 | 0.001 | / | / | -0.019 |  |  |  | 6.55 |  | 1 | Brigitta P |  | 3 | 1
1 | 0.000 | 3 | Valid | 2024-12-03 | 09:42 | 2024-12-02 | 15:53 | MARK/EVELIN |  | 0.000 | 0.001 | / | / | -0.014 |  |  |  | 6.23 |  | 1 | Brigitta P |  | 3 | 1
1 | 0.000 | 4 | Old B | 2024-12-03 | 09:43 | 2024-12-02 | 15:53 | MARK/EVELIN |  | 0.000 | 0.001 | / | / | 0.019 |  |  |  | 6 |  | 1 | Brigitta P |  | 3 | 1
3 | 0.160 | 5 | Valid | 2024-12-03 | 09:49 | 2024-12-02 | 15:53 | MARK/EVELIN |  | 0.160 | 0.156 | / | / | 0.645 |  |  |  | 16.0 |  | 1 | Brigitta P |  | 3 | 3
3 | 0.160 | 6 | Valid | 2024-12-03 | 09:50 | 2024-12-02 | 15:53 | MARK/EVELIN |  | 0.154 | 0.154 | / | / | 0.621 |  |  |  | 19.7 |  | 1 | Brigitta P |  | 3 | 3
3 | 0.160 | 7 | Valid | 2024-12-03 | 09:53 | 2024-12-02 | 15:53 | MARK/EVELIN |  | 0.154 | 0.153 | / | / | 0.622 |  |  |  | 18.2 |  | 1 | Brigitta P |  | 3 | 3
3 | 0.160 | 8 | Valid | 2024-12-03 | 09:54 | 2024-12-02 | 15:53 | MARK/EVELIN |  | 0.158 | 0.157 | / | / | 0.635 |  |  |  | 12.7 |  | 1 | Brigitta P |  | 3 | 3
2 | 0.040 | 9 | Valid | 2024-12-03 | 10:00 | 2024-12-02 | 15:53 | MARK/EVELIN |  | 0.042 | 0.038 | / | / | 0.184 |  |  |  | 19.1 |  | 1 | Brigitta P |  | 3 | 2
2 | 0.040 | 10 | Valid | 2024-12-03 | 10:01 | 2024-12-02 | 15:53 | MARK/EVELIN |  | 0.042 | 0.039 | / | / | 0.182 |  |  |  | 13.6 |  | 1 | Brigitta P |  | 3 | 2
2 | 0.040 | 11 | Valid | 2024-12-03 | 10:02 | 2024-12-02 | 15:53 | MARK/EVELIN |  | 0.040 | 0.046 | / | / | 0.177 |  |  |  | 14.6 |  | 1 | Brigitta P |  | 3 | 2
2 | 0.040 | 12 | Old B | 2024-12-09 | 08:54 | 2024-12-05 | 18:43 | TAMARA |  | 0.046 | 0.046 | / | / | 0.180 |  |  |  | 50.8 |  | 1 | Kinga |  | 3 | 2
3 | 0.160 | 13 | Old B | 2024-12-09 | 08:58 | 2024-12-05 | 18:43 | TAMARA |  | 0.162 | 0.159 | / | / | 0.653 |  |  |  | 14.2 |  | 1 | Kinga |  | 3 | 3
1 | 0.000 | 14 | Old B | 2024-12-09 | 08:59 | 2024-12-05 | 18:43 | TAMARA |  | 0.000 | 0.000 | / | / | 0.011 |  |  |  | 0.32 |  | 1 | Kinga |  | 3 | 1
2 | 0.040 | 15 | P/Final | 2024-12-09 | 09:06 | 2024-12-05 | 18:43 | TAMARA |  | 0.037 | 0.041 | / | / | 0.163 |  |  | 6.252 | 32.7 | 182 | 1 | Kinga |  | 3 | 2
2 | 0.040 | 16 | P/Final | 2024-12-09 | 09:07 | 2024-12-05 | 18:43 | TAMARA |  | 0.038 | 0.037 | / | / | 0.168 |  |  |  | 12.4 | 203 | 1 | Kinga |  | 3 | 2
3 | 0.160 | 17 | P/Final | 2024-12-09 | 09:10 | 2024-12-05 | 18:43 | TAMARA |  | 0.155 | 0.153 | / | / | 0.621 |  |  | 6.248 | 18.4 | 179 | 1 | Kinga |  | 3 | 3
3 | 0.160 | 18 | P/Final | 2024-12-09 | 09:11 | 2024-12-05 | 18:43 | TAMARA |  | 0.160 | 0.161 | / | / | 0.630 |  |  |  | 19.4 | 183 | 1 | Kinga |  | 3 | 3
1 | 0.000 | 19 | P/Final | 2024-12-09 | 09:14 | 2024-12-05 | 18:43 | TAMARA |  | 0.004 | 0.005 | / | / | 0.037 |  |  | 6.229 | 38.5 |  | 1 | Kinga |  | 3 | 1
1 | 0.000 | 20 | P/Final | 2024-12-09 | 09:15 | 2024-12-05 | 18:43 | TAMARA |  | 0.001 | 0.000 | / | / | 0.027 |  |  |  | 25.2 |  | 1 | Kinga |  | 3 | 1
2 | 0.040 | 21 | P/Final | 2024-12-09 | 09:47 | 2024-12-06 | 06:55 | MARA | 1 | 0.038 | 0.036 | / | / | 0.166 |  |  | 6.217 | 42.3 | 190 | 1 | Kinga |  | 3 | 2
2 | 0.040 | 22 | P/Final | 2024-12-09 | 09:48 | 2024-12-06 | 06:55 | MARA | 1 | 0.040 | 0.035 | / | / | 0.175 |  |  |  | 46.8 | 198 | 1 | Kinga |  | 3 | 2
3 | 0.160 | 23 | P/Final | 2024-12-09 | 09:49 | 2024-12-06 | 06:55 | MARA | 1 | 0.161 | 0.159 | / | / | 0.648 |  |  | 6.235 | 42.7 | 174 | 1 | Kinga |  | 3 | 3
3 | 0.160 | 24 | P/Final | 2024-12-09 | 09:50 | 2024-12-06 | 06:55 | MARA | 1 | 0.160 | 0.157 | / | / | 0.645 |  |  |  | 44.7 | 189 | 1 | Kinga |  | 3 | 3
1 | 0.000 | 25 | P/Final | 2024-12-09 | 09:52 | 2024-12-06 | 06:55 | MARA | 1 | 0.000 | 0.000 | / | / | 0.015 |  |  | 6.248 | 17.4 | 168 | 1 | Kinga |  | 3 | 1
1 | 0.000 | 26 | P/Final | 2024-12-09 | 09:54 | 2024-12-06 | 06:55 | MARA | 1 | 0.004 | 0.000 | / | / | 0.025 |  |  |  | 10.7 | 177 | 1 | Kinga |  | 3 | 1
2 | 0.040 | 27 | P/Final | 2024-12-09 | 10:03 | 2024-12-06 | 14:36 | TAMARA | 1 | 0.046 | 0.040 | / | / | 0.198 |  |  |  | 9..79 | 189 | 1 | Kinga |  | 3 | 2
2 | 0.040 | 28 | P/Final | 2024-12-09 | 10:04 | 2024-12-06 | 14:36 | TAMARA | 1 | 0.045 | 0.039 | / | / | 0.194 |  |  | 6.239 | 41.4 | 174 | 1 | Kinga |  | 3 | 2
3 | 0.160 | 29 | P/Final | 2024-12-09 | 10:08 | 2024-12-06 | 14:36 | TAMARA | 1 | 0.155 | 0.154 | / | / | 0.624 |  |  | 6.210 | 26.7 | 198 | 1 | Kinga |  | 3 | 3
3 | 0.160 | 30 | P/Final | 2024-12-09 | 10:08 | 2024-12-06 | 14:36 | TAMARA | 1 | 0.166 | 0.155 | / | / | 0.618 |  |  |  | 23.9 | 190 | 1 | Kinga |  | 3 | 3
1 | 0.000 | 31 | P/Final | 2024-12-09 | 10:09 | 2024-12-06 | 14:36 | TAMARA | 1 | 0.002 | 0.000 | / | / | 0.107 |  |  | 6.211 | 37.6 | 192 | 1 | Kinga |  | 3 | 1
1 | 0.000 | 32 | P/Final | 2024-12-09 | 10:10 | 2024-12-06 | 14:36 | TAMARA | 1 | 0.002 | 0.000 | / | / | 0.030 |  |  | 6.212 | 49.4 | 163 | 1 | Kinga |  | 3 | 1
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.002 mg/L | 6 | 12 | 0.002 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.158 mg/L | 6 | 12 | 0.158 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.039 mg/L | 6 | 12 | 0.039 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.000 | 0.000 ÷ 0.005 | 0.002 | YES
0.040 | 0.034 ÷ 0.046 | 0.039 | YES
0.160 | 0.150 ÷ 0.170 | 0.158 | YES
Validation Date | by