## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3834-0 | HI721-0 | HI7214-0 | HI93721-0 | HI96778B-0 | HI96786-0 | MI528-0
0910 | HI721-0 | CP-R41 | W 06/1 |  | Parameter Formula | Fe III | Fe | Fe | Fe | Fe | Fe | Fe III
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Iron HR Reagent | 2030-02-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
175 | 160 | 190
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-03-11 | 2025-03-11 | 2HEAD |  |  | 0828
[6 empty] | Expiration A | Expiration B | Expiration D
2029-11-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97721 | CTO-622
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.95 | 1.05 |  | MR33 |  | 0.04 | & | 1.2% | 100% |  | 5.2 | 4.0 | 6.5
3 | 4.00 | 3.91 | 4.09
1 | 0.00 | 0.00 | 0.04
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | Old A | 2025-03-10 | 09:48 | 2025-03-07 | 17:30 | ELENA |  | 0.95 | 0.95 | / | / | 0.393 |  |  |  | 1.31 |  |  | Kinga |  | 3 | 2 | 84218
3 | 4.00 | 2 | P/Prod | 2025-03-10 | 09:49 | 2025-03-07 | 17:30 | ELENA |  | 3.93 | 3.96 | / | / | 1.537 | 5.795 |  |  | 1.40 |  |  | Kinga |  | 3 | 3 | 84218
1 | 0.00 | 3 | Old A | 2025-03-10 | 09:50 | 2025-03-07 | 17:30 | ELENA |  | 0.00 | 0.00 | / | / | 0.007 | 5.736 |  |  | 3.66 |  |  | Kinga |  | 3 | 1 | 84218
2 | 1.00 | 4 | P/Prod | 2025-03-10 | 09:56 | 2025-03-07 | 17:30 | ELENA |  | 0.95 | 0.94 | / | / | 0.390 | 5.805 |  |  | 0.54 | 171 |  | Kinga |  | 3 | 2 | 84218
2 | 1.00 | 5 | P/Prod | 2025-03-10 | 09:57 | 2025-03-07 | 17:30 | ELENA |  | 0.95 | 0.92 | / | / | 0.389 |  |  |  | 0.61 | 183 |  | Kinga |  | 3 | 2 | 84218
2 | 1.00 | 6 | P/Prod | 2025-03-10 | 09:57 | 2025-03-07 | 17:30 | ELENA |  | 0.95 | 0.93 | / | / | 0.391 |  |  |  | 1.28 | 168 |  | Kinga |  | 3 | 2 | 84218
3 | 4.00 | 7 | P/Prod | 2025-03-10 | 10:17 | 2025-03-07 | 17:30 | ELENA |  | 3.98 | 3.92 | / | / | 1.511 |  |  |  | 0.71 | 172 |  | Kinga |  | 3 | 3 | 84218
3 | 4.00 | 8 | P/Prod | 2025-03-10 | 10:18 | 2025-03-07 | 17:30 | ELENA |  | 3.88 | 3.93 | / | / | 1.519 |  |  |  | 3.23 | 174 |  | Kinga |  | 3 | 3 | 84218
3 | 4.00 | 9 | P/Prod | 2025-03-10 | 10:19 | 2025-03-07 | 17:30 | ELENA |  | 3.92 | 3.93 | / | / | 1.528 |  |  |  | 1.56 | 187 |  | Kinga |  | 3 | 3 | 84218
1 | 0.00 | 10 | P/Prod | 2025-03-10 | 10:21 | 2025-03-07 | 17:30 | ELENA |  | 0.00 | 0.00 | / | / | 0.009 |  |  |  | 0.68 |  |  | Kinga |  | 3 | 1 | 84218
1 | 0.00 | 11 | P/Prod | 2025-03-10 | 10:22 | 2025-03-07 | 17:30 | ELENA |  | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 0.66 |  |  | Kinga |  | 3 | 1 | 84218
2 | 1.00 | 12 | P/Prod | 2025-03-10 | 10:29 | 2025-03-10 | 06:41 | ELENA | 2 | 0.93 | 0.96 | / | / | 0.382 |  |  |  | 0.37 | 166 |  | Kinga |  | 3 | 2 | 84218
2 | 1.00 | 13 | P/Prod | 2025-03-10 | 10:30 | 2025-03-10 | 06:41 | ELENA | 2 | 0.95 | 0.96 | / | / | 0.388 |  |  |  | 0.61 | 172 |  | Kinga |  | 3 | 2 | 84218
2 | 1.00 | 14 | P/Prod | 2025-03-10 | 10:30 | 2025-03-10 | 06:41 | ELENA | 2 | 0.92 | 0.96 | / | / | 0.381 | 5.700 |  |  | 0.63 | 167 |  | Kinga |  | 3 | 2 | 84218
3 | 4.00 | 15 | P/Prod | 2025-03-10 | 10:32 | 2025-03-10 | 06:41 | ELENA | 2 | 3.87 | 3.92 | / | / | 1.515 |  |  |  | 0.40 | 174 |  | Kinga |  | 3 | 3 | 84218
3 | 4.00 | 16 | P/Prod | 2025-03-10 | 10:33 | 2025-03-10 | 06:41 | ELENA | 2 | 3.91 | 3.91 | / | / | 1.531 | 5.753 |  |  | 0.41 | 168 |  | Kinga |  | 3 | 3 | 84218
3 | 4.00 | 17 | P/Prod | 2025-03-10 | 10:34 | 2025-03-10 | 06:41 | ELENA | 2 | 3.93 | 3.92 | / | / | 1.537 |  |  |  | 0.42 | 177 |  | Kinga |  | 3 | 3 | 84218
1 | 0.00 | 18 | P/Prod | 2025-03-10 | 10:39 | 2025-03-10 | 06:41 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.006 | 5.495 |  |  | 0.25 |  |  | Kinga |  | 3 | 1 | 84218
1 | 0.00 | 19 | P/Prod | 2025-03-10 | 10:40 | 2025-03-10 | 06:41 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.62 |  |  | Kinga |  | 3 | 1 | 84218
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.94 mg/L | 5 | 9 | 0.95 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 14 | 3.92 mg/L | 7 | 14 | 3.92 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0 mg/L | 4 | 8 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.00 | YES
1.00 | 0.95 ÷ 1.05 | 0.95 | YES
4.00 | 3.91 ÷ 4.09 | 3.92 | YES
Validation Date | by