## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3834-0 | HI721-0 | HI7214-0 | HI93721-0 | HI96778B-0 | HI96786-0 | MI528-0
1145 | HI721-0 | CP-R41 | W 32/1 |  | Parameter Formula | Fe III | Fe | Fe | Fe | Fe | Fe | Fe III
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Iron HR Reagent | 2030-08-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
175 | 160 | 190
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-08-29 | 2025-09-17 | 2 HEAD |  |  | 1051
[6 empty] | Expiration A | Expiration B | Expiration D
2030-05-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97721 | CTO-622
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.04 |  | MR33 |  | 0.04 | & | 1.2% | 100% |  | 5.2 | 4.0 | 6.5
2 | 1.00 | 0.95 | 1.05
3 | 4.00 | 3.91 | 4.09
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97721 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2025-08-29 | 14:00 | 2025-08-29 | 09:12 | FLORICA | 2 | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 0.39 |  |  | Kinga |  | 3 | 1 | 105130
1 | 0.00 | 2 | Old A | 2025-08-29 | 14:01 | 2025-08-29 | 09:12 | FLORICA | 2 | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 0.79 |  |  | Kinga |  | 3 | 1 | 105130
2 | 1.00 | 3 | Old A | 2025-08-29 | 14:01 | 2025-08-29 | 09:12 | FLORICA | 2 | 0.95 | 0.95 | / | / | 0.392 |  |  |  | 1.40 |  |  | Kinga |  | 3 | 2 | 105130
2 | 1.00 | 4 | Old A | 2025-08-29 | 14:02 | 2025-08-29 | 09:12 | FLORICA | 2 | 0.96 | 0.97 | / | / | 0.397 |  |  |  | 0.67 |  |  | Kinga |  | 3 | 2 | 105130
3 | 4.00 | 5 | Old A | 2025-08-29 | 14:02 | 2025-08-29 | 09:12 | FLORICA | 2 | 3.96 | 4.01 | / | / | 1.551 |  |  |  | 0.43 |  |  | Kinga |  | 3 | 3 | 105130
3 | 4.00 | 6 | Old A | 2025-08-29 | 14:03 | 2025-08-29 | 09:12 | FLORICA | 2 | 3.97 | 4.02 | / | / | 1.552 |  |  |  | 0.67 |  |  | Kinga |  | 3 | 3 | 105130
1 | 0.00 | 7 | P/FINAL | 2025-08-29 | 14:03 | 2025-08-29 | 09:12 | FLORICA | 2 | 0.00 | 0.00 | / | / | 0.008 | 5.757 |  |  | 0.39 |  |  | Kinga |  | 3 | 1 | 105130
1 | 0.00 | 8 | P/FINAL | 2025-08-29 | 14:04 | 2025-08-29 | 09:12 | FLORICA | 2 | 0.00 | 0.00 | / | / | 0.010 |  |  |  | 0.54 |  |  | Kinga |  | 3 | 1 | 105130
1 | 0.00 | 9 | P/FINAL | 2025-08-29 | 14:04 | 2025-08-29 | 09:12 | FLORICA | 2 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.39 | 177 |  | Kinga |  | 3 | 1 | 105130
3 | 4.00 | 10 | P/FINAL | 2025-08-29 | 14:06 | 2025-08-29 | 09:12 | FLORICA | 2 | 3.95 | 4.00 | / | / | 1.543 |  |  |  | 0.28 | 186 |  | Kinga |  | 3 | 3 | 105130
3 | 4.00 | 11 | P/FINAL | 2025-08-29 | 14:06 | 2025-08-29 | 09:12 | FLORICA | 2 | 3.93 | 3.98 | / | / | 1.543 | 5.815 |  |  | 0.28 | 174 |  | Kinga |  | 3 | 3 | 105130
3 | 4.00 | 12 | P/FINAL | 2025-08-29 | 14:07 | 2025-08-29 | 09:12 | FLORICA | 2 | 3.93 | 3.97 | / | / | 1.539 |  |  |  | 0.60 | 175 |  | Kinga |  | 3 | 3 | 105130
2 | 1.00 | 13 | P/FINAL | 2025-08-29 | 14:07 | 2025-08-29 | 09:12 | FLORICA | 2 | 0.95 | 0.96 | / | / | 0.389 |  |  |  | 0.56 | 174 |  | Kinga |  | 3 | 2 | 105130
2 | 1.00 | 14 | P/FINAL | 2025-08-29 | 14:08 | 2025-08-29 | 09:12 | FLORICA | 2 | 0.96 | 0.97 | / | / | 0.391 |  |  |  | 0.66 | 171 |  | Kinga |  | 3 | 2 | 105130
2 | 1.00 | 15 | P/FINAL | 2025-08-29 | 14:08 | 2025-08-29 | 09:12 | FLORICA | 2 | 0.95 | 0.96 | / | / | 0.393 | 5.800 |  |  | 1.34 | 172 |  | Kinga |  | 3 | 2 | 105130
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0 mg/L | 3 | 6 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0.96 mg/L | 3 | 6 | 0.96 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 3.96 mg/L | 3 | 6 | 3.96 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.00 | YES
1.00 | 0.95 ÷ 1.05 | 0.96 | YES
4.00 | 3.91 ÷ 4.09 | 3.96 | YES
Validation Date | by