## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3834-0 | HI721-0 | HI7214-0 | HI93721-0 | HI96778B-0 | HI96786-0 | MI528-0
1283 | HI721-0 | CP-R41 | W 51/1 |  | Parameter Formula | Fe III | Fe | Fe | Fe | Fe | Fe | Fe III
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Iron HR Reagent | 2030-12-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
175 | 160 | 190
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ROLAND | 2025-12-18 | 2025-12-22 | 2 HEAD |  |  | 1145
[6 empty] | Expiration A | Expiration B | Expiration D
2030-08-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97721 | CTO-691
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.04 |  | MR33 |  | 0.04 | & | 1.2% | 100% |  | 5.2 | 4.0 | 6.5
2 | 1.00 | 0.95 | 1.05
3 | 4.00 | 3.91 | 4.09
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97721 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2025-12-19 | 08:32 | 2025-12-18 | 21:40 | ROLAND | 2 | 0.00 | 0.00 | / | / | 0.011 |  |  |  | 1.66 |  |  | Andrea V |  | 3 | 1 | 105503
1 | 0.00 | 2 | Old A | 2025-12-19 | 08:33 | 2025-12-18 | 21:40 | ROLAND | 2 | 0.01 | 0.00 | / | / | 0.014 |  |  |  | 1.49 |  |  | Andrea V |  | 3 | 1 | 105503
2 | 1.00 | 3 | Old A | 2025-12-19 | 08:33 | 2025-12-18 | 21:40 | ROLAND | 2 | 1.01 | 1.00 | / | / | 0.413 |  |  |  | 2.15 |  |  | Andrea V |  | 3 | 2 | 105503
2 | 1.00 | 4 | Old A | 2025-12-19 | 08:34 | 2025-12-18 | 21:40 | ROLAND | 2 | 1.01 | 1.00 | / | / | 0.414 |  |  |  | 2.77 |  |  | Andrea V |  | 3 | 2 | 105503
3 | 4.00 | 5 | Old A | 2025-12-19 | 08:37 | 2025-12-18 | 21:40 | ROLAND | 2 | 4.07 | 4.08 | / | / | 1.595 |  |  |  | 3.13 |  |  | Andrea V |  | 3 | 3 | 105503
3 | 4.00 | 6 | Old A | 2025-12-19 | 08:38 | 2025-12-18 | 21:40 | ROLAND | 2 | 4.03 | 4.04 | / | / | 1.578 |  |  |  | 3.06 |  |  | Andrea V |  | 3 | 3 | 105503
1 | 0.00 | 7 | P/FINAL | 2025-12-19 | 08:39 | 2025-12-18 | 21:40 | ROLAND | 2 | 0.00 | 0.00 | / | / | 0.012 |  |  |  | 0.32 | 176 |  | Andrea V |  | 3 | 1 | 105503
1 | 0.00 | 8 | P/FINAL | 2025-12-19 | 08:41 | 2025-12-18 | 21:40 | ROLAND | 2 | 0.00 | 0.00 | / | / | 0.012 | 5.803 |  |  | 0.44 | 175 |  | Andrea V |  | 3 | 1 | 105503
2 | 1.00 | 9 | P/FINAL | 2025-12-19 | 08:44 | 2025-12-18 | 21:40 | ROLAND | 2 | 1.00 | 0.99 | / | / | 0.410 |  |  |  | 0.45 |  |  | Andrea V |  | 3 | 2 | 105503
2 | 1.00 | 10 | P/FINAL | 2025-12-19 | 08:44 | 2025-12-18 | 21:40 | ROLAND | 2 | 1.00 | 0.99 | / | / | 0.410 |  |  |  | 0.51 | 169 |  | Andrea V |  | 3 | 2 | 105503
2 | 1.00 | 11 | P/FINAL | 2025-12-19 | 08:45 | 2025-12-18 | 21:40 | ROLAND | 2 | 1.00 | 0.99 | / | / | 0.410 | 5.783 |  |  | 0.43 | 164 |  | Andrea V |  | 3 | 2 | 105503
3 | 4.00 | 12 | P/FINAL | 2025-12-19 | 08:47 | 2025-12-18 | 21:40 | ROLAND | 2 | 4.05 | 4.06 | / | / | 1.584 |  |  |  | 0.41 |  |  | Andrea V |  | 3 | 3 | 105503
3 | 4.00 | 13 | P/FINAL | 2025-12-19 | 08:48 | 2025-12-18 | 21:40 | ROLAND | 2 | 4.03 | 4.03 | / | / | 1.579 | 5.761 |  |  | 0.46 | 178 |  | Andrea V |  | 3 | 3 | 105503
3 | 4.00 | 14 | P/FINAL | 2025-12-19 | 08:49 | 2025-12-18 | 21:40 | ROLAND | 2 | 4.02 | 4.04 | / | / | 1.574 |  |  |  | 0.43 | 172 |  | Andrea V |  | 3 | 3 | 105503
1 | 0.00 | 15 | P/FINAL | 2025-12-19 | 08:58 | 2025-12-19 | 06:55 | ELENA | 2 | 0.01 | 0.00 | / | / | 0.013 |  |  |  | 0.44 |  |  | Andrea V |  | 3 | 1 | 105503
1 | 0.00 | 16 | P/FINAL | 2025-12-19 | 08:59 | 2025-12-19 | 06:55 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.012 | 5.793 |  |  | 0.32 | 177 |  | Andrea V |  | 3 | 1 | 105503
2 | 1.00 | 17 | P/FINAL | 2025-12-19 | 09:01 | 2025-12-19 | 06:55 | ELENA | 2 | 0.99 | 0.98 | / | / | 0.408 |  |  |  | 0.42 | 172 |  | Andrea V |  | 3 | 2 | 105503
2 | 1.00 | 18 | P/FINAL | 2025-12-19 | 09:02 | 2025-12-19 | 06:55 | ELENA | 2 | 1.00 | 0.99 | / | / | 0.410 | 5.815 |  |  | 0.29 | 171 |  | Andrea V |  | 3 | 2 | 105503
2 | 1.00 | 19 | P/FINAL | 2025-12-19 | 09:05 | 2025-12-19 | 06:55 | ELENA | 2 | 0.99 | 0.99 | / | / | 0.407 |  |  |  | 0.32 | 174 |  | Andrea V |  | 3 | 2 | 105503
3 | 4.00 | 20 | P/FINAL | 2025-12-19 | 09:06 | 2025-12-19 | 06:55 | ELENA | 2 | 4.05 | 4.06 | / | / | 1.586 |  |  |  | 0.31 |  |  | Andrea V |  | 3 | 3 | 105503
3 | 4.00 | 21 | P/FINAL | 2025-12-19 | 09:07 | 2025-12-19 | 06:55 | ELENA | 2 | 4.04 | 4.06 | / | / | 1.581 | 5.729 |  |  | 0.41 | 171 |  | Andrea V |  | 3 | 3 | 105503
3 | 4.00 | 22 | P/FINAL | 2025-12-19 | 09:09 | 2025-12-19 | 06:55 | ELENA | 2 | 4.04 | 4.05 | / | / | 1.583 |  |  |  | 0.35 | 163 |  | Andrea V |  | 3 | 3 | 105503
1 | 0.00 | 23 | Old A | 2025-12-22 | 08:42 | 2025-12-22 | 08:10 | ROLAND | 2 | 0.01 | 0.00 | / | / | 0.013 |  |  |  | 1.72 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 24 | Old A | 2025-12-22 | 08:43 | 2025-12-22 | 08:10 | ROLAND | 2 | 0.01 | 0.00 | / | / | 0.014 |  |  |  | 1.70 |  |  | Andrea V |  | 3 | 1
2 | 1.00 | 25 | Old A | 2025-12-22 | 08:44 | 2025-12-22 | 08:10 | ROLAND | 2 | 1.01 | 1.00 | / | / | 0.416 |  |  |  | 2.10 |  |  | Andrea V |  | 3 | 2 | 105503
2 | 1.00 | 26 | Old A | 2025-12-22 | 08:45 | 2025-12-22 | 08:10 | ROLAND | 2 | 1.01 | 1.00 | / | / | 0.413 |  |  |  | 1.71 |  |  | Andrea V |  | 3 | 2 | 105503
3 | 4.00 | 27 | Old A | 2025-12-22 | 08:45 | 2025-12-22 | 08:10 | ROLAND | 2 | 4.06 | 4.06 | / | / | 1.591 |  |  |  | 2.01 |  |  | Andrea V |  | 3 | 3 | 105503
3 | 4.00 | 28 | Old A | 2025-12-22 | 08:46 | 2025-12-22 | 08:10 | ROLAND | 2 | 4.05 | 4.05 | / | / | 1.585 |  |  |  | 1.99 |  |  | Andrea V |  | 3 | 3 | 105503
2 | 1.00 | 29 | P/FINAL | 2025-12-22 | 08:50 | 2025-12-22 | 08:10 | ROLAND | 2 | 1.00 | 0.99 | / | / | 0.409 |  |  |  | 0.30 | 170 |  | Andrea V |  | 3 | 2 | 105503
2 | 1.00 | 30 | P/FINAL | 2025-12-22 | 08:50 | 2025-12-22 | 08:10 | ROLAND | 2 | 0.99 | 0.97 | / | / | 0.406 | 5.785 |  |  | 0.35 | 173 |  | Andrea V |  | 3 | 2 | 105503
2 | 1.00 | 31 | P/FINAL | 2025-12-22 | 08:51 | 2025-12-22 | 08:10 | ROLAND | 2 | 1.00 | 0.98 | / | / | 0.410 |  |  |  | 0.71 |  |  | Andrea V |  | 3 | 2 | 105503
3 | 4.00 | 32 | P/FINAL | 2025-12-22 | 08:54 | 2025-12-22 | 08:10 | ROLAND | 2 | 4.03 | 4.02 | / | / | 1.579 |  |  |  | 0.25 | 140 |  | Andrea V |  | 3 | 3 | 105503
3 | 4.00 | 33 | P/FINAL | 2025-12-22 | 08:55 | 2025-12-22 | 08:10 | ROLAND | 2 | 4.05 | 4.06 | / | / | 1.584 | 5.727 |  |  | 0.30 | 185 |  | Andrea V |  | 3 | 3 | 105503
3 | 4.00 | 34 | P/FINAL | 2025-12-22 | 08:55 | 2025-12-22 | 08:10 | ROLAND | 2 | 4.04 | 4.06 | / | / | 1.583 |  |  |  | 0.34 |  |  | Andrea V |  | 3 | 3 | 105503
1 | 0.00 | 35 | P/FINAL | 2025-12-22 | 08:58 | 2025-12-22 | 08:10 | ROLAND | 2 | 0.01 | 0.00 | / | / | 0.013 |  |  |  | 0.40 | 165 |  | Andrea V |  | 3 | 1 | 105503
1 | 0.00 | 36 | P/FINAL | 2025-12-22 | 08:59 | 2025-12-22 | 08:10 | ROLAND | 2 | 0.00 | 0.00 | / | / | 0.010 | 5.773 |  |  | 0.27 | 177 |  | Andrea V |  | 3 | 1 | 105503
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0 mg/L | 6 | 12 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 0.99 mg/L | 9 | 18 | 0.99 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 4.04 mg/L | 9 | 18 | 4.04 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.00 | YES
1.00 | 0.95 ÷ 1.05 | 0.99 | YES
4.00 | 3.91 ÷ 4.09 | 4.04 | YES
Validation Date | by