## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3834-0 | HI721-0 | HI7214-0 | HI93721-0 | HI96778B-0 | HI96786-0 | MI528-0
0748 | HI93721-0 | CP-R41 | W42/1 |  | Parameter Formula | Fe III | Fe | Fe | Fe | Fe | Fe | Fe III
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Iron High Range Reagent | 2029-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
175 | 160 | 190
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | [5 empty] | 0497
[6 empty] | Expiration A | Expiration B | Expiration D
2029-03-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code | Meter 3 Family | Meter 3 Code | Meter 4 Family | Meter 4 Code
HI801 | CTO-618 | HI97721 | CTO-691 | HI83399 | CTO-536 | HI721 | QCC-057
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-780
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.04 |  | MR33 |  | 0.04 | & | 1.2% | 100% |  | 5.2 | 4.0 | 6.5
2 | 1.00 | 0.95 | 1.05
3 | 4.00 | 3.91 | 4.09
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97721 | M. 3 HI83399 | M. 4 HI721 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Valid | 2024-10-14 | 21:25 | 2024-10-14 | 16:20 | MARK |  | 0.00 | 0.00 | 0.00 |  | 0.005 |  |  |  | 0.57 |  |  | Brigitta P |  | 3 | 1
1 | 0.00 | 2 | Valid | 2024-10-14 | 21:25 | 2024-10-14 | 16:20 | MARK |  | 0.00 | 0.00 | 0.00 |  | 0.003 |  |  |  | 0.36 |  |  | Brigitta P |  | 3 | 1
1 | 0.00 | 3 | Old A | 2024-10-14 | 21:25 | 2024-10-14 | 16:20 | MARK |  | 0.00 | 0.00 | 0.00 |  | 0.003 |  |  |  | 0.75 |  |  | Brigitta P |  | 3 | 1
2 | 1.00 | 4 | Valid | 2024-10-14 | 21:26 | 2024-10-14 | 16:20 | MARK |  | 0.93 | 0.97 | 0.97 |  | 0.383 |  |  |  | 0.30 |  |  | Brigitta P |  | 3 | 2
2 | 1.00 | 5 | Valid | 2024-10-14 | 21:26 | 2024-10-14 | 16:20 | MARK |  | 0.93 | 0.97 | 0.97 |  | 0.384 |  |  |  | 0.32 |  |  | Brigitta P |  | 3 | 2
2 | 1.00 | 6 | Valid | 2024-10-14 | 21:27 | 2024-10-14 | 16:20 | MARK |  | 0.93 | 0.97 | 0.95 |  | 0.383 |  |  |  | 0.31 |  |  | Brigitta P |  | 3 | 2
2 | 1.00 | 7 | Old A | 2024-10-14 | 21:28 | 2024-10-14 | 16:20 | MARK |  | 0.93 | 0.95 | 0.95 |  | 0.385 |  |  |  | 1.12 |  |  | Brigitta P |  | 3 | 2
3 | 4.00 | 8 | Valid | 2024-10-14 | 21:28 | 2024-10-14 | 16:20 | MARK |  | 3.89 | 3.91 | 3.91 |  | 1.524 |  |  |  | 0.31 |  |  | Brigitta P |  | 3 | 3
3 | 4.00 | 9 | Valid | 2024-10-14 | 21:25 | 2024-10-14 | 16:20 | MARK |  | 3.91 | 3.92 | 3.93 |  | 1.529 |  |  |  | 0.30 |  |  | Brigitta P |  | 3 | 3
3 | 4.00 | 10 | Valid | 2024-10-14 | 21:25 | 2024-10-14 | 16:20 | MARK |  | 3.93 | 3.94 | 3.93 |  | 1.537 |  |  |  | 0.29 |  |  | Brigitta P |  | 3 | 3
3 | 4.00 | 11 | Old A | 2024-10-14 | 21:25 | 2024-10-14 | 16:20 | MARK |  | 3.89 | 3.91 | 3.91 |  | 1.514 |  |  |  | 1.14 |  |  | Brigitta P |  | 3 | 3
2 | 1.00 | 12 | Old A | 2024-10-25 | 15:43 | 2024-10-25 | 15:03 | GIORGIANA | 2 | 0.97 | 0.98 |  |  | 0.399 |  |  |  | 1.40 |  |  | Kinga |  | 3 | 2 | 94842
3 | 4.00 | 13 | Old A | 2024-10-25 | 15:45 | 2024-10-25 | 15:03 | GIORGIANA | 2 | 3.89 | 3.96 | 3.92 |  | 1.524 |  |  |  | 1.69 |  |  | Kinga |  | 3 | 3 | 94842
2 | 1.00 | 14 | P/Final | 2024-10-25 | 15:51 | 2024-10-25 | 15:03 | GIORGIANA | 2 | 0.96 | 0.98 | 0.96 |  | 0.397 |  |  |  | 0.42 |  |  | Kinga |  | 3 | 2 | 94842
3 | 4.00 | 15 | P/Final | 2024-10-25 | 15:59 | 2024-10-25 | 15:03 | GIORGIANA | 2 | 3.87 | 3.93 | 3.89 |  | 1.516 |  |  |  | 0.36 |  |  | Kinga |  | 3 | 3 | 94842
3 | 4.00 | 16 | P/Final | 2024-10-25 | 16:02 | 2024-10-25 | 15:03 | GIORGIANA | 2 | 3.87 | 3.93 | 3.92 |  | 1.513 |  |  |  | 0.36 |  |  | Kinga |  | 3 | 3 | 94842
3 | 4.00 | 17 | P/Final | 2024-10-25 | 16:06 | 2024-10-25 | 15:03 | GIORGIANA | 2 | 3.89 | 3.97 | 3.91 |  | 1.524 |  |  |  | 0.63 |  |  | Kinga |  | 3 | 3 | 94842
2 | 1.00 | 18 | Old A | 2024-10-28 | 11:10 | 2024-10-28 | 08:20 | ROLAND |  | 0.94 | 0.94 | 0.93 |  | 1.523 |  |  |  | 1.91 |  |  | Kinga |  | 3 | 2 | 81857
3 | 4.00 | 19 | Old A | 2024-10-28 | 11:11 | 2024-10-28 | 08:20 | ROLAND |  | 3.89 | 3.91 | 3.97 |  | 1.522 |  |  |  | 1.64 | 176 |  | Kinga |  | 3 | 3 | 81857
2 | 1.00 | 20 | P/Final | 2024-10-28 | 11:17 | 2024-10-28 | 08:20 | ROLAND |  | 0.92 | 0.96 | 0.91 |  | 0.380 |  |  |  | 1.08 | 177 |  | Kinga |  | 3 | 2 | 81857
2 | 1.00 | 21 | P/Final | 2024-10-28 | 11:19 | 2024-10-28 | 08:20 | ROLAND |  | 0.92 | 0.95 | 0.91 |  | 0.370 |  |  |  | 0.51 | 180 |  | Kinga |  | 3 | 2 | 81857
3 | 4.00 | 22 | P/Final | 2024-10-28 | 11:28 | 2024-10-28 | 08:20 | ROLAND |  | 3.87 | 3.91 | 3.92 |  | 1.514 |  |  |  | 0.53 | 180 |  | Kinga |  | 3 | 3 | 81857
3 | 4.00 | 23 | P/Final | 2024-10-28 | 11:28 | 2024-10-28 | 08:20 | ROLAND |  | 3.87 | 3.97 | 3.91 |  | 1.514 |  |  |  | 0.36 | 186 |  | Kinga |  | 3 | 3 | 81857
1 | 0.00 | 24 | P/Final | 2024-10-28 | 11:34 | 2024-10-28 | 08:20 | ROLAND |  | 0.00 | 0.00 | 0.00 |  | 0.003 |  |  |  | 0.41 | 183 |  | Kinga |  | 3 | 1 | 81857
1 | 0.00 | 25 | P/Final | 2024-10-28 | 11:35 | 2024-10-28 | 08:20 | ROLAND |  | 0.00 | 0.00 | 0.00 |  | 0.003 |  |  |  | 1.61 | 181 |  | Kinga |  | 3 | 1 | 81857
3 | 4.00 | 26 | P/Final | 2024-10-28 | 11:52 | 2024-10-28 | 08:20 | ROLAND |  | 3.90 | 3.93 | 3.91 |  | 1.527 |  |  |  | 1.61 |  |  | Kinga |  | 3 | 3 | 81857
3 | 4.00 | 27 | P/Final | 2024-10-28 | 11:59 | 2024-10-28 | 08:20 | ROLAND |  | 3.89 | 3.91 | 3.91 |  | 1.522 |  |  |  | 0.50 |  |  | Kinga |  | 3 | 3 | 81857
3 | 4.00 | 28 | P/Final | 2024-10-28 | 12:01 | 2024-10-28 | 08:20 | ROLAND |  | 3.89 | 3.93 | 3.91 |  | 1.521 |  |  |  | 0.45 |  |  | Kinga |  | 3 | 3 | 81857
2 | 1.00 | 29 | P/Final | 2024-10-28 | 12:41 | 2024-10-28 | 08:21 | ROLAND |  | 0.87 | 0.92 | 0.88 |  | 0.361 |  |  |  | 1.79 |  |  | Kinga |  | 3 | 2 | 122024 | NEW STANDARD / NEW BOTTLE OF MR33
2 | 1.00 | 30 | P/Final | 2024-10-28 | 12:42 | 2024-10-28 | 08:21 | ROLAND |  | 0.87 | 0.88 | 0.89 |  | 0.358 |  |  |  | 1.42 |  |  | Kinga |  | 3 | 2 | 122024
3 | 4.00 | 31 | P/Final | 2024-10-28 | 12:49 | 2024-10-28 | 08:21 | ROLAND |  | 3.91 | 4.00 | 3.96 |  | 1.529 |  |  |  | 0.82 |  |  | Kinga |  | 3 | 3 | 122024
3 | 4.00 | 32 | P/Final | 2024-10-28 | 12:51 | 2024-10-28 | 08:21 | ROLAND |  | 3.92 | 3.98 | 3.96 |  | 1.536 |  |  |  | 1.76 |  |  | Kinga |  | 3 | 3 | 122024
2 | 1.00 | 33 | P/Final | 2024-10-28 | 13:48 | 2024-10-28 | 08:20 | ROLAND |  | 0.91 | 0.92 | 0.89 | 0.94 | 0.374 |  |  |  | 1.51 | 192 |  | Kinga |  | 3 | 2 | 122024
2 | 1.00 | 34 | P/Final | 2024-10-28 | 13:50 | 2024-10-28 | 08:20 | ROLAND |  | 0.91 | 0.93 | 0.89 | 0.93 | 0.374 |  |  |  | 0.81 | 190 |  | Kinga |  | 3 | 2 | 122024
2 | 1.00 | 35 | P/Final | 2024-10-28 | 14:47 | 2024-10-28 | 14:16 | ELENA | 2 | 0.92 | 0.94 | 0.91 | 0.91 | 0.381 |  |  |  | 0.61 | 187 |  | Kinga |  | 3 | 2 | 122024
2 | 1.00 | 36 | P/Final | 2024-10-28 | 14:53 | 2024-10-28 | 14:16 | ELENA | 2 | 0.91 | 0.89 | 0.92 | 0.92 | 0.374 |  |  |  | 0.49 | 185 |  | Kinga |  | 3 | 2 | 122024
3 | 4.00 | 37 | P/Final | 2024-10-28 | 15:15 | 2024-10-28 | 14:16 | ELENA | 2 | 3.92 | 3.94 | 3.91 |  | 1.533 |  |  |  | 0.44 | 202 |  | Kinga |  | 3 | 3 | 122024
3 | 4.00 | 38 | P/Final | 2024-10-28 | 15:16 | 2024-10-28 | 14:16 | ELENA | 2 | 3.85 | 3.94 | 3.91 |  | 1.506 |  |  |  | 0.44 | 183 |  | Kinga |  | 3 | 3 | 122024
2 | 1.00 | 39 | P/Final | 2024-10-28 | 15:16 | 2024-10-28 | 14:16 | ELENA | 2 | 0.94 | 0.91 | 0.92 | [6 empty] | 202 |  | Kinga |  | 3 | 2 | 122024
2 | 1.00 | 40 | P/Final | 2024-10-28 | 15:18 | 2024-10-28 | 14:16 | ELENA | 2 | 0.91 | 0.92 | 0.90 | 0.91 | [5 empty] | 183 |  | Kinga |  | 3 | 2 | 122024
2 | 1.00 | 41 | P/Final | 2024-10-28 | 15:19 | 2024-10-28 | 14:16 | ELENA | 2 | 0.95 | 0.95 | 0.93 |  | 0.385 |  |  |  | 0.49 |  |  | Kinga |  | 3 | 2 | 122024 | NEW STD
2 | 1.00 | 42 | P/Final | 2024-10-28 | 15:20 | 2024-10-28 | 14:16 | ELENA | 2 | 0.95 | 0.95 | 0.93 |  | 0.388 |  |  |  | 0.48 |  |  | Kinga |  | 3 | 2 | 122024
2 | 1.00 | 43 | P/Final | 2024-10-28 | 15:31 | 2024-10-28 | 14:16 | ELENA | 2 | 0.96 | 0.95 | 0.94 |  | 0.397 |  |  |  | 0.47 | 200 |  | Kinga |  | 3 | 2 | 122024
2 | 1.00 | 44 | P/Final | 2024-10-28 | 15:33 | 2024-10-28 | 14:16 | ELENA | 2 | 0.96 | 0.95 | 0.94 |  | 0.394 |  |  |  | 0.66 | 201 |  | Kinga |  | 3 | 2 | 122024
2 | 1.00 | 45 | P/Final | 2024-10-28 | 15:35 | 2024-10-28 | 14:16 | ELENA | 2 | 0.96 | 0.95 | 0.94 |  | 0.394 |  |  |  | 0.63 | 201 |  | Kinga |  | 3 | 2 | 122024
2 | 1.00 | 46 | Old A | 2024-10-29 | 08:29 | 2024-10-28 | 15:59 | ELENA | 2 | 0.91 | 0.91 | 0.90 |  | 0.376 |  |  |  | 1.91 | 191 |  | Kinga |  | 3 | 2 | 122024
3 | 4.00 | 47 | Old A | 2024-10-29 | 08:30 | 2024-10-28 | 15:59 | ELENA | 2 | 3.90 | 3.94 | 3.92 |  | 1.527 |  |  |  | 1.06 | 197 |  | Kinga |  | 3 | 3 | 122024
3 | 4.00 | 48 | P/Final | 2024-10-29 | 08:42 | 2024-10-28 | 15:59 | ELENA | 2 | 3.94 | 3.96 | 3.95 |  | 1.544 |  |  |  | 0.77 | 194 |  | Kinga |  | 3 | 3 | 122024
3 | 4.00 | 49 | P/Final | 2024-10-29 | 08:44 | 2024-10-28 | 15:59 | ELENA | 2 | 3.90 | 3.91 | 3.91 |  | 1.525 |  |  |  | 0.96 | 194 |  | Kinga |  | 3 | 3 | 122024
3 | 4.00 | 50 | P/Final | 2024-10-29 | 08:49 | 2024-10-28 | 15:59 | ELENA | 2 | 3.95 | 3.96 | 3.96 |  | 1.545 |  |  |  | 0.96 | 208 |  | Kinga |  | 3 | 3 | 122024
2 | 1.00 | 51 | P/Final | 2024-10-29 | 09:03 | 2024-10-28 | 15:59 | ELENA | 2 | 0.98 | 0.96 | 0.96 |  | 0.402 |  |  |  | 0.65 | 206 |  | Kinga |  | 3 | 2 | 122024
2 | 1.00 | 52 | P/Final | 2024-10-29 | 09:07 | 2024-10-28 | 15:59 | ELENA | 2 | 0.97 | 0.95 | 0.94 |  | 0.398 |  |  |  | 0.54 | 208 |  | Kinga |  | 3 | 2 | 122024
2 | 1.00 | 53 | P/Final | 2024-10-29 | 09:10 | 2024-10-28 | 15:59 | ELENA | 2 | 0.98 | 0.96 | 0.96 |  | 0.402 |  |  |  | 0.88 | 205 |  | Kinga |  | 3 | 2 | 122024
1 | 0.00 | 54 | P/Final | 2024-10-29 | 09:13 | 2024-10-28 | 15:59 | ELENA | 2 | 0.00 | 0.00 | 0.00 |  | 0.012 |  |  |  | 1.27 | 198 |  | Kinga |  | 3 | 1 | 122024
1 | 0.00 | 55 | P/Final | 2024-10-29 | 09:14 | 2024-10-28 | 15:59 | ELENA | 2 | 0.01 | 0.00 | 0.00 |  | 0.016 |  |  |  | 0.89 | 197 |  | Kinga |  | 3 | 1 | 122024
3 | 4.00 | 56 | P/Final | 2024-10-29 | 09:31 | 2024-10-29 | 08:46 | ROLAND |  | 3.94 | 3.96 | 3.94 |  | 1.543 |  |  |  | 0.31 | 203 |  | Kinga |  | 3 | 3 | 122024
3 | 4.00 | 57 | P/Final | 2024-10-29 | 09:32 | 2024-10-29 | 08:46 | ROLAND |  | 3.98 | 4.00 | 3.97 |  | 1.556 |  |  |  | 0.46 | 209 |  | Kinga |  | 3 | 3 | 122024
2 | 1.00 | 58 | P/Final | 2024-10-29 | 09:38 | 2024-10-29 | 08:46 | ROLAND |  | 0.96 | 0.97 | 1.00 |  | 0.394 |  |  |  | 0.40 | 203 |  | Kinga |  | 3 | 2 | 122024
2 | 1.00 | 59 | P/Final | 2024-10-29 | 09:41 | 2024-10-29 | 08:46 | ROLAND |  | 0.96 | 0.97 | 0.95 |  | 0.397 |  |  |  | 0.67 | 192 |  | Kinga |  | 3 | 2 | 122024
1 | 0.00 | 60 | P/Final | 2024-10-29 | 09:44 | 2024-10-29 | 08:46 | ROLAND |  | 0.02 | 0.00 | 0.00 |  | 0.019 |  |  |  | 0.38 | 191 |  | Kinga |  | 3 | 1 | 122024
1 | 0.00 | 61 | P/Final | 2024-10-29 | 09:46 | 2024-10-29 | 08:46 | ROLAND |  | 0.01 | 0.00 | 0.00 |  | 0.015 |  |  |  | 0.44 | 187 |  | Kinga |  | 3 | 1 | 122024
3 | 4.00 | 62 | Old A | 2024-10-30 | 09:43 | 2024-10-29 | 19:51 | ELENA | 2 | 3.97 | 4.00 | 3.98 |  | 1.554 |  |  |  | 2.34 |  |  | Kinga |  | 3 | 3 | 122024
3 | 4.00 | 63 | P/Final | 2024-10-30 | 09:44 | 2024-10-29 | 19:51 | ELENA | 2 | 3.94 | 3.96 | 3.96 |  | 1.531 |  |  |  | 0.85 | 207 |  | Kinga |  | 3 | 3 | 122024
3 | 4.00 | 64 | P/Final | 2024-10-30 | 09:44 | 2024-10-29 | 19:51 | ELENA | 2 | 3.91 | 3.92 | 3.93 |  | 1.522 |  |  |  | 0.88 | 200 |  | Kinga |  | 3 | 3 | 122024
3 | 4.00 | 65 | P/Final | 2024-10-30 | 09:45 | 2024-10-29 | 19:51 | ELENA | 2 | 3.93 | 3.99 | 3.96 |  | 1.537 |  |  |  | 1.48 | 202 |  | Kinga |  | 3 | 3 | 122024
1 | 0.00 | 66 | P/Final | 2024-10-30 | 09:46 | 2024-10-29 | 19:51 | ELENA | 2 | 0.02 | 0.00 | 0.00 |  | 0.018 |  |  |  | 0.63 |  |  | Kinga |  | 3 | 1 | 122024
1 | 0.00 | 67 | P/Final | 2024-10-30 | 09:46 | 2024-10-29 | 19:51 | ELENA | 2 | 0.02 | 0.00 | 0.02 |  | 0.017 |  |  |  | 0.67 |  |  | Kinga |  | 3 | 1 | 122024
1 | 0.00 | 68 | P/Final | 2024-10-30 | 09:48 | 2024-10-30 | 08:12 | ROLAND | 2 | 0.03 | 0.00 | 0.00 |  | 0.021 |  |  |  | 0.50 |  |  | Kinga |  | 3 | 1 | 122024
1 | 0.00 | 69 | P/Final | 2024-10-30 | 09:48 | 2024-10-30 | 08:12 | ROLAND | 2 | 0.03 | 0.00 | 0.00 |  | 0.024 |  |  |  | 0.48 |  |  | Kinga |  | 3 | 1 | 122024
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
10 | 30 | 0.01 mg/L | 10 | 30 | 0.01 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
21 | 68 | 0.93 mg/L | 18 | 49 | 0.95 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
20 | 60 | 3.93 mg/L | 20 | 60 | 3.93 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.01 | YES
1.00 | 0.95 ÷ 1.05 | 0.95 | YES
4.00 | 3.91 ÷ 4.09 | 3.93 | YES
Validation Date | by