## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3834-0 | HI721-0 | HI7214-0 | HI93721-0 | HI96778B-0 | HI96786-0 | MI528-0
0852 | HI93721-0 | CP-R41 | 48 |  | Parameter Formula | Fe III | Fe | Fe | Fe | Fe | Fe | Fe III
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Iron High Range Reagent | 2029-11-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
175 | 160 | 190
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2024-12-11 | 2024-12-13 | 2HEAD |  |  | 0748
[6 empty] | Expiration A | Expiration B | Expiration D
2029-10-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97721 | CTO-622
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
3 | 4.00 | 3.91 | 4.09 |  | MR33 |  | 0.04 | & | 1.2% | 100% |  | 5.2 | 4.0 | 6.5
1 | 0.00 | 0.00 | 0.04
2 | 1.00 | 0.95 | 1.05
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
3 | 4.00 | 1 | Old A | 2024-12-02 | 10:58 | 2024-12-02 | 10:16 | ERIKA |  | 3.98 | 3.99 | / | / | 1.556 |  |  |  | 2.29 |  |  | Kinga |  | 3 | 3 | 81857
1 | 0.00 | 2 | Old A | 2024-12-02 | 11:00 | 2024-12-02 | 10:16 | ERIKA |  | 0.01 | 0.00 | / | / | 0.013 |  |  |  | 2.16 |  |  | Kinga |  | 3 | 1 | 81857
3 | 4.00 | 3 | Valid | 2024-12-02 | 11:02 | 2024-12-02 | 10:16 | ERIKA |  | 3.97 | 3.99 | / | / | 1.554 | 5.804 |  |  | 0.32 |  |  | Kinga |  | 3 | 3 | 81857
3 | 4.00 | 4 | Valid | 2024-12-02 | 11:03 | 2024-12-02 | 10:16 | ERIKA |  | 3.95 | 3.97 | / | / | 1.545 |  |  |  | 0.52 |  |  | Kinga |  | 3 | 3 | 81857
1 | 0.00 | 5 | Valid | 2024-12-02 | 11:04 | 2024-12-02 | 10:16 | ERIKA |  | 0.00 | 0.00 | / | / | 0.006 | 5.766 |  |  | 0.39 |  |  | Kinga |  | 3 | 1 | 81857
1 | 0.00 | 6 | Valid | 2024-12-02 | 11:05 | 2024-12-02 | 10:16 | ERIKA |  | 0.01 | 0.00 | / | / | 0.014 |  |  |  | 1.00 |  |  | Kinga |  | 3 | 1 | 81857
2 | 1.00 | 7 | Valid | 2024-12-02 | 11:12 | 2024-12-02 | 10:16 | ERIKA |  | 0.98 | 0.97 | / | / | 0.403 | 5.816 |  |  | 3.50 |  |  | Kinga |  | 3 | 2 | 81857
2 | 1.00 | 8 | Valid | 2024-12-02 | 11:12 | 2024-12-02 | 10:16 | ERIKA |  | 0.99 | 0.98 | / | / | 0.406 |  |  |  | 1.21 |  |  | Kinga |  | 3 | 2 | 81857
2 | 1.00 | 9 | Old A | 2024-12-02 | 11:13 | 2024-12-02 | 10:16 | ERIKA |  | 0.98 | 0.97 | / | / | 0.402 |  |  |  | 2.69 |  |  | Kinga |  | 3 | 2 | 81857
2 | 1.00 | 10 | Old A | 2024-12-11 | 09:26 | 2024-12-11 | 08:29 | ROLAND |  | 0.97 | 0.98 | / | / | 0.398 |  |  |  | 1.51 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 11 | Old A | 2024-12-11 | 09:27 | 2024-12-11 | 08:29 | ROLAND |  | 4.01 | 4.03 | / | / | 1.569 |  |  |  | 1.99 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 12 | Old A | 2024-12-11 | 09:28 | 2024-12-11 | 08:29 | ROLAND |  | 0.01 | 0.00 | / | / | 0.013 |  |  |  | 6.55 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 13 | P/Final | 2024-12-11 | 09:33 | 2024-12-11 | 08:29 | ROLAND |  | 0.98 | 0.98 | / | / | 0.404 |  |  |  | 0.49 | 158 |  | Kinga |  | 3 | 2
2 | 1.00 | 14 | P/Final | 2024-12-11 | 09:34 | 2024-12-11 | 08:29 | ROLAND |  | 0.98 | 0.98 | / | / | 0.404 | 5.735 |  |  | 0.34 | 175 |  | Kinga |  | 3 | 2
3 | 4.00 | 15 | P/Final | 2024-12-11 | 09:35 | 2024-12-11 | 08:29 | ROLAND |  | 3.99 | 4.01 | / | / | 1.562 |  |  |  | 0.65 | 162 |  | Kinga |  | 3 | 3
3 | 4.00 | 16 | P/Final | 2024-12-11 | 09:36 | 2024-12-11 | 08:29 | ROLAND |  | 4.00 | 4.00 | / | / | 1.565 | 5.760 |  |  | 0.61 | 184 |  | Kinga |  | 3 | 3
1 | 0.00 | 17 | P/Final | 2024-12-11 | 09:41 | 2024-12-11 | 08:29 | ROLAND |  | 0.00 | 0.00 | / | / | 0.011 |  |  |  | 0.76 | 160 |  | Kinga |  | 3 | 1
1 | 0.00 | 18 | P/Final | 2024-12-11 | 09:42 | 2024-12-11 | 08:29 | ROLAND |  | 0.00 | 0.00 | / | / | 0.011 | 5.659 |  |  | 1.741 | 180 |  | Kinga |  | 3 | 1
3 | 4.00 | 19 | P/Final | 2024-12-11 | 14:37 | 2024-12-11 | 14;13 | ELENA |  | 3.96 | 4.00 | / | / | 1.549 | 5.802 |  |  | 0.57 | 168 |  | Kinga |  | 3 | 3
3 | 4.00 | 20 | P/Final | 2024-12-11 | 14:39 | 2024-12-11 | 14;13 | ELENA |  | 3.98 | 4.02 | / | / | 1.549 |  |  |  | 0.60 | 177 |  | Kinga |  | 3 | 3
2 | 1.00 | 21 | P/Final | 2024-12-11 | 14:40 | 2024-12-11 | 14;13 | ELENA |  | 0.98 | 0.98 | / | / | 0.404 |  |  |  | 0.36 | 179 |  | Kinga |  | 3 | 2
2 | 1.00 | 22 | P/Final | 2024-12-11 | 14:41 | 2024-12-11 | 14;13 | ELENA |  | 0.97 | 0.96 | / | / | 0.339 | 5.623 |  |  | 0.43 | 162 |  | Kinga |  | 3 | 2
1 | 0.00 | 23 | P/Final | 2024-12-11 | 14:42 | 2024-12-11 | 14;13 | ELENA |  | 0.01 | 0.00 | / | / | 0.013 |  |  |  | 0.45 | 168 |  | Kinga |  | 3 | 1
1 | 0.00 | 24 | P/Final | 2024-12-11 | 14:43 | 2024-12-11 | 14;13 | ELENA |  | 0.01 | 0.00 | / | / | 0.013 | 5.774 |  |  | 0.59 | 157 |  | Kinga |  | 3 | 1
3 | 4.00 | 25 | Old A | 2024-12-12 | 08:23 | 2024-12-12 | 20:16 | ELENA |  | 3.98 | 4.01 | / | / | 1.559 |  |  |  | 1.89 |  |  | Kinga |  | 3 | 3
2 | 1.00 | 26 | Old A | 2024-12-12 | 08:24 | 2024-12-12 | 20:16 | ELENA |  | 0.97 | 0.99 | / | / | 0.399 |  |  |  | 1.72 |  |  | Kinga |  | 3 | 2
1 | 0.00 | 27 | Old A | 2024-12-12 | 08:24 | 2024-12-12 | 20:16 | ELENA |  | 0.00 | 0.00 | / | / | 0.009 |  |  |  | 2.20 |  |  | Kinga |  | 3 | 1
3 | 4.00 | 28 | P/Final | 2024-12-12 | 08:29 | 2024-12-12 | 20:16 | ELENA |  | 3.97 | 4.00 | / | / | 1.555 |  |  |  | 0.65 | 176 |  | Kinga |  | 3 | 3
3 | 4.00 | 29 | P/Final | 2024-12-12 | 08:30 | 2024-12-12 | 20:16 | ELENA |  | 3.95 | 3.98 | / | / | 1.546 |  |  |  | 0.47 | 180 |  | Kinga |  | 3 | 3
2 | 1.00 | 30 | P/Final | 2024-12-12 | 08:31 | 2024-12-12 | 20:16 | ELENA |  | 0.97 | 0.97 | / | / | 0.399 |  |  |  | 1.32 | 155 |  | Kinga |  | 3 | 2
2 | 1.00 | 31 | P/Final | 2024-12-12 | 08:32 | 2024-12-12 | 20:16 | ELENA |  | 0.97 | 0.97 | / | / | 0.400 |  |  |  | 0.43 | 165 |  | Kinga |  | 3 | 2
1 | 0.00 | 32 | P/Final | 2024-12-12 | 08:33 | 2024-12-12 | 20:16 | ELENA |  | 0.01 | 0.00 | / | / | 0.014 |  |  |  | 0.91 | 177 |  | Kinga |  | 3 | 1
1 | 0.00 | 33 | P/Final | 2024-12-12 | 08:34 | 2024-12-12 | 20:16 | ELENA |  | 0.00 | 0.00 | / | / | 0.011 |  |  |  | 0.91 | 168 |  | Kinga |  | 3 | 1
3 | 4.00 | 34 | P/Final | 2024-12-12 | 08:49 | 2024-12-12 | 07:55 | ROLAND |  | 3.96 | 3.99 | / | / | 1.549 |  |  |  | 0.74 | 165 |  | Kinga |  | 3 | 3
3 | 4.00 | 35 | P/Final | 2024-12-12 | 08:49 | 2024-12-12 | 07:55 | ROLAND |  | 3.93 | 3.96 | / | / | 1.537 | 5.829 |  |  | 1.30 | 169 |  | Kinga |  | 3 | 3
2 | 1.00 | 36 | P/Final | 2024-12-12 | 08:50 | 2024-12-12 | 07:55 | ROLAND |  | 0.98 | 0.98 | / | / | 0.402 |  |  |  | 1.12 | 176 |  | Kinga |  | 3 | 2
2 | 1.00 | 37 | P/Final | 2024-12-12 | 08:51 | 2024-12-12 | 07:55 | ROLAND |  | 0.96 | 0.97 | / | / | 0.396 | 5.752 |  |  | 1.28 | 185 |  | Kinga |  | 3 | 2
1 | 0.00 | 38 | P/Final | 2024-12-12 | 08:52 | 2024-12-12 | 07:55 | ROLAND |  | 0.00 | 0.00 | / | / | 0.007 | 5.730 |  |  | 1.28 | 169 |  | Kinga |  | 3 | 1
1 | 0.00 | 39 | P/Final | 2024-12-12 | 08:52 | 2024-12-12 | 07:55 | ROLAND |  | 0.01 | 0.00 | / | / | 0.007 |  |  |  | 1.28 | 172 |  | Kinga |  | 3 | 1
1 | 0.00 | 40 | P/Final | 2024-12-12 | 08:54 | 2024-12-12 | 07:55 | ROLAND |  | 0.01 | 0.00 | / | / | 0.013 |  |  |  | 0.50 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 41 | P/Final | 2024-12-12 | 14:47 | 2024-12-12 | 14:25 | ELENA |  | 0.98 | 0.97 | / | / | 0.404 |  |  |  | 0.50 | 176 |  | Kinga |  | 3 | 2
2 | 1.00 | 42 | P/Final | 2024-12-12 | 14:49 | 2024-12-12 | 14:25 | ELENA |  | 0.98 | 0.96 | / | / | 0.403 | 5.756 |  |  | 0.33 | 169 |  | Kinga |  | 3 | 2
3 | 4.00 | 43 | P/Final | 2024-12-12 | 14:50 | 2024-12-12 | 14:25 | ELENA |  | 3.99 | 3.99 | / | / | 1.561 |  |  |  | 0.34 | 160 |  | Kinga |  | 3 | 3
3 | 4.00 | 44 | P/Final | 2024-12-12 | 14:51 | 2024-12-12 | 14:25 | ELENA |  | 3.98 | 3.97 | / | / | 1.557 | 5.652 |  |  | 0.75 | 164 |  | Kinga |  | 3 | 3
1 | 0.00 | 45 | P/Final | 2024-12-12 | 14:53 | 2024-12-12 | 14:25 | ELENA |  | 0.01 | 0.00 | / | / | 0.016 |  |  |  | 0.40 | 168 |  | Kinga |  | 3 | 1
1 | 0.00 | 46 | P/Final | 2024-12-12 | 14:53 | 2024-12-12 | 14:25 | ELENA |  | 0.00 | 0.00 | / | / | 0.012 | 5.657 |  |  | 0.38 | 169 |  | Kinga |  | 3 | 1
2 | 1.00 | 47 | Old A | 2024-12-13 | 08:22 | 2024-12-13 | 07:58 | ROLAND |  | 0.97 | 0.98 | / | / | 0.400 |  |  |  | 1.85 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 48 | Old A | 2024-12-13 | 08:23 | 2024-12-13 | 07:58 | ROLAND |  | 3.98 | 4.03 | / | / | 1.556 |  |  |  | 2.75 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 49 | Old A | 2024-12-13 | 08:24 | 2024-12-13 | 07:58 | ROLAND |  | 0.00 | 0.00 | / | / | 0.011 |  |  |  | 6.11 |  |  | Kinga |  | 3 | 1
3 | 4.00 | 50 | P/Final | 2024-12-13 | 08:28 | 2024-12-13 | 07:58 | ROLAND |  | 3.95 | 4.01 | / | / | 1.546 |  |  |  | 0.46 | 177 |  | Kinga |  | 3 | 3
3 | 4.00 | 51 | P/Final | 2024-12-13 | 08:29 | 2024-12-13 | 07:58 | ROLAND |  | 3.92 | 3.98 | / | / | 1.536 |  |  |  | 0.71 | 169 |  | Kinga |  | 3 | 3
2 | 1.00 | 52 | P/Final | 2024-12-13 | 08:30 | 2024-12-13 | 07:58 | ROLAND |  | 0.96 | 0.97 | / | / | 0.396 |  |  |  | 0.48 | 187 |  | Kinga |  | 3 | 2
2 | 1.00 | 53 | P/Final | 2024-12-13 | 08:31 | 2024-12-13 | 07:58 | ROLAND |  | 0.96 | 0.97 | / | / | 0.396 | 5.820 |  |  | 0.62 | 185 |  | Kinga |  | 3 | 2
1 | 0.00 | 54 | P/Final | 2024-12-13 | 08:32 | 2024-12-13 | 07:58 | ROLAND |  | 0.00 | 0.00 | / | / | 0.011 | 5.744 |  |  | 1.18 | 162 |  | Kinga |  | 3 | 1
1 | 0.00 | 55 | P/Final | 2024-12-13 | 08:33 | 2024-12-13 | 07:58 | ROLAND |  | 0.00 | 0.00 | / | / | 0.010 | 5.763 |  |  | 0.64 | 172 |  | Kinga |  | 3 | 1
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
12 | 24 | 3.98 mg/L | 12 | 24 | 3.98 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
13 | 26 | 0 mg/L | 13 | 26 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
12 | 24 | 0.97 mg/L | 12 | 24 | 0.97 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.00 | YES
1.00 | 0.95 ÷ 1.05 | 0.97 | YES
4.00 | 3.91 ÷ 4.09 | 3.98 | YES
Validation Date | by