## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3834-0 | HI721-0 | HI7214-0 | HI93721-0 | HI96778B-0 | HI96786-0 | MI528-0
0883 | HI93721-0 | CP-R41 | W 02/1 |  | Parameter Formula | Fe III | Fe | Fe | Fe | Fe | Fe | Fe III
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Iron HR Reagent | 2030-01-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
175 | 160 | 190
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-01-13 | 2025-01-14 | 2HEAD |  |  | 0454
[6 empty] | Expiration A | Expiration B | Expiration D
2029-02-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97721 | CTO-622
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.04 |  | MR33 |  | 0.04 | & | 2% | 100% |  | 5.2 | 4.0 | 6.5
2 | 1.00 | 0.94 | 1.06
3 | 4.00 | 3.88 | 4.12
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97721 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2025-01-10 | 15:27 | 2025-01-10 | 13:44 | ERIKA |  | 0.00 | 0.00 | / | / | 0.011 |  |  |  | 2.17 |  |  | Kinga |  | 3 | 1 | 64701
2 | 1.00 | 2 | Old A | 2025-01-10 | 15:50 | 2025-01-10 | 13:44 | ERIKA |  | 0.96 | 0.96 | / | / | 0.395 |  |  |  | 2.01 |  |  | Kinga |  | 3 | 2 | 64701
2 | 1.00 | 3 | Valid | 2025-01-10 | 15:52 | 2025-01-10 | 13:44 | ERIKA |  | 0.96 | 0.95 | / | / | 0.359 |  |  |  | 0.23 |  |  | Kinga |  | 3 | 2 | 64701
2 | 1.00 | 4 | Valid | 2025-01-10 | 15:52 | 2025-01-10 | 13:44 | ERIKA |  | 0.95 | 0.95 | / | / | 0.393 |  |  |  | 0.17 |  |  | Kinga |  | 3 | 2 | 64701
3 | 4.00 | 5 | Old A | 2025-01-10 | 15:57 | 2025-01-10 | 13:44 | ERIKA |  | 3.92 | 3.97 | / | / | 1.533 |  |  |  | 0.19 |  |  | Kinga |  | 3 | 3 | 64701
3 | 4.00 | 6 | Valid | 2025-01-10 | 16:01 | 2025-01-10 | 13:44 | ERIKA |  | 3.92 | 3.97 | / | / | 1.534 |  |  |  | 0.17 |  |  | Kinga |  | 3 | 3 | 64701
3 | 4.00 | 7 | Valid | 2025-01-10 | 16:02 | 2025-01-10 | 13:44 | ERIKA |  | 3.95 | 3.97 | / | / | 1.548 |  |  |  | 0.27 |  |  | Kinga |  | 3 | 3 | 64701
1 | 0.00 | 8 | Valid | 2025-01-10 | 16:05 | 2025-01-10 | 13:44 | MARA |  | 0.01 | 0.00 | / | / | 0.013 |  |  |  | 0.30 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 9 | Valid | 2025-01-10 | 16:06 | 2025-01-10 | 13:44 | MARA |  | 0.01 | 0.00 | / | / | 0.014 |  |  |  | 0.21 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 10 | Old A | 2025-01-13 | 10:36 | 2025-01-13 | 08:50 | ELENA | 4 | 0.95 | 0.97 | / | / | 0.399 |  |  |  | 1.49 |  |  | Kinga |  | 3 | 2 | 33925
3 | 4.00 | 11 | Old A | 2025-01-13 | 10:37 | 2025-01-13 | 08:50 | ELENA | 4 | 3.93 | 4.00 | / | / | 1.538 |  |  |  | 1.82 |  |  | Kinga |  | 3 | 3 | 33925
1 | 0.00 | 12 | Old A | 2025-01-13 | 10:43 | 2025-01-13 | 08:50 | ELENA | 4 | 0.00 | 0.00 | / | / | 0.009 |  |  |  | 2.01 | 177 |  | Kinga |  | 3 | 1 | 33925
2 | 1.00 | 13 | P/FINAL | 2025-01-13 | 10:44 | 2025-01-13 | 08:50 | ELENA | 4 | 0.95 | 0.97 | / | / | 0.393 |  |  |  | 0.23 | 145 |  | Kinga |  | 3 | 2 | 33925
2 | 1.00 | 14 | P/FINAL | 2025-01-13 | 10:49 | 2025-01-13 | 08:50 | ELENA | 4 | 0.96 | 0.96 | / | / | 0.395 | 5.620 |  |  | 0.34 | 161 |  | Kinga |  | 3 | 2 | 33925
3 | 4.00 | 15 | P/FINAL | 2025-01-13 | 10:53 | 2025-01-13 | 08:50 | ELENA | 4 | 3.93 | 4.00 | / | / | 1.538 |  |  |  | 0.27 | 133 |  | Kinga |  | 3 | 3 | 33925
3 | 4.00 | 16 | P/FINAL | 2025-01-13 | 10:54 | 2025-01-13 | 08:50 | ELENA | 4 | 3.93 | 4.00 | / | / | 1.539 | 5.592 |  |  | 0.29 | 134 |  | Kinga |  | 3 | 3 | 33925
1 | 0.00 | 17 | P/FINAL | 2025-01-13 | 10:58 | 2025-01-13 | 08:50 | ELENA | 4 | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 0.26 |  |  | Kinga |  | 3 | 1 | 33925
1 | 0.00 | 18 | P/FINAL | 2025-01-13 | 10:59 | 2025-01-13 | 08:50 | ELENA | 4 | 0.01 | 0.00 | / | / | 0.013 | 5.647 |  |  | 0.50 |  |  | Kinga |  | 3 | 1 | 33925
2 | 1.00 | 19 | P/FINAL | 2025-01-13 | 15:40 | 2025-01-13 | 14:56 | ROLAND | 2 | 0.97 | 0.96 | / | / | 0.398 |  |  |  | 0.59 | 188 |  | Kinga |  | 3 | 2
2 | 1.00 | 20 | P/FINAL | 2025-01-13 | 15:40 | 2025-01-13 | 14:56 | ROLAND | 2 | 0.99 | 0.97 | / | / | 0.405 | 5.634 |  |  | 0.57 | 181 |  | Kinga |  | 3 | 2
3 | 4.00 | 21 | P/FINAL | 2025-01-13 | 15:41 | 2025-01-13 | 14:56 | ROLAND | 2 | 3.94 | 3.99 | / | / | 1.543 |  |  |  | 0.33 | 187 |  | Kinga |  | 3 | 3
3 | 4.00 | 22 | P/FINAL | 2025-01-13 | 15:42 | 2025-01-13 | 14:56 | ROLAND | 2 | 3.93 | 3.97 | / | / | 1.540 | 5.666 |  |  | 0.44 | 186 |  | Kinga |  | 3 | 3
1 | 0.00 | 23 | P/FINAL | 2025-01-13 | 15:47 | 2025-01-13 | 14:56 | ROLAND | 2 | 0.01 | 0.00 | / | / | 0.014 |  |  |  | 0.35 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 24 | P/FINAL | 2025-01-13 | 15:48 | 2025-01-13 | 14:56 | ROLAND | 2 | 0.01 | 0.00 | / | / | 0.014 | 5.639 |  |  | 0.55 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 25 | Old A | 2025-01-14 | 08:26 | 2025-01-14 | 06:56 | ELENA |  | 0.99 | 0.97 | / | / | 0.405 |  |  |  | 2.18 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 26 | Old A | 2025-01-14 | 08:27 | 2025-01-14 | 06:56 | ELENA |  | 3.98 | 4.01 | / | / | 1.556 |  |  |  | 0.45 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 27 | Old A | 2025-01-14 | 08:29 | 2025-01-14 | 06:56 | ELENA |  | 0.01 | 0.00 | / | / | 0.016 |  |  |  | 2.89 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 28 | P/FINAL | 2025-01-14 | 08:35 | 2025-01-14 | 06:56 | ELENA |  | 0.97 | 0.96 | / | / | 0.398 |  |  |  | 0.34 | 160 |  | Kinga |  | 3 | 2
2 | 1.00 | 29 | P/FINAL | 2025-01-14 | 08:36 | 2025-01-14 | 06:56 | ELENA |  | 0.98 | 0.96 | / | / | 0.402 | 5.575 |  |  | 0.29 | 160 |  | Kinga |  | 3 | 2
3 | 4.00 | 30 | P/FINAL | 2025-01-14 | 08:37 | 2025-01-14 | 06:56 | ELENA |  | 3.95 | 3.98 | / | / | 1.547 |  |  |  | 0.41 | 172 |  | Kinga |  | 3 | 3
3 | 4.00 | 31 | P/FINAL | 2025-01-14 | 08:38 | 2025-01-14 | 06:56 | ELENA |  | 3.98 | 4.01 | / | / | 1.557 | 5.618 |  |  | 0.30 | 158 |  | Kinga |  | 3 | 3
1 | 0.00 | 32 | P/FINAL | 2025-01-14 | 08:42 | 2025-01-14 | 06:56 | ELENA |  | 0.01 | 0.00 | / | / | 0.014 |  |  |  | 0.40 | 165 |  | Kinga |  | 3 | 1
1 | 0.00 | 33 | P/FINAL | 2025-01-14 | 08:43 | 2025-01-14 | 06:56 | ELENA |  | 0.00 | 0.00 | / | / | 0.009 | 5.654 |  |  | 0.94 | 168 |  | Kinga |  | 3 | 1
2 | 1.00 | 34 | P/FINAL | 2025-01-14 | 14:45 | 2025-01-14 | 14:22 | ROLAND |  | 0.96 | 0.95 | / | / | 0.396 | 5.665 |  |  | 0.28 | 183 |  | Kinga |  | 3 | 2 | 33055
2 | 1.00 | 35 | P/FINAL | 2025-01-14 | 14:45 | 2025-01-14 | 14:22 | ROLAND |  | 0.96 | 0.95 | / | / | 0.397 |  |  |  | 0.41 | 168 |  | Kinga |  | 3 | 2 | 33055
3 | 4.00 | 36 | P/FINAL | 2025-01-14 | 14:47 | 2025-01-14 | 14:22 | ROLAND |  | 3.95 | 3.96 | / | / | 1.546 | 5.641 |  |  | 0.31 | 143 |  | Kinga |  | 3 | 3 | 33055
3 | 4.00 | 37 | P/FINAL | 2025-01-14 | 14:48 | 2025-01-14 | 14:22 | ROLAND |  | 3.93 | 3.96 | / | / | 1.538 |  |  |  | 0.45 | 154 |  | Kinga |  | 3 | 3 | 33055
1 | 0.00 | 38 | P/FINAL | 2025-01-14 | 14:51 | 2025-01-14 | 14:22 | ROLAND |  | 0.00 | 0.00 | / | / | 0.012 | 5.736 |  |  | 0.72 | 163 |  | Kinga |  | 3 | 1 | 33055
1 | 0.00 | 39 | P/FINAL | 2025-01-14 | 14:52 | 2025-01-14 | 14:22 | ROLAND |  | 0.00 | 0.00 | / | / | 0.009 |  |  |  | 0.39 | 163 |  | Kinga |  | 3 | 1 | 33055
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 0 mg/L | 8 | 16 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 0.96 mg/L | 8 | 16 | 0.96 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 3.96 mg/L | 8 | 16 | 3.96 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.96 | YES
4.00 | 3.88 ÷ 4.12 | 3.96 | YES
Validation Date | by