## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3834-0 | HI721-0 | HI7214-0 | HI93721-0 | HI96778B-0 | HI96786-0 | MI528-0
0910/N | HI93721-0 | CP-R41 | W 06/1 |  | Parameter Formula | Fe III | Fe | Fe | Fe | Fe | Fe | Fe III
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Iron HR Reagent | 2030-02-01 | L57 Powder |  |  | Laboratory | TABLETA 18 | Production
Ref Weight. | Min (mg) | Max (mg)
175 | 160 | 190
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-03-10 | 2025-03-10 | 2 head |  |  | 0852
[6 empty] | Expiration A | Expiration B | Expiration D
2029-11-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97721 | CTO-622
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.94 | 1.06 |  | MR33 |  | 0.04 | & | 2% | 100% |  | 5.2 | 4.0 | 6.5
3 | 4.00 | 3.88 | 4.12
1 | 0.00 | 0.00 | 0.04
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97721 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | Old A | 2025-03-10 | 15:39 | 2025-03-10 | 15:08 | Roland |  | 0.96 | 0.95 | / | / | 0.395 |  |  |  | 3.79 |  |  | Kinga |  | 3 | 2 | 84218
3 | 4.00 | 2 | Old A | 2025-03-10 | 15:42 | 2025-03-10 | 15:08 | Roland |  | 3.93 | 3.95 | / | / | 1.538 |  |  |  | 1.47 |  |  | Kinga |  | 3 | 3 | 84218
1 | 0.00 | 3 | Old A | 2025-03-10 | 15:43 | 2025-03-10 | 15:08 | Roland |  | 0.01 | 0.00 | / | / | 0.013 |  |  |  | 1.32 |  |  | Kinga |  | 3 | 1 | 84218
2 | 1.00 | 4 | P/Prod | 2025-03-10 | 15:49 | 2025-03-10 | 15:08 | Roland |  | 0.94 | 0.94 | / | / | 0.389 |  |  |  | 0.53 | 157 |  | Kinga |  | 3 | 2 | 84218
2 | 1.00 | 5 | P/Prod | 2025-03-10 | 15:50 | 2025-03-10 | 15:08 | Roland |  | 0.94 | 0.95 | / | / | 0.389 | 5.822 |  |  | 0.37 | 171 |  | Kinga |  | 3 | 2 | 84218
3 | 4.00 | 6 | P/Prod | 2025-03-10 | 15:52 | 2025-03-10 | 15:08 | Roland |  | 3.92 | 3.92 | / | / | 1.533 |  |  |  | 0.51 | 156 |  | Kinga |  | 3 | 3 | 84218
3 | 4.00 | 7 | P/Prod | 2025-03-10 | 15:53 | 2025-03-10 | 15:08 | Roland |  | 3.91 | 3.91 | / | / | 1.530 | 5.815 |  |  | 0.44 | 164 |  | Kinga |  | 3 | 3 | 84218
1 | 0.00 | 8 | P/Prod | 2025-03-10 | 15:59 | 2025-03-10 | 15:08 | Roland |  | 0.00 | 0.00 | / | / | 0.009 |  |  |  | 0.43 | 175 |  | Kinga |  | 3 | 1 | 84218
1 | 0.00 | 9 | P/Prod | 2025-03-10 | 15:59 | 2025-03-10 | 15:08 | Roland |  | 0.01 | 0.00 | / | / | 0.013 | 5.855 |  |  | 1.26 | 158 |  | Kinga |  | 3 | 1 | 84218
1 | 0.00 | 10 | P/Prod | 2025-03-11 | 08:22 | 2025-03-11 | 07:17 | ELENA |  | 0.00 | 0.00 | / | / | 0.005 | 5.836 |  |  | 0.36 | 189 |  | Kinga |  | 3 | 1
1 | 0.00 | 11 | P/Prod | 2025-03-11 | 08:23 | 2025-03-11 | 07:17 | ELENA |  | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 0.28 | 179 |  | Kinga |  | 3 | 1
2 | 1.00 | 12 | P/Prod | 2025-03-11 | 08:26 | 2025-03-11 | 07:17 | ELENA |  | 0.94 | 0.94 | / | / | 0.386 | 5.854 |  |  | 1.56 | 160 |  | Kinga |  | 3 | 2 | 84218
2 | 1.00 | 13 | P/Prod | 2025-03-11 | 08:27 | 2025-03-11 | 07:17 | ELENA |  | 0.94 | 0.94 | / | / | 0.386 |  |  |  | 0.67 | 178 |  | Kinga |  | 3 | 2 | 84218
3 | 4.00 | 14 | P/Prod | 2025-03-11 | 08:29 | 2025-03-11 | 07:17 | ELENA |  | 3.91 | 3.94 | / | / | 1.529 | 5.921 |  |  | 0.31 | 173 |  | Kinga |  | 3 | 3 | 84218
3 | 4.00 | 15 | P/Prod | 2025-03-11 | 08:30 | 2025-03-11 | 07:17 | ELENA |  | 3.92 | 3.96 | / | / | 1.533 |  |  |  | 0.39 | 183 |  | Kinga |  | 3 | 3 | 84218
2 | 1.00 | 16 | P/FINAL | 2025-03-11 | 14:42 | 2025-03-11 | 14:22 | ROLAND |  | 0.95 | 0.94 | / | / | 0.382 | 5.869 |  |  | 0.41 | 185 |  | Kinga |  | 3 | 2 | 84218
2 | 1.00 | 17 | P/FINAL | 2025-03-11 | 14:43 | 2025-03-11 | 14:22 | ROLAND |  | 0.96 | 0.97 | / | / | 0.395 |  |  |  | 0.30 | 171 |  | Kinga |  | 3 | 2 | 84218
3 | 4.00 | 18 | P/FINAL | 2025-03-11 | 14:44 | 2025-03-11 | 14:22 | ROLAND |  | 3.92 | 3.96 | / | / | 1.534 | 5.917 |  |  | 0.65 | 170 |  | Kinga |  | 3 | 3 | 84218
3 | 4.00 | 19 | P/FINAL | 2025-03-11 | 14:45 | 2025-03-11 | 14:22 | ROLAND |  | 3.88 | 3.95 | / | / | 1.520 |  |  |  | 4.85 | 161 |  | Kinga |  | 3 | 3 | 84218
1 | 0.00 | 20 | P/FINAL | 2025-03-11 | 14:47 | 2025-03-11 | 14:22 | ROLAND |  | 0.00 | 0.00 | / | / | 0.002 | 5.878 |  |  | 0.43 | 178 |  | Kinga |  | 3 | 1 | 84218
1 | 0.00 | 21 | P/FINAL | 2025-03-11 | 14:48 | 2025-03-11 | 14:22 | ROLAND |  | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 0.41 | 171 |  | Kinga |  | 3 | 1 | 84218
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.95 mg/L | 6 | 12 | 0.95 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 3.93 mg/L | 6 | 12 | 3.93 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0 mg/L | 6 | 12 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.95 | YES
4.00 | 3.88 ÷ 4.12 | 3.93 | YES
Validation Date | by