## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3834-0 | HI721-0 | HI7214-0 | HI93721-0 | HI96778B-0 | HI96786-0 | MI528-0
1175 | HI93721-0 | CP-R41 | W 38/1 |  | Parameter Formula | Fe III | Fe | Fe | Fe | Fe | Fe | Fe III
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Iron HR Reagent | 2030-09-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
175 | 160 | 190
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-09-17 | 2025-09-24 | 2 HEAD |  |  | 1107
[6 empty] | Expiration A | Expiration B | Expiration D
2030-07-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97721 | CTO-691
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.94 | 1.06 |  | MR33 |  | 0.04 | & | 2% | 100% |  | 5.2 | 4.0 | 6.5
3 | 4.00 | 3.88 | 4.12
1 | 0.00 | 0.00 | 0.04
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97721 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | Old A | 2025-09-17 | 14:17 | 2025-09-17 | 14:03 | MARK |  | 0.94 | 0.96 | / | / | 0.389 |  |  |  | 2.07 |  |  | Kinga |  | 3 | 2 | 82424
2 | 1.00 | 2 | Old A | 2025-09-17 | 14:18 | 2025-09-17 | 14:03 | MARK |  | 0.95 | 0.97 | / | / | 0.392 |  |  |  | 1.96 |  |  | Kinga |  | 3 | 2 | 82424
3 | 4.00 | 3 | Old A | 2025-09-17 | 14:18 | 2025-09-17 | 14:03 | MARK |  | 3.92 | 3.97 | / | / | 1.536 |  |  |  | 1.74 |  |  | Kinga |  | 3 | 3 | 82424
3 | 4.00 | 4 | Old A | 2025-09-17 | 14:19 | 2025-09-17 | 14:03 | MARK |  | 3.94 | 3.99 | / | / | 1.543 |  |  |  | 1.62 |  |  | Kinga |  | 3 | 3 | 82424
1 | 0.00 | 5 | Old A | 2025-09-17 | 14:19 | 2025-09-17 | 14:03 | MARK |  | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 2.08 |  |  | Kinga |  | 3 | 1 | 82424
1 | 0.00 | 6 | Old A | 2025-09-17 | 14:19 | 2025-09-17 | 14:03 | MARK |  | 0.00 | 0.00 | / | / | 0.010 |  |  |  | 2.21 |  |  | Kinga |  | 3 | 1 | 82424
2 | 1.00 | 7 | P/FINAL | 2025-09-17 | 14:21 | 2025-09-17 | 14:03 | MARK |  | 0.95 | 0.94 | / | / | 0.390 | 5.810 |  |  | 0.23 |  |  | Kinga |  | 3 | 2 | 82424
2 | 1.00 | 8 | P/FINAL | 2025-09-17 | 14:21 | 2025-09-17 | 14:03 | MARK |  | 0.94 | 0.95 | / | / | 0.389 |  |  |  | 0.65 |  |  | Kinga |  | 3 | 2 | 82424
2 | 1.00 | 9 | P/FINAL | 2025-09-17 | 14:22 | 2025-09-17 | 14:03 | MARK |  | 0.96 | 0.96 | / | / | 0.394 |  |  |  | 0.52 |  |  | Kinga |  | 3 | 2 | 82424
3 | 4.00 | 10 | P/FINAL | 2025-09-17 | 14:23 | 2025-09-17 | 14:03 | MARK |  | 3.96 | 4.00 | / | / | 1.551 |  |  |  | 0.35 |  |  | Kinga |  | 3 | 3 | 82424
3 | 4.00 | 11 | P/FINAL | 2025-09-17 | 14:23 | 2025-09-17 | 14:03 | MARK |  | 3.97 | 4.00 | / | / | 1.555 | 5.730 |  |  | 0.50 |  |  | Kinga |  | 3 | 3 | 82424
3 | 4.00 | 12 | P/FINAL | 2025-09-17 | 14:24 | 2025-09-17 | 14:03 | MARK |  | 3.95 | 4.00 | / | / | 1.548 |  |  |  | 0.51 |  |  | Kinga |  | 3 | 3 | 82424
1 | 0.00 | 13 | P/FINAL | 2025-09-17 | 14:25 | 2025-09-17 | 14:03 | MARK |  | 0.00 | 0.00 | / | / | 0.009 |  |  |  | 1.22 |  |  | Kinga |  | 3 | 1 | 82424
1 | 0.00 | 14 | P/FINAL | 2025-09-17 | 14:26 | 2025-09-17 | 14:03 | MARK |  | 0.00 | 0.00 | / | / | 0.012 | 5.765 |  |  | 0.38 |  |  | Kinga |  | 3 | 1 | 82424
1 | 0.00 | 15 | P/FINAL | 2025-09-17 | 20:38 | 2025-09-17 | 20:23 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 0.26 | 178 |  | Andrea V |  | 3 | 1
1 | 0.00 | 16 | P/FINAL | 2025-09-17 | 20:40 | 2025-09-17 | 20:23 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.010 | 5.802 |  |  | 0.39 | 181 |  | Andrea V |  | 3 | 1
2 | 1.00 | 17 | P/FINAL | 2025-09-17 | 20:41 | 2025-09-17 | 20:23 | ELENA | 2 | 0.96 | 0.96 | / | / | 0.396 |  |  |  | 0.33 | 180 |  | Andrea V |  | 3 | 2 | 84243
2 | 1.00 | 18 | P/FINAL | 2025-09-17 | 20:42 | 2025-09-17 | 20:23 | ELENA | 2 | 0.96 | 0.95 | / | / | 0.394 | 5.802 |  |  | 0.31 | 180 |  | Andrea V |  | 3 | 2 | 84243
2 | 1.00 | 19 | P/FINAL | 2025-09-17 | 20:42 | 2025-09-17 | 20:23 | ELENA | 2 | 0.97 | 0.96 | / | / | 0.399 |  |  |  | 0.28 | 179 |  | Andrea V |  | 3 | 2 | 84243
3 | 4.00 | 20 | P/FINAL | 2025-09-17 | 20:44 | 2025-09-17 | 20:23 | ELENA | 2 | 3.98 | 3.99 | / | / | 1.559 |  |  |  | 0.22 | 180 |  | Andrea V |  | 3 | 3 | 84243
3 | 4.00 | 21 | P/FINAL | 2025-09-17 | 20:44 | 2025-09-17 | 20:23 | ELENA | 2 | 3.98 | 4.00 | / | / | 1.559 | 5.799 |  |  | 0.24 | 180 |  | Andrea V |  | 3 | 3 | 84243
3 | 4.00 | 22 | P/FINAL | 2025-09-17 | 20:45 | 2025-09-17 | 20:23 | ELENA | 2 | 3.99 | 3.99 | / | / | 1.560 |  |  |  | 0.19 | 171 |  | Andrea V |  | 3 | 3 | 84243
2 | 1.00 | 23 | Old A | 2025-09-18 | 09:09 | 2025-09-18 | 08:17 | ROLAND | 2 | 0.96 | 0.96 | / | / | 0.403 |  |  |  | 2.29 |  |  | Kinga |  | 3 | 2 | 82424
2 | 1.00 | 24 | Old A | 2025-09-18 | 09:09 | 2025-09-18 | 08:17 | ROLAND | 2 | 0.98 | 0.97 | / | / | 0.403 |  |  |  | 2.03 |  |  | Kinga |  | 3 | 2 | 82424
3 | 4.00 | 25 | Old A | 2025-09-18 | 09:10 | 2025-09-18 | 08:17 | ROLAND | 2 | 3.96 | 3.98 | / | / | 1.549 |  |  |  | 0.46 | 187 |  | Kinga |  | 3 | 3 | 82424
3 | 4.00 | 26 | Old A | 2025-09-18 | 09:11 | 2025-09-18 | 08:17 | ROLAND | 2 | 3.97 | 4.00 | / | / | 1.555 |  |  |  | 0.78 | 182 |  | Kinga |  | 3 | 3 | 82424
1 | 0.00 | 27 | Old A | 2025-09-18 | 09:12 | 2025-09-18 | 08:17 | ROLAND | 2 | 0.01 | 0.00 | / | / | 0.013 |  |  |  | 2.22 | 186 |  | Kinga |  | 3 | 1 | 82424
1 | 0.00 | 28 | Old A | 2025-09-18 | 09:12 | 2025-09-18 | 08:17 | ROLAND | 2 | 0.01 | 0.00 | / | / | 0.013 |  |  |  | 0.60 | 175 |  | Kinga |  | 3 | 1 | 82424
2 | 1.00 | 29 | P/FINAL | 2025-09-18 | 09:17 | 2025-09-18 | 08:17 | ROLAND | 2 | 0.97 | 0.94 | / | / | 0.398 | 5.944 |  |  | 0.33 | 183 |  | Kinga |  | 3 | 2 | 82424
2 | 1.00 | 30 | P/FINAL | 2025-09-18 | 09:18 | 2025-09-18 | 08:17 | ROLAND | 2 | 0.95 | 0.95 | / | / | 0.391 |  |  |  | 1.16 | 187 |  | Kinga |  | 3 | 2 | 82424
2 | 1.00 | 31 | P/FINAL | 2025-09-18 | 09:19 | 2025-09-18 | 08:17 | ROLAND | 2 | 0.96 | 0.96 | / | / | 0.397 |  |  |  | 0.38 | 189 |  | Kinga |  | 3 | 2 | 82424
3 | 4.00 | 32 | P/FINAL | 2025-09-18 | 09:25 | 2025-09-18 | 08:17 | ROLAND | 2 | 3.95 | 3.97 | / | / | 1.546 | 5.911 |  |  | 0.27 | 193 |  | Kinga |  | 3 | 3 | 82424
3 | 4.00 | 33 | P/FINAL | 2025-09-18 | 09:25 | 2025-09-18 | 08:17 | ROLAND | 2 | 3.99 | 4.01 | / | / | 1.560 |  |  |  | 0.42 | 185 |  | Kinga |  | 3 | 3 | 82424
3 | 4.00 | 34 | P/FINAL | 2025-09-18 | 09:26 | 2025-09-18 | 08:17 | ROLAND | 2 | 4.04 | 3.97 | / | / | 1.583 |  |  |  | 1.39 |  |  | Kinga |  | 3 | 3 | 82424
1 | 0.00 | 35 | P/FINAL | 2025-09-18 | 09:27 | 2025-09-18 | 08:17 | ROLAND | 2 | 0.00 | 0.00 | / | / | 0.011 |  |  |  | 1.79 |  |  | Kinga |  | 3 | 1 | 82424
1 | 0.00 | 36 | P/FINAL | 2025-09-18 | 09:27 | 2025-09-18 | 08:17 | ROLAND | 2 | 0.00 | 0.00 | / | / | 0.009 | 5.987 |  |  | 0.79 |  |  | Kinga |  | 3 | 1 | 82424
2 | 1.00 | 37 | P/FINAL | 2025-09-18 | 15:11 | 2025-09-18 | 14:36 | ELENA | 2 | 1.04 | 1.03 | / | / | 0.428 |  |  |  | 0.45 |  |  | Kinga |  | 3 | 2 | 82424
2 | 1.00 | 38 | P/FINAL | 2025-09-18 | 15:12 | 2025-09-18 | 14:36 | ELENA | 2 | 0.95 | 0.94 | / | / | 0.390 | 5.823 |  |  | 0.59 | 192 |  | Kinga |  | 3 | 2 | 82424
2 | 1.00 | 39 | P/FINAL | 2025-09-18 | 15:12 | 2025-09-18 | 14:36 | ELENA | 2 | 0.95 | 0.95 | / | / | 0.390 |  |  |  | 0.66 | 190 |  | Kinga |  | 3 | 2 | 82424
3 | 4.00 | 40 | P/FINAL | 2025-09-18 | 15:13 | 2025-09-18 | 14:36 | ELENA | 2 | 3.95 | 3.99 | / | / | 1.546 |  |  |  | 0.75 | 188 |  | Kinga |  | 3 | 3 | 82424
3 | 4.00 | 41 | P/FINAL | 2025-09-18 | 15:14 | 2025-09-18 | 14:36 | ELENA | 2 | 3.93 | 3.96 | / | / | 1.537 | 5.935 |  |  | 0.86 | 200 |  | Kinga |  | 3 | 3 | 82424
3 | 4.00 | 42 | P/FINAL | 2025-09-18 | 15:14 | 2025-09-18 | 14:36 | ELENA | 2 | 3.97 | 3.99 | / | / | 1.553 |  |  |  | 0.66 | 176 |  | Kinga |  | 3 | 3 | 82424
1 | 0.00 | 43 | P/FINAL | 2025-09-18 | 15:15 | 2025-09-18 | 14:36 | ELENA | 2 | 0.01 | 0.00 | / | / | 0.014 |  |  |  | 0.66 | 190 |  | Kinga |  | 3 | 1 | 82424
1 | 0.00 | 44 | P/FINAL | 2025-09-18 | 15:16 | 2025-09-18 | 14:36 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.009 | 5.878 |  |  | 0.84 | 189 |  | Kinga |  | 3 | 1 | 82424
1 | 0.00 | 45 | Old A | 2025-09-19 | 08:38 | 2025-09-19 | 08:21 | ROLAND | 2 | 0.01 | 0.00 | / | / | 0.013 |  |  |  | 0.97 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 46 | Old A | 2025-09-19 | 08:40 | 2025-09-19 | 08:21 | ROLAND | 2 | 0.00 | 0.00 | / | / | 0.009 |  |  |  | 1.28 |  |  | Andrea V |  | 3 | 1
2 | 1.00 | 47 | Old A | 2025-09-19 | 08:41 | 2025-09-19 | 08:21 | ROLAND | 2 | 0.97 | 0.97 | / | / | 0.400 |  |  |  | 1.17 |  |  | Andrea V |  | 3 | 2 | 82424
2 | 1.00 | 48 | Old A | 2025-09-19 | 08:42 | 2025-09-19 | 08:21 | ROLAND | 2 | 0.97 | 0.97 | / | / | 0.398 |  |  |  | 0.91 |  |  | Andrea V |  | 3 | 2 | 82424
3 | 4.00 | 49 | Old A | 2025-09-19 | 08:43 | 2025-09-19 | 08:21 | ROLAND | 2 | 4.02 | 4.03 | / | / | 1.574 |  |  |  | 1.00 |  |  | Andrea V |  | 3 | 3 | 82424
3 | 4.00 | 50 | Old A | 2025-09-19 | 08:45 | 2025-09-19 | 08:21 | ROLAND | 2 | 4.00 | 4.01 | / | / | 1.566 |  |  |  | 0.96 |  |  | Andrea V |  | 3 | 3 | 82424
1 | 0.00 | 51 | P/FINAL | 2025-09-19 | 08:46 | 2025-09-19 | 08:21 | ROLAND | 2 | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 0.27 | 178 |  | Andrea V |  | 3 | 1 | 82424
1 | 0.00 | 52 | P/FINAL | 2025-09-19 | 08:47 | 2025-09-19 | 08:21 | ROLAND | 2 | 0.00 | 0.00 | / | / | 0.007 | 5.979 |  |  | 0.28 | 178 |  | Andrea V |  | 3 | 1 | 82424
2 | 1.00 | 53 | P/FINAL | 2025-09-19 | 08:47 | 2025-09-19 | 08:21 | ROLAND | 2 | 0.97 | 0.96 | / | / | 0.398 |  |  |  | 0.30 | 162 |  | Andrea V |  | 3 | 2 | 82424
2 | 1.00 | 54 | P/FINAL | 2025-09-19 | 08:48 | 2025-09-19 | 08:21 | ROLAND | 2 | 0.96 | 0.95 | / | / | 0.394 | 6.005 |  |  | 0.27 | 173 |  | Andrea V |  | 3 | 2 | 82424
2 | 1.00 | 55 | P/FINAL | 2025-09-19 | 08:49 | 2025-09-19 | 08:21 | ROLAND | 2 | 0.95 | 0.96 | / | / | 0.393 |  |  |  | 1.09 | 170 |  | Andrea V |  | 3 | 2 | 82424
3 | 4.00 | 56 | P/FINAL | 2025-09-19 | 08:50 | 2025-09-19 | 08:21 | ROLAND | 2 | 4.00 | 4.00 | / | / | 1.565 |  |  |  | 0.69 | 172 |  | Andrea V |  | 3 | 3 | 82424
3 | 4.00 | 57 | P/FINAL | 2025-09-19 | 08:51 | 2025-09-19 | 08:21 | ROLAND | 2 | 3.98 | 3.98 | / | / | 1.556 | 5.939 |  |  | 0.43 | 174 |  | Andrea V |  | 3 | 3 | 82424
3 | 4.00 | 58 | P/FINAL | 2025-09-19 | 08:53 | 2025-09-19 | 08:21 | ROLAND | 2 | 4.00 | 4.01 | / | / | 1.565 |  |  |  | 0.23 | 143 |  | Andrea V |  | 3 | 3 | 82424
2 | 1.00 | 59 | Old A | 2025-09-24 | 11:56 | 2025-09-24 | 11:00 | ELENA | 2 | 0.98 | 0.97 | / | / | 0.402 |  |  |  | 1.48 |  |  | Kinga |  | 3 | 2 | 84243
2 | 1.00 | 60 | Old A | 2025-09-24 | 11:56 | 2025-09-24 | 11:00 | ELENA | 2 | 0.99 | 0.98 | / | / | 0.406 |  |  |  | 2.25 |  |  | Kinga |  | 3 | 2 | 84243
3 | 4.00 | 61 | Old A | 2025-09-24 | 11:57 | 2025-09-24 | 11:00 | ELENA | 2 | 4.00 | 4.01 | / | / | 1.565 |  |  |  | 1.45 |  |  | Kinga |  | 3 | 3 | 84243
3 | 4.00 | 62 | Old B | 2025-09-24 | 11:58 | 2025-09-24 | 11:00 | ELENA | 2 | 4.00 | 4.02 | / | / | 1.565 |  |  |  | 1.45 |  |  | Kinga |  | 3 | 3 | 84243
1 | 0.00 | 63 | Old A | 2025-09-24 | 11:59 | 2025-09-24 | 11:00 | ELENA | 2 | 0.01 | 0.00 | / | / | 0.013 |  |  |  | 1.86 |  |  | Kinga |  | 3 | 1 | 84243
1 | 0.00 | 64 | Old A | 2025-09-24 | 12:00 | 2025-09-24 | 11:00 | ELENA | 2 | 0.02 | 0.00 | / | / | 0.019 |  |  |  | 1.90 |  |  | Kinga |  | 3 | 1 | 84243
2 | 1.00 | 65 | P/FINAL | 2025-09-24 | 12:08 | 2025-09-24 | 11:00 | ELENA | 2 | 0.95 | 0.96 | / | / | 0.390 |  |  |  | 0.26 |  |  | Kinga |  | 3 | 2 | 84243
2 | 1.00 | 66 | P/FINAL | 2025-09-24 | 12:09 | 2025-09-24 | 11:00 | ELENA | 2 | 0.96 | 0.95 | / | / | 0.394 |  |  |  | 0.32 | 172 |  | Kinga |  | 3 | 2 | 84243
2 | 1.00 | 67 | P/FINAL | 2025-09-24 | 12:10 | 2025-09-24 | 11:00 | ELENA | 2 | 0.96 | 0.96 | / | / | 0.397 |  |  |  | 0.75 | 173 |  | Kinga |  | 3 | 2 | 84243
3 | 4.00 | 68 | P/FINAL | 2025-09-24 | 12:16 | 2025-09-24 | 11:00 | ELENA | 2 | 3.98 | 4.02 | / | / | 1.558 | 5.776 |  |  | 0.26 | 173 |  | Kinga |  | 3 | 3 | 84243
3 | 4.00 | 69 | P/FINAL | 2025-09-24 | 12:17 | 2025-09-24 | 11:00 | ELENA | 2 | 3.97 | 3.98 | / | / | 1.552 |  |  |  | 0.25 | 164 |  | Kinga |  | 3 | 3 | 84243
3 | 4.00 | 70 | P/FINAL | 2025-09-24 | 12:17 | 2025-09-24 | 11:00 | ELENA | 2 | 3.95 | 3.98 | / | / | 1.558 |  |  |  | 0.29 | 170 |  | Kinga |  | 3 | 3 | 84243
1 | 0.00 | 71 | P/FINAL | 2025-09-24 | 12:18 | 2025-09-24 | 11:00 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.009 |  |  |  | 1.36 | 173 |  | Kinga |  | 3 | 1 | 84243
1 | 0.00 | 72 | P/FINAL | 2025-09-24 | 12:18 | 2025-09-24 | 11:00 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.011 | 5.786 |  |  | 1.36 | 175 |  | Kinga |  | 3 | 1 | 84243
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
18 | 36 | 0.96 mg/L | 18 | 36 | 0.96 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
18 | 36 | 3.98 mg/L | 18 | 36 | 3.98 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
12 | 24 | 0 mg/L | 12 | 24 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.96 | YES
4.00 | 3.88 ÷ 4.12 | 3.98 | YES
Validation Date | by