## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3834-0 | HI721-0 | HI7214-0 | HI93721-0 | HI96778B-0 | HI96786-0 | MI528-0
1287 | HI93721-0 | CP-R41 | W 51/1 |  | Parameter Formula | Fe III | Fe | Fe | Fe | Fe | Fe | Fe III
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Iron HR Reagent | 2030-12-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
175 | 160 | 190
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-12-17 | 2026-01-15 | 2 HEAD |  |  | 1175
[6 empty] | Expiration A | Expiration B | Expiration D
2030-09-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97721 | CTO-691
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98713 | CTO-797
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.94 | 1.06 |  | MR33 |  | 0.04 | & | 2% | 100% |  | 5.2 | 4.0 | 6.5
3 | 4.00 | 3.88 | 4.12
1 | 0.00 | 0.00 | 0.04
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97721 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | Old A | 2025-12-17 | 16:09 | 2025-12-17 | 15:43 | ERIKA |  | 1.00 | 0.98 | / | / | 0.409 |  |  |  | 1.53 |  |  | Kinga |  | 3 | 2 | 105503
2 | 1.00 | 2 | Old A | 2025-12-17 | 16:10 | 2025-12-17 | 15:43 | ERIKA |  | 1.00 | 0.98 | / | / | 0.409 |  |  |  | 1.47 |  |  | Kinga |  | 3 | 2 | 105503
3 | 4.00 | 3 | Old A | 2025-12-17 | 16:10 | 2025-12-17 | 15:43 | ERIKA |  | 4.00 | 4.02 | / | / | 1.566 |  |  |  | 1.71 |  |  | Kinga |  | 3 | 3 | 105503
3 | 4.00 | 4 | Old A | 2025-12-17 | 16:11 | 2025-12-17 | 15:43 | ERIKA |  | 4.01 | 4.04 | / | / | 1.570 |  |  |  | 1.80 |  |  | Kinga |  | 3 | 3 | 105503
1 | 0.00 | 5 | Old A | 2025-12-17 | 16:13 | 2025-12-17 | 15:43 | ERIKA |  | 0.00 | 0.00 | / | / | 0.011 |  |  |  | 2.49 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 6 | Old A | 2025-12-17 | 16:14 | 2025-12-17 | 15:43 | ERIKA |  | 0.00 | 0.00 | / | / | 0.011 |  |  |  | 1.80 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 7 | Valid | 2025-12-18 | 08:19 | 2025-12-17 | 15:43 | ERIKA |  | 1.02 | 1.01 | / | / | 0.420 |  |  |  | 0.80 | 5.777 |  | Kinga |  | 3 | 2
2 | 1.00 | 8 | Valid | 2025-12-18 | 08:20 | 2025-12-17 | 15:43 | ERIKA |  | 1.02 | 1.01 | / | / | 0.420 |  |  |  | 0.45 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 9 | Valid | 2025-12-18 | 08:23 | 2025-12-17 | 15:43 | ERIKA |  | 1.01 | 1.00 | / | / | 0.413 |  |  |  | 1.74 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 10 | Valid | 2025-12-18 | 08:26 | 2025-12-17 | 15:43 | ERIKA |  | 4.05 | 4.08 | / | / | 1.586 |  |  |  | 0.68 | 5.796 |  | Kinga |  | 3 | 3
3 | 4.00 | 11 | Valid | 2025-12-18 | 08:27 | 2025-12-17 | 15:43 | ERIKA |  | 4.03 | 4.00 | / | / | 1.578 |  |  |  | 0.88 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 12 | Valid | 2025-12-18 | 08:28 | 2025-12-17 | 15:43 | ERIKA |  | 4.03 | 4.05 | / | / | 1.577 |  |  |  | 0.47 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 13 | Valid | 2025-12-18 | 08:30 | 2025-12-17 | 15:43 | ERIKA |  | 0.02 | 0.00 | / | / | 0.020 |  |  |  | 0.79 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 14 | Valid | 2025-12-18 | 08:31 | 2025-12-17 | 15:43 | ERIKA |  | 0.03 | 0.00 | / | / | 0.021 |  |  |  | 0.72 | 5.806 |  | Kinga |  | 3 | 1
1 | 0.00 | 15 | Old A | 2026-01-15 | 09:05 | 2026-01-15 | 08:33 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.012 |  |  |  | 0.63 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 16 | Old A | 2026-01-15 | 09:06 | 2026-01-15 | 08:33 | ELENA | 2 | 0.01 | 0.00 | / | / | 0.013 |  |  |  | 0.50 |  |  | Andrea V |  | 3 | 1
2 | 1.00 | 17 | Old A | 2026-01-15 | 09:06 | 2026-01-15 | 08:33 | ELENA | 2 | 0.98 | 0.96 | / | / | 0.402 |  |  |  | 0.43 |  |  | Andrea V |  | 3 | 2
2 | 1.00 | 18 | Old A | 2026-01-15 | 09:07 | 2026-01-15 | 08:33 | ELENA | 2 | 0.97 | 0.97 | / | / | 0.399 |  |  |  | 0.63 |  |  | Andrea V |  | 3 | 2
3 | 4.00 | 19 | Old A | 2026-01-15 | 09:07 | 2026-01-15 | 08:33 | ELENA | 2 | 3.96 | 3.96 | / | / | 1.551 |  |  |  | 0.50 |  |  | Andrea V |  | 3 | 3
3 | 4.00 | 20 | Old A | 2026-01-15 | 09:08 | 2026-01-15 | 08:33 | ELENA | 2 | 3.97 | 3.97 | / | / | 1.555 |  |  |  | 0.54 |  |  | Andrea V |  | 3 | 3
1 | 0.00 | 21 | P/FINAL | 2026-01-15 | 09:18 | 2026-01-15 | 08:33 | ELENA | 2 | 0.03 | 0.00 | / | / | 0.021 | 6.039 |  |  | 0.35 | 182 |  | Andrea V |  | 3 | 1 | 92628
1 | 0.00 | 22 | P/FINAL | 2026-01-15 | 09:19 | 2026-01-15 | 08:33 | ELENA | 2 | 0.02 | 0.00 | / | / | 0.018 |  |  |  | 0.84 | 177 |  | Andrea V |  | 3 | 1 | 92628
1 | 0.00 | 23 | P/FINAL | 2026-01-15 | 09:20 | 2026-01-15 | 08:33 | ELENA | 2 | 0.97 | 0.97 | / | / | 0.401 |  |  |  | 0.26 |  |  | Andrea V |  | 3 | 1 | 92628
2 | 1.00 | 24 | P/FINAL | 2026-01-15 | 09:21 | 2026-01-15 | 08:33 | ELENA | 2 | 0.97 | 0.97 | / | / | 0.399 | 6.006 |  |  | 0.40 | 181 |  | Andrea V |  | 3 | 2 | 92628
2 | 1.00 | 25 | P/FINAL | 2026-01-15 | 09:21 | 2026-01-15 | 08:33 | ELENA | 2 | 0.97 | 0.97 | / | / | 0.401 |  |  |  | 0.31 | 177 |  | Andrea V |  | 3 | 2 | 92628
3 | 4.00 | 26 | P/FINAL | 2026-01-15 | 09:22 | 2026-01-15 | 08:33 | ELENA | 2 | 3.98 | 3.98 | / | / | 1.558 |  |  |  | 0.23 |  |  | Andrea V |  | 3 | 3 | 92628
3 | 4.00 | 27 | P/FINAL | 2026-01-15 | 09:23 | 2026-01-15 | 08:33 | ELENA | 2 | 3.98 | 3.98 | / | / | 1.557 | 5.991 |  |  | 0.30 | 184 |  | Andrea V |  | 3 | 3 | 92628
3 | 4.00 | 28 | P/FINAL | 2026-01-15 | 09:24 | 2026-01-15 | 08:33 | ELENA | 2 | 3.98 | 3.97 | / | / | 1.559 |  |  |  | 0.27 | 173 |  | Andrea V |  | 3 | 3 | 92628
1 | 0.00 | 29 | P/FINAL | 2026-01-15 | 15:21 | 2026-01-15 | 15:04 | ROLAND | 2 | 0.04 | 0.00 | / | / | 0.028 |  |  |  | 0.44 | 176 |  | Andrea V |  | 3 | 1
1 | 0.00 | 30 | P/FINAL | 2026-01-15 | 15:22 | 2026-01-15 | 15:04 | ROLAND | 2 | 0.02 | 0.00 | / | / | 0.018 | 6.068 |  |  | 0.35 | 180 |  | Andrea V |  | 3 | 1
2 | 1.00 | 31 | P/FINAL | 2026-01-15 | 15:23 | 2026-01-15 | 15:04 | ROLAND | 2 | 0.98 | 0.97 | / | / | 0.403 |  |  |  | 0.31 |  |  | Andrea V |  | 3 | 2
2 | 1.00 | 32 | P/FINAL | 2026-01-15 | 15:24 | 2026-01-15 | 15:04 | ROLAND | 2 | 0.98 | 0.97 | / | / | 0.402 | 6.038 |  |  | 0.54 | 171 |  | Andrea V |  | 3 | 2
2 | 1.00 | 33 | P/FINAL | 2026-01-15 | 15:24 | 2026-01-15 | 15:04 | ROLAND | 2 | 0.99 | 0.97 | / | / | 0.405 |  |  |  | 0.42 | 184 |  | Andrea V |  | 3 | 2
3 | 4.00 | 34 | P/FINAL | 2026-01-15 | 15:25 | 2026-01-15 | 15:04 | ROLAND | 2 | 3.94 | 3.97 | / | / | 1.544 |  |  |  | 0.26 |  |  | Andrea V |  | 3 | 3
3 | 4.00 | 35 | P/FINAL | 2026-01-15 | 15:26 | 2026-01-15 | 15:04 | ROLAND | 2 | 3.96 | 3.97 | / | / | 1.550 | 5.979 |  |  | 0.28 | 169 |  | Andrea V |  | 3 | 3
3 | 4.00 | 36 | P/FINAL | 2026-01-15 | 15:27 | 2026-01-15 | 15:04 | ROLAND | 2 | 3.93 | 3.95 | / | / | 1.539 |  |  |  | 0.33 | 176 |  | Andrea V |  | 3 | 3
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 0.97 mg/L | 5 | 10 | 0.97 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 3.97 mg/L | 6 | 12 | 3.97 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 0.21 mg/L | 5 | 10 | 0.21 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.21 | NO
1.00 | 0.94 ÷ 1.06 | 0.97 | YES
4.00 | 3.88 ÷ 4.12 | 3.97 | YES
Validation Date | by