## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3834-0 | HI721-0 | HI7214-0 | HI93721-0 | HI96778B-0 | HI96786-0 | MI528-0
1283 | HI96786-0 | CP-R41 | W 51/1 |  | Parameter Formula | Fe III | Fe | Fe | Fe | Fe | Fe | Fe III
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Iron Reagent | 2030-12-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
125 | 115 | 135
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1283 | 4104
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-12-01 | 2028-04-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 6.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ELENA | 2026-01-13 | 2026-01-13 | 2 HEAD |  |  | 0685
[6 empty] | Expiration A | Expiration B | Expiration D
2029-09-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI802 | CTO-867 | HI801 | CTO-775
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI93703 | CTO-766
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.10 |  | MR33 |  | 0.10 | & | 3% | 100% |  | 2.0 | 1.0 | 2.2
2 | 1.00 | 0.87 | 1.13
3 | 3.00 | 2.81 | 3.19
4 | 5.00 | 4.75 | 5.25
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI802 | M. 2 HI801 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2026-01-13 | 11:13 | 2026-01-13 | 07:16 | ELENA | 2 | 0.01 | 0.00 | / | / | 0.015 |  |  |  | 4.60 |  | 1 | Andrea V |  | 3 | 1
1 | 0.00 | 2 | Old A | 2026-01-13 | 11:14 | 2026-01-13 | 07:16 | ELENA | 2 | 0.02 | 0.00 | / | / | 0.017 |  |  |  | 4.74 |  | 1 | Andrea V |  | 3 | 1
2 | 1.00 | 3 | Old A | 2026-01-13 | 11:15 | 2026-01-13 | 07:16 | ELENA | 2 | 0.94 | 0.93 | / | / | 0.216 |  |  |  | 5.38 |  | 1 | Andrea V |  | 3 | 2
2 | 1.00 | 4 | Old A | 2026-01-13 | 11:16 | 2026-01-13 | 07:16 | ELENA | 2 | 0.93 | 0.90 | / | / | 0.214 |  |  |  | 5.48 |  | 1 | Andrea V |  | 3 | 2
3 | 3.00 | 5 | Old A | 2026-01-13 | 11:16 | 2026-01-13 | 07:16 | ELENA | 2 | 2.91 | 2.90 | / | / | 0.637 |  |  |  | 5.42 |  | 1 | Andrea V |  | 3 | 3
3 | 3.00 | 6 | Old A | 2026-01-13 | 11:17 | 2026-01-13 | 07:16 | ELENA | 2 | 2.97 | 2.94 | / | / | 0.649 |  |  |  | 6.08 |  | 1 | Andrea V |  | 3 | 3
4 | 5.00 | 7 | Old A | 2026-01-13 | 11:20 | 2026-01-13 | 07:16 | ELENA | 2 | 4.79 | 4.78 | / | / | 1.038 |  |  |  | 6.60 |  | 1 | Andrea V |  | 3 | 4
4 | 5.00 | 8 | Old A | 2026-01-13 | 11:21 | 2026-01-13 | 07:16 | ELENA | 2 | 4.93 | 4.92 | / | / | 1.070 |  |  |  | 7.20 |  | 1 | Andrea V |  | 3 | 4
1 | 0.00 | 9 | P/FINAL | 2026-01-13 | 11:24 | 2026-01-13 | 07:16 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 1.33 | 127 | 1 | Andrea V |  | 3 | 1
1 | 0.00 | 10 | P/FINAL | 2026-01-13 | 11:25 | 2026-01-13 | 07:16 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 2.50 | 130 | 1 | Andrea V |  | 3 | 1
2 | 1.00 | 11 | P/FINAL | 2026-01-13 | 11:29 | 2026-01-13 | 07:16 | ELENA | 2 | 0.93 | 0.93 | / | / | 0.213 |  |  |  | 1.89 | 122 | 1 | Andrea V |  | 3 | 2
2 | 1.00 | 12 | P/FINAL | 2026-01-13 | 11:30 | 2026-01-13 | 07:16 | ELENA | 2 | 0.95 | 0.97 | / | / | 0.217 |  |  |  | 1.46 | 113 | 1 | Andrea V |  | 3 | 2
3 | 3.00 | 13 | P/FINAL | 2026-01-13 | 11:30 | 2026-01-13 | 07:16 | ELENA | 2 | 2.90 | 2.91 | / | / | 0.635 |  |  |  | 1.63 | 125 | 1 | Andrea V |  | 3 | 3
3 | 3.00 | 14 | P/FINAL | 2026-01-13 | 11:31 | 2026-01-13 | 07:16 | ELENA | 2 | 2.90 | 2.91 | / | / | 0.634 |  |  |  | 1.59 | 116 | 1 | Andrea V |  | 3 | 3
4 | 5.00 | 15 | P/FINAL | 2026-01-13 | 11:33 | 2026-01-13 | 07:16 | ELENA | 2 | 4.87 | 4.90 | / | / | 1.055 |  |  |  | 0.98 | 112 | 1 | Andrea V |  | 3 | 4
4 | 5.00 | 16 | P/FINAL | 2026-01-13 | 11:33 | 2026-01-13 | 07:16 | ELENA | 2 | 4.91 | 4.93 | / | / | 1.064 | [5 empty] | 1 | Andrea V |  | 3 | 4
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 2 | 4 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0.95 mg/L | 2 | 4 | 0.95 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 2.91 mg/L | 2 | 4 | 2.91 mg/L
Standard # 4
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 4.9 mg/L | 2 | 4 | 4.9 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.10 | 0.00 | YES
1.00 | 0.87 ÷ 1.13 | 0.95 | YES
3.00 | 2.81 ÷ 3.19 | 2.91 | YES
5.00 | 4.75 ÷ 5.25 | 4.90 | YES
Validation Date | by