## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3834-0 | HI721-0 | HI7214-0 | HI93721-0 | HI96778B-0 | HI96786-0 | MI528-0
0883/N | MI528-0 | CP-R41 | W02/1 |  | Parameter Formula | Fe III | Fe | Fe | Fe | Fe | Fe | Fe III
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Iron Reagent | 2030-01-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
175 | 160 | 190
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-01-17 | 2025-02-05 | 1HEAD |  |  | 0454
[6 empty] | Expiration A | Expiration B | Expiration D
2029-02-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97721 | CTO-691
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
HI5521 | L84-029 | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.94 | 1.06 |  | MR33 |  | 0.04 | & | 2% | 100% |  | 5.2 | 4.0 | 6.5
3 | 4.00 | 3.88 | 4.12
1 | 0.00 | 0.00 | 0.04
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | Old A | 2025-02-04 | 09:28 | 2025-02-04 | 08:49 | TAMARA | 1 | 0.97 | 0.96 | / | / | 0.400 |  |  |  | 2.23 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 2 | Old A | 2025-02-04 | 09:30 | 2025-02-04 | 08:49 | TAMARA | 1 | 3.98 | 3.98 | / | / | 1.559 |  |  |  | 2.14 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 3 | Old A | 2025-02-04 | 09:31 | 2025-02-04 | 08:49 | TAMARA | 1 | 0.01 | 0.00 | / | / | 0.016 |  |  |  | 3.40 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 4 | P/Prod | 2025-02-04 | 09:37 | 2025-02-04 | 08:49 | TAMARA | 1 | 0.98 | 0.97 | / | / | 0.403 |  |  |  | 0.90 | 216 |  | Kinga |  | 3 | 2
2 | 1.00 | 5 | P/Prod | 2025-02-04 | 09:38 | 2025-02-04 | 08:49 | TAMARA | 1 | 0.97 | 0.96 | / | / | 0.401 | 5.708 |  |  | 1.31 | 190 |  | Kinga |  | 3 | 2
3 | 4.00 | 6 | P/Prod | 2025-02-04 | 09:39 | 2025-02-04 | 08:49 | TAMARA | 1 | 3.98 | 3.97 | / | / | 1.556 |  |  |  | 1.60 | 198 |  | Kinga |  | 3 | 3
3 | 4.00 | 7 | P/Prod | 2025-02-04 | 09:41 | 2025-02-04 | 08:49 | TAMARA | 1 | 3.97 | 3.97 | / | / | 1.553 | 5.657 |  |  | 0.34 | 195 |  | Kinga |  | 3 | 3
1 | 0.00 | 8 | P/Prod | 2025-02-04 | 09:43 | 2025-02-04 | 08:49 | TAMARA | 1 | 0.02 | 0.00 | / | / | 0.018 |  |  |  | 0.52 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 9 | P/Prod | 2025-02-04 | 09:44 | 2025-02-04 | 08:49 | TAMARA | 1 | 0.01 | 0.00 | / | / | 0.016 | 5.745 |  |  | 0.85 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 10 | P/Prod | 2025-02-04 | 15:15 | 2025-02-04 | 14:25 | MARA | 1 | 0.95 | 0.95 | / | / | 0.392 |  |  |  | 1.28 | 185 |  | Kinga |  | 3 | 2
2 | 1.00 | 11 | P/Prod | 2025-02-04 | 15:16 | 2025-02-04 | 14:25 | MARA | 1 | 0.96 | 0.95 | / | / | 0.394 | 5.774 |  |  | 0.32 | 177 |  | Kinga |  | 3 | 2
3 | 4.00 | 12 | P/Prod | 2025-02-04 | 15:19 | 2025-02-04 | 14:25 | MARA | 1 | 3.94 | 3.94 | / | / | 1.541 |  |  |  | 0.64 | 168 |  | Kinga |  | 3 | 3
3 | 4.00 | 13 | P/Prod | 2025-02-04 | 15:20 | 2025-02-04 | 14:25 | MARA | 1 | 3.97 | 3.98 | / | / | 1.559 | 5.786 |  |  | 2.49 | 168 |  | Kinga |  | 3 | 3
1 | 0.00 | 14 | P/Prod | 2025-02-04 | 15:24 | 2025-02-04 | 14:25 | MARA | 1 | 0.00 | 0.00 | / | / | 0.009 |  |  |  | 0.43 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 15 | P/Prod | 2025-02-04 | 15:25 | 2025-02-04 | 14:25 | MARA | 1 | 0.00 | 0.00 | / | / | 0.009 | 5.769 |  |  | 0.61 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 16 | Old A | 2025-02-05 | 08:55 | 2025-02-05 | 06:36 | TAMARA | 1 | 0.97 | 0.97 | / | / | 0.400 |  |  |  | 2.62 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 17 | Old A | 2025-02-05 | 08:56 | 2025-02-05 | 06:36 | TAMARA | 1 | 3.93 | 3.94 | / | / | 1.540 |  |  |  | 1.87 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 18 | Old A | 2025-02-05 | 08:57 | 2025-02-05 | 06:36 | TAMARA | 1 | 0.02 | 0.00 | / | / | 0.017 |  |  |  | 2.44 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 19 | P/Prod | 2025-02-05 | 09:01 | 2025-02-05 | 06:36 | TAMARA | 1 | 0.96 | 0.95 | / | / | 0.396 | 5.813 |  |  | 1.75 | 153 |  | Kinga |  | 3 | 2
2 | 1.00 | 20 | P/Prod | 2025-02-05 | 09:02 | 2025-02-05 | 06:36 | TAMARA | 1 | 0.96 | 0.96 | / | / | 0.397 |  |  |  | 0.42 | 174 |  | Kinga |  | 3 | 2
3 | 4.00 | 21 | P/Prod | 2025-02-05 | 09:06 | 2025-02-05 | 06:36 | TAMARA | 1 | 3.92 | 3.94 | / | / | 1.534 | 5.760 |  |  | 0.81 | 154 |  | Kinga |  | 3 | 3 | 252025
3 | 4.00 | 22 | P/Prod | 2025-02-05 | 09:07 | 2025-02-05 | 06:36 | TAMARA | 1 | 3.91 | 3.92 | / | / | 1.529 |  |  |  | 1.33 | 173 |  | Kinga |  | 3 | 3 | 252025
1 | 0.00 | 23 | P/Prod | 2025-02-05 | 09:10 | 2025-02-05 | 06:36 | TAMARA | 1 | 0.00 | 0.00 | / | / | 0.015 | 5.783 |  |  | 0.38 |  |  | Kinga |  | 3 | 1 | 252025
1 | 0.00 | 24 | P/Prod | 2025-02-05 | 09:11 | 2025-02-05 | 06:36 | TAMARA | 1 | 0.02 | 0.00 | / | / | 0.019 |  |  |  | 0.87 |  |  | Kinga |  | 3 | 1 | 252025
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.96 mg/L | 6 | 12 | 0.96 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 3.95 mg/L | 6 | 12 | 3.95 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0 mg/L | 6 | 12 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.96 | YES
4.00 | 3.88 ÷ 4.12 | 3.95 | YES
Validation Date | by