## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3834-0 | HI721-0 | HI7214-0 | HI93721-0 | HI96778B-0 | HI96786-0 | MI528-0
0910 | MI528-0 | CP-R41 | W 06/1 |  | Parameter Formula | Fe III | Fe | Fe | Fe | Fe | Fe | Fe III
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Iron Reagent | 2030-02-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
175 | 160 | 190
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-02-10 | 2025-02-10 | 1HEAD |  |  | 0883
[6 empty] | Expiration A | Expiration B | Expiration D
2025-02-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI 801 | CTO- 618 | HI97721 | CTO-622
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.94 | 1.06 |  | MR33 |  | 0.04 | & | 2% | 100% |  | 5.2 | 4.0 | 6.5
3 | 4.00 | 3.88 | 4.12
1 | 0.00 | 0.00 | 0.04
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI 801 | M. 2 HI97721 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | Old A | 2025-02-10 | 08:36 | 2025-02-07 | 18:56 | MARA | 1 | 0.98 | 0.97 | / | / | 0.403 | 5.835 |  |  | 0.83 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 2 | P/Prod | 2025-02-10 | 08:37 | 2025-02-07 | 18:56 | MARA | 1 | 3.96 | 3.98 | / | / | 1.549 | 5.810 |  |  | 0.77 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 3 | P/Prod | 2025-02-10 | 08:38 | 2025-02-07 | 18:56 | MARA | 1 | 0.02 | 0.00 | / | / | 0.021 | 5.873 |  |  | 0.95 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 4 | P/Prod | 2025-02-10 | 08:43 | 2025-02-07 | 18:56 | MARA | 1 | 0.96 | 0.96 | / | / | 0.397 |  |  |  | 0.54 |  |  | Kinga |  | 3 | 2 | 252025
2 | 1.00 | 5 | P/Prod | 2025-02-10 | 08:44 | 2025-02-07 | 18:56 | MARA | 1 | 0.97 | 0.96 | / | / | 0.401 | 5.862 |  |  | 0.57 |  |  | Kinga |  | 3 | 2 | 252025
3 | 4.00 | 6 | P/Prod | 2025-02-10 | 08:45 | 2025-02-07 | 18:56 | MARA | 1 | 3.94 | 3.96 | / | / | 1.544 | 5.886 |  |  | 2.79 | 170 |  | Kinga |  | 3 | 3 | 252025
3 | 4.00 | 7 | P/Prod | 2025-02-10 | 08:45 | 2025-02-07 | 18:56 | MARA | 1 | 3.95 | 3.97 | / | / | 1.548 |  |  |  | 0.32 | 161 |  | Kinga |  | 3 | 3 | 252025
1 | 0.00 | 8 | P/Prod | 2025-02-10 | 08:46 | 2025-02-07 | 18:56 | MARA | 1 | 0.02 | 0.00 | / | / | 0.020 | 5.876 |  |  | 0.29 | 176 |  | Kinga |  | 3 | 1 | 252025
1 | 0.00 | 9 | P/Prod | 2025-02-10 | 08:47 | 2025-02-07 | 18:56 | MARA | 1 | 0.03 | 0.00 | / | / | 0.022 |  |  |  | 0.75 | 160 |  | Kinga |  | 3 | 1 | 252025
2 | 1.00 | 10 | P/Prod | 2025-02-10 | 08:58 | 2025-02-10 | 06:33 | MARA | 1 | 0.97 | 0.95 | / | / | 0.400 |  |  |  | 0.37 | 172 |  | Kinga |  | 3 | 2 | 252025
2 | 1.00 | 11 | P/Prod | 2025-02-10 | 08:58 | 2025-02-10 | 06:33 | MARA | 1 | 0.98 | 0.96 | / | / | 0.402 |  |  |  | 0.39 | 181 |  | Kinga |  | 3 | 2 | 252025
3 | 4.00 | 12 | P/Prod | 2025-02-10 | 09:00 | 2025-02-10 | 06:33 | MARA | 1 | 3.95 | 3.97 | / | / | 1.548 |  |  |  | 1.30 | 158 |  | Kinga |  | 3 | 3 | 252025
3 | 4.00 | 13 | P/Prod | 2025-02-10 | 09:00 | 2025-02-10 | 06:33 | MARA | 1 | 3.95 | 3.98 | / | / | 1.548 |  |  |  | 1.02 | 162 |  | Kinga |  | 3 | 3 | 252025
1 | 0.00 | 14 | P/Prod | 2025-02-10 | 09:01 | 2025-02-10 | 06:33 | MARA | 1 | 0.02 | 0.00 | / | / | 0.019 |  |  |  | 0.60 |  |  | Kinga |  | 3 | 1 | 252025
1 | 0.00 | 15 | P/Prod | 2025-02-10 | 09:02 | 2025-02-10 | 06:33 | MARA | 1 | 0.03 | 0.00 | / | / | 0.022 |  |  |  | 0.44 |  |  | Kinga |  | 3 | 1 | 252025
1 | 0.00 | 16 | P/Prod | 2025-02-10 | 09:02 | 2025-02-10 | 06:33 | MARA | 1 | 0.03 | 0.00 | / | / | 0.022 |  |  |  | 0.44 |  |  | Kinga |  | 3 | 1 | 252025
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.96 mg/L | 4 | 8 | 0.96 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 3.96 mg/L | 5 | 10 | 3.96 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.01 mg/L | 6 | 12 | 0.01 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.01 | YES
1.00 | 0.94 ÷ 1.06 | 0.96 | YES
4.00 | 3.88 ÷ 4.12 | 3.96 | YES
Validation Date | by