## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3834-0 | HI721-0 | HI7214-0 | HI93721-0 | HI96778B-0 | HI96786-0 | MI528-0
1083 | MI528-0 | CP-R41 | W 25/1 |  | Parameter Formula | Fe III | Fe | Fe | Fe | Fe | Fe | Fe III
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Iron Reagent | 2030-06-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
175 | 160 | 190
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-07-02 | 2025-07-02 | 4 HEAD |  |  | 0883
[6 empty] | Expiration A | Expiration B | Expiration D
2030-01-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97721 | CTO-691
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.94 | 1.06 |  | MR33 |  | 0.04 | & | 2% | 100% |  | 5.2 | 4.0 | 6.5
3 | 4.00 | 3.88 | 4.12
1 | 0.00 | 0.00 | 0.04
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | Old A | 2025-07-02 | 15:25 | 2025-07-02 | 14:10 | TAMARA |  | 0.96 | 0.96 | / | / | 0.401 |  |  |  | 1.40 |  |  | Kinga |  | 3 | 2 | 21355
2 | 1.00 | 2 | Old A | 2025-07-02 | 15:26 | 2025-07-02 | 14:10 | TAMARA |  | 0.97 | 0.96 | / | / | 0.398 |  |  |  | 2.24 |  |  | Kinga |  | 3 | 2 | 21355
3 | 4.00 | 3 | Old A | 2025-07-02 | 15:27 | 2025-07-02 | 14:10 | TAMARA |  | 3.94 | 3.93 | / | / | 1.544 |  |  |  | 1.49 | 161 |  | Kinga |  | 3 | 3 | 21355
1 | 0.00 | 4 | Old A | 2025-07-02 | 15:28 | 2025-07-02 | 14:10 | TAMARA |  | 0.01 | 0.00 | / | / | 0.015 |  |  |  | 1.53 | 160 |  | Kinga |  | 3 | 1 | 21355
2 | 1.00 | 5 | P/FINAL | 2025-07-02 | 15:38 | 2025-07-02 | 14:10 | TAMARA |  | 0.96 | 0.95 | / | / | 0.395 | 5.850 |  |  | 2.46 | 145 |  | Kinga |  | 3 | 2 | 21355
2 | 1.00 | 6 | P/FINAL | 2025-07-02 | 15:39 | 2025-07-02 | 14:10 | TAMARA |  | 0.95 | 0.95 | / | / | 0.396 |  |  |  | 0.61 | 169 |  | Kinga |  | 3 | 2 | 21355
2 | 1.00 | 7 | P/FINAL | 2025-07-02 | 15:39 | 2025-07-02 | 14:10 | TAMARA |  | 0.97 | 0.96 | / | / | 0.398 |  |  |  | 1.20 | 162 |  | Kinga |  | 3 | 2 | 21355
3 | 4.00 | 8 | P/FINAL | 2025-07-02 | 15:40 | 2025-07-02 | 14:10 | TAMARA |  | 3.92 | 3.93 | / | / | 1.534 | 5.871 |  |  | 0.41 | 166 |  | Kinga |  | 3 | 3 | 21355
3 | 4.00 | 9 | P/FINAL | 2025-07-02 | 15:41 | 2025-07-02 | 14:10 | TAMARA |  | 3.91 | 3.92 | / | / | 1.531 |  |  |  | 0.78 |  |  | Kinga |  | 3 | 3 | 21355
3 | 4.00 | 10 | P/FINAL | 2025-07-02 | 15:42 | 2025-07-02 | 14:10 | TAMARA |  | 3.94 | 3.94 | / | / | 1.542 |  |  |  | 1.02 |  |  | Kinga |  | 3 | 3 | 21355
1 | 0.00 | 11 | P/FINAL | 2025-07-02 | 15:48 | 2025-07-02 | 14:10 | TAMARA |  | 0.01 | 0.00 | / | / | 0.014 | 5.901 |  |  | 0.57 |  |  | Kinga |  | 3 | 1 | 21355
1 | 0.00 | 12 | P/FINAL | 2025-07-02 | 15:48 | 2025-07-02 | 14:10 | TAMARA |  | 0.01 | 0.00 | / | / | 0.015 |  |  |  | 0.68 |  |  | Kinga |  | 3 | 1 | 21355
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0.96 mg/L | 3 | 6 | 0.96 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 3.93 mg/L | 3 | 6 | 3.93 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0.01 mg/L | 2 | 4 | 0.01 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.01 | YES
1.00 | 0.94 ÷ 1.06 | 0.96 | YES
4.00 | 3.88 ÷ 4.12 | 3.93 | YES
Validation Date | by
2025-07-09 | Eugenia