## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI93722-0
0688 | HI93722-0 | CP-R42 | W38/1 |  | Parameter Formula | CYA
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Cyanuric Acid Reagent | 2029-09-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
215 | 200 | 230
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 mg/L | 80 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2024-09-20
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97722 | CTO-637
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-780
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
3 | 64 | 53 | 75 |  | MR34 |  | 1 | & | 15% | 100% |  | 6.0 | 5.0 | 7.0
2 | 16 | 13 | 19
1 | 0 | 0 | 1
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
3 | 64 | 1 | Valid | 2024-09-20 | 09:52 | 2024-09-20 |  | MARK |  | 60 | 55 | / | / | 1.427 |  |  |  | 571 |  |  | Brigitta P |  | 3 | 3
3 | 64 | 2 | Valid | 2024-09-20 | 09:52 | 2024-09-20 |  | MARK |  | 58 | 55 | / | / | 1.402 |  |  |  | 566 |  |  | Brigitta P |  | 3 | 3
3 | 64 | 3 | Valid | 2024-09-20 | 9:50 | 2024-09-20 |  | MARK |  | 63 | 60 | / | / | 1.488 |  |  |  | 626 |  |  | Brigitta P |  | 3 | 3
3 | 64 | 4 | Valid | 2024-09-20 | 9:50 | 2024-09-20 |  | MARK |  | 65 | 61 | / | / | 1.525 |  |  |  | 645 |  |  | Brigitta P |  | 3 | 3
2 | 16 | 5 | Valid | 2024-09-20 | 10:01 | 2024-09-20 |  | MARK |  | 17 | 16 | / | / | 0.408 |  |  |  | 114 |  |  | Brigitta P |  | 3 | 2
2 | 16 | 6 | Valid | 2024-09-20 | 10:02 | 2024-09-20 |  | MARK |  | 17 | 15 | / | / | 0.412 |  |  |  | 117 |  |  | Brigitta P |  | 3 | 2
2 | 16 | 7 | Valid | 2024-09-20 | 10:02 | 2024-09-20 |  | MARK |  | 19 | 18 | / | / | 0.464 |  |  |  | 128 |  |  | Brigitta P |  | 3 | 2
2 | 16 | 8 | Valid | 2024-09-20 | 10:03 | 2024-09-20 |  | MARK |  | 19 | 18 | / | / | 0.471 |  |  |  | 131 |  |  | Brigitta P |  | 3 | 2
1 | 0 | 9 | Valid | 2024-09-20 | 10:03 | 2024-09-20 |  | MARK |  | 0 | 0 | / | / | [7 empty] | Brigitta P |  | 3 | 1
1 | 0 | 10 | Valid | 2024-09-20 | 10:03 | 2024-09-20 |  | MARK |  | 0 | 0 | / | / | [7 empty] | Brigitta P |  | 3 | 1
2 | 16 | 11 | Old A | 2024-10-31 | 09:15 | 2024-10-30 | 14:17 | MARA |  | 16 | 14 | / | / | 0.378 |  |  |  | 108 |  |  | Kinga |  | 3 | 2
2 | 16 | 12 | Old A | 2024-10-31 | 09:16 | 2024-10-30 | 14:17 | MARA |  | 15 | 14 | / | / | 0.364 |  |  |  | 111 |  |  | Kinga |  | 3 | 2
3 | 64 | 13 | Old A | 2024-10-31 | 09:17 | 2024-10-30 | 14:17 | MARA |  | 71 | 67 | / | / | 1.653 |  |  |  | 689 |  |  | Kinga |  | 3 | 3
3 | 64 | 14 | Old A | 2024-10-31 | 09:17 | 2024-10-30 | 14:17 | MARA |  | 71 | 69 | / | / | 1.652 |  |  |  | 720 |  |  | Kinga |  | 3 | 3
2 | 16 | 15 | P/Final | 2024-10-31 | 09:18 | 2024-10-30 | 14:17 | MARA |  | 16 | 15 | / | / | 0.392 |  |  |  | 111 |  |  | Kinga |  | 3 | 2
2 | 16 | 16 | P/Final | 2024-10-31 | 09:18 | 2024-10-30 | 14:17 | MARA |  | 16 | 15 | / | / | 0.393 |  |  |  | 100 |  |  | Kinga |  | 3 | 2
3 | 64 | 17 | P/Final | 2024-10-31 | 09:19 | 2024-10-30 | 14:17 | MARA |  | 60 | 56 | / | / | 1.438 |  |  |  | 608 |  |  | Kinga |  | 3 | 3
3 | 64 | 18 | P/Final | 2024-10-31 | 09:19 | 2024-10-30 | 14:17 | MARA |  | 60 | 56 | / | / | 1.425 |  |  |  | 703 |  |  | Kinga |  | 3 | 3
1 | 0 | 19 | P/Final | 2024-10-31 | 09:19 | 2024-10-30 | 14:17 | MARA |  | 0 | 0 | / | / | 0.002 |  |  |  | 0.85 |  |  | Kinga |  | 3 | 1
1 | 0 | 20 | P/Final | 2024-10-31 | 09:20 | 2024-10-30 | 14:17 | MARA |  | 0 | 0 | / | / | 0.001 |  |  |  | 0.29 |  |  | Kinga |  | 3 | 1
2 | 16 | 21 | P/Final | 2024-10-31 | 15:45 | 2024-10-31 | 14:26 | MARA |  | 18 | 16 | / | / | 0.424 | 6.670 | / | / | 116 | 226 |  | Brigitta P |  | 3 | 2
2 | 16 | 22 | P/Final | 2024-10-31 | 15:46 | 2024-10-31 | 14:26 | MARA |  | 17 | 16 | / | / | 0.418 | 6.706 |  |  | 120 | 236 |  | Brigitta P |  | 3 | 2
3 | 64 | 23 | P/Final | 2024-10-31 | 15:48 | 2024-10-31 | 14:26 | MARA |  | 58 | 54 | / | / | 1.386 |  |  |  | 595 | 218 |  | Brigitta P |  | 3 | 3
3 | 64 | 24 | P/Final | 2024-10-31 | 15:49 | 2024-10-31 | 14:26 | MARA |  | 56 | 54 | / | / | 1.359 |  |  |  | 586 | 222 |  | Brigitta P |  | 3 | 3
1 | 0 | 25 | P/Final | 2024-10-31 | 15:51 | 2024-10-31 | 14:26 | MARA |  | 0 | 0 | / | / | 0.001 |  |  |  | 0.60 |  |  | Brigitta P |  | 3 | 1
1 | 0 | 26 | P/Final | 2024-10-31 | 15:52 | 2024-10-31 | 14:26 | MARA |  | 0 | 0 | / | / | 0.004 |  |  |  | 1.19 |  |  | Brigitta P |  | 3 | 1
2 | 16 | 27 | P/Final | 2024-11-01 | 10:57 | 2024-11-01 | 07:42 | TAMARA |  | 19 | 18 | / | / | 0.463 |  |  |  | 116 | 200 |  | Brigitta P |  | 3 | 2
2 | 16 | 28 | P/Final | 2024-11-01 | 10:58 | 2024-11-01 | 07:42 | TAMARA |  | 19 | 18 | / | / | 0.462 |  |  |  | 116 | 208 |  | Brigitta P |  | 3 | 2
3 | 64 | 29 | P/Final | 2024-11-01 | 10:58 | 2024-11-01 | 07:42 | TAMARA |  | 66 | 66 | / | / | 1.561 |  |  |  | 643 | 197 |  | Brigitta P |  | 3 | 3
3 | 64 | 30 | P/Final | 2024-11-01 | 10:59 | 2024-11-01 | 07:42 | TAMARA |  | 66 | 62 | / | / | 1.561 |  |  |  | 643 |  |  | Brigitta P |  | 3 | 3
1 | 0 | 31 | P/Final | 2024-11-01 | 10:59 | 2024-11-01 | 07:42 | TAMARA |  | 0 | 0 | / | / | -0.006 |  |  |  | 0.57 |  |  | Brigitta P |  | 3 | 1
1 | 0 | 32 | P/Final | 2024-11-01 | 11:00 | 2024-11-01 | 07:42 | TAMARA |  | 0 | 0 | / | / | -0.006 |  |  |  | 0.57 |  |  | Brigitta P |  | 3 | 1
3 | 64 | 33 | Old A | 2024-11-01 | 11:00 | 2024-11-01 | 07:42 | TAMARA |  | 69 | 66 | / | / | 1.606 |  |  |  | 656 |  |  | Brigitta P |  | 3 | 3
3 | 64 | 34 | Old A | 2024-11-01 | 11:01 | 2024-11-01 | 07:42 | TAMARA |  | 69 | 66 | / | / | 1.606 |  |  |  | 628 |  |  | Brigitta P |  | 3 | 3
2 | 16 | 35 | Old A | 2024-11-01 | 11:02 | 2024-11-01 | 07:42 | TAMARA |  | 18 | 18 | / | / | 0.504 |  |  |  | 138 |  |  | Brigitta P |  | 3 | 2
2 | 16 | 36 | Old A | 2024-11-01 | 11:03 | 2024-11-01 | 07:42 | TAMARA |  | 18 | 18 | / | / | 0.529 |  |  |  | 138 |  |  | Brigitta P |  | 3 | 2
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 58 mg/L | 2 | 4 | 58 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 16 mg/L | 2 | 4 | 16 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0 mg/L | 2 | 4 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 1 | 0 | YES
16 | 13 ÷ 19 | 16 | YES
64 | 53 ÷ 75 | 58 | YES
Validation Date | by