## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI93722-0
1117 | HI93722-0 | CP-R42 | W 29/1 |  | Parameter Formula | CYA
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Cyanuric Acid Reagent | 2030-07-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
215 | 200 | 230
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 mg/L | 80 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA/MARK | 2025-07-17 | 2025-07-23 | 1 HEAD |  |  | 0999
[6 empty] | Expiration A | Expiration B | Expiration D
2030-04-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97722 | CTO-637
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-803
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 16 | 13 | 19 |  | MR34 |  | 1 | & | 15% | 100% |  | 6.0 | 5.0 | 7.0
3 | 64 | 53 | 75
1 | 0 | 0 | 1
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97722 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 16 | 1 | Old A | 2025-07-17 | 09:22 | 2025-07-17 | 08:48 | MARK |  | 19 | 18 | / | / | 0.462 |  |  |  | 134 |  |  | Kinga |  | 3 | 2
2 | 16 | 2 | Old A | 2025-07-17 | 09:23 | 2025-07-17 | 08:48 | MARK |  | 19 | 17 | / | / | 0.448 |  |  |  | 150 |  |  | Kinga |  | 3 | 2
3 | 64 | 3 | Old A | 2025-07-17 | 09:24 | 2025-07-17 | 08:48 | MARK |  | 62 | 58 | / | / | 1.479 |  |  |  | 564 |  |  | Kinga |  | 3 | 3
3 | 64 | 4 | Old A | 2025-07-17 | 09:24 | 2025-07-17 | 08:48 | MARK |  | 68 | 61 | / | / | 1.588 |  |  |  | 695 |  |  | Kinga |  | 3 | 3
1 | 0 | 5 | Old A | 2025-07-17 | 09:24 | 2025-07-17 | 08:48 | MARK |  | 0 | 0 | / | / | -0.001 |  |  |  | 1.63 |  |  | Kinga |  | 3 | 1
1 | 0 | 6 | Old A | 2025-07-17 | 09:25 | 2025-07-17 | 08:48 | MARK |  | 0 | 0 | / | / | 0.002 |  |  |  | 1.05 |  |  | Kinga |  | 3 | 1
2 | 16 | 7 | Valid | 2025-07-17 | 09:36 | 2025-07-17 | 08:48 | MARK |  | 19 | 18 | / | / | 0.468 |  |  |  | 0.74 |  |  | Kinga |  | 3 | 2
2 | 16 | 8 | Valid | 2025-07-17 | 09:41 | 2025-07-17 | 08:48 | MARK |  | 19 | 18 | / | / | 0.459 | 6.691 |  |  | 136 |  |  | Kinga |  | 3 | 2
2 | 16 | 9 | Valid | 2025-07-17 | 09:42 | 2025-07-17 | 08:48 | MARK |  | 18 | 18 | / | / | 0.429 |  |  |  | 132 |  |  | Kinga |  | 3 | 2
1 | 0 | 10 | Valid | 2025-07-17 | 09:43 | 2025-07-17 | 08:48 | MARK |  | 0 | 0 | / | / | 0.010 | 6.409 |  |  | 3.10 |  |  | Kinga |  | 3 | 1
1 | 0 | 11 | Valid | 2025-07-17 | 09:43 | 2025-07-17 | 08:48 | MARK |  | 0 | 0 | / | / | 0.005 |  |  |  | 0.81 |  |  | Kinga |  | 3 | 1
3 | 64 | 12 | Valid | 2025-07-17 | 09:46 | 2025-07-17 | 08:48 | MARK |  | 69 | 53 | / | / | 1.614 |  |  |  | 630 |  |  | Kinga |  | 3 | 3
3 | 64 | 13 | Valid | 2025-07-17 | 09:47 | 2025-07-17 | 08:48 | MARK |  | 65 | 63 | / | / | 1.526 | 6.591 |  |  | 583 |  |  | Kinga |  | 3 | 3
3 | 64 | 14 | Valid | 2025-07-17 | 09:47 | 2025-07-17 | 08:48 | MARK |  | 64 | 53 | / | / | 1.507 |  |  |  | 590 |  |  | Kinga |  | 3 | 3
2 | 16 | 15 | Old A | 2025-07-22 | 08:22 | 2025-07-22 | 15:49 | MARA | 1 | 19 | 19 | / | / | 0.482 |  |  |  | 148 |  |  | Kinga |  | 3 | 2
2 | 16 | 16 | Old A | 2025-07-22 | 08:23 | 2025-07-22 | 15:49 | MARA | 1 | 18 | 19 | / | / | 0.476 |  |  |  | 148 |  |  | Kinga |  | 3 | 2
3 | 64 | 17 | Old A | 2025-07-22 | 08:23 | 2025-07-22 | 15:49 | MARA | 1 | 71 | 63 | / | / | 1.648 |  |  |  | 642 |  |  | Kinga |  | 3 | 3
3 | 64 | 18 | Old A | 2025-07-22 | 08:24 | 2025-07-22 | 15:49 | MARA | 1 | 68 | 68 | / | / | 1.586 |  |  |  | 659 |  |  | Kinga |  | 3 | 3
1 | 0 | 19 | Old A | 2025-07-22 | 08:25 | 2025-07-22 | 15:49 | MARA | 1 | 0 | 0 | / | / | -0.007 |  |  |  | 0.20 |  |  | Kinga |  | 3 | 1
1 | 0 | 20 | Old A | 2025-07-22 | 08:25 | 2025-07-22 | 15:49 | MARA | 1 | 0 | 0 | / | / | -0.004 |  |  |  | 0.18 |  |  | Kinga |  | 3 | 1
2 | 16 | 21 | P/FINAL | 2025-07-22 | 08:59 | 2025-07-21 | 15:49 | MARA | 1 | 19 | 19 | / | / | 0.463 |  |  |  | 158 | 204 |  | Kinga |  | 3 | 2
2 | 16 | 22 | P/FINAL | 2025-07-22 | 08:59 | 2025-07-21 | 15:49 | MARA | 1 | 19 | 19 | / | / | 0.464 | 6.802 |  |  | 154 | 217 |  | Kinga |  | 3 | 2
2 | 16 | 23 | P/FINAL | 2025-07-22 | 09:00 | 2025-07-21 | 15:49 | MARA | 1 | 18 | 17 | / | / | 0.452 |  |  |  | 148 | 198 |  | Kinga |  | 3 | 2
3 | 64 | 24 | P/FINAL | 2025-07-22 | 09:03 | 2025-07-21 | 15:49 | MARA | 1 | 66 | 55 | / | / | 1.562 |  |  |  | 680 | 221 |  | Kinga |  | 3 | 3
3 | 64 | 25 | P/FINAL | 2025-07-22 | 09:03 | 2025-07-21 | 15:49 | MARA | 1 | 67 | 66 | / | / | 1.574 | 6.865 |  |  | 695 | 199 |  | Kinga |  | 3 | 3
3 | 64 | 26 | P/FINAL | 2025-07-22 | 09:04 | 2025-07-21 | 15:49 | MARA | 1 | 68 | 65 | / | / | 1.592 |  |  |  | 700 | 179 |  | Kinga |  | 3 | 3
1 | 0 | 27 | P/FINAL | 2025-07-22 | 09:08 | 2025-07-21 | 15:49 | MARA | 1 | 0 | 0 | / | / | -0.038 |  |  |  | 1.40 |  |  | Kinga |  | 3 | 1
1 | 0 | 28 | P/FINAL | 2025-07-22 | 09:09 | 2025-07-21 | 15:49 | MARA | 1 | 0 | 0 | / | / | -0.041 | 6.856 |  |  | 0.79 |  |  | Kinga |  | 3 | 1
2 | 16 | 29 | P/FINAL | 2025-07-22 | 09:19 | 2025-07-22 | 07:24 | IRINA | 1 | 18 | 16 | / | / | 0.442 |  |  |  | 135 |  |  | Kinga |  | 3 | 2
2 | 16 | 30 | P/FINAL | 2025-07-22 | 09:20 | 2025-07-22 | 07:24 | IRINA | 1 | 19 | 19 | / | / | 0.454 |  |  |  | 153 | 204 |  | Kinga |  | 3 | 2
2 | 16 | 31 | P/FINAL | 2025-07-22 | 09:21 | 2025-07-22 | 07:24 | IRINA | 1 | 20 | 19 | / | / | 0.483 | 6.895 |  |  | 150 | 18 |  | Kinga |  | 3 | 2
3 | 64 | 32 | P/FINAL | 2025-07-22 | 09:24 | 2025-07-22 | 07:24 | IRINA | 1 | 71 | 66 | / | / | 1.639 |  |  |  | 623 | 198 |  | Kinga |  | 3 | 3
3 | 64 | 33 | P/FINAL | 2025-07-22 | 09:24 | 2025-07-22 | 07:24 | IRINA | 1 | 69 | 65 | / | / | 1.613 | 6.845 |  |  | 635 | 221 |  | Kinga |  | 3 | 3
3 | 64 | 34 | P/FINAL | 2025-07-22 | 09:25 | 2025-07-22 | 07:24 | IRINA | 1 | 65 | 57 | / | / | 1.540 |  |  |  | 644 | 199 |  | Kinga |  | 3 | 3
1 | 0 | 35 | P/FINAL | 02025/07/22 | 09:28 | 2025-07-22 | 07:24 | IRINA | 1 | 0 | 0 | / | / | -0.039 | 6.895 |  |  | 0.33 | 178 |  | Kinga |  | 3 | 1
1 | 0 | 36 | P/FINAL | 02025/07/22 | 09:28 | 2025-07-22 | 07:24 | IRINA | 1 | 0 | 0 | / | / | -0.041 |  |  |  | 0.48 |  |  | Kinga |  | 3 | 1
2 | 16 | 37 | P/FINAL | 2025-07-22 | 15:13 | 2025-07-22 | 14:24 | MARA | 1 | 18 | 17 | / | / | 0.474 |  |  |  | 137 |  |  | Kinga |  | 3 | 2
2 | 16 | 38 | P/FINAL | 2025-07-22 | 15:14 | 2025-07-22 | 14:24 | MARA | 1 | 19 | 19 | / | / | 0.488 | 6.766 |  |  | 142 |  |  | Kinga |  | 3 | 2
2 | 16 | 39 | P/FINAL | 2025-07-22 | 15:15 | 2025-07-22 | 14:24 | MARA | 1 | 20 | 18 | / | / | 0.482 |  |  |  | 142 | 208 |  | Kinga |  | 3 | 2
3 | 64 | 40 | P/FINAL | 2025-07-22 | 15:18 | 2025-07-22 | 14:24 | MARA | 1 | 74 | 66 | / | / | 1.702 |  |  |  | 649 | 191 |  | Kinga |  | 3 | 3
3 | 64 | 41 | P/FINAL | 2025-07-22 | 15:18 | 2025-07-22 | 14:24 | MARA | 1 | 72 | 59 | / | / | 1.667 | 6.794 |  |  | 483 | 193 |  | Kinga |  | 3 | 3
3 | 64 | 42 | P/FINAL | 2025-07-22 | 15:20 | 2025-07-22 | 14:24 | MARA | 1 | 75 | 72 | / | / | 1.725 |  |  |  | 643 | 191 |  | Kinga |  | 3 | 3
1 | 0 | 43 | P/FINAL | 2025-07-22 | 15:21 | 2025-07-22 | 14:24 | MARA | 1 | 0 | 0 | / | / | 0.003 |  |  |  | 0.70 | 209 |  | Kinga |  | 3 | 1
1 | 0 | 44 | P/FINAL | 2025-07-22 | 15:21 | 2025-07-22 | 14:24 | MARA | 1 | 0 | 0 | / | / | 0.003 |  |  |  | 0.70 | 215 |  | Kinga |  | 3 | 1
1 | 0 | 45 | P/FINAL | 2025-07-22 | 15:22 | 2025-07-22 | 14:24 | MARA | 1 | 0 | 0 | / | / | 0.002 | 6.845 |  |  | 0.45 |  |  | Kinga |  | 3 | 1
1 | 0 | 46 | Old A | 2025-07-23 | 08:18 | 2025-07-23 | 06:31 | IRINA | 4 | 0 | 0 | / | / | 0.005 |  |  |  | 0.45 |  |  | Kinga |  | 3 | 1
1 | 0 | 47 | Old A | 2025-07-23 | 08:20 | 2025-07-23 | 06:31 | IRINA | 4 | 0 | 0 | / | / | 0.007 |  |  |  | 0.41 |  |  | Kinga |  | 3 | 1
2 | 16 | 48 | Old A | 2025-07-23 | 08:22 | 2025-07-23 | 06:31 | IRINA | 4 | 19 | 19 | / | / | 0.467 |  |  |  | 154 |  |  | Kinga |  | 3 | 2
2 | 16 | 49 | Old A | 2025-07-23 | 08:23 | 2025-07-23 | 06:31 | IRINA | 4 | 19 | 19 | / | / | 0.502 |  |  |  | 151 |  |  | Kinga |  | 3 | 2
3 | 64 | 50 | Old A | 2025-07-23 | 08:24 | 2025-07-23 | 06:31 | IRINA | 4 | 66 | 64 | / | / | 1.563 |  |  |  | 570 |  |  | Kinga |  | 3 | 3
3 | 64 | 51 | Old A | 2025-07-23 | 08:25 | 2025-07-23 | 06:31 | IRINA | 4 | 65 | 64 | / | / | 1.532 |  |  |  | 533 |  |  | Kinga |  | 3 | 3
1 | 0 | 52 | P/FINAL | 2025-07-23 | 08:27 | 2025-07-23 | 06:31 | IRINA | 4 | 0 | 0 | / | / | 0.009 |  |  |  | 2.66 |  |  | Kinga |  | 3 | 1
1 | 0 | 53 | P/FINAL | 2025-07-23 | 08:28 | 2025-07-23 | 06:31 | IRINA | 4 | 0 | 0 | / | / | 0.005 | 6.858 |  |  | 3.26 |  |  | Kinga |  | 3 | 1
2 | 16 | 54 | P/FINAL | 2025-07-23 | 08:31 | 2025-07-23 | 06:31 | IRINA | 4 | 20 | 18 | / | / | 0.482 |  |  |  | 132 | 185 |  | Kinga |  | 3 | 2
2 | 16 | 55 | P/FINAL | 2025-07-23 | 08:31 | 2025-07-23 | 06:31 | IRINA | 4 | 19 | 18 | / | / | 0.483 | 6.973 |  |  | 126 | 198 |  | Kinga |  | 3 | 2
2 | 16 | 56 | P/FINAL | 2025-07-23 | 08:32 | 2025-07-23 | 06:31 | IRINA | 4 | 18 | 16 | / | / | 0.433 |  |  |  | 134 | 200 |  | Kinga |  | 3 | 2
3 | 64 | 57 | P/FINAL | 2025-07-23 | 08:35 | 2025-07-23 | 06:31 | IRINA | 4 | 67 | 61 | / | / | 1.581 |  |  |  | 520 | 193 |  | Kinga |  | 3 | 3
3 | 64 | 58 | P/FINAL | 2025-07-23 | 08:36 | 2025-07-23 | 06:31 | IRINA | 4 | 68 | 64 | / | / | 1.589 | 6.967 |  |  | 595 |  |  | Kinga |  | 3 | 3
3 | 64 | 59 | P/FINAL | 2025-07-23 | 08:36 | 2025-07-23 | 06:31 | IRINA | 4 | 63 | 59 | / | / | 1.491 |  |  |  | 525 |  |  | Kinga |  | 3 | 3
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
12 | 24 | 18 mg/L | 12 | 24 | 18 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
12 | 24 | 66 mg/L | 12 | 24 | 66 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 0 mg/L | 9 | 18 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 1 | 0 | YES
16 | 13 ÷ 19 | 18 | YES
64 | 53 ÷ 75 | 66 | YES
Validation Date | by