## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI93722-0
1143 | HI93722-0 | CP-R42 | W32_2025 |  | Parameter Formula | CYA
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Cyanuric Acid Reagent | 2030-08-01 | L57 Powder |  |  | Laboratory | Tab.3 | Production
Ref Weight. | Min (mg) | Max (mg)
215 | 200 | 230
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1143
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-08-01
Reagent Range Min | Reagent Range Max
0 mg/L | 80 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
Mark | 2025-08-07 | 2025-08-20 | 1 HEAD |  |  | 0999
[6 empty] | Expiration A | Expiration B | Expiration D
2030-04-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-832 | HI97722 | CTO-637
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-781
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 16 | 13 | 19 |  | MR34 |  | 1 | & | 15% | 100% |  | 6.0 | 5.0 | 7.0
3 | 64 | 53 | 75
1 | 0 | 0 | 1
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97722 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 16 | 1 | Old A | 2025-08-07 | 14:51 | 2025-08-07 | 08:49 | MARK |  | 19 | 18 | / | / | 0.469 |  |  |  | 141 |  | 1 | Salome |  | 3 | 2
3 | 64 | 2 | Old A | 2025-08-07 | 14:56 | 2025-08-07 | 08:49 | MARK |  | 67 | 63 | / | / | 1.574 |  |  |  | 761 |  | 1 | Salome |  | 3 | 3
2 | 16 | 3 | Old A | 2025-08-07 | 14:58 | 2025-08-07 | 08:49 | MARK |  | 19 | 17 | / | / | 0.462 |  |  |  | 129 |  | 1 | Salome |  | 3 | 2
3 | 64 | 4 | Old A | 2025-08-07 | 15:02 | 2025-08-07 | 08:49 | MARK |  | 71 | 64 | / | / | 1.648 |  |  |  | 774 |  | 1 | Salome |  | 3 | 3
2 | 16 | 5 | Valid | 2025-08-07 | 15:04 | 2025-08-07 | 08:49 | MARK |  | 19 | 17 | / | / | 0.459 |  |  |  | 130 |  | 1 | Salome |  | 3 | 2
2 | 16 | 6 | Valid | 2025-08-07 | 15:09 | 2025-08-07 | 08:49 | MARK |  | 19 | 17 | / | / | 0.464 |  |  |  | 130 |  | 1 | Salome |  | 3 | 2
2 | 16 | 7 | Valid | 2025-08-07 | 15:09 | 2025-08-07 | 08:49 | MARK |  | 19 | 16 | / | / | 0.458 |  |  |  | 142 |  | 1 | Salome |  | 3 | 2
3 | 64 | 8 | Valid | 2025-08-07 | 15:11 | 2025-08-07 | 08:49 | MARK |  | 68 | 63 | / | / | 1.596 |  |  |  | 769 |  | 1 | Salome |  | 3 | 3
3 | 64 | 9 | Valid | 2025-08-07 | 15:14 | 2025-08-07 | 08:49 | MARK |  | 64 | 61 | / | / | 1.523 |  |  |  | 609 |  | 1 | Salome |  | 3 | 3
3 | 64 | 10 | Valid | 2025-08-07 | 15:14 | 2025-08-07 | 08:49 | MARK |  | 64 | 60 | / | / | 1.515 |  |  |  | 604 |  | 1 | Salome |  | 3 | 3
1 | 0 | 11 | Old A | 2025-08-07 | 15:19 | 2025-08-07 | 08:49 | MARK |  | 0 | 0 | / | / | -0.004 |  |  |  | 0.19 |  | 1 | Salome |  | 3 | 1
1 | 0 | 12 | Old A | 2025-08-07 | 15:19 | 2025-08-07 | 08:49 | MARK |  | 0 | 0 | / | / | -0.005 |  |  |  | 0.24 |  | 1 | Salome |  | 3 | 1
1 | 0 | 13 | Valid | 2025-08-07 | 15:23 | 2025-08-07 | 08:49 | MARK |  | 0 | 0 | / | / | -0.004 |  |  |  | 0.21 |  | 1 | Salome |  | 3 | 1
1 | 0 | 14 | Valid | 2025-08-07 | 15:23 | 2025-08-07 | 08:49 | MARK |  | 0 | 0 | / | / | -0.007 |  |  |  | 0.21 |  | 1 | Salome |  | 3 | 1
1 | 0 | 15 | Old A | 2025-08-18 | 13:41 | 2025-08-18 | 09:15 | TAMARA |  | 0 | 0 | / | / | 0.008 |  |  |  | 0.84 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 16 | Old A | 2025-08-18 | 13:41 | 2025-08-18 | 09:15 | TAMARA |  | 0 | 0 | / | / | 0.004 |  |  |  | 2.36 |  | 1 | Kinga |  | 3 | 1
2 | 16 | 17 | Old A | 2025-08-18 | 13:42 | 2025-08-18 | 09:15 | TAMARA |  | 20 | 14 | / | / | 0.474 |  |  |  | 136 |  | 1 | Kinga |  | 3 | 2
2 | 16 | 18 | Old A | 2025-08-18 | 13:43 | 2025-08-18 | 09:15 | TAMARA |  | 18 | 18 | / | / | 0.438 |  |  |  | 114 |  | 1 | Kinga |  | 3 | 2
3 | 64 | 19 | Old A | 2025-08-18 | 13:44 | 2025-08-18 | 09:15 | TAMARA |  | 60 | 60 | / | / | 1.453 |  |  |  | 621 |  | 1 | Kinga |  | 3 | 3
3 | 64 | 20 | Old A | 2025-08-18 | 13:44 | 2025-08-18 | 09:15 | TAMARA |  | 60 | 59 | / | / | 1.440 |  |  |  | 619 |  | 1 | Kinga |  | 3 | 3
1 | 0 | 21 | P/FINAL | 2025-08-18 | 13:45 | 2025-08-18 | 09:15 | TAMARA |  | 0 | 0 | / | / | 0.003 |  |  |  | 0.39 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 22 | P/FINAL | 2025-08-18 | 13:45 | 2025-08-18 | 09:15 | TAMARA |  | 0 | 0 | / | / | 0.002 |  |  |  | 2.34 |  | 1 | Kinga |  | 3 | 1
2 | 16 | 23 | P/FINAL | 2025-08-18 | 13:45 | 2025-08-18 | 09:15 | TAMARA |  | 18 | 19 | / | / | 0.439 |  |  |  | 138 | 206 | 1 | Kinga |  | 3 | 2
2 | 16 | 24 | P/FINAL | 2025-08-18 | 13:46 | 2025-08-18 | 09:15 | TAMARA |  | 19 | 18 | / | / | 0.468 |  |  |  | 126 | 192 | 1 | Kinga |  | 3 | 2
2 | 16 | 25 | P/FINAL | 2025-08-18 | 13:46 | 2025-08-18 | 09:15 | TAMARA |  | 18 | 19 | / | / | 0.437 |  |  |  | 129 |  | 1 | Kinga |  | 3 | 2
3 | 64 | 26 | P/FINAL | 2025-08-18 | 13:47 | 2025-08-18 | 09:15 | TAMARA |  | 75 | 71 | / | / | 1.781 |  |  |  | 609 | 188 | 1 | Kinga |  | 3 | 3
3 | 64 | 27 | P/FINAL | 2025-08-18 | 13:47 | 2025-08-18 | 09:15 | TAMARA |  | 75 | 73 | / | / | 1.741 |  |  |  | 634 | 190 | 1 | Kinga |  | 3 | 3
2 | 16 | 28 | Old A | 2025-08-19 | 10:30 | 2025-08-19 | 08:17 | TAMARA |  | 17 | 17 | / | / | 0.416 |  |  |  | 118 |  | 1 | Kinga |  | 3 | 2
2 | 16 | 29 | Old A | 2025-08-19 | 10:31 | 2025-08-19 | 08:17 | TAMARA |  | 18 | 17 | / | / | 0.439 |  |  |  | 123 |  | 1 | Kinga |  | 3 | 2
3 | 64 | 30 | Old A | 2025-08-19 | 10:32 | 2025-08-19 | 08:17 | TAMARA |  | 73 | 70 | / | / | 1.677 |  |  |  | 698 |  | 1 | Kinga |  | 3 | 3
3 | 64 | 31 | Old A | 2025-08-19 | 10:33 | 2025-08-19 | 08:17 | TAMARA |  | 72 | 67 | / | / | 1.657 |  |  |  | 661 |  | 1 | Kinga |  | 3 | 3
1 | 0 | 32 | Old A | 2025-08-19 | 10:34 | 2025-08-19 | 08:17 | TAMARA |  | 0 | 0 | / | / | 0.001 |  |  |  | 0.81 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 33 | Old A | 2025-08-19 | 10:34 | 2025-08-19 | 08:17 | TAMARA |  | 0 | 0 | / | / | 0.004 |  |  |  | 0.42 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 34 | P/FINAL | 2025-08-19 | 10:37 | 2025-08-19 | 08:17 | TAMARA |  | 0 | 0 | / | / | 0.003 |  |  |  | 0.26 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 35 | P/FINAL | 2025-08-19 | 10:38 | 2025-08-19 | 08:17 | TAMARA |  | 0 | 0 | / | / | 0.010 |  |  |  | 0.64 | 187 | 1 | Kinga |  | 3 | 1
3 | 64 | 36 | P/FINAL | 2025-08-19 | 10:41 | 2025-08-19 | 08:17 | TAMARA |  | 74 | 69 | / | / | 1.724 |  |  |  | 625 | 234 | 1 | Kinga |  | 3 | 3
3 | 64 | 37 | P/FINAL | 2025-08-19 | 10:41 | 2025-08-19 | 08:17 | TAMARA |  | 69 | 58 | / | / | 1.615 |  |  |  | 620 | 210 | 1 | Kinga |  | 3 | 3
3 | 64 | 38 | P/FINAL | 2025-08-19 | 10:42 | 2025-08-19 | 08:17 | TAMARA |  | 71 | 70 | / | / | 1.651 |  |  |  | 660 | 218 | 1 | Kinga |  | 3 | 3
2 | 16 | 39 | P/FINAL | 2025-08-19 | 10:45 | 2025-08-19 | 08:17 | TAMARA |  | 18 | 17 | / | / | 0.435 |  |  |  | 129 | 218 | 1 | Kinga |  | 3 | 2
2 | 16 | 40 | P/FINAL | 2025-08-19 | 10:46 | 2025-08-19 | 08:17 | TAMARA |  | 18 | 18 | / | / | 0.487 |  |  |  | 148 |  | 1 | Kinga |  | 3 | 2
2 | 16 | 41 | P/FINAL | 2025-08-19 | 10:47 | 2025-08-19 | 08:17 | TAMARA |  | 19 | 19 | / | / | 0.454 |  |  |  | 124 |  | 1 | Kinga |  | 3 | 2
2 | 16 | 42 | Old A | 2025-08-20 | 10:27 | 2025-08-20 | 08:22 | TAMARA | 1 | 17 | 16 | / | / | 0.404 |  |  |  | 119 |  | 1 | Kinga |  | 3 | 2
2 | 16 | 43 | Old A | 2025-08-20 | 10:28 | 2025-08-20 | 08:22 | TAMARA | 1 | 19 | 18 | / | / | 0.464 |  |  |  | 117 |  | 1 | Kinga |  | 3 | 2
3 | 64 | 44 | Old A | 2025-08-20 | 10:29 | 2025-08-20 | 08:22 | TAMARA | 1 | 74 | 68 | / | / | 1.696 |  |  |  | 686 |  | 1 | Kinga |  | 3 | 3
3 | 64 | 45 | Old A | 2025-08-20 | 10:29 | 2025-08-20 | 08:22 | TAMARA | 1 | 70 | 69 | / | / | 1.637 |  |  |  | 687 |  | 1 | Kinga |  | 3 | 3
1 | 0 | 46 | Old A | 2025-08-20 | 10:30 | 2025-08-20 | 08:22 | TAMARA | 1 | 0 | 0 | / | / | 0.001 |  |  |  | 1.14 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 47 | Old A | 2025-08-20 | 10:31 | 2025-08-20 | 08:22 | TAMARA | 1 | 0 | 0 | / | / | -0.001 |  |  |  | 0.44 |  | 1 | Kinga |  | 3 | 1
2 | 16 | 48 | P/FINAL | 2025-08-20 | 10:33 | 2025-08-20 | 08:22 | TAMARA | 1 | 20 | 19 | / | / | 0.492 |  |  |  | 130 | 201 | 1 | Kinga |  | 3 | 2
2 | 16 | 49 | P/FINAL | 2025-08-20 | 10:33 | 2025-08-20 | 08:22 | TAMARA | 1 | 19 | 18 | / | / | 0.453 |  |  |  | 132 | 220 | 1 | Kinga |  | 3 | 2
2 | 16 | 50 | P/FINAL | 2025-08-20 | 10:34 | 2025-08-20 | 08:22 | TAMARA | 1 | 19 | 19 | / | / | 0.475 |  |  |  | 126 | 220 | 1 | Kinga |  | 3 | 2
3 | 64 | 51 | P/FINAL | 2025-08-20 | 10:41 | 2025-08-20 | 08:22 | TAMARA | 1 | 71 | 69 | / | / | 1.645 |  |  |  | 561 | 210 | 1 | Kinga |  | 3 | 3
3 | 64 | 52 | P/FINAL | 2025-08-20 | 10:46 | 2025-08-20 | 08:22 | TAMARA | 1 | 73 | 68 | / | / | 1.675 |  |  |  | 556 |  | 1 | Kinga |  | 3 | 3
1 | 0 | 53 | P/FINAL | 2025-08-20 | 10:47 | 2025-08-20 | 08:22 | TAMARA | 1 | 0 | 0 | / | / | -0.003 |  |  |  | 0.40 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 54 | P/FINAL | 2025-08-20 | 10:47 | 2025-08-20 | 08:22 | TAMARA | 1 | 0 | 0 | / | / | -0.003 |  |  |  | 0.29 |  | 1 | Kinga |  | 3 | 1
3 | 64 | 55 | P/FINAL | 2025-08-20 | 10:49 | 2025-08-20 | 08:22 | TAMARA | 1 | 72 | 70 | / | / | 1.647 |  |  |  | 569 |  | 1 | Kinga |  | 3 | 3
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 19 mg/L | 9 | 18 | 19 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 71 mg/L | 8 | 16 | 71 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0 mg/L | 6 | 12 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 1 | 0 | YES
16 | 13 ÷ 19 | 19 | YES
64 | 53 ÷ 75 | 71 | YES
Validation Date | by