## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3846-0 | HI723-0 | HI749-0 | HI93723-0 | HI93749-0
1226 | HI749-0 | CP-R43 | W 44/1 |  | Parameter Formula | Cr (VI) | Cr VI | Cr VI | Cr VI | Cr VI
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Chromium VI LR Reagent | 2030-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 µg/L | 300 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-10-29 | 2025-11-06 | 1 HEAD |  |  | 1186
[6 empty] | Expiration A | Expiration B | Expiration D
2030-10-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI749 | L57-069 | HI749 | L85-190
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI93703 | CTO-768
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 60 | 55 | 65 |  | MR43 |  | 3 | & | 3% | 100% |  | 1.3 | 1.1 | 1.6
3 | 240 | 230 | 250
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI749 | M. 2 HI749 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 60 | 1 | Old A | 2025-10-30 | 16:08 | 2025-10-30 | 15:35 | ERIKA |  | 58 | 55 | / | / | [7 empty] | Andrea V |  | 3 | 2
3 | 240 | 2 | Old A | 2025-10-30 | 16:08 | 2025-10-30 | 15:35 | ERIKA |  | 234 | 230 | / | / | [7 empty] | Andrea V |  | 3 | 3
2 | 60 | 3 | Valid | 2025-10-30 | 16:08 | 2025-10-30 | 15:35 | ERIKA |  | 60 | 57 | / | / | [7 empty] | Andrea V |  | 3 | 2
3 | 240 | 4 | Valid | 2025-10-30 | 16:09 | 2025-10-30 | 15:35 | ERIKA |  | 238 | 241 | / | / | [7 empty] | Andrea V |  | 3 | 3
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
0 | 0 | 0 µg/L | 0 | 0 | 0 µg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
0 | 0 | 0 µg/L | 0 | 0 | 0 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
240 | 230 ÷ 250 | 0 | NO
60 | 55 ÷ 65 | 0 | NO
Validation Date | by