## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3846-0 | HI723-0 | HI749-0 | HI93723-0 | HI93749-0
0656 | HI93723-0 | CP-R43 | W31/1 |  | Parameter Formula | Cr (VI) | Cr VI | Cr VI | Cr VI | Cr VI
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Chromium VI High Range Reagent | 2029-08-01 | L57 Powder |  |  | Laboratory | QC PWD TAB3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 140 | 160
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 µg/L | 1000 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2024-08-02 |  |  |  |  | 0518 | 0436
[6 empty] | Expiration A | Expiration B | Expiration D
[6 empty] | 2029-03-01 | 2029-02-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97723 | CTO-638
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
HI5522 | QCC-224 | HI98703 | CTO-805
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 200 | 187 | 213 |  | MR43 |  | 5 | & | 4% | 100% |  | 1.3 | 1.1 | 1.6
3 | 800 | 763 | 837
1 | 0 | 0 | 5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97723 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 200 | 1 | Old A | 2024-08-02 | 11:39 |  |  |  |  | 206 | 211 | / | / | 0.405 |  |  |  | 52.3 |  |  | David |  | 3 | 2 | 92652
2 | 200 | 2 | Old B | 2024-08-02 | 11:40 |  |  |  |  | 213 | 217 | / | / | 0.417 |  |  |  | 53.8 |  |  | David |  | 3 | 2 | 92652
3 | 800 | 3 | Old A | 2024-08-02 | 11:41 |  |  |  |  | 820 | 816 | / | / | 1.352 |  |  |  | 43.9 |  |  | David |  | 3 | 3 | 92652
3 | 800 | 4 | Old B | 2024-08-02 | 11:41 |  |  |  |  | 828 | 822 | / | / | 1.363 |  |  |  | 44.2 |  |  | David |  | 3 | 3 | 92652
2 | 200 | 5 | Valid | 2024-08-02 | 11:49 | 2024-08-02 | 11:04 | ERIKA |  | 174 | 175 | / | / | 0.350 |  |  |  | 5.45 | 150 |  | David |  | 3 | 2 | 92652
2 | 200 | 6 | Valid | 2024-08-02 | 11:50 | 2024-08-02 | 11:04 | ERIKA |  | 172 | 176 | / | / | 0.347 | 1.441 |  |  | 10.2 | 150 |  | David |  | 3 | 2 | 92652
2 | 200 | 7 | Valid | 2024-08-02 | 11:50 | 2024-08-02 | 11:04 | ERIKA |  | 174 | 176 | / | / | 0.350 |  |  |  | 18.8 | 150 |  | David |  | 3 | 2 | 92652
3 | 800 | 8 | Valid | 2024-08-02 | 11:51 | 2024-08-02 | 11:04 | ERIKA |  | 801 | 799 | / | / | 1.325 |  |  |  | 5.79 | 150 |  | David |  | 3 | 3 | 92652
3 | 800 | 9 | Valid | 2024-08-02 | 11:59 | 2024-08-02 | 11:04 | ERIKA |  | 805 | 800 | / | / | 1.331 | 1.426 |  |  | 11.7 | 150 |  | David |  | 3 | 3 | 92652
3 | 800 | 10 | Valid | 2024-08-02 | 12:00 | 2024-08-02 | 11:04 | ERIKA |  | 816 | 810 | / | / | 1.346 |  |  |  | 10.1 | 150 |  | David |  | 3 | 3 | 92652
1 | 0 | 11 | Valid | 2024-08-02 | 12:00 | 2024-08-02 | 11:04 | ERIKA |  | 0 | 0 | / | / | 0.017 |  |  |  | 14.6 | 150 |  | David |  | 3 | 1 | DWA
1 | 0 | 12 | Valid | 2024-08-02 | 12:00 | 2024-08-02 | 11:04 | ERIKA |  | 0 | 0 | / | / | 0.019 | 1.421 |  |  | 6.51 | 150 |  | David |  | 3 | 1 | DWA
2 | 200 | 13 | Valid | 2024-08-02 | 12:08 | 2024-08-02 | 11:04 | ERIKA |  | 179 | 180 | / | / | 0.358 |  |  |  | 9.63 | 180 |  | David |  | 3 | 2 | 92652
2 | 200 | 14 | Valid | 2024-08-02 | 12:09 | 2024-08-02 | 11:04 | ERIKA |  | 177 | 179 | / | / | 0.356 |  |  |  | 8.01 | 180 |  | David |  | 3 | 2 | 92652
2 | 200 | 15 | Valid | 2024-08-02 | 12:10 | 2024-08-02 | 11:04 | ERIKA |  | 190 | 192 | / | / | 0.377 |  |  |  | 9.02 | 190 |  | David |  | 3 | 2 | 92652
2 | 200 | 16 | Valid | 2024-08-05 | 10:50 | 2024-08-05 | 09:30 | ERIKA |  | 177 | 181 | / | / | 0.355 | 1.272 |  |  | 5.61 | 190 |  | Brigitta P |  | 3 | 2
2 | 200 | 17 | Valid | 2024-08-05 | 10:51 | 2024-08-05 | 09:30 | ERIKA |  | 176 | 178 | / | / | 0.353 |  |  |  | 5.74 | 190 |  | Brigitta P |  | 3 | 2
3 | 800 | 18 | Valid | 2024-08-05 | 10:53 | 2024-08-05 | 09:30 | ERIKA |  | 814 | 811 | / | / | 1.344 | 1.229 |  |  | 6.83 | 190 |  | Brigitta P |  | 3 | 3
3 | 800 | 19 | Valid | 2024-08-05 | 10:53 | 2024-08-05 | 09:30 | ERIKA |  | 821 | 814 | / | / | 1.354 |  |  |  | 6.15 | 190 |  | Brigitta P |  | 3 | 3
1 | 0 | 20 | Valid | 2024-08-05 | 10:54 | 2024-08-05 | 09:30 | ERIKA |  | 0 | 0 | / | / | 0.031 | 1.248 |  |  | 10.5 | 190 |  | Brigitta P |  | 3 | 1
1 | 0 | 21 | Valid | 2024-08-05 | 10:54 | 2024-08-05 | 09:30 | ERIKA |  | 0 | 0 | / | / | 0.017 |  |  |  | 7.65 | 190 |  | Brigitta P |  | 3 | 1
2 | 200 | 22 | P/Final | 2024-09-23 | 14:53 | 2024-09-23 | 14:10 | IRINA | 1 | 177 | 179 | / | / | 0.355 |  |  |  | 11.5 |  |  | Brigitta P |  | 3 | 2
2 | 200 | 23 | P/Final | 2024-09-23 | 14:50 | 2024-09-23 | 14:10 | IRINA | 1 | 156 | 153 | / | / | 0.355 |  |  |  | 3.29 |  |  | Brigitta P |  | 3 | 2
3 | 800 | 24 | P/Final | 2024-09-23 | 14:55 | 2024-09-23 | 14:10 | IRINA | 1 | 765 | 763 | / | / | 1.270 |  |  |  | 3.94 |  |  | Brigitta P |  | 3 | 2
3 | 800 | 25 | P/Final | 2024-09-23 | 14:55 | 2024-09-23 | 14:10 | IRINA | 1 | 770 | 767 | / | / | 1.281 |  |  |  | 3.74 |  |  | Brigitta P |  | 3 | 2
1 | 0 | 26 | P/Final | 2024-09-23 | 14:55 | 2024-09-23 | 14:10 | IRINA | 1 | 0 | 0 | / | / | 0.022 |  |  |  | 8.64 |  |  | Brigitta P |  | 3 | 2
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 µg/L | 0 | 0 | 0 µg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 µg/L | 0 | 0 | 0 µg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
1 | 2 | 0 µg/L | 0 | 0 | 0 µg/L