## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3846-0 | HI723-0 | HI749-0 | HI93723-0 | HI93749-0
0770 | HI93723-0 | CP-R43 | W43/1 |  | Parameter Formula | Cr (VI) | Cr VI | Cr VI | Cr VI | Cr VI
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Chromium VI High Range Reagent | 2029-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 140 | 160
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 µg/L | 1000 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2024-10-23 | 2024-10-28 | 1HEAD |  |  | 0684
[6 empty] | Expiration A | Expiration B | Expiration D
2029-09-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97723 | CTO-638
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-780
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 200 | 187 | 213 |  | MR43 |  | 5 | & | 4% | 100% |  | 1.3 | 1.1 | 1.6
3 | 800 | 763 | 837
1 | 0 | 0 | 5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97723 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 200 | 1 | Old A | 2024-10-24 | 14:43 | 2024-10-23 | 08:25 | ERIKA |  | 189 | 195 | / | / | 0.376 |  |  |  | 21.8 |  |  | Elena |  | 3 | 2 | 22238
2 | 200 | 2 | Old A | 2024-10-24 | 14:44 | 2024-10-23 | 08:25 | ERIKA |  | 189 | 194 | / | / | 0.374 |  |  |  | 24.4 |  |  | Elena |  | 3 | 2 | 22238
3 | 800 | 3 | Old A | 2024-10-24 | 14:52 | 2024-10-23 | 08:25 | ERIKA |  | 748 | 743 | / | / | 1.250 |  |  |  | 19.3 |  |  | Elena |  | 3 | 3 | 22238
3 | 800 | 4 | Old A | 2024-10-24 | 14:53 | 2024-10-23 | 08:25 | ERIKA |  | 762 | 757 | / | / | 1.269 |  |  |  | 31.2 |  |  | Elena |  | 3 | 3 | 22238
1 | 0 | 5 | Valid | 2024-10-24 | 15:13 | 2024-10-24 | 08:25 | ERIKA |  | 0 | 0 | / | / | 0.016 |  |  |  | 4.08 |  |  | Kinga |  | 3 | 1 | 22238
1 | 0 | 6 | Valid | 2024-10-24 | 15:13 | 2024-10-24 | 08:25 | ERIKA |  | 0 | 0 | / | / | 0.016 |  |  |  | 4.44 |  |  | Kinga |  | 3 | 1 | 22238
2 | 200 | 7 | Valid | 2024-10-24 | 15:31 | 2024-10-24 | 08:25 | ERIKA |  | 165 | 172 | / | / | 0.334 |  |  |  | 3.36 | 152 |  | Kinga |  | 3 | 2 | 22238
2 | 200 | 8 | Valid | 2024-10-24 | 15:31 | 2024-10-24 | 08:25 | ERIKA |  | 169 | 174 | / | / | 0.342 |  |  |  | 5.56 | 151 |  | Kinga |  | 3 | 2 | 22238
3 | 800 | 9 | Valid | 2024-10-24 | 15:32 | 2024-10-24 | 08:25 | ERIKA |  | 742 | 738 | / | / | 1.241 |  |  |  | 5.20 | 150 |  | Kinga |  | 3 | 3 | 22238
3 | 800 | 10 | Valid | 2024-10-24 | 15:33 | 2024-10-24 | 08:25 | ERIKA |  | 738 | 739 | / | / | 1236 |  |  |  | 1.98 | 154 |  | Kinga |  | 3 | 3 | 22238
2 | 200 | 11 | Valid | 2024-10-24 | 15:33 | 2024-10-24 | 08:25 | ERIKA |  | 170 | 177 | / | / | 0.349 |  |  |  | 8.37 | 180 |  | Kinga |  | 3 | 2 | 22238
2 | 200 | 12 | Valid | 2024-10-24 | 15:34 | 2024-10-24 | 08:25 | ERIKA |  | 173 | 176 | / | / | 0.342 |  |  |  | 10.08 | 180 |  | Kinga |  | 3 | 2 | 22238
3 | 800 | 13 | Valid | 2024-10-24 | 15:47 | 2024-10-24 | 08:25 | ERIKA |  | 753 | 755 | / | / | 1.257 |  |  |  | 4.78 | 183 |  | Kinga |  | 3 | 3 | 22238
3 | 800 | 14 | Valid | 2024-10-24 | 15:47 | 2024-10-24 | 08:25 | ERIKA |  | 755 | 752 | / | / | 1.259 |  |  |  | 4.99 | 172 |  | Kinga |  | 3 | 3 | 22238
1 | 0 | 15 | Valid | 2024-10-24 | 15:54 | 2024-10-24 | 08:25 | ERIKA |  | 0 | 0 | / | / | 0.026 |  |  |  | 7.81 | 175 |  | Kinga |  | 3 | 1 | 22238
1 | 0 | 16 | Valid | 2024-10-24 | 15:56 | 2024-10-24 | 08:25 | ERIKA |  | 0 | 0 | / | / | 0.026 |  |  |  | 7.60 | 181 |  | Kinga |  | 3 | 1 | 22238
2 | 200 | 17 | Valid | 2024-10-24 | 16:04 | 2024-10-24 | 08:25 | ERIKA |  | 172 | 176 | / | / | 0.347 |  |  |  | 11.4 | 179 |  | Kinga |  | 3 | 2 | 22238
3 | 800 | 18 | Valid | 2024-10-24 | 16:07 | 2024-10-24 | 08:25 | ERIKA |  | 754 | 752 | / | / | 1.258 |  |  |  | 5.11 | 181 |  | Kinga |  | 3 | 3 | 22238
2 | 200 | 19 | Test | 2024-10-24 | 16:23 | 2024-10-24 | 08:25 | ERIKA |  | 164 | 169 | / | / | 0.332 |  |  |  | 6.63 | 180 |  | Kinga |  | 3 | 2 | 22238 | Test prep. using CM152 bellow 100 microns
2 | 200 | 20 | Test | 2024-10-24 | 16:24 | 2024-10-24 | 08:25 | ERIKA |  | 162 | 165 | / | / | 0.329 |  |  |  | 5.21 | 180 |  | Kinga |  | 3 | 2 | 22238 | Test prep. using CM152 bellow 100 microns
3 | 800 | 21 | Test | 2024-10-24 | 16:25 | 2024-10-24 | 08:25 | ERIKA |  | 736 | 733 | / | / | 1.232 |  |  |  | 7.40 | 150 |  | Kinga |  | 3 | 3 | 22238 | Test prep. using CM152 bellow 100 microns
3 | 800 | 22 | Test | 2024-10-24 | 16:26 | 2024-10-24 | 08:25 | ERIKA |  | 736 | 735 | / | / | 1.232 |  |  |  | 2.61 | 151 |  | Kinga |  | 3 | 3 | 22238 | Test prep. using CM152 bellow 100 microns
1 | 0 | 23 | Old A | 2024-10-29 | 11:24 | 2024-10-28 | 14:54 | MARA | 1 | 0 | 0 | / | / | 0.020 |  |  |  | 12.2 | 192 |  | Kinga |  | 3 | 1 | 22238
1 | 0 | 24 | P/Final | 2024-10-29 | 11:25 | 2024-10-28 | 14:54 | MARA | 1 | 1 | 1 | / | / | 0.039 |  |  |  | 23.8 |  |  | Kinga |  | 3 | 1 | 22238
2 | 200 | 25 | Old A | 2024-10-29 | 11:25 | 2024-10-28 | 14:54 | MARA | 1 | 184 | 188 | / | / | 0.367 |  |  |  | 8.11 |  |  | Kinga |  | 3 | 2 | 22238
2 | 200 | 26 | P/Final | 2024-10-29 | 11:26 | 2024-10-28 | 14:54 | MARA | 1 | 173 | 171 | / | / | 0.348 |  |  |  | 8.17 | 192 |  | Kinga |  | 3 | 2 | 22238
2 | 200 | 27 | P/Final | 2024-10-29 | 11:27 | 2024-10-28 | 14:54 | MARA | 1 | 176 | 175 | / | / | 0.337 |  |  |  | 8.11 | 190 |  | Kinga |  | 3 | 2 | 22238
2 | 200 | 28 | P/Final | 2024-10-29 | 11:27 | 2024-10-28 | 14:54 | MARA | 1 | 170 | 169 | / | / | 0.344 |  |  |  | 40.6 |  |  | Kinga |  | 3 | 2 | 22238
3 | 800 | 29 | Old A | 2024-10-29 | 11:28 | 2024-10-28 | 14:54 | MARA | 1 | 746 | 746 | / | / | 0.795 |  |  |  | 2.06 |  |  | Kinga |  | 3 | 3 | 22238
3 | 800 | 30 | P/Final | 2024-10-29 | 11:29 | 2024-10-28 | 14:54 | MARA | 1 | 764 | 779 | / | / | 1.259 |  |  |  | 2.09 | 176 |  | Kinga |  | 3 | 3 | 22238
3 | 800 | 31 | P/Final | 2024-10-29 | 11:29 | 2024-10-28 | 14:54 | MARA | 1 | 770 | 757 | / | / | 1.281 |  |  |  | 20.6 |  |  | Kinga |  | 3 | 3 | 22238
1 | 0 | 32 | P/Final | 2024-11-01 | 14:55 | 2024-10-28 | 14:54 | MARA | 1 | 0 | 0 | / | / | 0.033 |  |  |  | 12.0 |  |  | Brigitta P |  | 3 | 3 | 22238
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 172 µg/L | 3 | 6 | 172 µg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 768 µg/L | 2 | 4 | 768 µg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 1 µg/L | 2 | 4 | 1 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 5 | 1 | YES
200 | 187 ÷ 213 | 172 | NO
800 | 763 ÷ 837 | 768 | YES
Validation Date | by