## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3846-0 | HI723-0 | HI749-0 | HI93723-0 | HI93749-0
0928 | HI93723-0 | CP-R43 | W08/1 |  | Parameter Formula | Cr (VI) | Cr VI | Cr VI | Cr VI | Cr VI
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Chromium (VI) HR Reagent | 2030-02-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 140 | 160
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 µg/L | 1000 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-02-17 | 2025-02-24 | 2 HEAD |  |  | 0826
[6 empty] | Expiration A | Expiration B | Expiration D
2029-11-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97723 | CTO-638
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 200 | 187 | 213 |  | MR43 |  | 5 | & | 4% | 100% |  | 1.3 | 1.1 | 1.6
3 | 800 | 763 | 837
1 | 0 | 0 | 5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97723 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 200 | 1 | Valid | 2025-02-17 | 14:30 | 2025-02-17 | 12:53 | ERIKA |  | 159 | 162 | / | / | 0.325 |  |  |  | 2.39 |  |  | Brigitta P |  | 3 | 2 | 83926 | 190
2 | 200 | 2 | Valid | 2025-02-17 | 14:31 | 2025-02-17 | 12:53 | ERIKA |  | 158 | 159 | / | / | 0.322 |  |  |  | 2.34 |  |  | Brigitta P |  | 3 | 2 | 83926 | 187
2 | 200 | 3 | Valid | 2025-02-17 | 14:31 | 2025-02-17 | 12:53 | ERIKA |  | 157 | 161 | / | / | 0.321 |  |  |  | 3.45 |  |  | Brigitta P |  | 3 | 2 | 83926 | 178
3 | 800 | 4 | Valid | 2025-02-17 | 14:33 | 2025-02-17 | 12:53 | ERIKA |  | 688 | 686 | / | / | 1.164 |  |  |  | 2.71 |  |  | Brigitta P |  | 3 | 3 | 83926 | 690
3 | 800 | 5 | Valid | 2025-02-17 | 14:33 | 2025-02-17 | 12:53 | ERIKA |  | 690 | 685 | / | / | 1.166 |  |  |  | 0.84 |  |  | Brigitta P |  | 3 | 3 | 83926 | 687
3 | 800 | 6 | Valid | 2025-02-17 | 14:34 | 2025-02-17 | 12:53 | ERIKA |  | 695 | 682 | / | / | 1.173 |  |  |  | 1.67 |  |  | Brigitta P |  | 3 | 3 | 83926 | 693
1 | 0 | 7 | Valid | 2025-02-17 | 14:36 | 2025-02-17 | 12:53 | ERIKA |  | 0 | 0 | / | / | 0.005 |  |  |  | 7.75 |  |  | Brigitta P |  | 3 | 1 | 83926
1 | 0 | 8 | Valid | 2025-02-17 | 14:37 | 2025-02-17 | 12:53 | ERIKA |  | 0 | 0 | / | / | 0.005 |  |  |  | 3.16 |  |  | Brigitta P |  | 3 | 1 | 83926
1 | 0 | 9 | Old A | 2025-02-17 | 14:46 | 2025-02-17 | 12:53 | ERIKA |  | 0 | 0 | / | / | 0.037 |  |  |  | 12.8 |  |  | Brigitta P |  | 3 | 1 | 83926
2 | 200 | 10 | Old A | 2025-02-17 | 14:47 | 2025-02-17 | 12:53 | ERIKA |  | 166 | 168 | / | / | 0.339 |  |  |  | 9.21 |  |  | Brigitta P |  | 3 | 1 | 83926
3 | 800 | 11 | Old A | 2025-02-17 | 14:48 | 2025-02-17 | 12:53 | ERIKA |  | 694 | 692 | / | / | 1.172 |  |  |  | 6.12 |  |  | Brigitta P |  | 3 | 3 | 83926
2 | 200 | 12 | Valid | 2025-02-18 | 09:52 | 2025-02-18 |  | ERIKA |  | 164 | 165 | / | / | 0.332 |  |  |  | 1.15 | 187 |  | Brigitta P |  | 3 | 2 | 85804 | CHECKER:190
2 | 200 | 13 | Valid | 2025-02-18 | 09:52 | 2025-02-18 |  | ERIKA |  | 164 | 167 | / | / | 0.332 |  |  |  | 1.01 | 190 |  | Brigitta P |  | 3 | 2 | 85804 | CHECKER:193
3 | 800 | 14 | Valid | 2025-02-18 | 09:53 | 2025-02-18 |  | ERIKA |  | 733 | 724 | / | / | 1.228 |  |  |  | 1.82 | 190 |  | Brigitta P |  | 3 | 3 | 85804 | CHECKER:719
3 | 800 | 15 | Valid | 2025-02-18 | 09:55 | 2025-02-18 |  | ERIKA |  | 732 | 730 | / | / | 1.226 |  |  |  | 1.18 | 190 |  | Brigitta P |  | 3 | 3 | 85804 | CHECKER :727
2 | 200 | 16 | P/Prod | 2025-02-21 | 09:25 | 2025-02-20 | 19:43 | FLORICA | 1 | 170 | 173 | / | / | 0.344 | 1.143 |  |  | 5.39 |  |  | Brigitta P |  | 3 | 2 | 85804
2 | 200 | 17 | P/Prod | 2025-02-21 | 9:25 | 2025-02-20 | 19:43 | FLORICA | 1 | 173 | 169 | / | / | 0.348 |  |  |  | 7.04 |  |  | Brigitta P |  | 3 | 2 | 85804
3 | 800 | 18 | P/Prod | 2025-02-21 | 9:25 | 2025-02-20 | 19:43 | FLORICA | 1 | 757 | 741 | / | / | 1.262 | 1.160 |  |  | 8.21 |  |  | Brigitta P |  | 3 | 2 | 85804
3 | 800 | 19 | P/Prod | 2025-02-21 | 9:25 | 2025-02-20 | 19:43 | FLORICA | 1 | 754 | 738 | / | / | 1.258 |  |  |  | 2.49 |  |  | Brigitta P |  | 3 | 2 | 85804
1 | 0 | 20 | P/Prod | 2025-02-21 | 9:25 | 2025-02-20 | 19:43 | FLORICA | 1 | 0 | 0 | / | / | 0.012 |  |  |  | 3.64 |  |  | Brigitta P |  | 3 | 2 | 85804
1 | 0 | 21 | P/Prod | 2025-02-21 | 9:25 | 2025-02-20 | 06:52 | TAMARA | 1 | 0 | 0 | / | / | 0.017 | 1.159 |  |  | 4.79 |  |  | Brigitta P |  | 3 | 2 | 85804
2 | 200 | 22 | P/Prod | 2025-02-21 | 9:25 | 2025-02-20 | 06:52 | TAMARA | 1 | 171 | 173 | / | / | 0.345 |  |  |  | 1.04 |  |  | Brigitta P |  | 3 | 2 | 85804
2 | 200 | 23 | P/Prod | 2025-02-21 | 9:25 | 2025-02-20 | 06:52 | TAMARA | 1 | 174 | 170 | / | / | 0.351 | 1.135 |  |  | 4.00 |  |  | Brigitta P |  | 3 | 2 | 85804
3 | 800 | 24 | P/Prod | 2025-02-21 | 9:25 | 2025-02-20 | 06:52 | TAMARA | 1 | 723 | 708 | / | / | 1.213 |  |  |  | 3.40 |  |  | Brigitta P |  | 3 | 2 | 85804
3 | 800 | 25 | P/Prod | 2025-02-21 | 9:25 | 2025-02-20 | 06:52 | TAMARA | 1 | 734 | 711 | / | / | 1.225 |  |  |  | 1.86 |  |  | Brigitta P |  | 3 | 2 | 85804
2 | 200 | 26 | P/Prod | 2025-02-21 | 15:13 | 2025-02-21 | 14:17 | FLORICA | 1 | 174 | 173 | / | / | 0.350 |  |  |  | 2.93 |  |  | Kinga |  | 3 | 2
2 | 200 | 27 | P/Prod | 2025-02-21 | 15:14 | 2025-02-21 | 14:17 | FLORICA | 1 | 172 | 171 | / | / | 0.347 | 1.353 |  |  | 2.64 |  |  | Kinga |  | 3 | 2
2 | 200 | 28 | P/Prod | 2025-02-21 | 15:14 | 2025-02-21 | 14:17 | FLORICA | 1 | 169 | 169 | / | / | 0.341 |  |  |  | 2.64 |  |  | Kinga |  | 3 | 2
3 | 800 | 29 | P/Prod | 2025-02-21 | 15:15 | 2025-02-21 | 14:17 | FLORICA | 1 | 754 | 749 | / | / | 1.258 | 1.298 |  |  | 6.02 |  |  | Kinga |  | 3 | 3
3 | 800 | 30 | P/Prod | 2025-02-21 | 15:18 | 2025-02-21 | 14:17 | FLORICA | 1 | 750 | 742 | / | / | 1.252 |  |  |  | 9.17 |  |  | Kinga |  | 3 | 3
3 | 800 | 31 | P/Prod | 2025-02-21 | 15:18 | 2025-02-21 | 14:17 | FLORICA | 1 | 753 | 747 | / | / | 1.257 |  |  |  | 6.13 |  |  | Kinga |  | 3 | 3
1 | 0 | 32 | P/Prod | 2025-02-21 | 15:19 | 2025-02-21 | 14:17 | FLORICA | 1 | 0 | 0 | / | / | 0.017 | 1.207 |  |  | 8.07 |  |  | Kinga |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 14 | 172 µg/L | 7 | 14 | 172 µg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 14 | 740 µg/L | 7 | 14 | 740 µg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0 µg/L | 3 | 6 | 0 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 5 | 0 | YES
200 | 187 ÷ 213 | 172 | NO
800 | 763 ÷ 837 | 740 | NO
Validation Date | by