## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3846-0 | HI723-0 | HI749-0 | HI93723-0 | HI93749-0
1252 | HI93723-0 | CP-R43 | W 47/1 |  | Parameter Formula | Cr (VI) | Cr VI | Cr VI | Cr VI | Cr VI
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Chromium (VI) HR Reagent | 2030-11-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 140 | 160
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 µg/L | 1000 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-11-21 | 2025-12-08 | 1 HEAD |  |  | 0826
[6 empty] | Expiration A | Expiration B | Expiration D
2029-11-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97723 | CTO-638
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98713 | CTO-810
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 200 | 187 | 213 |  | MR43 |  | 5 | & | 4% | 100% |  | 1.3 | 1.1 | 1.6
3 | 800 | 763 | 837
1 | 0 | 0 | 5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97723 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 200 | 1 | Old A | 2025-11-21 | 12:40 | 2025-11-21 | 11:37 | ERIKA |  | 195 | 200 | / | / | 0.386 |  |  |  | 55.3 |  |  | Kinga |  | 3 | 2 | 95255
2 | 200 | 2 | Old A | 2025-11-21 | 12:41 | 2025-11-21 | 11:37 | ERIKA |  | 197 | 197 | / | / | 0.390 |  |  |  | 41.6 |  |  | Kinga |  | 3 | 2 | 95255
3 | 800 | 3 | Old A | 2025-11-21 | 12:46 | 2025-11-21 | 11:37 | ERIKA |  | 749 | 749 | / | / | 1.251 |  |  |  | 43.7 |  |  | Kinga |  | 3 | 3 | 95255
3 | 800 | 4 | Old A | 2025-11-21 | 12:46 | 2025-11-21 | 11:37 | ERIKA |  | 705 | 698 | / | / | 1.188 |  |  |  | 47.3 |  |  | Kinga |  | 3 | 3 | 95255
1 | 0 | 5 | Old A | 2025-11-21 | 12:48 | 2025-11-21 | 11:37 | ERIKA |  | 11 | 9 | / | / | 0.057 |  |  |  | 32.8 |  |  | Kinga |  | 3 | 1 | 95255
1 | 0 | 6 | Old A | 2025-11-21 | 12:49 | 2025-11-21 | 11:37 | ERIKA |  | 13 | 12 | / | / | 0.061 |  |  |  | 36.0 |  |  | Kinga |  | 3 | 1 | 95255
2 | 200 | 7 | Valid | 2025-11-21 | 12:52 | 2025-11-21 | 11:37 | ERIKA |  | 177 | 183 | / | / | 0.355 |  |  |  | 14.9 | 150 |  | Kinga |  | 3 | 2 | 95255
2 | 200 | 8 | Valid | 2025-11-21 | 12:52 | 2025-11-21 | 11:37 | ERIKA |  | 178 | 178 | / | / | 0.357 |  |  |  | 11.2 | 150 |  | Kinga |  | 3 | 2 | 95255
2 | 200 | 9 | Valid | 2025-11-21 | 12:53 | 2025-11-21 | 11:37 | ERIKA |  | 174 | 178 | / | / | 0.351 |  |  |  | 11.0 | 150 |  | Kinga |  | 3 | 2 | 95255
3 | 800 | 10 | Valid | 2025-11-21 | 13:52 | 2025-11-21 | 11:37 | ERIKA |  | 771 | 768 | / | / | 1.283 |  |  |  | 9.19 | 150 |  | Kinga |  | 3 | 3 | 95255
3 | 800 | 11 | Valid | 2025-11-21 | 13:52 | 2025-11-21 | 11:37 | ERIKA |  | 785 | 780 | / | / | 1.303 |  |  |  | 9.42 | 150 |  | Kinga |  | 3 | 3 | 95255
3 | 800 | 12 | Valid | 2025-11-21 | 13:53 | 2025-11-21 | 11:37 | ERIKA |  | 782 | 780 | / | / | 1.298 |  |  |  | 5.91 | 150 |  | Kinga |  | 3 | 3 | 95255
2 | 200 | 13 | Valid | 2025-11-21 | 13:59 | 2025-11-21 | 11:37 | ERIKA |  | 183 | 185 | / | / | 0.366 |  |  |  | 16.0 | 204 |  | Kinga |  | 3 | 2 | 95255
2 | 200 | 14 | Valid | 2025-11-21 | 14:00 | 2025-11-21 | 11:37 | ERIKA |  | 180 | 181 | / | / | 0.361 |  |  |  | 11.6 | 199 |  | Kinga |  | 3 | 2 | 95255
3 | 800 | 15 | Valid | 2025-11-21 | 14:04 | 2025-11-21 | 11:37 | ERIKA |  | 785 | 777 | / | / | 1.302 |  |  |  | 19.4 | 204 |  | Kinga |  | 3 | 3
3 | 800 | 16 | Valid | 2025-11-21 | 14:06 | 2025-11-21 | 11:37 | ERIKA |  | 793 | 791 | / | / | 1.314 |  |  |  | 18.9 | 199 |  | Kinga |  | 3 | 3
1 | 0 | 17 | Valid | 2025-11-21 | 14:09 | 2025-11-21 | 11:37 | ERIKA |  | 0 | 0 | / | / | 0.018 |  |  |  | 11.7 | 150 |  | Kinga |  | 3 | 1
1 | 0 | 18 | Valid | 2025-11-21 | 14:11 | 2025-11-21 | 11:37 | ERIKA |  | 0 | 0 | / | / | 0.015 |  |  |  | 4.60 | 150 |  | Kinga |  | 3 | 1
2 | 200 | 19 | Old A | 2025-11-27 | 16:08 | 2025-11-27 | 15:22 | MARA | 1 | 192 | 195 | / | / | 0.382 |  |  |  | 32.6 |  |  | Andrea V |  | 3 | 2 | 95255
2 | 200 | 20 | Old A | 2025-11-27 | 16:08 | 2025-11-27 | 15:22 | MARA | 1 | 189 | 194 | / | / | 0.376 |  |  |  | 22.3 |  |  | Andrea V |  | 3 | 2 | 95255
3 | 800 | 21 | Old A | 2025-11-27 | 16:09 | 2025-11-27 | 15:22 | MARA | 1 | 774 | 767 | / | / | 1.287 |  |  |  | 20.8 |  |  | Andrea V |  | 3 | 3 | 95255
1 | 0 | 22 | Old A | 2025-11-27 | 16:11 | 2025-11-27 | 15:22 | MARA | 1 | 0 | 0 | / | / | 0.032 |  |  |  | 20.3 |  |  | Andrea V |  | 3 | 1 | 95255
1 | 0 | 23 | Old A | 2025-11-27 | 16:11 | 2025-11-27 | 15:22 | MARA | 1 | 0 | 0 | / | / | 0.035 |  |  |  | 17.1 |  |  | Andrea V |  | 3 | 1 | 95255
2 | 200 | 24 | P/FINAL | 2025-11-27 | 16:14 | 2025-11-27 | 15:22 | MARA | 1 | 188 | 192 | / | / | 0.375 |  |  |  | 23.7 |  |  | Andrea V |  | 3 | 2 | 95255
2 | 200 | 25 | P/FINAL | 2025-11-27 | 16:15 | 2025-11-27 | 15:22 | MARA | 1 | 190 | 190 | / | / | 0.377 |  |  |  | 23.8 | 206 |  | Andrea V |  | 3 | 2 | 95255
2 | 200 | 26 | P/FINAL | 2025-11-27 | 16:18 | 2025-11-27 | 15:22 | MARA | 1 | 186 | 189 | / | / | 0.369 | 1.235 |  |  | 24.8 | 195 |  | Andrea V |  | 3 | 2 | 95255
3 | 800 | 27 | P/FINAL | 2025-11-27 | 16:23 | 2025-11-27 | 15:22 | MARA | 1 | 777 | 782 | / | / | 1.291 |  |  |  | 24.8 |  |  | Andrea V |  | 3 | 3 | 95255
3 | 800 | 28 | P/FINAL | 2025-11-27 | 16:24 | 2025-11-27 | 15:22 | MARA | 1 | 784 | 777 | / | / | 1.301 |  |  |  | 9.96 | 153 |  | Andrea V |  | 3 | 3 | 95255
3 | 800 | 29 | P/FINAL | 2025-11-27 | 16:25 | 2025-11-27 | 15:22 | MARA | 1 | 778 | 772 | / | / | 1.293 | 1.272 |  |  | 7.84 | 203 |  | Andrea V |  | 3 | 3 | 95255
2 | 200 | 30 | P/FINAL | 2025-11-27 | 16:27 | 2025-11-27 | 15:22 | MARA | 1 | 192 | 196 | / | / | 0.382 |  |  |  | 23.9 |  |  | Andrea V |  | 3 | 2 | 95255
1 | 0 | 31 | P/FINAL | 2025-11-27 | 16:28 | 2025-11-27 | 15:22 | MARA | 1 | 0 | 0 | / | / | 0.014 |  |  |  | 6.78 | 200 |  | Andrea V |  | 3 | 1 | 95255
1 | 0 | 32 | P/FINAL | 2025-11-27 | 16:29 | 2025-11-27 | 15:22 | MARA | 1 | 0 | 0 | / | / | 0.013 | 1.221 |  |  | 8.38 | 191 |  | Andrea V |  | 3 | 1 | 95255
2 | 200 | 33 | P/FINAL | 2025-11-28 | 10:24 | 2025-11-28 | 07:06 | TAMARA | 1 | 192 | 195 | / | / | 0.382 |  |  |  | 20.7 |  |  | Andrea V |  | 3 | 2 | 94932
2 | 200 | 34 | P/FINAL | 2025-11-28 | 10:24 | 2025-11-28 | 07:06 | TAMARA | 1 | 188 | 194 | / | / | 0.374 |  |  |  | 17.9 |  |  | Andrea V |  | 3 | 2 | 94932
2 | 200 | 35 | P/FINAL | 2025-11-28 | 10:25 | 2025-11-28 | 07:06 | TAMARA | 1 | 195 | 197 | / | / | 0.387 | 1.267 |  |  | 17.8 |  |  | Andrea V |  | 3 | 2 | 94932
1 | 0 | 36 | P/FINAL | 2025-11-28 | 10:27 | 2025-11-28 | 07:06 | TAMARA | 1 | 0 | 0 | / | / | 0.012 |  |  |  | 8.02 |  |  | Andrea V |  | 3 | 1 | 94932
1 | 0 | 37 | P/FINAL | 2025-11-28 | 10:27 | 2025-11-28 | 07:06 | TAMARA | 1 | 0 | 0 | / | / | 0.018 | 1.228 |  |  | 9.45 |  |  | Andrea V |  | 3 | 1 | 94932
2 | 200 | 38 | Old A | 2025-11-28 | 10:38 | 2025-11-28 | 07:06 | TAMARA | 1 | 196 | 193 | / | / | 0.388 |  |  |  | 27.8 | 175 |  | Andrea V |  | 3 | 2 | 94932
2 | 200 | 39 | Old A | 2025-11-28 | 10:39 | 2025-11-28 | 07:06 | TAMARA | 1 | 198 | 197 | / | / | 0.391 |  |  |  | 27.8 | 189 |  | Andrea V |  | 3 | 2 | 94932
1 | 0 | 40 | Old A | 2025-11-28 | 10:40 | 2025-11-28 | 07:06 | TAMARA | 1 | 0 | 2 | / | / | 0.035 |  |  |  | 15.5 | 195 |  | Andrea V |  | 3 | 1 | 94932
3 | 800 | 41 | P/FINAL | 2025-11-28 | 11:02 | 2025-11-28 | 07:06 | TAMARA | 1 | 815 | 805 | / | / | 1.345 |  |  |  | 11.2 |  |  | Andrea V |  | 3 | 3 | 94932
3 | 800 | 42 | P/FINAL | 2025-11-28 | 11:03 | 2025-11-28 | 07:06 | TAMARA | 1 | 812 | 802 | / | / | 1.340 |  |  |  | 9.49 | 196 |  | Andrea V |  | 3 | 3 | 94932
3 | 800 | 43 | P/FINAL | 2025-11-28 | 11:03 | 2025-11-28 | 07:06 | TAMARA | 1 | 812 | 799 | / | / | 1.340 | 1.239 |  |  | 7.06 | 181 |  | Andrea V |  | 3 | 3 | 94932
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 14 | 192 µg/L | 7 | 14 | 192 µg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 793 µg/L | 6 | 12 | 793 µg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0 µg/L | 4 | 8 | 0 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 5 | 0 | YES
200 | 187 ÷ 213 | 192 | YES
800 | 763 ÷ 837 | 793 | YES
Validation Date | by