## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3846-0 | HI723-0 | HI749-0 | HI93723-0 | HI93749-0
0770 | HI93749-0 | CP-R43 | W43/1 |  | Parameter Formula | Cr (VI) | Cr VI | Cr VI | Cr VI | Cr VI
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Chromium VI LR Reagent | 2029-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 µg/L | 300 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2024-10-23 |  |  |  |  | 0684
[6 empty] | Expiration A | Expiration B | Expiration D
2029-09-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code | Meter 3 Family | Meter 3 Code | Meter 4 Family | Meter 4 Code
HI801 | CTO-775 | HI97749 | CTO-645 | HI749 | L57-069 | HI749 | L85-190
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-780
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 60 | 48 | 72 |  | MR43 |  | 10 | & | 3% | 100% |  | 1.3 | 1.1 | 1.6
3 | 240 | 223 | 257
1 | 0 | 0 | 10
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97749 | M. 3 HI749 | M. 4 HI749 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 60 | 1 | Old A | 2024-10-24 | 09:59 | 2024-10-23 | 08:25 | ERIKA |  | 48 | 57 |  |  | 0.146 |  |  |  | 16.9 |  |  | Kinga |  | 3 | 2 | 70746
3 | 240 | 2 | Old A | 2024-10-24 | 10:01 | 2024-10-23 | 08:25 | ERIKA |  | 227 | 239 |  |  | 0.452 |  |  |  | 12.4 |  |  | Kinga |  | 3 | 3 | 70746
1 | 0 | 3 | Valid | 2024-10-24 | 10:26 | 2024-10-23 | 08:25 | ERIKA |  | 0 | 0 |  |  | 0.013 |  |  |  | 3.85 |  |  | Kinga |  | 3 | 1 | 70746
1 | 0 | 4 | Valid | 2024-10-24 | 10:27 | 2024-10-23 | 08:25 | ERIKA |  | 0 | 0 |  |  | 0.013 |  |  |  | 12.3 |  |  | Kinga |  | 3 | 1 | 70746
2 | 60 | 5 | Valid | 2024-10-24 | 10:35 | 2024-10-23 | 08:25 | ERIKA |  | 35 | 41 |  |  | 0.122 |  |  |  | 3.57 |  |  | Kinga |  | 3 | 2 | 70746
2 | 60 | 6 | Valid | 2024-10-24 | 10:36 | 2024-10-23 | 08:25 | ERIKA |  | 34 | 42 |  |  | 0.120 |  |  |  | 4.93 |  |  | Kinga |  | 3 | 2 | 70746
3 | 240 | 7 | Valid | 2024-10-24 | 10:37 | 2024-10-23 | 08:25 | ERIKA |  | 216 | 223 |  |  | 0.433 |  |  |  | 1.75 |  |  | Kinga |  | 3 | 3 | 70746
3 | 240 | 8 | Valid | 2024-10-24 | 10:38 | 2024-10-23 | 08:25 | ERIKA |  | 216 | 224 |  |  | 0.432 |  |  |  | 4.20 |  |  | Kinga |  | 3 | 3 | 70746
2 | 60 | 9 | Old A | 2024-10-24 | 11:03 | 2024-10-24 |  | ERIKA |  | 48 | 58 |  |  | 0.146 |  |  |  | 31.7 |  |  | Kinga |  | 3 | 2 | 70746
3 | 240 | 10 | Old A | 2024-10-24 | 11:04 | 2024-10-24 |  | ERIKA |  | 230 | 242 |  |  | 0.458 |  |  |  | 10.07 |  |  | Kinga |  | 3 | 3 | 70746
2 | 60 | 11 | Valid | 2024-10-24 | 11:13 | 2024-10-24 | 08:25 | ERIKA |  | 34 | 43 |  |  | 0.121 | 1.243 |  |  | 4.74 | 122 |  | Kinga |  | 3 | 2 | 70746
2 | 60 | 12 | Valid | 2024-10-24 | 11:14 | 2024-10-24 | 08:25 | ERIKA |  | 34 | 42 |  |  | 0.121 | 1.334 |  |  | 5.03 | 122 |  | Kinga |  | 3 | 2 | 70746
3 | 240 | 13 | Valid | 2024-10-24 | 11:22 | 2024-10-24 | 08:25 | ERIKA |  | 215 | 223 | - | - | 0.431 | 1.314 |  |  | 4.09 | 122 |  | Kinga |  | 3 | 3 | 70746
3 | 240 | 14 | Valid | 2024-10-24 | 11:23 | 2024-10-24 | 08:25 | ERIKA |  | 218 | 227 | 230 | 230 | 0.437 | 1.316 |  |  | 3.32 | 122 |  | Kinga |  | 3 | 3 | 70746
3 | 240 | 15 | Valid | 2024-10-24 | 11:25 | 2024-10-24 | 08:25 | ERIKA |  | 226 | 236 | 228 | 228 | 0.450 | 1.342 |  |  | 5.53 | 122 |  | Kinga |  | 3 | 3 | 70746
2 | 60 | 16 | Valid | 2024-10-24 | 11:47 | 2024-10-24 | 08:25 | ERIKA |  | 33 | 42 | 57 |  | 0.119 |  |  |  | 6.09 |  |  | Kinga |  | 3 | 2 | 70746
2 | 60 | 17 | Valid | 2024-10-24 | 11:48 | 2024-10-24 | 08:25 | ERIKA |  | 37 | 45 | 61 |  | 0.125 |  |  |  | 4.33 |  |  | Kinga |  | 3 | 2 | 70746
3 | 240 | 18 | Valid | 2024-10-24 | 12:10 | 2024-10-24 | 08:25 | ERIKA |  | 223 | 231 | 242 | 239 | 0.444 |  |  |  | 4.99 | 122 |  | Kinga |  | 3 | 3 | 70746
2 | 60 | 19 | Valid | 2024-10-24 | 12:27 | 2024-10-24 | 08:25 | ERIKA |  | 39 | 43 | 57 | 54 | 0.129 |  |  |  | 4.46 | 150 |  | Kinga |  | 3 | 2 | 70746
2 | 60 | 20 | Valid | 2024-10-24 | 12:28 | 2024-10-24 | 08:25 | ERIKA |  | 35 | 38 | 56 | 56 | 0.122 |  |  |  | 3.11 | 151 |  | Kinga |  | 3 | 2 | 70746
3 | 240 | 21 | Valid | 2024-10-24 | 17:14 | 2024-10-24 | 14:29 | ERIKA |  | 209 | 218 | 226 | 229 | 0.420 |  |  |  | 3.38 | 167 |  | Brigitta P |  | 3 | 2 | 70746
3 | 240 | 22 | Valid | 2024-10-24 | 17:15 | 2024-10-24 | 14:29 | ERIKA |  | 210 | 215 | 230 | 230 | 0.422 |  |  |  | 2.81 | 169 |  | Brigitta P |  | 3 | 2 | 70746
3 | 240 | 23 | Valid | 2024-10-24 | 17:15 | 2024-10-24 | 14:29 | ERIKA |  | 209 | 218 | 228 | 228 | 0.421 |  |  |  | 3.42 | 160 |  | Brigitta P |  | 3 | 2 | 70746
2 | 60 | 24 | Valid | 2024-10-24 | 17:16 | 2024-10-24 | 14:29 | ERIKA |  | 33 | 40 | 56 | 60 | 0.119 |  |  |  | 4.47 | 170 |  | Brigitta P |  | 3 | 2 | 70746
2 | 60 | 25 | Valid | 2024-10-24 | 17:17 | 2024-10-24 | 14:29 | ERIKA |  | 33 | 40 | 56 | 57 | 0.118 |  |  |  | 4.42 | 161 |  | Brigitta P |  | 3 | 2 | 70746
2 | 60 | 26 | Valid | 2024-10-24 | 17:17 | 2024-10-24 | 14:29 | ERIKA |  | 34 | 40 | 54 | 61 | 0.121 |  |  |  | 3.47 | 160 |  | Brigitta P |  | 3 | 2 | 70746
1 | 0 | 27 | Valid | 2024-10-24 | 17:18 | 2024-10-24 | 14:29 | ERIKA |  | 0 | 0 | 0 | 0 | 0.013 |  |  |  | 2.81 | 168 |  | Brigitta P |  | 3 | 1 | 70746
1 | 0 | 28 | Valid | 2024-10-24 | 17:25 | 2024-10-24 | 14:29 | ERIKA |  | 0 | 0 | 0 | 0 | 0.014 |  |  |  | 2.89 | 157 |  | Brigitta P |  | 3 | 1 | 70746
3 | 240 | 29 | Test | 2024-10-24 | 17:35 | 2024-10-24 | 14:29 | ELENA |  | 202 | 211 | 223 | 223 | 0.411 |  |  |  | 3.74 | 148 |  | Brigitta P |  | 3 | 1 | 70746 | Test prep. using CM152 bellow 100 microns
3 | 240 | 30 | Test | 2024-10-24 | 17:35 | 2024-10-24 | 14:29 | ELENA |  | 204 | 210 | 224 | 224 | 0.411 |  |  |  | 3.96 | 150 |  | Brigitta P |  | 3 | 1 | 70746 | Test prep. using CM152 bellow 100 microns
3 | 240 | 31 | Test | 2024-10-24 | 17:35 | 2024-10-24 | 14:29 | ELENA |  | 205 | 214 | 219 | 218 | 0.414 |  |  |  | 2.81 | 178 |  | Brigitta P |  | 3 | 1 | 70746 | Test prep. using CM152 bellow 100 microns
3 | 240 | 32 | Test | 2024-10-24 | 17:35 | 2024-10-24 | 14:29 | ELENA |  | 205 | 212 | 226 | 226 | 0.014 |  |  |  | 4.21 | 184 |  | Brigitta P |  | 3 | 1 | 70746 | Test prep. using CM152 bellow 100 microns
2 | 60 | 33 | Test | 2024-10-24 | 17:40 | 2024-10-24 | 14:29 | ELENA |  | 31 | 36 | 54 | 56 | 0.115 |  |  |  | 2.81 | 148 |  | Brigitta P |  | 3 | 1 | 70746 | Test prep. using CM152 bellow 100 microns
2 | 60 | 34 | Test | 2024-10-24 | 17:40 | 2024-10-24 | 14:29 | ELENA |  | 31 | 35 | 51 | 55 | 0.115 |  |  |  | 2.96 | 151 |  | Brigitta P |  | 3 | 1 | 70746 | Test prep. using CM152 bellow 100 microns
2 | 60 | 35 | Test | 2024-10-24 | 17:40 | 2024-10-24 | 14:29 | ELENA |  | 34 | 38 | 53 | 57 | 0.120 |  |  |  | 4.85 | 178 |  | Brigitta P |  | 3 | 1 | 70746 | Test prep. using CM152 bellow 100 microns
2 | 60 | 36 | Test | 2024-10-24 | 17:40 | 2024-10-24 | 14:29 | ELENA |  | 33 | 38 | 53 | 56 | 0.119 |  |  |  | 4.55 | 182 |  | Brigitta P |  | 3 | 1 | 70746 | Test prep. using CM152 bellow 100 microns
2 | 60 | 37 | P/Final | 2024-10-28 | 09:48 | 2024-10-28 | 08:26 | TAMARA | 1 | 33 | 37 | 53 | 56 | 0.118 |  |  |  | 3.30 | 170 |  | Brigitta P |  | 3 | 2 | 70746
2 | 60 | 38 | P/Final | 2024-10-28 | 09:48 | 2024-10-28 | 08:26 | TAMARA | 1 | 32 | 36 |  |  | 0.117 |  |  |  | 3.47 | 169 |  | Brigitta P |  | 3 | 2 | 70746
2 | 60 | 39 | P/Final | 2024-10-28 | 09:48 | 2024-10-28 | 08:26 | TAMARA | 1 | 32 | 38 |  |  | 0.116 |  |  |  | 4.40 | 169 |  | Brigitta P |  | 3 | 2 | 70746
3 | 240 | 40 | P/Final | 2024-10-28 | 09:49 | 2024-10-28 | 08:26 | TAMARA | 1 | 210 | 216 | 223 | 224 | 0.423 |  |  |  | 3.40 | 170 |  | Brigitta P |  | 3 | 3 | 70746
3 | 240 | 41 | P/Final | 2024-10-28 | 09:49 | 2024-10-28 | 08:26 | TAMARA | 1 | 206 | 214 |  |  | 0.416 |  |  |  | 3.76 | 168 |  | Brigitta P |  | 3 | 3 | 70746
3 | 240 | 42 | P/Final | 2024-10-28 | 09:50 | 2024-10-28 | 08:26 | TAMARA | 1 | 208 | 216 |  |  | 0.419 |  |  |  | 3.88 | 169 |  | Brigitta P |  | 3 | 3 | 70746
1 | 0 | 43 | P/Final | 2024-10-28 | 09:50 | 2024-10-28 | 08:26 | TAMARA | 1 | 0 | 0 |  |  | 0.010 |  |  |  | 5.26 | 173 |  | Brigitta P |  | 3 | 3 | 70746
1 | 0 | 44 | P/Final | 2024-10-28 | 09:50 | 2024-10-28 | 08:26 | TAMARA | 1 | 0 | 0 |  |  | 0.017 |  |  |  | 6.59 | 167 |  | Brigitta P |  | 3 | 3 | 70746
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 8 | 40 µg/L | 3 | 8 | 40 µg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 8 | 215 µg/L | 3 | 8 | 215 µg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 µg/L | 2 | 4 | 0 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 10 | 0 | YES
60 | 48 ÷ 72 | 40 | NO
240 | 223 ÷ 257 | 215 | NO
Validation Date | by