## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3846-0 | HI723-0 | HI749-0 | HI93723-0 | HI93749-0
0826 | HI93749-0 | CP-R43 | W47/1 |  | Parameter Formula | Cr (VI) | Cr VI | Cr VI | Cr VI | Cr VI
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Chromium VI LR Reagent | 2029-11-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 µg/L | 300 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK/ERIKA | 2024-11-18 | 2024-11-21 | 1 HEAD
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code | Meter 3 Family | Meter 3 Code | Meter 4 Family | Meter 4 Code
HI801 | CTO-775 | HI97749 | CTO-645 | HI749 | L85-190 | HI749 | L57-069
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
3 | 240 | 223 | 257 |  | MR43 |  | 10 | & | 3% | 100% |  | 1.3 | 1.1 | 1.6
2 | 60 | 48 | 72
1 | 0 | 0 | 10
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
3 | 240 | 1 | Valid | 2024-11-18 | 10:47 | 2024-11-18 |  | MARK |  | 199 | 207 | 223 | 223 | 0.403 |  |  |  | 2.02 |  |  | Brigitta P |  | 3 | 3 | 95100
3 | 240 | 2 | Valid | 2024-11-18 | 10:48 | 2024-11-18 |  | MARK |  | 203 | 210 | 225 | 225 | 0.410 |  |  |  | 0.83 |  |  | Brigitta P |  | 3 | 3 | 95100
3 | 240 | 3 | Valid | 2024-11-18 | 10:50 | 2024-11-18 |  | MARK |  | 200 | 208 | 232 | 226 | 0.410 | [6 empty] | Brigitta P |  | 3 | 3 | 95100
2 | 60 | 4 | Valid | 2024-11-18 | 11:09 | 2024-11-18 | 09:21 | ERIKA |  | 16 | 17 | 46 | 44 | 0.086 |  |  |  | 1.02 |  |  | Brigitta P |  | 3 | 2
2 | 60 | 5 | Valid | 2024-11-18 | 11:11 | 2024-11-18 | 09:21 | ERIKA |  | 22 | 19 | 45 | 42 | 0.097 |  |  |  | 1.58 |  |  | Brigitta P |  | 3 | 2
2 | 60 | 6 | Valid | 2024-11-18 | 11:11 | 2024-11-18 | 09:21 | ERIKA |  | 22 | 21 | 44 | 44 | 0.097 |  |  |  | 1.50 |  |  | Brigitta P |  | 3 | 2
1 | 0 | 7 | Valid | 2024-11-18 | 11:13 | 2024-11-18 | 09:21 | ERIKA |  | 0 | 0 | 0 | 0 | 0.005 |  |  |  | 0.80 |  |  | Brigitta P |  | 3 | 1
1 | 0 | 8 | Valid | 2024-11-18 | 11:14 | 2024-11-18 | 09:21 | ERIKA |  | 0 | 0 | 0 | 0 | 0.007 |  |  |  | 0.99 |  |  | Brigitta P |  | 3 | 1
2 | 60 | 9 | Old A | 2024-11-18 | 11:32 | 2024-11-18 | 09:21 | ERIKA |  | 39 | 23 | 53 | 57 | 0.129 |  |  |  | 14.7 |  |  | Brigitta P |  | 3 | 2
3 | 240 | 10 | Old A | 2024-11-18 | 11:33 | 2024-11-18 | 09:21 | ERIKA |  | 222 | 207 | 235 | 225 | 0.443 |  |  |  | 10.7 |  |  | Brigitta P |  | 3 | 3
1 | 0 | 11 | P/Final | 2024-11-18 | 11:35 | 2024-11-18 | 09:21 | ERIKA |  | 0 | 0 | 2 | 0 | 0.035 |  |  |  | 13.6 |  |  | Brigitta P |  | 3 | 1
2 | 60 | 12 | Valid | 2024-11-18 | 11:47 | 2024-11-18 | 09:21 | ERIKA |  | 20 | 26 | 45 | 40 | 0.094 |  |  |  | 6.19 | 186 |  | Brigitta P |  | 3 | 2
2 | 60 | 13 | Valid | 2024-11-18 | 11:48 | 2024-11-18 | 09:21 | ERIKA |  | 24 | 26 | 39 | 47 | 0.102 |  |  |  | 2.19 |  |  | Brigitta P |  | 3 | 2
2 | 60 | 14 | Valid | 2024-11-18 | 11:49 | 2024-11-18 | 09:21 | ERIKA |  | 22 | 31 |  |  | 0.098 |  |  |  | 1.86 | 189 |  | Brigitta P |  | 3 | 2
3 | 240 | 15 | Valid | 2024-11-18 | 11:51 | 2024-11-18 | 09:21 | ERIKA |  | 203 | 216 | 222 | 226 | 0.410 |  |  |  | 1.10 | 189 |  | Brigitta P |  | 3 | 3
3 | 240 | 16 | Valid | 2024-11-18 | 11:52 | 2024-11-18 | 09:21 | ERIKA |  | 203 | 214 | 225 | 236 | 0.410 |  |  |  | 1.89 | 185 |  | Brigitta P |  | 3 | 3
3 | 240 | 17 | Valid | 2024-11-18 | 11:53 | 2024-11-18 | 09:21 | ERIKA |  | 205 | 214 | 221 | 229 | 0.413 |  |  |  | 1.73 |  |  | Brigitta P |  | 3 | 3
1 | 0 | 18 | Valid | 2024-11-18 | 11:55 | 2024-11-18 | 09:21 | ERIKA |  | 0 | 0 | 0 | 0 | 0.024 |  |  |  | 4.24 |  |  | Brigitta P |  | 3 | 1
1 | 0 | 19 | Valid | 2024-11-18 | 11:56 | 2024-11-18 | 09:21 | ERIKA |  | 0 | 0 | 0 | 0 | 0.010 |  |  |  | 1.67 |  |  | Brigitta P |  | 3 | 1
2 | 60 | 20 | Old A | 2024-11-21 | 14:25 | 2024-11-21 | 09:35 | Mara | 1 | 43 | 53 |  | 57 | 0.137 |  |  |  | 18.6 |  |  | Kinga |  | 3 | 2 | 95100
3 | 240 | 21 | Old A | 2024-11-21 | 14:26 | 2024-11-21 | 09:35 | Mara | 1 | 221 | 234 |  | 243 | 0.442 |  |  |  | 32.4 |  |  | Kinga |  | 3 | 3 | 95100
1 | 0 | 22 | Old A | 2024-11-21 | 14:27 | 2024-11-21 | 09:35 | Mara | 1 | 0 | 0 |  | 8 | 0.039 |  |  |  | 13.2 |  |  | Kinga |  | 3 | 1 | 95100
2 | 60 | 23 | P/Final | 2024-11-21 | 14:36 | 2024-11-21 | 09:35 | Mara | 1 | 30 | 41 |  | 55 | 0.113 | 1.184 |  |  | 12.6 | 183 |  | Kinga |  | 3 | 2 | 95100
2 | 60 | 24 | P/Final | 2024-11-21 | 14:38 | 2024-11-21 | 09:35 | Mara | 1 | 37 | 48 |  | 55 | 0.126 | 1.197 |  |  | 10.7 | 194 |  | Kinga |  | 3 | 2 | 95100
3 | 240 | 25 | P/Final | 2024-11-21 | 14:48 | 2024-11-21 | 09:35 | Mara | 1 | 211 | 228 |  | 231 | 0.424 | 1.204 |  |  | 6.77 | 182 |  | Kinga |  | 3 | 3 | 95100
3 | 240 | 26 | P/Final | 2024-11-21 | 14:49 | 2024-11-21 | 09:35 | Mara | 1 | 218 | 235 |  | 231 | 0.436 | 1.197 |  |  | 7.53 | 192 |  | Kinga |  | 3 | 3 | 95100
1 | 0 | 27 | P/Final | 2024-11-21 | 14:56 | 2024-11-21 | 09:35 | Mara | 1 | 0 | 0 |  | 0 | 0.025 |  |  |  | 10.3 | 195 |  | Kinga |  | 3 | 1 | 95100
1 | 0 | 28 | P/Final | 2024-11-21 | 15:01 | 2024-11-21 | 09:35 | Mara | 1 | 0 | 0 |  | 0 | 0.010 | 1.180 |  |  | 3.69 | 198 |  | Kinga |  | 3 | 1 | 95100
2 | 60 | 29 | P/Final | 2024-11-21 | 15:15 | 2024-11-21 | 14:17 | TAMARA | 1 | 37 | 48 |  | 53 | 0.126 | 1.142 |  |  | 3.69 | 187 |  | Kinga |  | 3 | 2 | 95100
2 | 60 | 30 | P/Final | 2024-11-21 | 15:17 | 2024-11-21 | 14:17 | TAMARA | 1 | 36 | 45 |  | 48 | 0.124 | 1.143 |  |  | 21.0 | 195 |  | Kinga |  | 3 | 2 | 95100
3 | 240 | 31 | P/Final | 2024-11-21 | 15:19 | 2024-11-21 | 14:17 | TAMARA | 1 | 213 | 225 |  | 237 | 0.428 | 1.133 |  |  | 9.53 | 198 |  | Kinga |  | 3 | 3 | 95100
3 | 240 | 32 | P/Final | 2024-11-21 | 15:25 | 2024-11-21 | 14:17 | TAMARA | 1 | 213 | 232 |  | 237 | 0.428 | 1.156 |  |  | 13.1 |  |  | Kinga |  | 3 | 3 | 95100
1 | 0 | 33 | P/Final | 2024-11-21 | 15:28 | 2024-11-21 | 14:17 | TAMARA | 1 | 0 | 0 |  | 0 | 0.428 | 1.208 |  |  | 4.63 |  |  | Kinga |  | 3 | 1 | 95100
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 12 | 226 µg/L | 4 | 12 | 226 µg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 12 | 44 µg/L | 4 | 12 | 44 µg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 13 | 0 µg/L | 4 | 13 | 0 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 10 | 0 | YES
60 | 48 ÷ 72 | 44 | NO
240 | 223 ÷ 257 | 226 | YES
Validation Date | by