## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3846-0 | HI723-0 | HI749-0 | HI93723-0 | HI93749-0
0988 | HI93749-0 | CP-R43 | W 14/1 |  | Parameter Formula | Cr (VI) | Cr VI | Cr VI | Cr VI | Cr VI
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Chromium VI LR Reagent | 2030-03-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 µg/L | 300 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-04-01 | 2025-04-01 | 1HEAD |  |  | 0928
[6 empty] | Expiration A | Expiration B | Expiration D
2030-02-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97749 | CTO-645
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 60 | 48 | 72 |  | MR43 |  | 10 | & | 4% | 70% |  | 1.3 | 1.1 | 1.6
3 | 240 | 223 | 257
1 | 0 | 0 | 10
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 60 | 1 | Old A | 2025-04-01 | 11:31 | 2025-04-01 | 10:38 | MARK |  | 51 | 60 | / | / | 0.152 |  |  |  | 21.0 |  |  | Kinga |  | 3 | 2 | 90357
3 | 240 | 2 | Old A | 2025-04-01 | 11:32 | 2025-04-01 | 10:38 | MARK |  | 226 | 232 | / | / | 0.450 |  |  |  | 10.2 |  |  | Kinga |  | 3 | 3 | 90357
1 | 0 | 3 | Old A | 02025/04/01 | 11:33 | 2025-04-01 | 10:38 | MARK |  | 0 | 0 | / | / | 0.048 |  |  |  | 19.3 |  |  | Kinga |  | 3 | 1 | 90357
2 | 60 | 4 | Valid | 02025/04/01 | 11:35 | 2025-04-01 | 10:38 | MARK |  | 28 | 34 | / | / | 0.108 |  |  |  | 12.3 |  |  | Kinga |  | 3 | 2 | 90357
2 | 60 | 5 | Valid | 02025/04/01 | 11:36 | 2025-04-01 | 10:38 | MARK |  | 33 | 36 | / | / | 0.118 |  |  |  | 5.74 |  |  | Kinga |  | 3 | 2 | 90357
2 | 60 | 6 | Valid | 02025/04/01 | 11:37 | 2025-04-01 | 10:38 | MARK |  | 31 | 36 | / | / | 0.114 |  |  |  | 1.92 |  |  | Kinga |  | 3 | 2 | 90357
3 | 240 | 7 | Valid | 02025/04/01 | 11:44 | 2025-04-01 | 10:38 | MARK |  | 201 | 211 | / | / | 0.406 |  |  |  | 21.4 |  |  | Kinga |  | 3 | 3 | 90357
3 | 240 | 8 | Valid | 02025/04/01 | 11:45 | 2025-04-01 | 10:38 | MARK |  | 203 | 211 | / | / | 0.410 |  |  |  | 10.2 |  |  | Kinga |  | 3 | 3 | 90357
3 | 240 | 9 | Valid | 02025/04/01 | 11:46 | 2025-04-01 | 10:38 | MARK |  | 199 | 207 | / | / | 0.403 |  |  |  | 1.07 |  |  | Kinga |  | 3 | 3 | 90357
1 | 0 | 10 | Valid | 02025/04/01 | 11:57 | 2025-04-01 | 10:38 | MARK |  | 0 | 0 | / | / | 0.005 |  |  |  | 8.52 |  |  | Kinga |  | 3 | 1 | 90357
1 | 0 | 11 | Valid | 02025/04/01 | 11:59 | 2025-04-01 | 10:38 | MARK |  | 0 | 0 | / | / | 0.003 |  |  |  | 14.1 |  |  | Kinga |  | 3 | 1 | 90357 | LOW READING
3 | 240 | 12 | P/FINAL | 2025-04-08 | 16:03 | 2025-04-08 | 14:33 | TAMARA | 1 | 210 | 220 | / | / | 0.423 | 1.467 |  |  | 2.09 |  |  | Brigitta P |  | 3 | 3
3 | 240 | 13 | P/FINAL | 2025-04-08 | 16:04 | 2025-04-08 | 14:33 | TAMARA | 1 | 209 | 220 | / | / | 0.421 |  |  |  | 5.18 |  |  | Brigitta P |  | 3 | 3
3 | 240 | 14 | P/FINAL | 2025-04-08 | 16:04 | 2025-04-08 | 14:33 | TAMARA | 1 | 205 | 214 | / | / | 0.431 |  |  |  | 2.14 |  |  | Brigitta P |  | 3 | 3
2 | 60 | 15 | P/FINAL | 2025-04-08 | 16:06 | 2025-04-08 | 14:33 | TAMARA | 1 | 31 | 37 | / | / | 0.115 | 1.428 |  |  | 2.77 |  |  | Brigitta P |  | 3 | 2
2 | 60 | 16 | P/FINAL | 2025-04-08 | 16:06 | 2025-04-08 | 14:33 | TAMARA | 1 | 31 | 38 | / | / | 0.111 |  |  |  | 1.58 |  |  | Brigitta P |  | 3 | 2
2 | 60 | 17 | P/FINAL | 2025-04-08 | 16:06 | 2025-04-08 | 14:33 | TAMARA | 1 | 31 | 32 | / | / | 0.115 |  |  |  | 7.78 |  |  | Brigitta P |  | 3 | 2
1 | 0 | 18 | P/FINAL | 2025-04-08 | 16:07 | 2025-04-08 | 14:33 | TAMARA | 1 | 0 | 0 | / | / | 0.001 |  |  |  | 2.68 |  |  | Brigitta P |  | 3 | 1
1 | 0 | 19 | P/FINAL | 2025-04-08 | 16:07 | 2025-04-08 | 14:33 | TAMARA | 1 | 0 | 0 | / | / | 0.015 | 1.387 |  |  | 2.60 |  |  | Brigitta P |  | 3 | 1
1 | 0 | 20 | Old A | 2025-04-08 | 16:08 | 2025-04-08 | 14:33 | TAMARA | 1 | 0 | 0 | / | / | 0.046 |  |  |  | 17.8 |  |  | Brigitta P |  | 3 | 1
2 | 60 | 21 | P/FINAL | 2025-04-08 | 16:08 | 2025-04-08 | 14:33 | TAMARA | 1 | 49 | 61 | / | / | 0.148 |  |  |  | 30.4 |  |  | Brigitta P |  | 3 | 2
3 | 240 | 22 | Old A | 2025-04-08 | 16:09 | 2025-04-08 | 14:33 | TAMARA | 1 | 231 | 239 | / | / | 0.460 |  |  |  | 13.8 |  |  | Brigitta P |  | 3 | 3
3 | 240 | 23 | P/FINAL | 2025-04-08 | 16:29 | 2025-04-08 | 14:33 | TAMARA | 1 | 214 | 226 | / | / | 0.430 | 1.387 |  |  | 6 |  |  | Brigitta P |  | 3 | 3 |  | WEIGHT:180+/- 10
3 | 240 | 24 | P/FINAL | 2025-04-08 | 16:30 | 2025-04-08 | 14:33 | TAMARA | 1 | 210 | 225 | / | / | 0.121 | [6 empty] | Brigitta P |  | 3 | 3
3 | 240 | 25 | P/FINAL | 2025-04-08 | 16:30 | 2025-04-08 | 14:33 | TAMARA | 1 | 34 | 39 | / | / | 0.121 | [6 empty] | Brigitta P |  | 3 | 3
3 | 240 | 26 | P/FINAL | 2025-04-08 | 16:30 | 2025-04-08 | 14:33 | TAMARA | 1 | 32 | 38 | / | / | 0.117 |  |  |  | 2.21 | 194 |  | Brigitta P |  | 3 | 3
1 | 0 | 27 | P/FINAL | 2025-04-09 | 11:07 | 2025-04-08 | 17:04 | TAMARA | 1 | 0 | 0 | / | / | 0.037 | 1.256 |  |  | 6.39 |  |  | Brigitta P |  | 3 | 1 | 422025 | HI749 CTO L85-190:0 HI749 CTO L57-069:0
1 | 0 | 28 | P/FINAL | 2025-04-09 | 11:08 | 2025-04-08 | 17:04 | TAMARA | 1 | 0 | 0 | / | / | 0.022 | 1.274 |  |  | 6.60 | 192 |  | Brigitta P |  | 3 | 1 | 422025 | HI749 CTO L85-190:0 HI749 CTO L57-069:0
2 | 60 | 29 | P/FINAL | 2025-04-09 | 11:09 | 2025-04-08 | 17:04 | TAMARA | 1 | 39 | 42 | / | / | 0.129 | 1.254 |  |  | 3.88 |  |  | Brigitta P |  | 3 | 2 | 422025 | HI749 CTO L85-190:56 HI749 CTO L57-069:56
2 | 60 | 30 | P/FINAL | 2025-04-09 | 11:09 | 2025-04-08 | 17:04 | TAMARA | 1 | 38 | 42 | / | / | 0.128 | 1.288 |  |  | 3.78 | 194 |  | Brigitta P |  | 3 | 2 | 422025 | HI749 CTO L85-190:56 HI749 CTO L57-069:56
2 | 60 | 31 | P/FINAL | 2025-04-09 | 11:09 | 2025-04-08 | 17:04 | TAMARA | 1 | 38 | 41 | / | / | 0.127 | 1.258 |  |  | 3.80 |  |  | Brigitta P |  | 3 | 2 | 422025 | HI749 CTO L85-190:59 HI749 CTO L57-069:60
3 | 240 | 32 | P/FINAL | 2025-04-09 | 11:10 | 2025-04-08 | 17:04 | TAMARA | 1 | 215 | 220 | / | / | 0.431 | 1.265 |  |  | 3.08 | 197 |  | Brigitta P |  | 3 | 3 | 422025 | HI749 CTO L85-190:235 HI749 CTO L57-069:237
3 | 240 | 33 | P/FINAL | 2025-04-09 | 11:10 | 2025-04-08 | 17:04 | TAMARA | 1 | 221 | 226 | / | / | 0.442 | 1.251 |  |  | 5.03 |  |  | Brigitta P |  | 3 | 3 | 422025 | HI749 CTO L85-190:234 HI749 CTO L57-069:235
3 | 240 | 34 | P/FINAL | 2025-04-09 | 11:11 | 2025-04-08 | 17:04 | TAMARA | 1 | 220 | 225 | / | / | 0.439 | 1.255 |  |  | 3.06 | 170 |  | Brigitta P |  | 3 | 3 | 422025 | HI749 CTO L85-190:229 HI749 CTO L57-069:232
2 | 60 | 35 | P/FINAL | 2025-04-09 | 11:46 | 2025-04-08 | 17:04 | TAMARA | 1 | 31 | 44 | / | / | 0.115 |  |  |  | 5.75 | 140 |  | Brigitta P |  | 3 | 2 | 422025 | HI749 CTO L85-190:59 HI749 CTO L57-069:60
3 | 240 | 36 | P/FINAL | 2025-04-09 | 11:46 | 2025-04-08 | 17:04 | TAMARA | 1 | 212 | 223 | / | / | 0.426 |  |  |  | 6.47 | 145 |  | Brigitta P |  | 3 | 3 | 422025 | HI749 CTO L85-190:233 HI749 CTO L57-069:235
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 39 µg/L | 8 | 16 | 39 µg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
11 | 22 | 184 µg/L | 9 | 18 | 218 µg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0 µg/L | 4 | 8 | 0 µg/L
Specifications
Standard Value [ppb] | Target Value [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 10 | 0 | YES
60 | 48 ÷ 72 | 39 | NO
240 | 223 ÷ 257 | 218 | NO
Validation Date | by