## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3846-0 | HI723-0 | HI749-0 | HI93723-0 | HI93749-0
1033 | HI93749-0 | CP-R43 | W 19/1 |  | Parameter Formula | Cr (VI) | Cr VI | Cr VI | Cr VI | Cr VI
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Chromium VI LR Reagent | 2030-05-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 µg/L | 300 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-05-12 | 2025-05-13 | 1HEAD |  |  | 0988
[6 empty] | Expiration A | Expiration B | Expiration D
2030-03-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97749 | CTO-645
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
3 | 240 | 223 | 257 |  | MR43 |  | 10 | & | 4% | 70% |  | 1.3 | 1.1 | 1.6
2 | 60 | 48 | 72
1 | 0 | 0 | 10
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97749 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
3 | 240 | 1 | Old A | 2025-05-05 | 13:02 | 2025-05-05 |  | ERIKA |  | 234 | 245 | / | / | 0.468 |  |  |  | 15.9 |  |  | Kinga |  | 3 | 3
3 | 240 | 2 | Old A | 2025-05-05 | 13:02 | 2025-05-05 |  | ERIKA |  | 257 | 253 | / | / | 0.508 | 1.367 |  |  | 34.2 |  |  | Kinga |  | 3 | 3
2 | 60 | 3 | Old A | 2025-05-05 | 13:03 | 2025-05-05 |  | ERIKA |  | 57 | 62 | / | / | 0.162 |  |  |  | 38.9 |  |  | Kinga |  | 3 | 2
2 | 60 | 4 | Old A | 2025-05-05 | 13:03 | 2025-05-05 |  | ERIKA |  | 56 | 65 | / | / | 0.160 | 1.359 |  |  | 16.1 |  |  | Kinga |  | 3 | 2
1 | 0 | 5 | Old A | 2025-05-05 | 13:04 | 2025-05-05 |  | ERIKA |  | 3 | 3 | / | / | 0.061 |  |  |  | 33.5 |  |  | Kinga |  | 3 | 1
2 | 60 | 6 | Valid | 2025-05-05 | 13:04 | 2025-05-05 |  | ERIKA |  | 30 | 38 | / | / | 0.113 | 1.498 |  |  | 15.1 |  |  | Kinga |  | 3 | 2
2 | 60 | 7 | Valid | 2025-05-05 | 13:04 | 2025-05-05 |  | ERIKA |  | 30 | 34 | / | / | 0.113 |  |  |  | 17.0 |  |  | Kinga |  | 3 | 2
2 | 60 | 8 | Valid | 2025-05-05 | 13:05 | 2025-05-05 |  | ERIKA |  | 30 | 35 | / | / | 0.112 | 1.466 |  |  | 12.0 |  |  | Kinga |  | 3 | 2
3 | 240 | 9 | Valid | 2025-05-05 | 13:05 | 2025-05-05 |  | ERIKA |  | 184 | 194 | / | / | 0.377 |  |  |  | 7.28 |  |  | Kinga |  | 3 | 3
3 | 240 | 10 | Valid | 2025-05-05 | 13:06 | 2025-05-05 |  | ERIKA |  | 201 | 207 | / | / | 0.407 |  |  |  | 10.7 |  |  | Kinga |  | 3 | 3
3 | 240 | 11 | Valid | 2025-05-05 | 13:06 | 2025-05-05 |  | ERIKA |  | 194 | 205 | / | / | 0.394 |  |  |  | 3.81 |  |  | Kinga |  | 3 | 3
1 | 0 | 12 | Valid | 2025-05-05 | 13:07 | 2025-05-05 |  | ERIKA |  | 0 | 0 | / | / | 0.016 |  |  |  | 2.83 |  |  | Kinga |  | 3 | 1
1 | 0 | 13 | Valid | 2025-05-05 | 13:07 | 2025-05-05 |  | ERIKA |  | 0 | 0 | / | / | 0.012 |  |  |  | 2.50 |  |  | Kinga |  | 3 | 1
2 | 60 | 14 | Valid | 2025-05-05 | 14:49 | 2025-05-05 | 14:49 | MARK |  | 34 | 42 | / | / | 0.121 |  |  |  | 11.2 |  |  | Kinga |  | 3 | 2
2 | 60 | 15 | Valid | 2025-05-05 | 14:49 | 2025-05-05 | 14:49 | MARK |  | 33 | 40 | / | / | 0.118 |  |  |  | 3.62 |  |  | Kinga |  | 3 | 2
2 | 60 | 16 | Valid | 2025-05-05 | 14:50 | 2025-05-05 | 14:49 | MARK |  | 36 | 40 | / | / | 0.124 |  |  |  | 4.78 |  |  | Kinga |  | 3 | 2
3 | 240 | 17 | Valid | 2025-05-05 | 14:51 | 2025-05-05 | 14:49 | MARK |  | 223 | 224 | / | / | 0.428 |  |  |  | 0.23 |  |  | Kinga |  | 3 | 3
3 | 240 | 18 | Valid | 2025-05-05 | 14:51 | 2025-05-05 | 14:49 | MARK |  | 225 | 228 | / | / | 0.449 |  |  |  | 9.51 |  |  | Kinga |  | 3 | 3
3 | 240 | 19 | Valid | 2025-05-05 | 14:51 | 2025-05-05 | 14:49 | MARK |  | 214 | 223 | / | / | 0.429 |  |  |  | 11.4 |  |  | Kinga |  | 3 | 3
1 | 0 | 20 | Valid | 2025-05-05 | 14:52 | 2025-05-05 | 14:49 | MARK |  | 3 | 3 | / | / | 0.016 |  |  |  | 7.84 |  |  | Kinga |  | 3 | 1
2 | 60 | 21 | P/FINAL | 2025-05-13 | 09:13 | 2025-05-12 | 19:02 | MARA | 1 | 44 | 48 | / | / | 0.138 | 1.316 |  |  | 9.16 | 185 |  | Brigitta P |  | 3 | 2
2 | 60 | 22 | P/FINAL | 2025-05-13 | 09:13 | 2025-05-12 | 19:02 | MARA | 1 | 38 | 49 | / | / | 0.128 |  |  |  | 21.1 | 186 |  | Brigitta P |  | 3 | 2
2 | 60 | 23 | P/FINAL | 2025-05-13 | 09:14 | 2025-05-12 | 19:02 | MARA | 1 | 40 | 53 | / | / | 0.132 | 1.310 |  |  | 20.4 |  |  | Brigitta P |  | 3 | 2
3 | 240 | 24 | P/FINAL | 2025-05-13 | 09:14 | 2025-05-12 | 19:02 | MARA | 1 | 192 | 223 | / | / | 0.391 |  |  |  | 15.1 | 187 |  | Brigitta P |  | 3 | 3
3 | 240 | 25 | P/FINAL | 2025-05-13 | 09:14 | 2025-05-12 | 19:02 | MARA | 1 | 213 | 226 | / | / | 0.428 | 1.219 |  |  | 20.3 | 188 |  | Brigitta P |  | 3 | 3
3 | 240 | 26 | P/FINAL | 2025-05-13 | 09:15 | 2025-05-12 | 19:02 | MARA | 1 | 210 | 230 | / | / | 0.428 |  |  |  | 27.7 |  |  | Brigitta P |  | 3 | 3
1 | 0 | 27 | P/FINAL | 2025-05-13 | 9:20 | 2025-05-12 | 19:02 | MARA | 1 | 0 | 0 | / | / | 0.014 |  |  |  | 21.4 | 174 |  | Brigitta P |  | 3 | 3
1 | 0 | 28 | P/FINAL | 2025-05-13 | 9:20 | 2025-05-12 | 19:02 | MARA | 1 | 0 | 0 | / | / | 0.010 |  |  |  | 20.8 |  |  | Brigitta P |  | 3 | 3
2 | 60 | 29 | P/FINAL | 2025-05-13 | 09:29 | 2025-05-13 | 06:34 | TAMARA | 1 | 45 | 52 | / | / | 0.140 |  |  |  | 14.1 | 184 |  | Kinga |  | 3 | 2 | 12211
2 | 60 | 30 | P/FINAL | 2025-05-13 | 09:31 | 2025-05-13 | 06:34 | TAMARA | 1 | 46 | 56 | / | / | 0.142 |  |  |  | 11.0 | 179 |  | Kinga |  | 3 | 2 | 12211
2 | 60 | 31 | P/FINAL | 2025-05-13 | 09:32 | 2025-05-13 | 06:34 | TAMARA | 1 | 40 | 49 | / | / | 0.131 | 1.309 |  |  | 20.3 | 168 |  | Kinga |  | 3 | 2 | 12211
3 | 240 | 32 | P/FINAL | 2025-05-13 | 09:33 | 2025-05-13 | 06:34 | TAMARA | 1 | 193 | 225 | / | / | 0.393 |  |  |  | 11.3 | 174 |  | Kinga |  | 3 | 3 | 12211
3 | 240 | 33 | P/FINAL | 2025-05-13 | 09:33 | 2025-05-13 | 06:34 | TAMARA | 1 | 220 | 226 | / | / | 0.440 | 1.278 |  |  | 16.4 | 160 |  | Kinga |  | 3 | 3 | 12211
3 | 240 | 34 | P/FINAL | 2025-05-13 | 09:34 | 2025-05-13 | 06:34 | TAMARA | 1 | 221 | 229 | / | / | 0.443 |  |  |  | 16.2 | 175 |  | Kinga |  | 3 | 3 | 12211
1 | 0 | 35 | P/FINAL | 2025-05-13 | 09:38 | 2025-05-13 | 06:34 | TAMARA | 1 | 0 | 0 | / | / | 0.010 | 1.220 |  |  | 20.3 |  |  | Kinga |  | 3 | 1 | 12211
1 | 0 | 36 | P/FINAL | 2025-05-13 | 09:42 | 2025-05-13 | 06:34 | TAMARA | 1 | 0 | 0 | / | / | 0.011 |  |  |  | 20.2 |  |  | Kinga |  | 3 | 1 | 12211
2 | 60 | 37 | P/FINAL | 2025-05-14 | 08:16 | 2025-05-13 | 15:48 | MARA | 1 | 44 | 49 | / | / | 0.139 |  |  |  | 19.8 | 196 |  | Kinga |  | 3 | 2 | 122211
2 | 60 | 38 | P/FINAL | 2025-05-14 | 08:17 | 2025-05-13 | 15:48 | MARA | 1 | 45 | 50 | / | / | 0.141 |  |  |  | 31.7 | 178 |  | Kinga |  | 3 | 2 | 122211
3 | 240 | 39 | P/FINAL | 2025-05-14 | 08:18 | 2025-05-13 | 15:48 | MARA | 1 | 193 | 225 | / | / | 0.393 |  |  |  | 25.8 | 188 |  | Kinga |  | 3 | 3 | 122211
3 | 240 | 40 | P/FINAL | 2025-05-14 | 08:19 | 2025-05-13 | 15:48 | MARA | 1 | 219 | 236 | / | / | 0.439 |  |  |  | 23.0 | 196 |  | Kinga |  | 3 | 3 | 122211
1 | 0 | 41 | P/FINAL | 2025-05-14 | 08:22 | 2025-05-13 | 15:48 | MARA | 1 | 0 | 0 | / | / | 0.037 |  |  |  | 23.9 | 193 |  | Kinga |  | 3 | 1 | 122211
1 | 0 | 42 | P/FINAL | 2025-05-14 | 08:22 | 2025-05-13 | 15:48 | MARA | 1 | 0 | 0 | / | / | 0.032 |  |  |  | 23.6 | 189 |  | Kinga |  | 3 | 1 | 122211
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 218 µg/L | 8 | 12 | 224 µg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 47 µg/L | 8 | 13 | 48 µg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0 µg/L | 6 | 12 | 0 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 10 | 0 | YES
60 | 48 ÷ 72 | 48 | YES
240 | 223 ÷ 257 | 224 | YES
Validation Date | by
2025-05-20 | Eugenia