## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3846-0 | HI723-0 | HI749-0 | HI93723-0 | HI93749-0
1062 | HI93749-0 | CP-R43 | W23/1_2025 |  | Parameter Formula | Cr (VI) | Cr VI | Cr VI | Cr VI | Cr VI
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Chromium VI LR Reagent | 2030-05-01 | L57 Powder |  |  | Laboratory | Tablet 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 µg/L | 300 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
Mark/Erika | 2025-06-04 | 2025-06-05 | Univ Pack 1 H |  |  | 0988
[6 empty] | Expiration A | Expiration B | Expiration D
2030-03-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code | Meter 3 Family | Meter 3 Code
HI801 | CTO-831 | HI97749 | CTO-645 | HI723 | CTO-414
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
HI5222 | QCC-222 | H98703 | CTO-861 | HI801 | CTO-831
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
3 | 240 | 223 | 257 |  | MR43 |  | 10 | & | 4% | 70% |  | 1.3 | 1.1 | 1.6
2 | 60 | 48 | 72
1 | 0 | 0 | 10
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97749 | M. 3 HI723 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
3 | 240 | 1 | Old A | 2025-06-04 | 09:54 | 2025-06-04 | 08:15 | Mark/Erika |  | 221 | 231 |  | / | 0.441 | 1.41 |  |  | 14.8 |  |  | Eugenia |  | 3 | 3 | 122211
3 | 240 | 2 | Old A | 2025-06-04 | 09:56 | 2025-06-04 | 08:15 | Mark/Erika |  | 215 | 223 |  | / | 0.431 | 1.36 |  |  | 12.0 |  |  | Eugenia |  | 3 | 3 | 122211
3 | 240 | 3 | Valid | 2025-06-04 | 09:57 | 2025-06-04 | 08:15 | Mark/Erika |  | 219 | 226 |  | / | 0.438 | 1.45 |  |  | 1.72 |  |  | Eugenia |  | 3 | 3 | 122211
3 | 240 | 4 | Valid | 2025-06-04 | 09:58 | 2025-06-04 | 08:15 | Mark/Erika |  | 220 | 226 |  | / | 0.440 | 1.46 |  |  | 2.78 | 120 |  | Eugenia |  | 3 | 3 | 122211
3 | 240 | 5 | Valid | 2025-06-04 | 10:25 | 2025-06-04 | 08:15 | Mark/Erika |  | 222 | 230 |  | / | 0.444 | 1.45 |  |  | 16.6 |  |  | Eugenia |  | 3 | 3 | 122211
2 | 60 | 6 | Old A | 2025-06-04 | 10:27 | 2025-06-04 | 08:15 | Mark/Erika |  | 40 | 47 |  | / | 0.131 | 1.36 |  |  | 6.667 |  |  | Eugenia |  | 3 | 2 | 122211
2 | 60 | 7 | Old A | 2025-06-04 | 10:27 | 2025-06-04 | 08:15 | Mark/Erika |  | 40 | 49 |  | / |  | 1.34 |  |  |  | 122 |  | Eugenia |  | 3 | 2 | 122211
2 | 60 | 8 | Valid | 2025-06-04 | 10:28 | 2025-06-04 | 08:15 | Mark/Erika |  | 34 | 41 |  | / | 0.121 | 1.43 |  |  | 1.58 | 120 |  | Eugenia |  | 3 | 2 | 122211
2 | 60 | 9 | Valid | 2025-06-04 | 10:29 | 2025-06-04 | 08:15 | Mark/Erika |  | 34 | 42 |  | / | 0.121 | 1.43 |  |  | 2.48 |  |  | Eugenia |  | 3 | 2 | 122211
2 | 60 | 10 | Valid | 2025-06-04 | 10:39 | 2025-06-04 | 8:15 | Mark/Erika |  | 34 | 41 |  | / | 0.120 | 1.47 | / | / | 1.45 | 120 |  | Eugenia |  | 3 | 2
3 | 240 | 11 | Test | 2025-06-04 | 10:42 | 2025-06-04 | 8:15 | Mark/Erika |  | . | . | 250 | / |  |  |  |  | 2.01 | 120 |  | Eugenia |  | 3 | 3
3 | 240 | 12 | Valid | 2025-06-04 | 11:06 | 2025-06-04 | 10:44 | Mark/Erika |  | 218 | 226 |  | / | 0.437 |  |  |  | 1.59 | 152 |  | Eugenia |  | 3 | 3
3 | 240 | 13 | Valid | 2025-06-04 | 11:07 | 2025-06-04 | 10:44 | Mark/Erika |  | 226 | 225 |  | / | 0.450 | 1.46 |  |  | 11.8 | 150 |  | Eugenia |  | 3 | 3
3 | 240 | 14 | Valid | 2025-06-04 | 11:09 | 2025-06-04 | 10:44 | Mark/Erika |  | 220 | 237 |  | / | 0.440 |  |  |  | 4.29 | 150 |  | Eugenia |  | 3 | 3
2 | 60 | 15 | Valid | 2025-06-04 | 11:13 | 2025-06-04 | 10:44 | Mark/Erika |  | 37 | 41 |  | / | 0.125 | 1.60 |  |  |  | 150 |  | Eugenia |  | 3 | 2
2 | 60 | 16 | Valid | 2025-06-04 | 11:14 | 2025-06-04 | 10:44 | Mark/Erika |  | 40 | 46 |  | / | 0.131 |  |  |  | 5.04 |  |  | Eugenia |  | 3 | 2
2 | 60 | 17 | Valid | 2025-06-04 | 11:21 | 2025-06-04 | 10:44 | Mark/Erika |  | 35 | 41 |  | / | 0.122 |  | / | / | 2.62 | 150 |  | Eugenia |  | 3 | 2
3 | 240 | 18 | Valid | 2025-06-04 | 11:31 | 2025-06-04 | 10:44 | Mark/Erika |  | 222 | 230 |  | / | 0.443 | 1.47 |  |  | 2.54 | 190 |  | Eugenia |  | 3 | 3
3 | 240 | 19 | Valid | 2025-06-04 | 11:32 | 2025-06-04 | 10:44 | Mark/Erika |  | 221 | 230 |  | / | 0.441 |  |  |  | 1.98 | 190 |  | Eugenia |  | 3 | 3
3 | 240 | 20 | Valid | 2025-06-04 | 11:33 | 2025-06-04 | 10:44 | Mark/Erika |  | 221 | 229 |  | / | 0.441 |  |  |  |  | 190 |  | Eugenia |  | 3 | 3
2 | 60 | 21 | Valid | 2025-06-04 | 11:35 | 2025-06-04 | 10:44 | Mark/Erika |  | 36 | 49 |  | / | 0.124 |  |  |  | 3.67 | 190 |  | Eugenia |  | 3 | 2
2 | 60 | 22 | Valid | 2025-06-04 | 11:42 | 2025-06-04 | 10:44 | Mark/Erika |  | 35 | 44 |  | / | 0.122 | 1.45 |  |  | 3.65 | 190 |  | Eugenia |  | 3 | 2
2 | 60 | 23 | Valid | 2025-06-04 | 11:42 | 2025-06-04 | 10:44 | Mark/Erika |  | 39 | 41 |  | / | 0.130 |  |  |  | 2.97 | 190 |  | Eugenia |  | 3 | 2
2 | 60 | 24 | Test | 2025-06-04 | 11:50 | 2025-06-04 | 10:44 | Mark/Erika |  | . | . | 60 | / | [5 empty] | 120 |  | Eugenia |  | 3 | 2
3 | 240 | 25 | Test | 2025-06-04 | 11:52 | 2025-06-04 | 10:44 | Mark/Erika |  | . | . | 66 | / | [5 empty] | 150 |  | Eugenia |  | 3 | 3
3 | 240 | 26 | Test | 2025-06-04 | 11:53 | 2025-06-04 | 10:44 | Mark/Erika |  | . | . | 70 | / | [5 empty] | 190 |  | Eugenia |  | 3 | 3
1 | 0 | 27 | Valid | 2025-06-04 | 11:54 | 2025-06-04 | 10:44 | Mark/Erika |  | 0 | 0 |  | / | 0.013 |  |  |  | 1.99 | 150 |  | Eugenia |  | 3 | 1
1 | 0 | 28 | Valid | 2025-06-04 | 11:55 | 2025-06-04 | 10:44 | Mark/Erika |  | 0 | 0 |  | / | 0.016 |  |  |  | 1.55 | 190 |  | Eugenia |  | 3 | 1
3 | 240 | 29 | Test | 2025-06-04 | 12:10 | 2025-06-04 | 10:44 | Mark/Erika |  | . | . | 259 | / | [5 empty] | 150 |  | Eugenia |  | 3 | 3 |  | For production 140-160 mg
3 | 240 | 30 | Test | 2025-06-04 | 12:20 | 2025-06-04 | 10:44 | Mark/Erika |  | . | . | 252 | / | [5 empty] | 190 |  | Eugenia |  | 3 | 3
3 | 240 | 31 | P/FINAL | 2025-06-05 | 11:12 | 2025-06-04 | 15:26 | TAMARA |  | 220 | 226 |  | / | 0.437 | 1.41 |  |  | 2.34 | 139 |  | Eugenia |  | 3 | 3
3 | 240 | 32 | P/FINAL | 2025-06-05 | 11:12 | 2025-06-04 | 15:26 | TAMARA |  | 218 | 229 |  | / | 0.443 |  |  |  | 1.78 | 170 |  | Eugenia |  | 3 | 3
3 | 240 | 33 | P/FINAL | 2025-06-05 | 11:13 | 2025-06-04 | 15:26 | TAMARA |  | 219 | 226 |  | / | [5 empty] | 159 |  | Eugenia |  | 3 | 3
3 | 240 | 34 | P/FINAL | 2025-06-05 | 11:14 | 2025-06-05 | 9:33 | Florica |  | 215 | 226 |  | / | [5 empty] | 146 |  | Eugenia |  | 3 | 3
3 | 240 | 35 | P/FINAL | 2025-06-05 | 11:16 | 2025-06-05 | 9:33 | Florica |  | 218 | 227 |  | / |  |  |  |  | 0.98 | 149 |  | Eugenia |  | 3 | 3
3 | 240 | 36 | P/FINAL | 2025-06-05 | 11:19 | 2025-06-05 | 9:33 | Florica |  | 218 | 227 |  | / |  |  |  |  | 1.38 | 149 |  | Eugenia |  | 3 | 3
2 | 60 | 37 | P/FINAL | 2025-06-05 | 11:28 | 2025-06-05 | 9:33 | Florica |  | 39 | 41 |  | / |  | 1.46 |  |  | 4.93 | 159 |  | Eugenia |  | 3 | 2
2 | 60 | 38 | P/FINAL | 2025-06-05 | 11:31 | 2025-06-05 | 9:33 | Florica |  | 33 | 40 |  | / | 0.118 |  |  |  | 3.76 | 149 |  | Eugenia |  | 3 | 2
2 | 60 | 39 | P/FINAL | 2025-06-05 | 11:32 | 2025-06-05 | 9:33 | Florica |  | 41 | 52 |  | / |  |  |  |  | 4.24 |  |  | Eugenia |  | 3 | 2
2 | 60 | 40 | P/FINAL | 2025-06-05 | 11:43 | 2025-06-04 | 15:26 | Tamara |  | 37 | 43 |  | / | 0.125 |  |  |  | 4.04 |  |  | Eugenia |  | 3 | 2
2 | 60 | 41 | P/FINAL | 2025-06-05 | 11:45 | 2025-06-04 | 15:26 | Tamara |  | 37 | 38 |  | / | 0.125 |  |  |  |  | 153 |  | Eugenia |  | 3 | 2
2 | 60 | 42 | P/FINAL | 2025-06-05 | 11:45 | 2025-06-04 | 15:26 | Tamara |  | 32 | 47 |  | / | [7 empty] | Eugenia |  | 3 | 2
1 | 0 | 43 | P/FINAL | 2025-06-05 | 11:53 | 2025-06-04 | 15:26 | Tamara |  | 0 | 0 |  | / | 0.007 | 1.41 |  |  | 2.11 | 153 |  | Eugenia |  | 3 | 1
1 | 0 | 44 | P/FINAL | 2025-06-05 | 12:33 | 2025-06-04 | 15:26 | Tamara |  | 0 | 0 |  | / | 0.006 | [6 empty] | Eugenia |  | 3 | 1
1 | 0 | 45 | Test | 2025-06-05 | 12:33 | 2025-06-04 | 15:26 | Tamara |  | . | . | 0 | / | [7 empty] | Eugenia |  | 3 | 1
2 | 60 | 46 | Test | 2025-06-05 | 12:34 | 2025-06-04 | 15:26 | Tamara |  | . | . | 62 | / | [5 empty] | 148 |  | Eugenia |  | 3 | 2
3 | 240 | 47 | Test | 2025-06-05 | 12:34 | 2025-06-04 | 15:26 | Tamara |  | . | . | 245 | / | [5 empty] | 155 |  | Eugenia |  | 3 | 3
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 222 µg/L | 6 | 12 | 222 µg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 40 µg/L | 6 | 12 | 40 µg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 µg/L | 2 | 4 | 0 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 10 | 0 | YES
60 | 48 ÷ 72 | 40 | NO
240 | 223 ÷ 257 | 222 | NO
Validation Date | by