## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3846-0 | HI723-0 | HI749-0 | HI93723-0 | HI93749-0
1226 | HI93749-0 | CP-R43 | W 44/1 |  | Parameter Formula | Cr (VI) | Cr VI | Cr VI | Cr VI | Cr VI
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Chromium VI LR Reagent | 2030-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 µg/L | 300 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-10-30 | 2025-11-03 | 1 HEAD |  |  | 1186
[6 empty] | Expiration A | Expiration B | Expiration D
2030-10-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97749 | CTO-645
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-778
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0 | 0 | 10 |  | MR43 |  | 10 | & | 4% | 70% |  | 1.3 | 1.1 | 1.6
2 | 60 | 48 | 72
3 | 240 | 223 | 257
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0 | 1 | Old A | 2025-10-30 | 10:33 | 2025-10-30 | 09:16 | ERIKA |  | 0 | 0 | / | / | 0.017 |  |  |  | 6.10 |  |  | Andrea V |  | 3 | 1
1 | 0 | 2 | Old A | 2025-10-30 | 10:34 | 2025-10-30 | 09:16 | ERIKA |  | 0 | 0 | / | / | 0.018 |  |  |  | 4.78 |  |  | Andrea V |  | 3 | 1
2 | 60 | 3 | Old A | 2025-10-30 | 10:36 | 2025-10-30 | 09:16 | ERIKA |  | 38 | 45 | / | / | 0.127 |  |  |  | 7.54 |  |  | Andrea V |  | 3 | 2 | 85354
2 | 60 | 4 | Old A | 2025-10-30 | 10:37 | 2025-10-30 | 09:16 | ERIKA |  | 39 | 45 | / | / | 0.130 |  |  |  | 16.7 |  |  | Andrea V |  | 3 | 2 | 85354
3 | 240 | 5 | Old A | 2025-10-30 | 10:38 | 2025-10-30 | 09:16 | ERIKA |  | 219 | 227 | / | / | 0.438 |  |  |  | 13.5 |  |  | Andrea V |  | 3 | 3 | 85354
3 | 240 | 6 | Old A | 2025-10-30 | 10:38 | 2025-10-30 | 09:16 | ERIKA |  | 227 | 235 | / | / | 0.452 |  |  |  | 9.84 |  |  | Andrea V |  | 3 | 3 | 85354
2 | 60 | 7 | Old A | 2025-10-30 | 11:09 | 2025-10-30 | 09:16 | ERIKA |  | 51 | 62 | / | / | 0.152 |  |  |  | 12.4 |  |  | Andrea V |  | 3 | 3 | 85354
2 | 60 | 8 | Old A | 2025-10-30 | 11:10 | 2025-10-30 | 09:16 | ERIKA |  | 52 | 58 | / | / | 0.153 |  |  |  | 18.4 |  |  | Andrea V |  | 3 | 2 | 85354
3 | 240 | 9 | Old A | 2025-10-30 | 11:12 | 2025-10-30 | 09:16 | ERIKA |  | 224 | 233 | / | / | 0.446 |  |  |  | 55.2 |  |  | Andrea V |  | 3 | 3 | 85354
3 | 240 | 10 | Old A | 2025-10-30 | 11:14 | 2025-10-30 | 09:16 | ERIKA |  | 240 | 240 | / | / | 0.476 |  |  |  | 17.9 |  |  | Andrea V |  | 3 | 3 | 85354
2 | 60 | 11 | Valid | 2025-10-30 | 11:35 | 2025-10-30 | 09:16 | ERIKA |  | 33 | 41 | / | / | 0.118 |  |  |  | 31.8 |  |  | Andrea V |  | 3 | 2 | 85354
3 | 240 | 12 | Valid | 2025-10-30 | 11:38 | 2025-10-30 | 09:16 | ERIKA |  | 218 | 227 | / | / | 0.437 |  |  |  | 2.38 |  |  | Andrea V |  | 3 | 3 | 85354
1 | 0 | 13 | Valid | 2025-10-30 | 11:38 | 2025-10-30 | 09:16 | ERIKA |  | 0 | 0 | / | / | 0.012 |  |  |  | 3.46 |  |  | Andrea V |  | 3 | 1 | 85354
2 | 60 | 14 | Valid | 2025-10-30 | 11:56 | 2025-10-30 | 09:16 | ERIKA |  | 33 | 40 | / | / | 0.119 |  |  |  | 5.60 | 154 |  | Andrea V |  | 3 | 2 | 85354
3 | 240 | 15 | Valid | 2025-10-30 | 12:06 | 2025-10-30 | 09:16 | ERIKA |  | 227 | 230 | / | / | 0.452 |  |  |  | 5.47 | 115 |  | Andrea V |  | 3 | 3 | 85354
3 | 240 | 16 | Valid | 2025-10-30 | 12:15 | 2025-10-30 | 09:16 | ERIKA |  | 221 | 229 | / | / | 0.442 |  |  |  | 3.76 |  |  | Andrea V |  | 3 | 3 | 85354
2 | 60 | 17 | Valid | 2025-10-30 | 12:16 | 2025-10-30 | 09:16 | ERIKA |  | 34 | 43 | / | / | 0.120 |  |  |  | 1.82 |  |  | Andrea V |  | 3 | 2 | 85354
2 | 60 | 18 | Valid | 2025-10-30 | 12:38 | 2025-10-30 | 09:16 | ERIKA |  | 40 | 49 | / | / | 0.131 |  |  |  | 12.4 | 107 |  | Andrea V |  | 3 | 2 | 85354
2 | 60 | 19 | Valid | 2025-10-30 | 14:34 | 2025-10-30 | 14:10 | ERIKA |  | 40 | 45 | / | / | 0.131 |  |  |  | 4.45 | 127 |  | Andrea V |  | 3 | 2
3 | 240 | 20 | Valid | 2025-10-30 | 14:35 | 2025-10-30 | 14:10 | ERIKA |  | 218 | 230 | / | / | 0.436 |  |  |  | 1.97 | 127 |  | Andrea V |  | 3 | 3
2 | 60 | 21 | Valid | 2025-10-30 | 14:42 | 2025-10-30 | 14:10 | ERIKA |  | 34 | 46 | / | / | 0.121 |  |  |  | 5.38 | 132 |  | Andrea V |  | 3 | 2
3 | 240 | 22 | Valid | 2025-10-30 | 14:45 | 2025-10-30 | 14:10 | ERIKA |  | 221 | 232 | / | / | 0.442 |  |  |  | 4.47 | 136 |  | Andrea V |  | 3 | 3
2 | 60 | 23 | Valid | 2025-10-30 | 14:55 | 2025-10-30 | 14:10 | ERIKA |  | 36 | 44 | / | / | 0.124 |  |  |  | 12.6 | 158 |  | Andrea V |  | 3 | 2
3 | 240 | 24 | Valid | 2025-10-30 | 14:56 | 2025-10-30 | 14:10 | ERIKA |  | 223 | 231 | / | / | 0.445 |  |  |  | 4.77 | 154 |  | Andrea V |  | 3 | 3
2 | 60 | 25 | Valid | 2025-10-30 | 15:02 | 2025-10-30 | 14:10 | ERIKA |  | 34 | 47 | / | / | 0.121 |  |  |  | 10.5 | 175 |  | Andrea V |  | 3 | 2
3 | 240 | 26 | Valid | 2025-10-30 | 15:06 | 2025-10-30 | 14:10 | ERIKA |  | 225 | 235 | / | / | 0.448 |  |  |  | 8.50 | 183 |  | Andrea V |  | 3 | 3
2 | 60 | 27 | P/FINAL | 2025-10-31 | 15:26 | 2025-10-31 | 12:19 | TAMARA |  | 34 | 43 | / | / | 0.121 |  |  |  | 3.83 | 145 |  | Andrea V |  | 3 | 2
2 | 60 | 28 | P/FINAL | 2025-10-31 | 15:26 | 2025-10-31 | 12:19 | TAMARA |  | 36 | 42 | / | / | 0.123 |  |  |  | 5.57 | 156 |  | Andrea V |  | 3 | 2
2 | 60 | 29 | P/FINAL | 2025-10-31 | 15:29 | 2025-10-31 | 12:19 | TAMARA |  | 36 | 43 | / | / | 0.123 | 1.335 |  |  | 5.69 |  |  | Andrea V |  | 3 | 2
3 | 240 | 30 | P/FINAL | 2025-10-31 | 15:30 | 2025-10-31 | 12:19 | TAMARA |  | 219 | 228 | / | / | 0.438 |  |  |  | 2.39 | 156 |  | Andrea V |  | 3 | 3 | 105607
3 | 240 | 31 | P/FINAL | 2025-10-31 | 15:31 | 2025-10-31 | 12:19 | TAMARA |  | 221 | 232 | / | / | 0.441 |  |  |  | 3.33 | 147 |  | Andrea V |  | 3 | 3 | 105607
3 | 240 | 32 | P/FINAL | 2025-10-31 | 15:32 | 2025-10-31 | 12:19 | TAMARA |  | 219 | 230 | / | / | 0.438 | 1.310 |  |  | 3.09 |  |  | Andrea V |  | 3 | 3 | 105607
1 | 0 | 33 | P/FINAL | 2025-10-31 | 15:37 | 2025-10-31 | 12:19 | TAMARA |  | 0 | 0 | / | / | 0.013 |  |  |  | 2.56 |  |  | Andrea V |  | 3 | 1 | 105607
1 | 0 | 34 | P/FINAL | 2025-10-31 | 15:39 | 2025-10-31 | 12:19 | TAMARA |  | 0 | 0 | / | / | 0.014 | 1.360 |  |  | 2.21 |  |  | Andrea V |  | 3 | 1 | 105607
2 | 60 | 35 | Old A | 2025-10-31 | 15:43 | 2025-10-31 | 12:19 | TAMARA |  | 75 | 86 | / | / | 0.194 |  |  |  | 31.0 |  |  | Andrea V |  | 3 | 2 | 105607 | -
2 | 60 | 36 | Old A | 2025-10-31 | 15:46 | 2025-10-31 | 12:19 | TAMARA |  | 72 | 81 | / | / | 0.188 |  |  |  | 30.4 |  |  | Andrea V |  | 3 | 2 | 105607
3 | 240 | 37 | Old A | 2025-10-31 | 15:47 | 2025-10-31 | 12:19 | TAMARA |  | 254 | 266 | / | / | 0.502 |  |  |  | 26.1 |  |  | Andrea V |  | 3 | 3 | 105607
3 | 240 | 38 | Old A | 2025-10-31 | 15:48 | 2025-10-31 | 12:19 | TAMARA |  | 254 | 267 | / | / | 0.502 |  |  |  | 29.9 |  |  | Andrea V |  | 3 | 3 | 105607
1 | 0 | 39 | Old A | 2025-10-31 | 15:50 | 2025-10-31 | 12:19 | TAMARA | 1 | 13 | 17 | / | / | 0.080 |  |  |  | 25.0 |  |  | Andrea V |  | 3 | 1 | 105607
1 | 0 | 40 | Old A | 2025-10-31 | 15:51 | 2025-10-31 | 12:19 | TAMARA | 1 | 13 | 19 | / | / | 0.080 |  |  |  | 27.0 |  |  | Andrea V |  | 3 | 1 | 105607
2 | 60 | 41 | Old A | 2025-11-03 | 09:58 | 2025-11-03 | 17:12 | MARA |  | 72 | 91 | / | / | 0.190 |  |  |  | 55.0 |  |  | Kinga |  | 3 | 2 | 85354
2 | 60 | 42 | Old A | 2025-11-03 | 09:59 | 2025-11-03 | 17:12 | MARA |  | 69 | 86 | / | / | 0.183 |  |  |  | 41.6 |  |  | Kinga |  | 3 | 2 | 85354
3 | 240 | 43 | Old A | 2025-11-03 | 09:59 | 2025-11-03 | 17:12 | MARA |  | 257 | 273 | / | / | 0.507 |  |  |  | 53.9 |  |  | Kinga |  | 3 | 3 | 85354
3 | 240 | 44 | Old A | 2025-11-03 | 10:00 | 2025-11-03 | 17:12 | MARA |  | 250 | 266 | / | / | 0.494 |  |  |  | 44.7 |  |  | Kinga |  | 3 | 3 | 85354
1 | 0 | 45 | Old A | 2025-11-03 | 10:12 | 2025-11-03 | 17:12 | MARA |  | 9 | 13 | / | / | 0.072 |  |  |  | 38.6 |  |  | Kinga |  | 3 | 1 | 85354
1 | 0 | 46 | Old A | 2025-11-03 | 10:12 | 2025-11-03 | 17:12 | MARA |  | 14 | 17 | / | / | 0.082 |  |  |  | 38.6 | 153 |  | Kinga |  | 3 | 1 | 85354
2 | 60 | 47 | P/FINAL | 2025-11-03 | 10:22 | 2025-11-03 | 17:12 | MARA |  | 46 | 57 | / | / | 0.143 |  |  |  | 32.5 | 159 |  | Kinga |  | 3 | 2 | 85354
2 | 60 | 48 | P/FINAL | 2025-11-03 | 10:22 | 2025-11-03 | 17:12 | MARA |  | 39 | 48 | / | / | 0.129 | 1.274 |  |  | 24.9 | 151 |  | Kinga |  | 3 | 2 | 85354
2 | 60 | 49 | P/FINAL | 2025-11-03 | 10:23 | 2025-11-03 | 17:12 | MARA |  | 38 | 49 | / | / | 0.127 |  |  |  | 21.9 | 143 |  | Kinga |  | 3 | 2 | 85354
1 | 0 | 50 | P/FINAL | 2025-11-03 | 10:24 | 2025-11-03 | 17:12 | MARA |  | 0 | 0 | / | / | 0.026 |  |  |  | 23.2 |  |  | Kinga |  | 3 | 1 | 85354
1 | 0 | 51 | P/FINAL | 2025-11-03 | 10:24 | 2025-11-03 | 17:12 | MARA |  | 0 | 0 | / | / | 0.025 | 1.312 |  |  | 28.0 |  |  | Kinga |  | 3 | 1 | 85354
3 | 240 | 52 | P/FINAL | 2025-11-03 | 10:34 | 2025-11-03 | 17:12 | MARA |  | 225 | 240 | / | / | 0.448 |  |  |  | 13.8 |  |  | Kinga |  | 3 | 3 | 85354
3 | 240 | 53 | P/FINAL | 2025-11-03 | 10:34 | 2025-11-03 | 17:12 | MARA |  | 228 | 241 | / | / | 0.454 |  |  |  | 25.8 |  |  | Kinga |  | 3 | 3 | 85354
3 | 240 | 54 | P/FINAL | 2025-11-03 | 10:35 | 2025-11-03 | 17:12 | MARA |  | 223 | 235 | / | / | 0.445 | 1.286 |  |  | 22.5 |  |  | Kinga |  | 3 | 3 | 85354
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0 µg/L | 4 | 8 | 0 µg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 43 µg/L | 6 | 12 | 43 µg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 228 µg/L | 6 | 12 | 228 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 10 | 0 | YES
60 | 48 ÷ 72 | 43 | NO
240 | 223 ÷ 257 | 228 | YES
Validation Date | by