## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI726-0 | HI93726-0
1026 | HI726-0 | CP-R44 | W 20/1 |  | Parameter Formula | Ni | Ni
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Nickel HR Reagent | 2030-05-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
750 | 720 | 780
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 g/L | 7.00 g/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-05-14 | 2025-05-15 | PRECI |  |  | H016
[6 empty] | Expiration A | Expiration B | Expiration D
2026-05-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97726 | CTO-639
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | g/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.10 |  | MR26/S |  | 0.10 | & | 5% | 100% |  | 10.9 | 10.7 | 11.1
2 | 1.40 | 1.23 | 1.57
3 | 5.60 | 5.22 | 5.98
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2025-05-12 | 11:11 | 2025-05-12 | 09:52 | ERIKA |  | 0.00 | 0.00 | / | / | -0.002 |  |  |  | 0.74 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 2 | Valid | 2025-05-12 | 11:11 | 2025-05-12 | 09:52 | ERIKA |  | 0.01 | 0.00 | / | / | 0.006 |  |  |  | 1.14 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 3 | Valid | 2025-05-12 | 11:12 | 2025-05-12 | 09:52 | ERIKA |  | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 1.81 |  |  | Kinga |  | 3 | 1
2 | 1.40 | 4 | Old A | 2025-05-12 | 12:11 | 2025-05-12 | 09:52 | ERIKA |  | 1.36 | 1.46 | / | / | 0.387 |  |  |  | 0.75 |  |  | Kinga |  | 3 | 2
3 | 5.60 | 5 | Old A | 2025-05-12 | 12:12 | 2025-05-12 | 09:52 | ERIKA |  | 5.60 | 5.88 | / | / | 1.559 |  |  |  | 1.04 |  |  | Kinga |  | 3 | 3
2 | 1.40 | 6 | Valid | 2025-05-12 | 12:23 | 2025-05-12 | 09:52 | ERIKA |  | 1.42 | 1.48 | / | / | 0.402 | 11.062 |  |  | 5.56 |  |  | Kinga |  | 3 | 2
2 | 1.40 | 7 | Valid | 2025-05-12 | 12:25 | 2025-05-12 | 09:52 | ERIKA |  | 1.42 | 1.48 | / | / | 0.402 |  |  |  | 8.03 |  |  | Kinga |  | 3 | 2
2 | 1.40 | 8 | Valid | 2025-05-12 | 12:26 | 2025-05-12 | 09:52 | ERIKA |  | 1.37 | 1.43 | / | / | 0.388 | 11.075 |  |  | 2.73 |  |  | Kinga |  | 3 | 2
3 | 5.60 | 9 | Valid | 2025-05-12 | 12:29 | 2025-05-12 | 09:52 | ERIKA |  | 5.60 | 5.89 | / | / | 1.559 |  |  |  | 12.5 |  |  | Kinga |  | 3 | 3
3 | 5.60 | 10 | Valid | 2025-05-12 | 12:30 | 2025-05-12 | 09:52 | ERIKA |  | 5.59 | 5.85 | / | / | 1.556 |  |  |  | 14.0 |  |  | Kinga |  | 3 | 3
3 | 5.60 | 11 | Valid | 2025-05-12 | 12:30 | 2025-05-12 | 09:52 | ERIKA |  | 5.56 | 5.83 | / | / | 1.547 | 11.347 |  |  | 5.86 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 12 | P/FINAL | 2025-05-15 | 07:18 | 2025-05-14 | 19:38 | GIORGIANA | PRECI | 0.00 | 0.00 | / | / | -0.002 |  |  |  | 0.57 |  |  | Brigitta P |  | 3 | 1
1 | 0.00 | 13 | P/FINAL | 2025-05-15 | 07:18 | 2025-05-14 | 19:38 | GIORGIANA | PRECI | 0.00 | 0.00 | / | / | 0.058 | 11.513 |  |  | 0.76 |  |  | Brigitta P |  | 3 | 1
2 | 1.40 | 14 | P/FINAL | 2025-05-15 | 07:19 | 2025-05-14 | 19:38 | GIORGIANA | PRECI | 1.34 | 1.42 | / | / | 0.381 |  |  |  | 0.62 |  |  | Brigitta P |  | 3 | 2
2 | 1.40 | 15 | P/FINAL | 2025-05-15 | 07:19 | 2025-05-14 | 19:38 | GIORGIANA | PRECI | 1.33 | 1.43 | / | / | 0.379 | 11.316 |  |  | 0.79 |  |  | Brigitta P |  | 3 | 2
2 | 1.40 | 16 | P/FINAL | 2025-05-15 | 07:20 | 2025-05-14 | 19:38 | GIORGIANA | PRECI | 1.34 | 1.43 | / | / | 0.381 |  |  |  | 0.66 |  |  | Brigitta P |  | 3 | 2
3 | 5.60 | 17 | P/FINAL | 2025-05-15 | 07:20 | 2025-05-14 | 19:38 | GIORGIANA | PRECI | 5.55 | 5.79 | / | / | 1.545 | 11.100 |  |  | 2.66 |  |  | Brigitta P |  | 3 | 3
3 | 5.60 | 18 | P/FINAL | 2025-05-15 | 07:21 | 2025-05-14 | 19:38 | GIORGIANA | PRECI | 5.57 | 5.85 | / | / | 1.551 |  |  |  | 2.65 |  |  | Brigitta P |  | 3 | 3
3 | 5.60 | 19 | P/FINAL | 2025-05-15 | 07:21 | 2025-05-14 | 19:38 | GIORGIANA | PRECI | 5.55 | 5.82 | / | / | 1.544 |  |  |  | 2.86 |  |  | Brigitta P |  | 3 | 3
1 | 0.00 | 20 | P/FINAL | 2025-05-15 | 08:56 | 2025-05-15 | 08:25 | NINA | PRECI | 0.00 | 0.00 | / | / | 0.003 | 11.510 |  |  | 0.35 | 767 |  | Brigitta P |  | 3 | 1
1 | 0.00 | 21 | P/FINAL | 2025-05-15 | 08:56 | 2025-05-15 | 08:25 | NINA | PRECI | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.26 | 734 |  | Brigitta P |  | 3 | 1
3 | 5.60 | 22 | P/FINAL | 2025-05-15 | 08:59 | 2025-05-15 | 08:25 | NINA | PRECI | 5.61 | 5.85 | / | / | 1.562 | 11.095 |  |  | 3.90 |  |  | Brigitta P |  | 3 | 3
3 | 5.60 | 23 | P/FINAL | 2025-05-15 | 08:59 | 2025-05-15 | 08:25 | NINA | PRECI | 5.58 | 5.84 | / | / | 1.552 |  |  |  | 3.98 |  |  | Brigitta P |  | 3 | 3
3 | 5.60 | 24 | P/FINAL | 2025-05-15 | 09:00 | 2025-05-15 | 08:25 | NINA | PRECI | 5.58 | 5.83 | / | / | 1.554 |  |  |  | 3.62 | 812 |  | Brigitta P |  | 3 | 3
2 | 1.40 | 25 | P/FINAL | 2025-05-15 | 09:00 | 2025-05-15 | 08:25 | NINA | PRECI | 1.38 | 1.45 | / | / | 0.391 | 11.100 |  |  | 2.14 | 739 |  | Brigitta P |  | 3 | 2
2 | 1.40 | 26 | P/FINAL | 2025-05-15 | 09:01 | 2025-05-15 | 08:25 | NINA | PRECI | 1.36 | 1.45 | / | / | 0.385 |  |  |  | 2.14 | 742 |  | Brigitta P |  | 3 | 2
2 | 1.40 | 27 | P/FINAL | 2025-05-15 | 09:01 | 2025-05-15 | 08:25 | NINA | PRECI | 1.35 | 1.42 | / | / | 0.384 |  |  |  | 1 |  |  | Brigitta P |  | 3 | 2
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0 g/L | 4 | 8 | 0 g/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 1.39 g/L | 6 | 12 | 1.39 g/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 5.7 g/L | 6 | 12 | 5.7 g/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0.00 | 0.00 ÷ 0.10 | 0.00 | YES
1.40 | 1.23 ÷ 1.57 | 1.39 | YES
5.60 | 5.22 ÷ 5.98 | 5.70 | YES
Validation Date | by