## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI726-0 | HI93726-0
1264 | HI726-0 | CP-R44 | W 49/1 |  | Parameter Formula | Ni | Ni
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Nickel HR Reagent | 2030-12-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
750 | 720 | 780
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 g/L | 7.00 g/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-12-04 | 2025-12-04 | PRECI |  |  | 1026
[6 empty] | Expiration A | Expiration B | Expiration D
2030-05-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97726 | CTO-639
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | g/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.10 |  | MR26/S |  | 0.10 | & | 5% | 100% |  | 10.9 | 10.7 | 11.1
2 | 1.40 | 1.23 | 1.57
3 | 5.60 | 5.22 | 5.98
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97726 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2025-12-04 | 11:59 | 2025-12-03 | 14:36 | GABRIELLA | PRECI | 0.00 | 0.00 | / | / | -0.003 |  |  |  | 0.64 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 2 | Old A | 2025-12-04 | 12:00 | 2025-12-03 | 14:36 | GABRIELLA | PRECI | 0.00 | 0.00 | / | / | -0.003 |  |  |  | 0.59 |  |  | Kinga |  | 3 | 1
2 | 1.40 | 3 | Old A | 2025-12-04 | 12:00 | 2025-12-03 | 14:36 | GABRIELLA | PRECI | 1.40 | 1.47 | / | / | 0.398 |  |  |  | 9.18 | 762 |  | Kinga |  | 3 | 2
2 | 1.40 | 4 | Old A | 2025-12-04 | 12:01 | 2025-12-03 | 14:36 | GABRIELLA | PRECI | 1.38 | 1.47 | / | / | 0.387 |  |  |  | 9.12 | 800 |  | Kinga |  | 3 | 2
3 | 5.60 | 5 | Old A | 2025-12-04 | 12:02 | 2025-12-03 | 14:36 | GABRIELLA | PRECI | 5.59 | 5.84 | / | / | 1.556 |  |  |  | 5.28 | 770 |  | Kinga |  | 3 | 3
3 | 5.60 | 6 | Old A | 2025-12-04 | 12:03 | 2025-12-03 | 14:36 | GABRIELLA | PRECI | 5.53 | 5.81 | / | / | 1.547 |  |  |  | 5.19 | 766 |  | Kinga |  | 3 | 3
1 | 0.00 | 7 | P/FINAL | 2025-12-04 | 12:03 | 2025-12-03 | 14:36 | GABRIELLA | PRECI | 0.00 | 0.00 | / | / | -0.006 |  |  |  | 0.61 | 756 |  | Kinga |  | 3 | 1
1 | 0.00 | 8 | P/FINAL | 2025-12-04 | 12:03 | 2025-12-03 | 14:36 | GABRIELLA | PRECI | 0.00 | 0.00 | / | / | -0.003 | 11.312 |  |  | 0.62 |  |  | Kinga |  | 3 | 1
2 | 1.40 | 9 | P/FINAL | 2025-12-04 | 12:09 | 2025-12-03 | 14:36 | GABRIELLA | PRECI | 1.48 | 1.51 | / | / | 0.419 |  |  |  | 2.46 |  |  | Kinga |  | 3 | 2
2 | 1.40 | 10 | P/FINAL | 2025-12-04 | 12:09 | 2025-12-03 | 14:36 | GABRIELLA | PRECI | 1.41 | 1.48 | / | / | 0.401 |  |  |  | 2.39 |  |  | Kinga |  | 3 | 2
2 | 1.40 | 11 | P/FINAL | 2025-12-04 | 12:10 | 2025-12-03 | 14:36 | GABRIELLA | PRECI | 1.43 | 1.50 | / | / | 0.406 | 11.295 |  |  | 1.12 |  |  | Kinga |  | 3 | 2
3 | 5.60 | 12 | P/FINAL | 2025-12-04 | 12:15 | 2025-12-03 | 14:36 | GABRIELLA | PRECI | 5.68 | 5.91 | / | / | 1.579 |  |  |  | 4.53 |  |  | Kinga |  | 3 | 3
3 | 5.60 | 13 | P/FINAL | 2025-12-04 | 12:15 | 2025-12-03 | 14:36 | GABRIELLA | PRECI | 5.63 | 5.87 | / | / | 1.566 |  |  |  | 4.53 |  |  | Kinga |  | 3 | 3
3 | 5.60 | 14 | P/FINAL | 2025-12-04 | 12:16 | 2025-12-03 | 14:36 | GABRIELLA | PRECI | 5.62 | 5.87 | / | / | 1.565 | 11.139 |  |  | 3.20 |  |  | Kinga |  | 3 | 3
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 g/L | 2 | 4 | 0 g/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 1.47 g/L | 3 | 6 | 1.47 g/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 5.76 g/L | 3 | 6 | 5.76 g/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0.00 | 0.00 ÷ 0.10 | 0.00 | YES
1.40 | 1.23 ÷ 1.57 | 1.47 | YES
5.60 | 5.22 ÷ 5.98 | 5.76 | YES
Validation Date | by