## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI38050-0 | HI3874-0 | HI93728-0
0710 | HI3874-0 | CP-R45 | 39/1 |  | Parameter Formula | N-NO3 | N-NO3 | N-NO3
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Nitrate Reagent | 2029-09-01 | L57 Powder |  |  | Laboratory |  | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 mg/L | 50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
Mark/Erika | 2024-10-03 | 2024-10-04 | Preci |  |  | 0623
[6 empty] | Expiration A | Expiration B | Expiration D
2029-07-01
Meter
Meter 1 Family | Meter 1 Code
Color Cube | 3874
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 20 | 15 | 25 |  | MR101 |  | 5 | or | 0% | 100% |  | 2.7 | 2.5 | 3.0
2 | 40 | 35 | 45
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 Color Cube | M. 2 Label17 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 20 | 1 | Old A | 2024-09-26 | 12:19 | 2024-09-26 | 11:54 | Erika/Mark | Preci | 20 | / | / | / | [5 empty] | 180 |  | Brigitta T |  | 3 | 1
2 | 40 | 2 | Old A | 2024-09-26 | 12:19 | 2024-09-26 | 11:54 | Erika/Mark | Preci | 40 | / | / | / | [5 empty] | 180 |  | Brigitta T |  | 3 | 2
1 | 20 | 3 | Valid | 2024-09-26 | 12:19 | 2024-09-26 | 11:54 | Erika/Mark | Preci | 20 | / | / | / | [5 empty] | 180 |  | Brigitta T |  | 3 | 1
1 | 20 | 4 | Valid | 2024-09-26 | 12:19 | 2024-09-26 | 11:54 | Erika/Mark | Preci | 20 | / | / | / | [5 empty] | 180 |  | Brigitta T |  | 3 | 1
1 | 20 | 5 | Valid | 2024-09-26 | 12:19 | 2024-09-26 | 11:54 | Erika/Mark | Preci | 20 | / | / | / | [5 empty] | 180 |  | Brigitta T |  | 3 | 1
2 | 40 | 6 | Valid | 2024-09-26 | 12:20 | 2024-09-26 | 11:54 | Erika/Mark | Preci | 40 | / | / | / | [5 empty] | 180 |  | Brigitta T |  | 3 | 2
2 | 40 | 7 | Valid | 2024-09-26 | 12:20 | 2024-09-26 | 11:54 | Erika/Mark | Preci | 40 | / | / | / | [5 empty] | 180 |  | Brigitta T |  | 3 | 2
2 | 40 | 8 | Valid | 2024-09-26 | 12:20 | 2024-09-26 | 11:54 | Erika/Mark | Preci | 40 | / | / | / | [5 empty] | 180 |  | Brigitta T |  | 3 | 2
1 | 20 | 9 | P/Final | 2024-10-03 | 12:32 | 2024-10-03 | 11:54 | Roland | Preci | 20 | / | / | / | [5 empty] | 190 |  | Brigitta T |  | 3 | 1
1 | 20 | 10 | P/Final | 2024-10-03 | 12:32 | 2024-10-03 | 11:54 | Roland | Preci | 20 | / | / | / | [5 empty] | 186 |  | Brigitta T |  | 3 | 1
1 | 20 | 11 | P/Final | 2024-10-03 | 12:32 | 2024-10-03 | 11:54 | Roland | Preci | 20 | / | / | / | [5 empty] | 185 |  | Brigitta T |  | 3 | 1
1 | 20 | 12 | P/Final | 2024-10-03 | 12:32 | 2024-10-03 | 11:54 | Roland | Preci | 20 | / | / | / | [5 empty] | 186 |  | Brigitta T |  | 3 | 1
2 | 40 | 13 | P/Final | 2024-10-03 | 12:33 | 2024-10-03 | 11:54 | Roland | Preci | 40 | / | / | / | [5 empty] | 186 |  | Brigitta T |  | 3 | 2
2 | 40 | 14 | P/Final | 2024-10-03 | 12:33 | 2024-10-03 | 11:54 | Roland | Preci | 40 | / | / | / | [5 empty] | 183 |  | Brigitta T |  | 3 | 2
2 | 40 | 15 | P/Final | 2024-10-03 | 12:33 | 2024-10-03 | 11:54 | Roland | Preci | 40 | / | / | / | [5 empty] | 183 |  | Brigitta T |  | 3 | 2
2 | 40 | 16 | P/Final | 2024-10-03 | 12:34 | 2024-10-03 | 11:54 | Roland | Preci | 40 | / | / | / | [5 empty] | 179 |  | Brigitta T |  | 3 | 2
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 4 | 20 mg/L | 4 | 4 | 20 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 4 | 40 mg/L | 4 | 4 | 40 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
20 | 15 ÷ 25 | 20 | YES
40 | 35 ÷ 45 | 40 | YES
Validation Date | by