## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI38050-0 | HI3874-0 | HI93728-0
0776 | HI3874-0 | CP-R45 | W44/1 |  | Parameter Formula | N-NO3 | N-NO3 | N-NO3
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Nitrate Reagent | 2029-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 mg/L | 50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2024-11-05 | 2024-11-05 | PRECI
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code
COLOR CUB | HI3874-0
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 40 | 35 | 45 |  | MR101 |  | 5 | or | 0% | 100% |  | 2.7 | 2.5 | 3.0
1 | 20 | 15 | 25
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 COLOR CUB | M. 2 Label17 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 40 | 1 | P/Final | 2024-11-06 | 09:06 | 2024-11-05 | 06:44 | GIORGIANA | PRECI | 40 | / | / | / | [7 empty] | Kinga |  | 3 | 2
2 | 40 | 2 | P/Final | 2024-11-06 | 9:05 | 2024-11-05 | 06:44 | GIORGIANA | PRECI | 40 | / | / | / | [7 empty] | Kinga |  | 3 | 2
2 | 40 | 3 | Old A | 2024-11-06 | 9:05 | 2024-11-05 | 06:44 | GIORGIANA | PRECI | 40 | / | / | / | [7 empty] | Kinga |  | 3 | 2
1 | 20 | 4 | Old A | 2024-11-06 | 9:05 | 2024-11-05 | 06:44 | GIORGIANA | PRECI | 20 | / | / | / | [7 empty] | Kinga |  | 3 | 2
1 | 20 | 5 | P/Final | 2024-11-06 | 9:05 | 2024-11-05 | 06:44 | GIORGIANA | PRECI | 20 | / | / | / | [7 empty] | Kinga |  | 3 | 2
1 | 20 | 6 | P/Final | 2024-11-06 | 9:05 | 2024-11-05 | 06:44 | GIORGIANA | PRECI | 20 | / | / | / | [7 empty] | Kinga |  | 3 | 2
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 2 | 40 mg/L | 2 | 2 | 40 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 2 | 20 mg/L | 2 | 2 | 20 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
20 | 15 ÷ 25 | 20 | YES
40 | 35 ÷ 45 | 40 | YES
Validation Date | by