## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI38050-0 | HI3874-0 | HI93728-0
0776 | HI93728-0 | CP-R45 | W44 |  | Parameter Formula | N-NO3 | N-NO3 | N-NO3
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Nitrate Reagent | 2029-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
220 | 205 | 235
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.0 mg/L | 30.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2024-10-30 |  | PRECI
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97728 | CTO-692
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
3 | 24.0 | 23.3 | 24.7 |  | MR101 |  | 0.5 | & | 1% | 100% |  | 2.7 | 2.5 | 3.0
2 | 6.0 | 5.4 | 6.6
1 | 0.0 | 0.0 | 0.5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97728 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
3 | 24.0 | 1 | Valid | 2024-10-30 | 14:49 | 2024-10-30 |  | ERIKA |  | 23.9 | 26.9 | / | / | 0.288 |  |  |  | 3.95 | 214 |  | Brigitta P |  | 3 | 3 | 103545
3 | 24.0 | 2 | Valid | 2024-10-30 | 14:50 | 2024-10-30 |  | ERIKA |  | 25.5 | 23.2 | / | / | 0.299 |  |  |  | 3.32 |  |  | Brigitta P |  | 3 | 3 | 103545
3 | 24.0 | 3 | Old A | 2024-10-30 | 14:52 | 2024-10-30 |  | ERIKA |  | 26.6 | 22.8 | / | / | 0.306 |  |  |  | 5.21 |  |  | Brigitta P |  | 3 | 3 | 103545
3 | 24.0 | 4 | Valid | 2024-10-30 | 14:57 | 2024-10-30 |  | ERIKA |  | 25.9 | 23.7 | / | / | 0.302 |  |  |  | 3.92 | 217 |  | Brigitta P |  | 3 | 3 | 103545
3 | 24.0 | 5 | Valid | 2024-10-30 | 14:55 | 2024-10-30 |  | ERIKA |  | 24.6 | 22.0 | / | / | 0.293 |  |  |  | 4.08 | 219 |  | Brigitta P |  | 3 | 3 | 103545
3 | 24.0 | 6 | Valid | 2024-10-30 | 14:55 | 2024-10-30 |  | ERIKA |  | 22.7 | 22.8 | / | / | 0.280 |  |  |  | 3.96 | 221 |  | Brigitta P |  | 3 | 3 | 103545
2 | 6.0 | 7 | Valid | 2024-10-30 | 15:00 | 2024-10-30 |  | ERIKA |  | 6.6 | 4.9 | / | / | 0.136 |  |  |  | 4.54 | 213 |  | Brigitta P |  | 3 | 3 | 103545
2 | 6.0 | 8 | Valid | 2024-10-30 | 15:05 | 2024-10-30 |  | ERIKA |  | 5.4 | 4.6 | / | / | 0.120 |  |  |  | 5.09 | 221 |  | Brigitta P |  | 3 | 3 | 103545
2 | 6.0 | 9 | Valid | 2024-10-30 | 15:05 | 2024-10-30 |  | ERIKA |  | 6.9 | 6.1 | / | / | 0.140 |  |  |  | 4.09 | 220 |  | Brigitta P |  | 3 | 3 | 103545
2 | 6.0 | 10 | Valid | 2024-10-30 | 15:05 | 2024-10-30 |  | ERIKA |  | 5.6 | 4.9 | / | / | 0.123 |  |  |  | 3.92 | 215 |  | Brigitta P |  | 3 | 3 | 103545
2 | 6.0 | 11 | Valid | 2024-10-30 | 15:15 | 2024-10-30 |  | ERIKA |  | 5.6 | 5.3 | / | / | 0.123 |  |  |  | 4.15 |  |  | Brigitta P |  | 3 | 3 | 103545
1 | 0.0 | 12 | Valid | 2024-10-30 | 15:15 | 2024-10-30 |  | ERIKA |  | 0.9 | 1.1 | / | / | 0.049 |  |  |  | 6.38 |  |  | Brigitta P |  | 3 | 3 | 103545
1 | 0.0 | 13 | Valid | 2024-10-30 | 15:20 | 2024-10-30 |  | ERIKA |  | 0.9 | 1.3 | / | / | 0.048 |  |  |  | 6.10 |  |  | Brigitta P |  | 3 | 3 | 103545
1 | 0.0 | 14 | Valid | 2024-10-30 | 15:20 | 2024-10-30 |  | ERIKA |  | 0.9 | 1.3 | / | / | 0.048 |  |  |  | 5.09 |  |  | Brigitta P |  | 3 | 3 | 103545
1 | 0.0 | 15 | Valid | 2024-10-30 | 15:20 | 2024-10-30 |  | ERIKA |  | 1.1 | 1.5 | / | / | 0.053 |  |  |  | 5.80 |  |  | Brigitta P |  | 3 | 3 | 103545
2 | 6.0 | 16 | Old A | 2024-10-30 | 15:31 | 2024-10-30 |  | ERIKA |  | 6.6 | 5.5 | / | / | 0.136 |  |  |  | 6.69 |  |  | Brigitta P |  | 3 | 2 | 103545
2 | 6.0 | 17 | Old A | 2024-10-30 | 15:31 | 2024-10-30 |  | ERIKA |  | 6.5 | 6.9 | / | / | 0.135 |  |  |  | 6.05 |  |  | Brigitta P |  | 3 | 2 | 103545
3 | 24.0 | 18 | Old A | 2024-10-30 | 15:32 | 2024-10-30 |  | ERIKA |  | 26.6 | 25.0 | / | / | 0.306 |  |  |  | 6.11 |  |  | Brigitta P |  | 3 | 3 | 103545
3 | 24.0 | 19 | Old A | 2024-10-31 | 12:19 | 2024-10-31 |  | ROLI | PRECI | 26.4 | 22.1 | / | / | 0.305 |  |  |  | 6.58 |  |  | Brigitta P |  | 3 | 3 | 103545
2 | 6.0 | 20 | Old A | 2024-10-31 | 12:20 | 2024-10-31 |  | ROLI | PRECI | 7.4 | 6.6 | / | / | 0.145 |  |  |  | 7.53 |  |  | Brigitta P |  | 3 | 2 | 103545
2 | 6.0 | 21 | Old A | 2024-10-31 | 12:21 | 2024-10-31 |  | ROLI | PRECI | 7.7 | 6.5 | / | / | 0.149 |  |  |  | 8.91 |  |  | Brigitta P |  | 3 | 2 | 103545
3 | 24.0 | 22 | P/Final | 2024-10-31 | 12:29 | 2024-10-31 |  | ROLI | PRECI | 26.6 | 24.8 | / | / | 0.306 |  |  |  | 8.46 |  |  | Brigitta P |  | 3 | 3 | 103545
3 | 24.0 | 23 | P/Final | 2024-10-31 | 12:33 | 2024-10-31 |  | ROLI | PRECI | 26.4 | 22.2 | / | / | 0.305 |  |  |  | 7.15 |  |  | Brigitta P |  | 3 | 3 | 103545
3 | 24.0 | 24 | P/Final | 2024-10-31 | 12:34 | 2024-10-31 |  | ROLI | PRECI | 25.6 | 26.2 | / | / | 0.300 |  |  |  | 7.17 | 217 |  | Brigitta P |  | 3 | 3 | 103545
3 | 24.0 | 25 | P/Final | 2024-10-31 | 12:34 | 2024-10-31 |  | ROLI | PRECI | 26.9 | 24.3 | / | / | 0.308 |  |  |  | 6.70 | 214 |  | Brigitta P |  | 3 | 3 | 103545
2 | 6.0 | 26 | P/Final | 2024-10-31 | 12:38 | 2024-10-31 |  | ROLI | PRECI | 6.9 | 6.9 | / | / | 0.140 |  |  |  | 9.76 |  |  | Brigitta P |  | 3 | 2 | 103545
2 | 6.0 | 27 | P/Final | 2024-10-31 | 12:39 | 2024-10-31 |  | ROLI | PRECI | 7.5 | 6.2 | / | / | 0.146 |  |  |  | 8.17 |  |  | Brigitta P |  | 3 | 2 | 103545
2 | 6.0 | 28 | P/Final | 2024-10-31 | 12:42 | 2024-10-31 |  | ROLI | PRECI | 6.4 | 6.4 | / | / | 0.133 |  |  |  | 8.82 | 216 |  | Brigitta P |  | 3 | 2 | 103545
2 | 6.0 | 29 | P/Final | 2024-10-31 | 12:43 | 2024-10-31 |  | ROLI | PRECI | 7.0 | 6.7 | / | / | 0.141 |  |  |  | 9.74 | 215 |  | Brigitta P |  | 3 | 2 | 103545
1 | 0.0 | 30 | P/Final | 2024-10-31 | 12:51 | 2024-10-31 |  | ROLI | PRECI | 1.9 | 1.9 | / | / | 0.046 |  |  |  | 12 |  |  | Brigitta P |  | 3 | 1 | 103545
1 | 0.0 | 31 | P/Final | 2024-10-31 | 12:52 | 2024-10-31 |  | ROLI | PRECI | 2.4 | 2.1 | / | / | 0.077 |  |  |  | 13.3 |  |  | Brigitta P |  | 3 | 1 | 103545
1 | 0.0 | 32 | P/Final | 2024-10-31 | 14:50 | 2024-10-31 |  | ROLI | PRECI | 1.1 |  | / | / | 0.077 | [6 empty] | Brigitta P |  | 3 | 1 | 103545
1 | 0.0 | 33 | P/Final | 2024-10-31 | 14:50 | 2024-10-31 |  | ROLI | PRECI | 1.2 |  | / | / | 0.077 | [6 empty] | Brigitta P |  | 3 | 1 | 103545
3 | 24.0 | 34 | P/Final | 2024-11-01 | 08:39 | 2024-10-31 | 14:37 | GIORGIANA | PRECI | 26.7 | 23.2 | / | / | 0.307 |  |  |  | 6.89 | 213 |  | Brigitta P |  | 3 | 2 | 103545
3 | 24.0 | 35 | P/Final | 2024-11-01 | 08:39 | 2024-10-31 | 14:37 | GIORGIANA | PRECI | 25.9 | 22.5 | / | / | 0.302 |  |  |  | 6.68 |  |  | Brigitta P |  | 3 | 2 | 103545
3 | 24.0 | 36 | P/Final | 2024-11-01 | 08:40 | 2024-10-31 | 14:37 | GIORGIANA | PRECI | 27.5 | 23.0 | / | / | 0.312 |  |  |  | 6.24 | 222 |  | Brigitta P |  | 3 | 2 | 103545
2 | 6.0 | 37 | P/Final | 2024-11-01 | 08:42 | 2024-10-31 | 14:37 | GIORGIANA | PRECI | 8.4 | 7.1 | / | / | 0.157 |  |  |  | 8.74 | 216 |  | Brigitta P |  | 3 | 2 | 103545
2 | 6.0 | 38 | P/Final | 2024-11-01 | 8:40 | 2024-10-31 | 14:37 | GIORGIANA | PRECI | 6.9 | 6.7 | / | / | 0.139 |  |  |  | 9.90 |  |  | Brigitta P |  | 3 | 2 | 103545
2 | 6.0 | 39 | P/Final | 2024-11-01 | 8:45 | 2024-10-31 | 14:37 | GIORGIANA | PRECI | 6.8 | 6.5 | / | / | 0.138 |  |  |  | 6.49 | 212 |  | Brigitta P |  | 3 | 2 | 103545
1 | 0.0 | 40 | P/Final | 2024-11-01 | 08:53 | 2024-10-31 | 14:37 | GIORGIANA | PRECI | 1.9 | 1.9 | / | / | 0.068 |  |  |  | 16.5 |  |  | Brigitta P |  | 3 | 1 | DWA
1 | 0.0 | 41 | P/Final | 2024-11-01 | 08:55 | 2024-10-31 | 14:37 | GIORGIANA | PRECI | 1.8 | 1.6 | / | / | 0.066 |  |  |  | 8.12 | 211 |  | Brigitta P |  | 3 | 1 | DWA
3 | 24.0 | 42 | P/Final | 2024-11-01 | 09:11 | 2024-11-01 | 08:22 | ROLAND | PRECI | 26.4 | 23.0 | / | / | 0.305 |  |  |  | 7.88 | 224 |  | Brigitta P |  | 3 | 2 | 103545
3 | 24.0 | 43 | P/Final | 2024-11-01 | 09:12 | 2024-11-01 | 08:22 | ROLAND | PRECI | 25.6 | 23.1 | / | / | 0.300 |  |  |  | 8.69 | 221 |  | Brigitta P |  | 3 | 2 | 103545
3 | 24.0 | 44 | P/Final | 2024-11-01 | 09:13 | 2024-11-01 | 08:22 | ROLAND | PRECI | 26.4 | 24.0 | / | / | 0.305 |  |  |  | 8.00 |  |  | Brigitta P |  | 3 | 2 | 103545
2 | 6.0 | 45 | P/Final | 2024-11-01 | 09:16 | 2024-11-01 | 08:22 | ROLAND | PRECI | 7.5 | 6.7 | / | / | 0.146 |  |  |  | 10.6 | 224 |  | Brigitta P |  | 3 | 2 | 103545
2 | 6.0 | 46 | P/Final | 2024-11-01 | 09:16 | 2024-11-01 | 08:22 | ROLAND | PRECI | 6.8 | 6.7 | / | / | 0.138 |  |  |  | 6.31 | 214 |  | Brigitta P |  | 3 | 2 | 103545
2 | 6.0 | 47 | P/Final | 2024-11-01 | 09:24 | 2024-11-01 | 08:22 | ROLAND | PRECI | 7.1 | 6.5 | / | / | 0.142 |  |  |  | 10.3 |  |  | Brigitta P |  | 3 | 2 | 103545
1 | 0.0 | 48 | P/Final | 2024-11-01 | 09:25 | 2024-11-01 | 08:22 | ROLAND | PRECI | 2.4 | 2.1 | / | / | 0.077 |  |  |  | 10.6 | 224 |  | Brigitta P |  | 3 | 1 | 103545
1 | 0.0 | 49 | P/Final | 2024-11-01 | 09:26 | 2024-11-01 | 08:22 | ROLAND | PRECI | 2.1 | 2.1 | / | / | 0.071 |  |  |  | 11.1 |  |  | Brigitta P |  | 3 | 1 | 103545
2 | 6.0 | 50 | P/Final | 2024-11-04 | 11:22 | 2024-11-01 | 14:47 | FLORICA | PRECI | 6.2 | 6.3 | / | / | 0.131 |  |  |  | 6.89 | 216 |  | Brigitta P |  | 3 | 2 | 103545
2 | 6.0 | 51 | P/Final | 2024-11-04 | 11:24 | 2024-11-01 | 14:47 | FLORICA | PRECI | 6.3 | 5.8 | / | / | 0.132 |  |  |  | 7.83 | 205 |  | Brigitta P |  | 3 | 2 | 103545
2 | 6.0 | 52 | P/Final | 2024-11-04 | 11:32 | 2024-11-01 | 14:47 | FLORICA | PRECI | 7.0 | 6.8 | / | / | 0.141 |  |  |  |  | 216 |  | Brigitta P |  | 3 | 2 | 103545
2 | 6.0 | 53 | P/Final | 2024-11-04 | 11:33 | 2024-11-01 | 07:50 | ELENA | PRECI | 6.1 | 6.6 | / | / | 0.130 |  |  |  | 7.76 | 216 |  | Brigitta P |  | 3 | 2 | 103545
2 | 6.0 | 54 | P/Final | 2024-11-04 | 11:35 | 2024-11-01 | 07:50 | ELENA | PRECI | 7.0 | 5.8 | / | / | 0.141 |  |  |  | 7.47 | 218 |  | Brigitta P |  | 3 | 2 | 103545
3 | 24.0 | 55 | P/Final | 2024-11-04 | 11:43 | 2024-11-01 | 07:50 | ELENA | PRECI | 23.4 | 22.5 | / | / | 0.285 |  |  |  | 8.72 |  |  | Brigitta P |  | 3 | 3 | 103545
3 | 24.0 | 56 | P/Final | 2024-11-04 | 11:46 | 2024-11-01 | 07:50 | ELENA | PRECI | 26.6 | 22.8 | / | / | 0.306 |  |  |  | 5.70 | 207 |  | Brigitta P |  | 3 | 3 | 103545
3 | 24.0 | 57 | P/Final | 2024-11-04 | 11:51 | 2024-11-01 | 07:50 | ELENA | PRECI | 23.4 | 24.7 | / | / | 0.285 |  |  |  | 6.13 | 209 |  | Brigitta P |  | 3 | 3 | 103545
3 | 24.0 | 58 | P/Final | 2024-11-04 | 11:51 | 2024-11-01 | 07:50 | ELENA | PRECI | 26.2 | 25.9 | / | / | 0.304 |  |  |  | 5.63 |  |  | Brigitta P |  | 3 | 3 | 103545
3 | 24.0 | 59 | P/Final | 2024-11-04 | 11:54 | 2024-11-01 | 07:50 | ELENA | PRECI | 25.8 | 26.2 | / | / | 0.301 |  |  |  | 8.01 | 208 |  | Brigitta P |  | 3 | 3 | 103545
3 | 24.0 | 60 | P/Final | 2024-11-04 | 11:54 | 2024-11-01 | 07:50 | ELENA | PRECI | 26.2 | 26.2 | / | / | 0.304 |  |  |  | 7.29 |  |  | Brigitta P |  | 3 | 3 | 103545
1 | 0.0 | 61 | P/Final | 2024-11-04 | 12:06 | 2024-11-01 | 14:49 | FLORICA | PRECI | 1.1 | 1.2 | / | / | 0.052 |  |  |  | 10.6 | 215 |  | Brigitta P |  | 3 | 1 | DWA
1 | 0.0 | 62 | P/Final | 2024-11-04 | 12:07 | 2024-11-01 | 14:49 | FLORICA | PRECI | 1.6 | 1.3 | / | / | 0.062 |  |  |  | 10.2 |  |  | Brigitta P |  | 3 | 1 | DWA
1 | 0.0 | 63 | P/Final | 2024-11-04 | 12:08 | 2024-11-01 | 14:49 | FLORICA | PRECI | 1.3 | 1.6 | / | / | 0.057 |  |  |  | 9.89 |  |  | Brigitta P |  | 3 | 1 | DWA
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
16 | 32 | 25 mg/L | 16 | 32 | 25 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
15 | 30 | 6.7 mg/L | 15 | 30 | 6.7 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
11 | 20 | 1.7 mg/L | 8 | 13 | 1.5 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 0.5 | 1.5 | NO
6.0 | 5.4 ÷ 6.6 | 6.7 | NO
24.0 | 23.3 ÷ 24.7 | 25.0 | NO
Validation Date | by