## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI38050-0 | HI3874-0 | HI93728-0
1070 | HI93728-0 | CP-R45 | 25/1_2025 |  | Parameter Formula | N-NO3 | N-NO3 | N-NO3
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Nitrate Reagent | 2030-06-01 | L57 Powder |  |  | Laboratory | Tablet3 | Production
Ref Weight. | Min (mg) | Max (mg)
220 | 205 | 235
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.0 mg/L | 30.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
Mark/Erika | [5 empty] | 0993
[6 empty] | Expiration A | Expiration B | Expiration D
2030-04-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-832 | HI97728 | CTO-621
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861 | HI801 | CTO-832
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.0 | 0.0 | 0.5 |  | MR101 |  | 0.5 | & | 10% | 100% |  | 2.7 | 2.5 | 3.0
2 | 6.0 | 4.9 | 7.1
3 | 24.0 | 21.1 | 26.9
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97728 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.0 | 1 | Valid | 2025-06-17 | 14:49 | 2025-06-17 | 10:39 | Mark/Erika |  | 0.9 | 0.6 | / | / | 0.048 |  |  |  | 3.90 | 220 |  | Kinga |  | 3 | 1
1 | 0.0 | 2 | Valid | 2025-06-17 | 14:50 | 2025-06-17 | 10:39 | Mark/Erika |  | 1.1 | 0.4 | / | / | 0.053 |  |  |  | 4.19 | 220 |  | Kinga |  | 3 | 1
1 | 0.0 | 3 | Old A | 2025-06-17 | 14:50 |  |  |  |  | 2.0 | 1.8 | / | / | 0.069 |  |  |  | 7.32 |  |  | Kinga |  | 3 | 1
1 | 0.0 | 4 | Old A | 2025-06-17 | 14:51 |  |  |  |  | 2.3 | 2.2 | / | / | 0.073 |  |  |  | 7.79 |  |  | Kinga |  | 3 | 1
2 | 6.0 | 5 | Old A | 2025-06-17 | 14:52 |  |  |  |  | 7.2 | 7.0 | / | / | 0.143 |  |  |  | 5.35 |  |  | Kinga |  | 3 | 2
2 | 6.0 | 6 | Old A | 2025-06-17 | 14:52 |  |  |  |  | 7.5 | 7.3 | / | / | 0.147 |  |  |  | 6.50 |  |  | Kinga |  | 3 | 2
2 | 6.0 | 7 | Valid | 2025-06-17 | 14:53 | 2025-06-17 | 10:39 | Mark/Erika |  | 6.9 | 6.0 | / | / | 0.140 |  |  |  | 2.92 |  |  | Kinga |  | 3 | 2
2 | 6.0 | 8 | Valid | 2025-06-17 | 14:53 | 2025-06-17 | 10:39 | Mark/Erika |  | 7.0 | 6.9 | / | / | 0.141 |  |  |  | 3.60 | 220 |  | Kinga |  | 3 | 2
2 | 6.0 | 9 | Valid | 2025-06-17 | 14:54 | 2025-06-17 | 10:39 | Mark/Erika |  | 8.1 | 7.7 | / | / | 0.153 |  |  |  | 4.28 | 220 |  | Kinga |  | 3 | 2
2 | 6.0 | 10 | Valid | 2025-06-17 | 14:54 | 2025-06-17 | 10:39 | Mark/Erika |  | 6.3 | 5.4 | / | / | 0.132 |  |  |  | 3.02 |  |  | Kinga |  | 3 | 2
3 | 24.0 | 11 | Valid | 2025-06-17 | 14:57 | 2025-06-17 | 10:39 | Mark/Erika |  | 28.4 | 27.8 | / | / | 0.318 |  |  |  | 2.41 | 220 |  | Kinga |  | 3 | 3
3 | 24.0 | 12 | Valid | 2025-06-17 | 14:58 | 2025-06-17 | 10:39 | Mark/Erika |  | 28.1 | 24.0 | / | / | 0.316 |  |  |  | 2.76 |  |  | Kinga |  | 3 | 3
3 | 24.0 | 13 | Valid | 2025-06-17 | 14:58 | 2025-06-17 | 10:39 | Mark/Erika |  | 28.4 | 26.1 | / | / | 0.318 |  |  |  | 2.68 | 220 |  | Kinga |  | 3 | 3
3 | 24.0 | 14 | Valid | 2025-06-17 | 14:59 | 2025-06-17 | 10:39 | Mark/Erika |  | 29.4 | 29.0 | / | / | 0.324 |  |  |  | 3.40 |  |  | Kinga |  | 3 | 3
3 | 24.0 | 15 | Valid | 2025-06-17 | 14:59 | 2025-06-17 | 10:39 | Mark/Erika |  | 24.0 | 24.0 | / | / | 0.289 |  |  |  | 2.83 |  |  | Kinga |  | 3 | 3
3 | 24.0 | 16 | Valid | 2025-06-17 | 15:00 | 2025-06-17 | 10:39 | Mark/Erika |  | 26.1 | 22.8 | / | / | 0.303 |  |  |  | 2.70 |  |  | Kinga |  | 3 | 3
3 | 24.0 | 17 | Old A | 2025-06-17 | 15:02 |  |  |  |  | 27.3 | 27.1 | / | / | 0.311 |  |  |  | 4.86 |  |  | Kinga |  | 3 | 3
3 | 24.0 | 18 | Old A | 2025-06-17 | 15:02 |  |  |  |  | 26.9 | 25.9 | / | / | 0.308 |  |  |  | 4.63 |  |  | Kinga |  | 3 | 3
2 | 6.0 | 19 | Old A | 2025-06-18 | 12:31 | 2025-06-18 | 09:06 | MARK |  | 7.5 | 7.1 | / | / | 1.460 |  |  |  | 9.51 |  |  | Kinga |  | 3 | 2
2 | 6.0 | 20 | Old A | 2025-06-18 | 12:32 | 2025-06-18 | 09:06 | MARK |  | 6.6 | 6.9 | / | / |  |  |  |  | 9.19 |  |  | Kinga |  | 3 | 2
2 | 6.0 | 21 | Valid | 2025-06-18 | 12:33 | 2025-06-18 | 09:06 | MARK |  | 6.4 | 5.7 | / | / | 1.45 |  |  |  | 3.40 |  |  | Kinga |  | 3 | 2
2 | 6.0 | 22 | Valid | 2025-06-18 | 12:34 | 2025-06-18 | 09:06 | MARK |  | 7.0 | 6.5 | / | / | 1.41 |  |  |  | 2.76 |  |  | Kinga |  | 3 | 2
2 | 6.0 | 23 | Valid | 2025-06-18 | 12:34 | 2025-06-18 | 09:06 | MARK |  | 5.6 | 5.5 | / | / | 0.123 |  |  |  | 4.11 | 220 |  | Kinga |  | 3 | 2
3 | 24.0 | 24 | Old A | 2025-06-18 | 12:35 | 2025-06-18 | 09:06 | MARK |  | 26.1 | 25.9 | / | / | 0.279 |  |  |  | 7.64 |  |  | Kinga |  | 3 | 3
3 | 24.0 | 25 | Old A | 2025-06-18 | 12:35 | 2025-06-18 | 09:06 | MARK |  | 23.1 | 22.0 | / | / | 0.285 |  |  |  | 3.38 |  |  | Kinga |  | 3 | 3
3 | 24.0 | 26 | Valid | 2025-06-18 | 12:36 | 2025-06-18 | 09:06 | MARK |  | 24.0 | 23.1 | / | / | 0.250 |  |  |  | 6.71 | 220 |  | Kinga |  | 3 | 3
3 | 24.0 | 27 | Valid | 2025-06-18 | 12:37 | 2025-06-18 | 09:06 | MARK |  | 25.9 | 27.0 | / | / | 0.296 |  |  |  | 4.34 |  |  | Kinga |  | 3 | 3
3 | 24.0 | 28 | Valid | 2025-06-18 | 12:37 | 2025-06-18 | 09:06 | MARK |  | 25.8 | 26.4 | / | / | 0.300 |  |  |  | 3.35 |  |  | Kinga |  | 3 | 3
3 | 24.0 | 29 | Valid | 2025-06-18 | 12:37 | 2025-06-18 | 09:06 | MARK |  | 26.4 | 23.7 | / | / | 0.057 |  |  |  | 4.29 | 220 |  | Kinga |  | 3 | 3
1 | 0.0 | 30 | Old A | 2025-06-18 | 12:39 | 2025-06-18 | 09:06 | MARK |  | 2.6 | 1.7 | / | / | 0.079 |  |  |  | 1.7 |  |  | Kinga |  | 3 | 1
1 | 0.0 | 31 | Valid | 2025-06-18 | 12:40 | 2025-06-18 | 09:06 | MARK |  | 1.0 | 0.5 | / | / | 0.055 |  |  |  | 4.23 |  |  | Kinga |  | 3 | 1
1 | 0.0 | 32 | Valid | 2025-06-18 | 12:40 | 2025-06-18 | 09:06 | MARK |  | 1.2 | 0.5 | / | / | 0.054 |  |  |  | 3.84 |  |  | Kinga |  | 3 | 1
2 | 6.0 | 33 | P/FINAL | 2025-06-19 | 07:57 | 2025-06-19 | 07:18 | Elena | PRECI | 6.1 | 7.7 | / | / |  |  |  |  | 4.55 |  |  | Monika |  | 3 | 2 | 115800
2 | 6.0 | 34 | P/FINAL | 2025-06-19 | 07:58 | 2025-06-19 | 07:18 | Elena | PRECI | 5.7 | 6.2 | / | / |  |  |  |  | 3.46 |  |  | Monika |  | 3 | 2 | 115800
2 | 6.0 | 35 | P/FINAL | 2025-06-19 | 08:01 | 2025-06-19 | 07:18 | Elena | PRECI | 6.5 | 6.5 | / | / | 0.138 |  |  |  | 4.01 | 197 |  | Monika |  | 3 | 2 | 115800
3 | 24.0 | 36 | P/FINAL | 2025-06-19 | 08:08 | 2025-06-19 | 07:18 | Elena | PRECI | 28.4 | 28.7 | / | / | 0.316 |  |  |  | 2.71 | 196 |  | Monika |  | 3 | 3 | 115800
3 | 24.0 | 37 | P/FINAL | 2025-06-19 | 08:11 | 2025-06-19 | 07:18 | Elena | PRECI | 28.1 | 27.4 | / | / | 0.316 |  |  |  | 2.31 | 182 |  | Monika |  | 3 | 3 | 115800
3 | 24.0 | 38 | P/FINAL | 2025-06-19 | 08:14 | 2025-06-19 | 07:18 | Elena | PRECI | 28.8 | 28.5 | / | / | 0.320 |  |  |  | 2.96 | 191 |  | Monika |  | 3 | 3 | 115800
1 | 0.0 | 39 | P/FINAL | 2025-06-19 | 08:22 | 2025-06-19 | 07:18 | Elena | PRECI | 0.8 | 0.9 | / | / | 0.046 |  |  |  | 5.62 | 188 |  | Monika |  | 3 | 1
1 | 0.0 | 40 | P/FINAL | 2025-06-19 | 08:24 | 2025-06-19 | 07:18 | Elena | PRECI | 0.7 | 0.5 | / | / | 0.045 |  |  |  | 4.49 | 204 |  | Monika |  | 3 | 1
1 | 0.0 | 41 | P/FINAL | 2025-06-19 | 08:25 | 2025-06-19 | 07:18 | Elena | PRECI | 0.7 | 0.5 | / | / | 0.045 |  |  |  | 3.57 | 182 |  | Monika |  | 3 | 1
2 | 6.0 | 42 | Old A | 2025-06-19 | 08:39 | 2025-06-19 | 07:18 | Elena | PRECI | 7.1 | 7.0 | / | / | 0.142 |  |  |  | 5.12 | 189 |  | Monika |  | 3 | 2
2 | 6.0 | 43 | Old A | 2025-06-19 | 08:41 | 2025-06-19 | 07:18 | Elena | PRECI | 7.0 | 6.6 | / | / | 0.141 |  |  |  | 4.94 | 199 |  | Monika |  | 3 | 2
1 | 0.0 | 44 | Old A | 2025-06-19 | 08:43 | 2025-06-19 | 07:18 | Elena | PRECI | 2.3 | 2.2 | / | / | 0.073 |  |  |  | 11.9 | 202 |  | Monika |  | 3 | 1
3 | 24.0 | 45 | Old A | 2025-06-19 | 08:58 | 2025-06-19 | 07:18 | Elena | PRECI | 26.9 | 27.4 | / | / | 0.308 |  |  |  | 4.14 | 197 |  | Monika |  | 3 | 3 | 84141
3 | 24.0 | 46 | Old A | 2025-06-19 | 08:59 | 2025-06-19 | 07:18 | Elena | PRECI | 25.2 | 25.8 | / | / | 0.297 |  |  |  | 4.45 | 186 |  | Monika |  | 3 | 3 | 84141
3 | 24.0 | 47 | P/FINAL | 2025-06-19 | 09:08 | 2025-06-19 | 08:53 | Elena | PRECI | 26.6 | 25.9 | / | / | 0.306 |  |  |  | 3.00 | 199 |  | Monika |  | 3 | 3 | 84141
3 | 24.0 | 48 | P/FINAL | 2025-06-19 | 09:13 | 2025-06-19 | 08:53 | Elena | PRECI | 26.6 | 24.3 | / | / | 0.307 |  |  |  | 3.23 | 184 |  | Monika |  | 3 | 3 | 84141
3 | 24.0 | 49 | P/FINAL | 2025-06-19 | 09:13 | 2025-06-19 | 08:53 | Elena | PRECI | 27.0 | 26.1 | / | / | 0.309 |  |  |  | 3.26 | 190 |  | Monika |  | 3 | 3 | 84141
3 | 24.0 | 50 | P/FINAL | 2025-06-19 | 09:20 | 2025-06-19 | 08:53 | Elena | PRECI | 29.6 | 30.0 | / | / | 0.325 |  |  |  | 3.21 | 197 |  | Monika |  | 3 | 3 | 84141 | 30.0 BLINKING
2 | 6.0 | 51 | P/FINAL | 2025-06-19 | 09:24 | 2025-06-19 | 08:53 | Elena | PRECI | 6.0 | 6.0 | / | / | 0.129 |  |  |  | 3.50 | 182 |  | Monika |  | 3 | 2 | 115800
2 | 6.0 | 52 | P/FINAL | 2025-06-19 | 09:28 | 2025-06-19 | 08:53 | Elena | PRECI | 5.8 | 6.0 | / | / | 0.126 |  |  |  | 4.44 | 203 |  | Monika |  | 3 | 2 | 115800
1 | 0.0 | 53 | P/FINAL | 2025-06-19 | 09:33 | 2025-06-19 | 08:53 | Elena | PRECI | 0.8 | 0.5 | / | / | 0.046 |  |  |  | 3.75 | 180 |  | Monika |  | 3 | 1
1 | 0.0 | 54 | P/FINAL | 2025-06-19 | 09:35 | 2025-06-19 | 08:53 | Elena | PRECI | 0.5 | 0.8 | / | / | 0.040 |  |  |  | 4.86 | 200 |  | Monika |  | 3 | 1
3 | 24.0 | 55 | Old A | 2025-06-20 | 10:44 | 2025-06-20 | 6:30 | Giorgiana |  | 26.7 | 26.6 | / | / | 0.307 |  |  |  | 3.55 |  |  | Eugenia |  | 3 | 3
3 | 24.0 | 56 | Old A | 2025-06-20 | 10:46 | 2025-06-20 | 6:30 | Giorgiana |  | 25.6 | 23.7 | / | / | 0.300 |  |  |  | 3.46 |  |  | Eugenia |  | 3 | 3
3 | 24.0 | 57 | P/FINAL | 2025-06-20 | 10:48 | 2025-06-20 | 6:30 | Giorgiana |  | 26.7 | 24.0 | / | / | 0.314 |  |  |  | 2.49 |  |  | Eugenia |  | 3 | 3
3 | 24.0 | 58 | P/FINAL | 2025-06-20 | 10:53 | 2025-06-20 | 6:30 | Giorgiana |  | 27.0 | 25.8 | / | / | 0.318 |  |  |  | 2.62 |  |  | Eugenia |  | 3 | 3
3 | 24.0 | 59 | P/FINAL | 2025-06-20 | 10:55 | 2025-06-20 | 6:30 | Giorgiana |  | 25.9 | 23.7 | / | / | 0.310 |  |  |  | 2.67 |  |  | Eugenia |  | 3 | 3
3 | 24.0 | 60 | P/FINAL | 2025-06-20 | 11:03 | 2025-06-20 | 6:30 | Giorgiana |  | 26.1 | 24.9 | / | / | 0.318 |  |  |  | 3.00 |  |  | Eugenia |  | 3 | 3
2 | 6.0 | 61 | Old A | 2025-06-20 | 11:04 | 2025-06-20 | 6:30 | Giorgiana |  | 5.9 | 6.2 | / | / | 0.129 |  |  |  | 2.34 |  |  | Eugenia |  | 3 | 2
2 | 6.0 | 62 | Old A | 2025-06-20 | 11:05 | 2025-06-20 | 6:30 | Giorgiana |  | 5.1 | 6.2 | / | / | 0.126 |  |  |  | 3.22 |  |  | Eugenia |  | 3 | 2
2 | 6.0 | 63 | P/FINAL | 2025-06-20 | 11:05 | 2025-06-20 | 6:30 | Giorgiana |  | 6.0 | 6.0 | / | / | 0.128 |  |  |  | 3.80 |  |  | Eugenia |  | 3 | 2
2 | 6.0 | 64 | P/FINAL | 2025-06-20 | 11:06 | 2025-06-20 | 6:30 | Giorgiana |  | 6.4 | 6.8 | / | / | 0.130 |  |  |  | 2.89 |  |  | Eugenia |  | 3 | 2
2 | 6.0 | 65 | P/FINAL | 2025-06-20 | 11:07 | 2025-06-20 | 6:30 | Giorgiana |  | 5.9 | 6.4 | / | / | 0.134 |  |  |  | 4.01 |  |  | Eugenia |  | 3 | 2
2 | 6.0 | 66 | P/FINAL | 2025-06-20 | 11:07 | 2025-06-20 | 6:30 | Giorgiana |  | 6.3 | 5.9 | / | / | 0.132 |  |  |  | 4.63 |  |  | Eugenia |  | 3 | 2
1 | 0.0 | 67 | P/FINAL | 2025-06-20 | 11:09 | 2025-06-20 | 6:30 | Giorgiana |  | 1.0 | 0.5 | / | / | 0.048 |  |  |  | 5.52 |  |  | Eugenia |  | 3 | 1
1 | 0.0 | 68 | P/FINAL | 2025-06-20 | 11:11 | 2025-06-20 | 6:30 | Giorgiana |  | 1.0 | 0.3 | / | / | 0.050 |  |  |  | 5.29 |  |  | Eugenia |  | 3 | 1
1 | 0.0 | 69 | P/FINAL | 2025-06-20 | 11:16 | 2025-06-20 | 6:30 | Giorgiana |  | 0.9 | 0.5 | / | / | 0.049 |  |  |  | 6.09 |  |  | Eugenia |  | 3 | 1
1 | 0.0 | 70 | P/FINAL | 2025-06-20 | 11:24 | 2025-06-20 | 6:30 | Giorgiana |  | 0.8 | 0.5 | / | / | 0.047 |  |  |  | 5.87 |  |  | Eugenia |  | 3 | 1
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 0.7 mg/L | 8 | 12 | 0.6 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 6.2 mg/L | 9 | 18 | 6.2 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
11 | 22 | 26.8 mg/L | 10 | 18 | 26.3 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 0.5 | 0.6 | NO
6.0 | 4.9 ÷ 7.1 | 6.2 | YES
24.0 | 21.1 ÷ 26.9 | 26.3 | YES
Validation Date | by