## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI38050-0 | HI3874-0 | HI93728-0
1201 | HI93728-0 | CP-R45 | W41/1 |  | Parameter Formula | N-NO3 | N-NO3 | N-NO3
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Nitrate Reagent | 2030-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
220 | 205 | 235
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1201
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-10-01
Reagent Range Min | Reagent Range Max
0.0 mg/L | 30.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-10-09 | 2025-10-16 | PRECI |  |  | 1081
[6 empty] | Expiration A | Expiration B | Expiration D
2030-06-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code | Meter 3 Family | Meter 3 Code
HI801 | CTO-775 | HI83399 | CTO-529 | HI97728 | CTO-692
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.0 | 0.0 | 0.5 |  | MR101 |  | 0.5 | & | 10% | 100% |  | 2.7 | 2.5 | 3.0
2 | 6.0 | 4.9 | 7.1
3 | 24.0 | 21.1 | 26.9
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI83399 | M. 3 HI97728 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.0 | 1 | Old A | 2025-10-09 | 09:29 | 2025-10-09 | 08:18 | ERIKA |  | 1.2 | 0.9 | 0.8 | / | 0.054 |  |  |  | 4.69 |  | 1 | Brigitta P |  | 3 | 1 | 82800
1 | 0.0 | 2 | Old A | 2025-10-09 | 09:30 | 2025-10-09 | 08:18 | ERIKA |  | 0.7 | 0.5 | 0.5 | / | 0.045 |  |  |  | 6.48 |  | 1 | Brigitta P |  | 3 | 1 | 82800
1 | 0.0 | 3 | Valid | 2025-10-09 | 09:31 | 2025-10-09 | 08:18 | ERIKA |  | 0.4 | 0.1 | 0.0 | / | 0.037 |  |  |  | 3.26 | 229 | 1 | Brigitta P |  | 3 | 1 | 82800
1 | 0.0 | 4 | Valid | 2025-10-09 | 09:32 | 2025-10-09 | 08:18 | ERIKA |  | 0.2 | 0.0 | 0.1 | / | 0.032 |  |  |  | 2.65 | 216 | 1 | Brigitta P |  | 3 | 1 | 82800
1 | 0.0 | 5 | Valid | 2025-10-09 | 09:33 | 2025-10-09 | 08:18 | ERIKA |  | 0.5 | 0.1 | 0.2 | / | 0.039 |  |  |  | 2.87 | 218 | 1 | Brigitta P |  | 3 | 1 | 82800
2 | 6.0 | 6 | Old A | 2025-10-09 | 09:42 | 2025-10-09 | 08:18 | ERIKA |  | 6.5 | 6.2 | 6.1 | / | 0.134 |  |  |  | 5.23 |  | 1 | Brigitta P |  | 3 | 2 | 82800
2 | 6.0 | 7 | Old A | 2025-10-09 | 09:43 | 2025-10-09 | 08:18 | ERIKA |  | 5.8 | 5.6 | 5.7 | / | 0.126 |  |  |  | 4 |  | 1 | Brigitta P |  | 3 | 2 | 82800
2 | 6.0 | 8 | Valid | 2025-10-09 | 09:45 | 2025-10-09 | 08:18 | ERIKA |  | 8.1 | 7.0 | 7.1 | / | 0.153 |  |  |  | 3.46 | 225 | 1 | Brigitta P |  | 3 | 2 | 82800
2 | 6.0 | 9 | Valid | 2025-10-09 | 09:46 | 2025-10-09 | 08:18 | ERIKA |  | 7.1 | 6.2 | 5.8 | / | 0.143 |  |  |  | 2.78 | 223 | 1 | Brigitta P |  | 3 | 2 | 82800
2 | 6.0 | 10 | Valid | 2025-10-09 | 09:47 | 2025-10-09 | 08:18 | ERIKA |  | 8.4 | 7.6 | 7.3 | / | 0.157 |  |  |  | 3.21 | 227 | 1 | Brigitta P |  | 3 | 2 | 82800
2 | 6.0 | 11 | Valid | 2025-10-09 | 09:48 | 2025-10-09 | 08:18 | ERIKA |  | 7.0 | 6.5 | 6.5 | / | 0.141 |  |  |  | 2.34 |  | 1 | Brigitta P |  | 3 | 2 | 82800
2 | 6.0 | 12 | Valid | 2025-10-09 | 09:49 | 2025-10-09 | 08:18 | ERIKA |  | 6.6 | 6.3 | 6.6 | / | 0.136 |  |  |  | 2.86 | 218 | 1 | Brigitta P |  | 3 | 2 | 82800
3 | 24.0 | 13 | Old A | 2025-10-09 | 09:58 | 2025-10-09 | 08:18 | ERIKA |  | 27.0 | 26.2 | 26.0 | / | 0.309 |  |  |  | 3.23 |  | 1 | Brigitta P |  | 3 | 3 | 82800
3 | 24.0 | 14 | Old A | 2025-10-09 | 09:59 | 2025-10-09 | 08:18 | ERIKA |  | 26.6 | 26.2 | 26.0 | / | 0.306 |  |  |  | 2.47 |  | 1 | Brigitta P |  | 3 | 3 | 82800
3 | 24.0 | 15 | Valid | 2025-10-09 | 10:01 | 2025-10-09 | 08:18 | ERIKA |  | 30.0 | 30.0 | 30.0 | / | 0.371 |  |  |  | 3.02 | 224 | 1 | Brigitta P |  | 3 | 3 | 82800
3 | 24.0 | 16 | Valid | 2025-10-09 | 10:02 | 2025-10-09 | 08:18 | ERIKA |  | 29.7 | 26.9 | 25.9 | / | 0.326 |  |  |  | 2.11 | 222 | 1 | Brigitta P |  | 3 | 3 | 82800
3 | 24.0 | 17 | Valid | 2025-10-09 | 10:03 | 2025-10-09 | 08:18 | ERIKA |  | 30.0 | 30.0 | 30.0 | / | 0.359 |  |  |  | 2.18 | 217 | 1 | Brigitta P |  | 3 | 3 | 82800
3 | 24.0 | 18 | Valid | 2025-10-09 | 10:04 | 2025-10-09 | 08:18 | ERIKA |  | 30.0 | 30.0 | 30.0 | / | 0.345 |  |  |  | 2.08 | 228 | 1 | Brigitta P |  | 3 | 3 | 82800
3 | 24.0 | 19 | Valid | 2025-10-09 | 10:06 | 2025-10-09 | 08:18 | ERIKA |  | 27.8 | 27.7 | 25.4 | / | 0.314 |  |  |  | 2.43 | 218 | 1 | Brigitta P |  | 3 | 3 | 82800
3 | 24.0 | 20 | Valid | 2025-10-09 | 12:52 | 2025-10-09 | 08:18 | ERIKA |  | 27.5 | 24.7 | 25.7 | / |  |  |  |  | 3.47 |  | 1 | Brigitta P |  | 3 | 3 | 82800
3 | 24.0 | 21 | Valid | 2025-10-09 | 12:56 | 2025-10-09 | 08:18 | ERIKA |  | 27.6 | 24.9 | 24.1 | / | 0.313 |  |  |  | 1.70 | 200 | 1 | Brigitta P |  | 3 | 3 | 82800
2 | 6.0 | 22 | Valid | 2025-10-09 | 12:58 | 2025-10-09 | 08:18 | ERIKA |  | 5.6 | 5.0 | 4.9 | / | 0.123 |  |  |  | 2.22 | 195 | 1 | Brigitta P |  | 3 | 2 | 82800
2 | 6.0 | 23 | Valid | 2025-10-09 | 12:59 | 2025-10-09 | 08:18 | ERIKA |  | 5.5 | 5.1 | 5.1 | / | 0.122 |  |  |  | 1.89 |  | 1 | Brigitta P |  | 3 | 2 | 82800
2 | 6.0 | 24 | Valid | 2025-10-09 | 13:03 | 2025-10-09 | 08:18 | ERIKA |  | 5.0 | 5.0 | 5.1 | / | 0.115 |  |  |  | 2.21 | 202 | 1 | Brigitta P |  | 3 | 2 | 82800
3 | 24.0 | 25 | Valid | 2025-10-09 | 13:05 | 2025-10-09 | 08:18 | ERIKA |  | 26.7 | 25.1 | 25.1 | / | 0.307 |  |  |  | 4.37 |  | 1 | Brigitta P |  | 3 | 3 | 82800
3 | 24.0 | 26 | Valid | 2025-10-09 | 13:07 | 2025-10-09 | 08:18 | ERIKA |  | 24.1 | 24.0 | 24.0 | / | 0.290 |  |  |  | 2.09 | 200 | 1 | Brigitta P |  | 3 | 3 | 82800
3 | 24.0 | 27 | Valid | 2025-10-09 | 13:09 | 2025-10-09 | 08:18 | ERIKA |  | 24.9 | 23.4 | 22.7 | / | 0.295 |  |  |  | 1.65 | 205 | 1 | Brigitta P |  | 3 | 3 | 82800
3 | 24.0 | 28 | P/FINAL | 2025-10-13 | 11:01 | 2025-10-13 | 07:51 | ROLAND | PRECI | 26.7 | 23.5 | 25.4 | / | 0.307 |  |  |  | 5.50 |  | 1 | Brigitta P |  | 3 | 3 | 82800
3 | 24.0 | 29 | P/FINAL | 2025-10-13 | 11:02 | 2025-10-13 | 07:51 | ROLAND | PRECI | 24.9 | 23.1 | 22.4 | / | 0.295 |  |  |  | 5.22 |  | 1 | Brigitta P |  | 3 | 3 | 82800
3 | 24.0 | 30 | P/FINAL | 2025-10-13 | 11:03 | 2025-10-13 | 07:51 | ROLAND | PRECI | 25.5 | 25.0 | 22.4 | / | 0.299 |  |  |  | 4.82 |  | 1 | Brigitta P |  | 3 | 3 | 82800
2 | 6.0 | 31 | P/FINAL | 2025-10-13 | 11:04 | 2025-10-13 | 07:51 | ROLAND | PRECI | 7.1 | 6.0 | 5.5 | / | 0.142 |  |  |  | 6.16 |  | 1 | Brigitta P |  | 3 | 2 | 82800
2 | 6.0 | 32 | P/FINAL | 2025-10-13 | 11:08 | 2025-10-13 | 07:51 | ROLAND | PRECI | 6.1 | 5.5 | 4.9 | / | 0.130 |  |  |  | 5.89 |  | 1 | Brigitta P |  | 3 | 2 | 82800
2 | 6.0 | 33 | P/FINAL | 2025-10-13 | 11:10 | 2025-10-13 | 07:51 | ROLAND | PRECI | 7.3 | 6.9 | 5.9 | / | 0.144 |  |  |  | 5.98 |  | 1 | Brigitta P |  | 3 | 2 | 82800
2 | 6.0 | 34 | Old A | 2025-10-13 | 11:11 | 2025-10-13 | 07:51 | ROLAND | PRECI | 7.1 | 6.4 | 6.1 | / | 0.142 |  |  |  | 4.18 |  | 1 | Brigitta P |  | 3 | 2 | 82800
2 | 6.0 | 35 | Old A | 2025-10-13 | 11:11 | 2025-10-13 | 07:51 | ROLAND | PRECI | 6.7 | 6.2 | 5.1 | / | 0.137 |  |  |  | 5.37 |  | 1 | Brigitta P |  | 3 | 2 | 82800
3 | 24.0 | 36 | Old A | 2025-10-13 | 11:14 | 2025-10-13 | 07:51 | ROLAND | PRECI | 28.1 | 26.7 | 26.7 | / | 0.319 |  |  |  | 4.67 |  | 1 | Brigitta P |  | 3 | 3 | 82800
3 | 24.0 | 37 | Old A | 2025-10-13 | 11:15 | 2025-10-13 | 07:51 | ROLAND | PRECI | 26.9 | 26.5 | 26.5 | / | 0.310 |  |  |  | 3.35 |  | 1 | Brigitta P |  | 3 | 3 | 82800
1 | 0.0 | 38 | P/FINAL | 2025-10-13 | 11:16 | 2025-10-13 | 07:51 | ROLAND | PRECI | 0.5 | 0.0 | 0.0 | / | 0.040 |  |  |  | 5.18 |  | 1 | Brigitta P |  | 3 | 1 | 82800
1 | 0.0 | 39 | P/FINAL | 2025-10-13 | 11:17 | 2025-10-13 | 07:51 | ROLAND | PRECI | 0.3 | 0.1 | 0.0 | / | 0.035 |  |  |  | 5.84 |  | 1 | Brigitta P |  | 3 | 1 | 82800
1 | 0.0 | 40 | P/FINAL | 2025-10-13 | 11:17 | 2025-10-13 | 07:51 | ROLAND | PRECI | 0.1 | 0.1 | 0.0 | / | 0.0035 |  |  |  | 6.78 |  | 1 | Brigitta P |  | 3 | 1 | 82800
1 | 0.0 | 41 | Old A | 2025-10-13 | 11:18 | 2025-10-13 | 07:51 | ROLAND | PRECI | 0.2 | 0.0 | 0.0 | / | 0.033 |  |  |  | 6.19 |  | 1 | Brigitta P |  | 3 | 1 | 82800
2 | 6.0 | 42 | P/FINAL | 2025-10-14 | 14:43 | 2025-10-13 | 15:00 | ELENA | PRECI | 6.8 | 6.7 | 6.3 | / | 0.138 |  |  |  | 1.72 |  | 1 | Brigitta P |  | 3 | 2 | 82800
2 | 6.0 | 43 | P/FINAL | 2025-10-14 | 14:44 | 2025-10-13 | 15:00 | ELENA | PRECI | 7.0 | 5.8 | 5.4 | / | 0.141 |  |  |  | 6.72 |  | 1 | Brigitta P |  | 3 | 2 | 82800
2 | 6.0 | 44 | P/FINAL | 2025-10-14 | 14:46 | 2025-10-13 | 15:00 | ELENA | PRECI | 6.2 | 7.0 | 5.6 | / | 0.131 |  |  |  | 5.39 |  | 1 | Brigitta P |  | 3 | 2 | 82800
2 | 6.0 | 45 | P/FINAL | 2025-10-14 | 14:47 | 2025-10-13 | 06:50 | IRINA | PRECI | 6.7 | 5.6 | 5.8 | / | 0.137 |  |  |  | 6.59 |  | 1 | Brigitta P |  | 3 | 2 | 82800
2 | 6.0 | 46 | P/FINAL | 2025-10-14 | 14:48 | 2025-10-13 | 06:50 | IRINA | PRECI | 6.9 | 6.9 | 6.1 | / | 0.140 |  |  |  | 5.93 |  | 1 | Brigitta P |  | 3 | 2 | 82800
2 | 6.0 | 47 | P/FINAL | 2025-10-14 | 14:49 | 2025-10-13 | 06:50 | IRINA | PRECI | 6.9 | 6.5 | 5.1 | / | 0.139 |  |  |  | 6.73 |  | 1 | Brigitta P |  | 3 | 2 | 82800
3 | 24.0 | 48 | P/FINAL | 2025-10-14 | 15:03 | 2025-10-13 | 15:00 | ELENA | PRECI | 24.0 | 26.0 | 22.2 | / | 0.289 |  |  |  | 9.06 |  | 1 | Brigitta P |  | 3 | 3 | 82800
3 | 24.0 | 49 | P/FINAL | 2025-10-14 | 15:04 | 2025-10-13 | 15:00 | ELENA | PRECI | 26.7 | 25.9 | 24.7 | / | 0.307 |  |  |  | 8.77 |  | 1 | Brigitta P |  | 3 | 3 | 82800
3 | 24.0 | 50 | P/FINAL | 2025-10-14 | 15:05 | 2025-10-13 | 15:00 | ELENA | PRECI | 26.1 | 24.7 | 25.3 | / | 0.303 |  |  |  | 5.20 |  | 1 | Brigitta P |  | 3 | 3 | 82800
3 | 24.0 | 51 | P/FINAL | 2025-10-14 | 15:06 | 2025-10-13 | 15:00 | IRINA | PRECI | 25.3 | 23.6 | 25.4 | / | 0.298 |  |  |  | 8.10 |  | 1 | Brigitta P |  | 3 | 3 | 82800
3 | 24.0 | 52 | P/FINAL | 2025-10-14 | 15:08 | 2025-10-13 | 15:00 | IRINA | PRECI | 26.2 | 26.7 | 25.6 | / | 0.304 |  |  |  | 7.15 |  | 1 | Brigitta P |  | 3 | 3 | 82800
3 | 24.0 | 53 | P/FINAL | 2025-10-14 | 15:09 | 2025-10-13 | 15:00 | IRINA | PRECI | 28.0 | 28.0 | 26.2 | / |  |  |  |  | 7.05 |  | 1 | Brigitta P |  | 3 | 3 | 82800
1 | 0.0 | 54 | P/FINAL | 2025-10-14 | 15:18 | 2025-10-13 | 15:00 | IRINA | PRECI | 0.4 | 0.3 | 0.1 | / | 0.038 |  |  |  | 11.4 |  | 1 | Brigitta P |  | 3 | 1 | 82800
1 | 0.0 | 55 | P/FINAL | 0,32025/10/14 | 15:19 | 2025-10-13 | 15:00 | IRINA | PRECI | 0.3 | 0.1 | 0.1 | / | 0.035 |  |  |  | 6.72 |  | 1 | Brigitta P |  | 3 | 1 | 82800
1 | 0.0 | 56 | P/FINAL | 0,32025/10/14 | 15:20 | 2025-10-13 | 15:00 | ELENA | PRECI | 0.3 | 0.3 | 0.1 | / | 0.035 |  |  |  | 11.1 |  | 1 | Brigitta P |  | 3 | 1 | 82800
1 | 0.0 | 57 | P/FINAL | 0,32025/10/14 | 15:21 | 2025-10-13 | 15:00 | ELENA | PRECI | 0.5 | 0.4 | 0.1 | / | 0.039 |  |  |  | 11.4 |  | 1 | Brigitta P |  | 3 | 1 | 82800
2 | 6.0 | 58 | P/FINAL | 2025-10-16 | 06:22 | 2025-10-15 | 10:04 | DORINA | PRECI | 7.1 | 6.8 | 6.6 | / | 0.142 |  |  |  | 14.2 |  | 1 | Brigitta P |  | 3 | 2 | 82800
2 | 6.0 | 59 | P/FINAL | 2025-10-16 | 06:23 | 2025-10-15 | 10:04 | DORINA | PRECI | 6.7 | 6.5 | 7.0 | / | 0.137 |  |  |  | 6.52 |  | 1 | Brigitta P |  | 3 | 2 | 82800
3 | 24.0 | 60 | P/FINAL | 2025-10-16 | 06:25 | 2025-10-15 | 10:04 | DORINA | PRECI | 26.9 | 27.1 | 26.8 | / |  |  |  |  | 5.82 |  | 1 | Brigitta P |  | 3 | 3 | 82800
3 | 24.0 | 61 | P/FINAL | 2025-10-16 | 06:26 | 2025-10-15 | 10:04 | DORINA | PRECI | 26.7 | 25.9 | 26.2 | / |  |  |  |  | 5.53 |  | 1 | Brigitta P |  | 3 | 3 | 82800
1 | 0.0 | 62 | P/FINAL | 2025-10-16 | 06:27 | 2025-10-15 | 10:04 | DORINA | PRECI | 0.1 | 0.2 | 0.1 | / | 0.031 |  |  |  | 7.08 | 201 | 1 | Brigitta P |  | 3 | 1 | 82800
2 | 6.0 | 63 | P/FINAL | 2025-10-16 | 06:35 | 2025-10-15 | 14:34 | ANA | PRECI | 7.1 | 7.1 | 6.8 | / |  |  |  |  | 9.02 | 202 | 1 | Brigitta P |  | 3 | 2 | 82800
2 | 6.0 | 64 | P/FINAL | 2025-10-16 | 06:36 | 2025-10-15 | 14:34 | ANA | PRECI | 7.0 | 6.5 | 6.3 | / | 0.141 |  |  |  | 6.93 | 203 | 1 | Brigitta P |  | 3 | 2 | 82800
3 | 24.0 | 65 | P/FINAL | 2025-10-16 | 06:37 | 2025-10-15 | 14:34 | ANA | PRECI | 24.7 | 25.3 | 25.0 | / | 0.294 |  |  |  | 9.10 | 204 | 1 | Brigitta P |  | 3 | 3 | 82800
3 | 24.0 | 66 | P/FINAL | 2025-10-16 | 06:39 | 2025-10-15 | 14:34 | ANA | PRECI | 25.8 | 25.2 | 25.9 | / | 0.301 |  |  |  | 7.23 | 201 | 1 | Brigitta P |  | 3 | 3 | 82800
1 | 0.0 | 67 | P/FINAL | 2025-10-16 | 06:39 | 2025-10-15 | 14:34 | ANA | PRECI | 0.4 | 0.2 | 0.3 | / | 0.038 |  |  |  | 10.3 | 200 | 1 | Brigitta P |  | 3 | 1 | 82800
1 | 0.0 | 68 | P/FINAL | 2025-11-06 | 19:20 | 2025-10-16 | 20:40 | ELENA | PRECI | 0.5 | 0.2 | 0.1 | / | 0.039 |  |  |  | 4.68 |  | 1 | Andrea V |  | 3 | 1
1 | 0.0 | 69 | P/FINAL | 2025-11-06 | 19:22 | 2025-10-16 | 20:40 | ELENA | PRECI | 0.5 | 0.4 | 0.5 | / | 0.040 |  |  |  | 5.53 |  | 1 | Andrea V |  | 3 | 1
2 | 6.0 | 70 | P/FINAL | 2025-11-06 | 19:26 | 2025-10-16 | 20:40 | ELENA | PRECI | 6.7 | 6.1 | 5.5 | / | 0.137 |  |  |  | 4.41 |  | 1 | Andrea V |  | 3 | 2
2 | 6.0 | 71 | P/FINAL | 2025-11-06 | 19:28 | 2025-10-16 | 20:40 | ELENA | PRECI | 6.9 | 5.5 | 5.2 | / | 0.140 |  |  |  | 3.55 |  | 1 | Andrea V |  | 3 | 2
3 | 24.0 | 72 | P/FINAL | 2025-11-06 | 19:34 | 2025-10-16 | 20:40 | ELENA | PRECI | 26.7 | 22.2 | 23.7 | / | 0.307 |  |  |  | 2.59 |  | 1 | Andrea V |  | 3 | 3
3 | 24.0 | 73 | P/FINAL | 2025-11-06 | 19:38 | 2025-10-16 | 20:40 | ELENA | PRECI | 30.0 | 28.7 | 27.9 | / | 0.329 |  |  |  | 3.43 |  | 1 | Andrea V |  | 3 | 3
3 | 24.0 | 74 | P/FINAL | 2025-11-06 | 19:45 | 2025-10-16 | 20:40 | ELENA | PRECI | 26.9 | 25.4 | 24.3 | / | 0.308 |  |  |  | 4.04 |  | 1 | Andrea V |  | 3 | 3
2 | 6.0 | 75 | Old A | 2025-11-06 | 19:55 | 2025-10-16 | 20:40 | ELENA | PRECI | 6.3 | 6.0 | 5.8 | / | 0.132 |  |  |  | 5.91 |  | 1 | Andrea V |  | 3 | 2
3 | 24.0 | 76 | Old A | 2025-11-06 | 19:57 | 2025-10-16 | 20:40 | ELENA | PRECI | 25.3 | 21.8 | 21.0 | / | 0.298 |  |  |  | 4.57 |  | 1 | Andrea V |  | 3 | 3 | 121429
1 | 0.0 | 77 | Old A | 2025-11-06 | 20:01 | 2025-10-16 | 20:40 | ELENA | PRECI | 1.6 | 1.6 | 1.4 | / | 0.062 |  |  |  | 6.67 |  | 1 | Andrea V |  | 3 | 1 | 121429
1 | 0.0 | 78 | Old A | 2025-11-06 | 20:09 | 2025-10-16 | 20:40 | ELENA | PRECI | 0.5 | 0.4 | 0.3 | / | 0.039 |  |  |  | 4.13 |  | 1 | Andrea V |  | 3 | 1 | 121429
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
11 | 33 | 0.2 mg/L | 11 | 33 | 0.2 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
15 | 45 | 6.4 mg/L | 15 | 45 | 6.4 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
15 | 45 | 25.6 mg/L | 15 | 45 | 25.6 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 0.5 | 0.2 | YES
6.0 | 4.9 ÷ 7.1 | 6.4 | YES
24.0 | 21.1 ÷ 26.9 | 25.6 | YES
Validation Date | by