## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI38050-0 | HI3874-0 | HI93728-0
1223 | HI93728-0 | CP-R45 | W 45/1 |  | Parameter Formula | N-NO3 | N-NO3 | N-NO3
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Nitrate Reagent | 2030-11-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
220 | 205 | 235
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.0 mg/L | 30.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-11-04 | 2025-11-06 | 1 HEAD |  |  | 1201
[6 empty] | Expiration A | Expiration B | Expiration D
2030-10-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code | Meter 3 Family | Meter 3 Code
HI801 | CTO-832 | HI97728 | CTO-692 | HI83399 | CTO-520
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 6.0 | 4.9 | 7.1 |  | MR101 |  | 0.5 | & | 10% | 100% |  | 2.7 | 2.5 | 3.0
1 | 0.0 | 0.0 | 0.5
3 | 24.0 | 21.1 | 26.9
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97728 | M. 3 HI83399 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 6.0 | 1 | Old A | 2025-11-04 | 14:02 | 2025-11-04 | 10:56 | ERIKA |  | 8.0 | 7.1 | 7.0 | / | 0.152 |  |  |  | 4.38 |  |  | Andrea V |  | 3 | 2 | 12492810:
2 | 6.0 | 2 | Old A | 2025-11-04 | 14:02 | 2025-11-04 | 10:56 | ERIKA |  | 6.6 | 6.4 | 6.3 | / | 0.136 |  |  |  | 3.85 |  |  | Andrea V |  | 3 | 2 | 12492810:
2 | 6.0 | 3 | Valid | 2025-11-04 | 14:18 | 2025-11-04 | 10:56 | ERIKA |  | 6.2 | 5.6 | 5.6 | / | 0.131 |  |  |  | 3.89 | 221 |  | Andrea V |  | 3 | 2 | 12492810:
2 | 6.0 | 4 | Valid | 2025-11-04 | 14:36 | 2025-11-04 | 10:56 | ERIKA |  | 6.1 | 5.5 | 5.4 | / | 0.130 |  |  |  | 3.78 | 223 |  | Andrea V |  | 3 | 2 | 12492810:
2 | 6.0 | 5 | Valid | 2025-11-04 | 14:42 | 2025-11-04 | 10:56 | ERIKA |  | 6.4 | 6.2 | 6.2 | / | 0.133 |  |  |  | 3.33 | 225 |  | Andrea V |  | 3 | 2 | 12492810:
2 | 6.0 | 6 | Old A | 2025-11-04 | 14:44 | 2025-11-04 | 10:56 | ERIKA |  | 6.7 | 5.6 | 5.6 | / | 0.137 |  |  |  | 3.55 |  |  | Andrea V |  | 3 | 2 | 12492810:
1 | 0.0 | 7 | Old A | 2025-11-04 | 14:48 | 2025-11-04 | 10:56 | ERIKA |  | 0.2 | 0.0 | 0.0 | / | 0.034 |  |  |  | 4.59 |  |  | Andrea V |  | 3 | 1
1 | 0.0 | 8 | Valid | 2025-11-04 | 14:52 | 2025-11-04 | 10:56 | ERIKA |  | 0.0 | 0.0 | 0.1 | / | 0.028 |  |  |  | 5.02 | 225 |  | Andrea V |  | 3 | 1
1 | 0.0 | 9 | Valid | 2025-11-04 | 14:54 | 2025-11-04 | 10:56 | ERIKA |  | 0.0 | 0.0 | 0.0 | / | 0.026 |  |  |  | 4.55 | 229 |  | Andrea V |  | 3 | 1
3 | 24.0 | 10 | Valid | 2025-11-04 | 15:14 | 2025-11-04 | 10:56 | ERIKA |  | 30.0 | 30.0 | 30.0 | / | 0.362 |  |  |  | 4.01 | 220 |  | Andrea V |  | 3 | 3 | 25933
3 | 24.0 | 11 | Valid | 2025-11-04 | 15:56 | 2025-11-04 | 10:56 | ERIKA |  | 26.2 | 25.6 | 25.6 | / | 0.304 |  |  |  | 2.49 | 196 |  | Andrea V |  | 3 | 3 | 25933
3 | 24.0 | 12 | Old A | 2025-11-04 | 16:13 | 2025-11-04 | 10:56 | ERIKA |  | 29.7 | 27.6 | 27.5 | / | 0.326 |  |  |  | 3.47 |  |  | Andrea V |  | 3 | 3 | 25933
3 | 24.0 | 13 | Valid | 2025-11-04 | 16:15 | 2025-11-04 | 10:56 | ERIKA |  | 23.4 | 22.7 | 22.6 | / | 0.285 |  |  |  | 2.71 | 192 |  | Andrea V |  | 3 | 3 | 25933
3 | 24.0 | 14 | Valid | 2025-11-04 | 16:17 | 2025-11-04 | 10:56 | ERIKA |  | 27.0 | 26.5 | 26.5 | / | 0.309 |  |  |  | 1.97 | 198 |  | Andrea V |  | 3 | 3 | 25933
1 | 0.0 | 15 | P/FINAL | 2025-11-05 | 08:58 | 2025-11-05 | 06:59 | FLORICA | PRECI | 0.2 | 0.3 | 0.1 | / | 0.032 |  |  |  | 4.73 |  |  | Andrea V |  | 3 | 1
1 | 0.0 | 16 | P/FINAL | 2025-11-05 | 08:58 | 2025-11-05 | 06:59 | FLORICA | PRECI | 0.2 | 0.1 | 0.1 | / | 0.033 |  |  |  | 3.86 |  |  | Andrea V |  | 3 | 1
2 | 6.0 | 17 | P/FINAL | 2025-11-05 | 08:59 | 2025-11-05 | 06:59 | FLORICA | PRECI | 6.9 | 5.7 | 5.6 | / | 0.140 |  |  |  | 3.97 |  |  | Andrea V |  | 3 | 2
2 | 6.0 | 18 | P/FINAL | 2025-11-05 | 08:59 | 2025-11-05 | 06:59 | FLORICA | PRECI | 7.1 | 5.5 | 5.6 | / | 0.142 |  |  |  | 3.84 |  |  | Andrea V |  | 3 | 2
2 | 6.0 | 19 | P/FINAL | 2025-11-05 | 09:00 | 2025-11-05 | 06:59 | FLORICA | PRECI | 5.6 | 5.1 | 5.2 | / | 0.123 |  |  |  | 3.54 |  |  | Andrea V |  | 3 | 2
3 | 24.0 | 20 | P/FINAL | 2025-11-05 | 09:00 | 2025-11-05 | 06:59 | FLORICA | PRECI | 25.9 | 21.8 | 22.8 | / | 0.302 |  |  |  | 2.52 |  |  | Andrea V |  | 3 | 3
3 | 24.0 | 21 | P/FINAL | 2025-11-05 | 09:00 | 2025-11-05 | 06:59 | FLORICA | PRECI | 29.6 | 26.3 | 29.7 | / | 0.325 |  |  |  | 3.23 |  |  | Andrea V |  | 3 | 3
3 | 24.0 | 22 | P/FINAL | 2025-11-05 | 09:01 | 2025-11-05 | 06:59 | FLORICA | PRECI | 27.0 | 24.3 | 25.0 | / | 0.309 |  |  |  | 3.25 |  |  | Andrea V |  | 3 | 3
3 | 24.0 | 23 | P/FINAL | 2025-11-05 | 09:01 | 2025-11-05 | 06:59 | FLORICA | PRECI | 27.2 | 25.4 | 25.3 | / | 0.310 |  |  |  | 3.09 |  |  | Andrea V |  | 3 | 3
3 | 24.0 | 24 | P/FINAL | 2025-11-05 | 09:02 | 2025-11-05 | 06:59 | FLORICA | PRECI | 25.6 | 20.2 | 21.8 | / | 0.300 |  |  |  | 2.42 |  |  | Andrea V |  | 3 | 3
2 | 6.0 | 25 | P/FINAL | 2025-11-05 | 15:26 | 2025-11-05 | 14:45 | IRINA | PRECI | 6.1 | 5.3 | 5.3 | / | 0.130 |  |  |  | 2.54 |  |  | Kinga |  | 3 | 2 | 121429
2 | 6.0 | 26 | P/FINAL | 2025-11-05 | 15:30 | 2025-11-05 | 14:45 | IRINA | PRECI | 7.1 | 6.0 | 6.0 | / | 0.142 |  |  |  | 4.67 |  |  | Kinga |  | 3 | 2 | 121429
2 | 6.0 | 27 | P/FINAL | 2025-11-05 | 15:33 | 2025-11-05 | 14:45 | IRINA | PRECI | 6.0 | 5.6 | 5.5 | / | 0.136 |  |  |  | 3.22 |  |  | Kinga |  | 3 | 2 | 121429
3 | 24.0 | 28 | P/FINAL | 2025-11-05 | 15:39 | 2025-11-05 | 14:45 | IRINA | PRECI | 28.3 | 23.7 | 22.5 | / | 0.323 |  |  |  | 2.83 |  |  | Kinga |  | 3 | 3
3 | 24.0 | 29 | P/FINAL | 2025-11-05 | 15:40 | 2025-11-05 | 14:45 | IRINA | PRECI | 23.4 | 23.2 | 23.4 | / | 0.296 |  |  |  | 2.46 |  |  | Kinga |  | 3 | 3
3 | 24.0 | 30 | P/FINAL | 2025-11-05 | 15:41 | 2025-11-05 | 14:45 | IRINA | PRECI | 25.2 | 23.4 | 23.5 | / | 0.297 |  |  |  | 2.27 |  |  | Kinga |  | 3 | 3
1 | 0.0 | 31 | P/FINAL | 2025-11-05 | 15:49 | 2025-11-05 | 14:45 | IRINA |  | 0.2 | 0.2 | 0.1 | / | 0.033 |  |  |  | 7.48 |  |  | Kinga |  | 3 | 1
1 | 0.0 | 32 | P/FINAL | 2025-11-05 | 15:50 | 2025-11-05 | 14:45 | IRINA |  | 0.2 | 0.2 | 0.0 | / | 0.034 |  |  |  | 5.35 |  |  | Kinga |  | 3 | 1
2 | 6.0 | 33 | P/FINAL | 2025-11-06 | 11:57 | 2025-11-06 | 06:45 | FLORICA | 1 | 7.1 | 7.1 | 7.1 | / | 0.142 |  |  |  | 3.71 |  |  | Kinga |  | 3 | 2
2 | 6.0 | 34 | P/FINAL | 2025-11-06 | 11:57 | 2025-11-06 | 06:45 | FLORICA | 1 | 7.1 | 6.6 | 5.8 | / | 0.142 |  |  |  | 2.95 |  |  | Kinga |  | 3 | 2
2 | 6.0 | 35 | P/FINAL | 2025-11-06 | 11:59 | 2025-11-06 | 06:45 | FLORICA | 1 | 6.9 | 5.8 | 5.9 | / | 0.140 |  |  |  | 3.10 |  |  | Kinga |  | 3 | 2
3 | 24.0 | 36 | P/FINAL | 2025-11-06 | 12:06 | 2025-11-06 | 06:45 | FLORICA | 1 | 30.0 | 25.7 | 26.4 | / | 0.344 |  |  |  | 2.98 |  |  | Kinga |  | 3 | 3
3 | 24.0 | 37 | P/FINAL | 2025-11-06 | 12:08 | 2025-11-06 | 06:45 | FLORICA | 1 | 30.0 | 26.1 | 26.3 | / | 0.355 |  |  |  | 3.21 |  |  | Kinga |  | 3 | 3
3 | 24.0 | 38 | P/FINAL | 2025-11-06 | 12:10 | 2025-11-06 | 06:45 | FLORICA | 1 | 30.0 | 25.8 | 24.5 | / | 0.351 |  |  |  | 2.94 |  |  | Kinga |  | 3 | 3
1 | 0.0 | 39 | P/FINAL | 2025-11-06 | 12:14 | 2025-11-06 | 06:45 | FLORICA | 1 | 0.5 | 0.3 | 0.2 | / | 0.039 |  |  |  | 4.31 |  |  | Kinga |  | 3 | 1
1 | 0.0 | 40 | P/FINAL | 2025-11-06 | 12:16 | 2025-11-06 | 06:45 | FLORICA | 1 | 0.5 | 0.4 | 0.3 | / | 0.039 |  |  |  | 4.14 |  |  | Kinga |  | 3 | 1
2 | 6.0 | 41 | P/FINAL | 2025-11-10 | 10:29 | 2025-11-07 | 06:41 | FLORICA | PRECI | 6.7 | 5.6 | 5.2 | / | 0.137 |  |  |  | 3.78 |  |  | Kinga |  | 3 | 2
2 | 6.0 | 42 | P/FINAL | 2025-11-10 | 10:30 | 2025-11-07 | 06:41 | FLORICA | PRECI | 6.5 | 6.1 | 5.4 | / | 0.134 |  |  |  | 3.30 |  |  | Kinga |  | 3 | 2
3 | 24.0 | 43 | P/FINAL | 2025-11-10 | 10:38 | 2025-11-07 | 06:41 | FLORICA | PRECI | 30.0 | 24.9 | 24.0 | / | 0.329 |  |  |  | 2.94 |  |  | Kinga |  | 3 | 3
3 | 24.0 | 44 | P/FINAL | 2025-11-10 | 10:39 | 2025-11-07 | 06:41 | FLORICA | PRECI | 30.0 | 26.8 | 27.1 | / | 0.336 |  |  |  | 3.65 |  |  | Kinga |  | 3 | 3
1 | 0.0 | 45 | P/FINAL | 2025-11-10 | 10:46 | 2025-11-07 | 06:41 | FLORICA | PRECI | 0.4 | 0.4 | 0.0 | / | 0.038 |  |  |  | 5.79 |  |  | Kinga |  | 3 | 1
1 | 0.0 | 46 | P/FINAL | 2025-11-10 | 10:47 | 2025-11-07 | 06:41 | FLORICA | PRECI | 0.4 | 0.4 | 0.3 | / | 0.038 |  |  |  | 4.93 |  |  | Kinga |  | 3 | 1
2 | 6.0 | 47 | P/FINAL | 2025-11-10 | 10:50 | 2025-11-07 | 14:21 | IRINA | PRECI | 6.5 | 6.3 | 6.0 | / | 0.135 |  |  |  | 3.99 |  |  | Kinga |  | 3 | 2
2 | 6.0 | 48 | P/FINAL | 2025-11-10 | 10:54 | 2025-11-07 | 14:21 | IRINA | PRECI | 6.9 | 6.3 | 6.5 | / | 0.140 |  |  |  | 3.89 |  |  | Kinga |  | 3 | 2 | 121429
3 | 24.0 | 49 | P/FINAL | 2025-11-10 | 10:57 | 2025-11-07 | 14:21 | IRINA | PRECI | 26.2 | 23.7 | 26.9 | / | 0.304 |  |  |  | 3.11 |  |  | Kinga |  | 3 | 3 | 121429
3 | 24.0 | 50 | P/FINAL | 2025-11-10 | 10:58 | 2025-11-07 | 14:21 | IRINA | PRECI | 26.2 | 25.7 | 25.4 | / | 0.304 |  |  |  | 3.09 |  |  | Kinga |  | 3 | 3 | 121429
1 | 0.0 | 51 | P/FINAL | 2025-11-10 | 11:01 | 2025-11-07 | 14:21 | IRINA | PRECI | 0.4 | 0.3 | 0.4 | / | 0.038 |  |  |  | 5.55 |  |  | Kinga |  | 3 | 1 | 121429
1 | 0.0 | 52 | P/FINAL | 2025-11-10 | 11:04 | 2025-11-07 | 14:21 | IRINA | PRECI | 0.4 | 0.2 | 0.4 | / | 0.037 |  |  |  | 4.97 |  |  | Kinga |  | 3 | 1 | 121429
1 | 0.0 | 53 | P/FINAL | 2025-11-10 | 11:10 | 2025-11-10 | 06:44 | GABRIELLA | PRECI | 0.6 | 0.5 | 0.0 | / | 0.041 |  |  |  | 6.01 |  |  | Kinga |  | 3 | 1 | 121429
1 | 0.0 | 54 | P/FINAL | 2025-11-10 | 11:10 | 2025-11-10 | 06:44 | GABRIELLA | PRECI | 0.6 | 0.4 | 0.0 | / | 0.042 |  |  |  | 5.20 |  |  | Kinga |  | 3 | 1 | 121429
2 | 6.0 | 55 | P/FINAL | 2025-11-10 | 11:17 | 2025-11-10 | 06:44 | GABRIELLA | PRECI | 6.3 | 6.6 | 6.4 | / | 0.132 |  |  |  | 5.21 |  |  | Kinga |  | 3 | 2 | 121429
2 | 6.0 | 56 | P/FINAL | 2025-11-10 | 11:18 | 2025-11-10 | 06:44 | GABRIELLA | PRECI | 6.4 | 6.1 | 6.8 | / | 0.133 |  |  |  | 3.97 |  |  | Kinga |  | 3 | 2 | 121429
3 | 24.0 | 57 | P/FINAL | 2025-11-10 | 11:26 | 2025-11-10 | 06:44 | GABRIELLA | PRECI | 30.0 | 29.2 | 30.0 | / | 0.342 |  |  |  | 3.51 |  |  | Kinga |  | 3 | 3 | 121429
3 | 24.0 | 58 | P/FINAL | 2025-11-10 | 11:27 | 2025-11-10 | 06:44 | GABRIELLA | PRECI | 30.0 | 29.5 | 29.7 | / | 0.344 |  |  |  | 4.20 |  |  | Kinga |  | 3 | 3 | 121429
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
15 | 45 | 6.2 mg/L | 15 | 45 | 6.2 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
12 | 36 | 0.3 mg/L | 12 | 36 | 0.3 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
17 | 51 | 26.2 mg/L | 17 | 51 | 26.2 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 0.5 | 0.3 | YES
6.0 | 4.9 ÷ 7.1 | 6.2 | YES
24.0 | 21.1 ÷ 26.9 | 26.2 | YES
Validation Date | by