## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI93730A-0
1140 | HI93730A-0 | CP-R46 | W 35/1 |  | Parameter Formula | Mo
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Molybdenum Reagent A | 2030-08-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
265 | 250 | 280
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1140 | 1122 | 0932
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-08-01 | 2030-07-01 | 2030-02-01
Reagent Range Min | Reagent Range Max
0.0 mg/L | 40.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-08-26 | 2025-09-18 | 1 HEAD |  |  | 0638
[6 empty] | Expiration A | Expiration B | Expiration D
2029-07-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97730 | CTO-640
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.0 | 0.0 | 0.3 |  | MR19 |  | 0.3 | & | 5% | 100% |  | 4.1 | 3.9 | 4.3
2 | 8.0 | 7.3 | 8.7 | [8 empty] | 4.1 | 3.9 | 4.3
3 | 32.0 | 30.1 | 33.9 | [8 empty] | 4.2 | 4.0 | 4.4
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.0 | 1 | Old A | 2025-08-27 | 08:40 | 2025-08-26 | 11:40 | ERIKA |  | 0.3 | 0.0 | / | / | 0.025 |  |  |  | 15.8 |  | 1 | Kinga |  | 3 | 1 | 30952
1 | 0.0 | 2 | Old A | 2025-08-27 | 08:40 | 2025-08-26 | 11:40 | ERIKA |  | 0.3 | 0.0 | / | / | 0.025 |  |  |  | 3.02 |  | 1 | Kinga |  | 3 | 1 | 30952
2 | 8.0 | 3 | Old A | 2025-08-27 | 08:46 | 2025-08-26 | 11:40 | ERIKA |  | 8.5 | 7.9 | / | / | 0.352 |  |  |  | 3.04 |  | 1 | Kinga |  | 3 | 2 | 30952
2 | 8.0 | 4 | Old A | 2025-08-27 | 08:46 | 2025-08-26 | 11:40 | ERIKA |  | 8.7 | 8.1 | / | / | 0.357 |  |  |  | 3.19 |  | 1 | Kinga |  | 3 | 2 | 30952
3 | 32.0 | 5 | Old A | 2025-08-27 | 08:50 | 2025-08-26 | 11:40 | ERIKA |  | 32.2 | 33.6 | / | / | 1.313 |  |  |  | 3.61 |  | 1 | Kinga |  | 3 | 3 | 30952
3 | 32.0 | 6 | Old A | 2025-08-27 | 08:50 | 2025-08-26 | 11:40 | ERIKA |  | 33.4 | 33.6 | / | / | 1.321 |  |  |  | 3.19 |  | 1 | Kinga |  | 3 | 3 | 30952
1 | 0.0 | 7 | Valid | 2025-08-27 | 08:58 | 2025-08-26 | 11:40 | ERIKA |  | 0.0 | 0.0 | / | / | 0.009 |  |  | 4.330 | 2.32 |  | 1 | Kinga |  | 3 | 1 | 30952
1 | 0.0 | 8 | Valid | 2025-08-27 | 08:59 | 2025-08-26 | 11:40 | ERIKA |  | 0.0 | 0.0 | / | / | 0.009 |  |  |  | 2.02 |  | 1 | Kinga |  | 3 | 1 | 30952
2 | 8.0 | 9 | Valid | 2025-08-27 | 09:02 | 2025-08-26 | 11:40 | ERIKA |  | 8.2 | 7.7 | / | / | 0.338 |  |  | 3.971 | 1.57 |  | 1 | Kinga |  | 3 | 2 | 30952
2 | 8.0 | 10 | Valid | 2025-08-27 | 09:03 | 2025-08-26 | 11:40 | ERIKA |  | 8.1 | 7.5 | / | / | 0.336 |  |  |  | 1.84 |  | 1 | Kinga |  | 3 | 2 | 30952
2 | 8.0 | 11 | Valid | 2025-08-27 | 09:04 | 2025-08-26 | 11:40 | ERIKA |  | 8.2 | 7.8 | / | / | 0.339 |  |  |  | 1.69 |  | 1 | Kinga |  | 3 | 2 | 30952
3 | 32.0 | 12 | Valid | 2025-08-27 | 09:08 | 2025-08-26 | 11:40 | ERIKA |  | 31.5 | 32.8 | / | / | 0.998 |  |  |  | 1.75 |  | 1 | Kinga |  | 3 | 3 | 30952
3 | 32.0 | 13 | Valid | 2025-08-27 | 09:08 | 2025-08-26 | 11:40 | ERIKA |  | 33.5 | 33.0 | / | / | 1.289 |  |  |  | 1.75 |  | 1 | Kinga |  | 3 | 3 | 30952
3 | 32.0 | 14 | Valid | 2025-08-27 | 09:09 | 2025-08-26 | 11:40 | ERIKA |  | 33.3 | 33.3 | / | / | 1.306 |  |  | 4.138 | 2.10 |  | 1 | Kinga |  | 3 | 3 | 30952
2 | 8.0 | 15 | Old A | 2025-08-28 | 12:31 | 2025-08-28 | 11:49 | TAMARA |  | 8.3 | 8.2 | / | / | 0.342 |  |  |  | 2.47 |  | 1 | Kinga |  | 3 | 2
2 | 8.0 | 16 | Old A | 2025-08-28 | 12:31 | 2025-08-28 | 11:49 | TAMARA |  | 8.4 | 8.6 | / | / | 0.337 |  |  |  | 1.62 |  | 1 | Kinga |  | 3 | 2
2 | 8.0 | 17 | P/FINAL | 2025-08-28 | 12:32 | 2025-08-28 | 11:49 | TAMARA | 1 | 8.1 | 8.4 | / | / | 0.334 |  |  |  | 1.50 | 237 | 1 | Kinga |  | 3 | 2 | 82855
2 | 8.0 | 18 | Old A | 2025-08-28 | 12:33 | 2025-08-28 | 11:49 | TAMARA | 1 | 8.0 | 8.2 | / | / | 0.331 |  |  |  | 1.48 | 259 | 1 | Kinga |  | 3 | 2 | 82855
2 | 8.0 | 19 | P/FINAL | 2025-08-28 | 12:33 | 2025-08-28 | 11:49 | TAMARA | 1 | 8.1 | 8.3 | / | / | 0.333 |  |  | 4.131 | 1.46 | 244 | 1 | Kinga |  | 3 | 2 | 82855
3 | 32.0 | 20 | Old A | 2025-08-28 | 12:42 | 2025-08-28 | 11:49 | TAMARA | 1 | 32.1 | 32.6 | / | / | 1.315 |  |  |  | 1.26 | 241 | 1 | Kinga |  | 3 | 3 | 82855
3 | 32.0 | 21 | Old A | 2025-08-28 | 12:43 | 2025-08-28 | 11:49 | TAMARA | 1 | 32.1 | 32.9 | / | / | 1.303 |  |  |  | 1.88 |  | 1 | Kinga |  | 3 | 3 | 82855
3 | 32.0 | 22 | P/FINAL | 2025-08-28 | 12:44 | 2025-08-28 | 11:49 | TAMARA | 1 | 33.8 | 33.9 | / | / | 1.301 |  |  |  | 1.19 |  | 1 | Kinga |  | 3 | 3 | 82855
3 | 32.0 | 23 | P/FINAL | 2025-08-28 | 12:44 | 2025-08-28 | 11:49 | TAMARA | 1 | 33.7 | 33.9 | / | / | 1.296 |  |  |  | 1.24 |  | 1 | Kinga |  | 3 | 3 | 82855
3 | 32.0 | 24 | P/FINAL | 2025-08-28 | 12:45 | 2025-08-28 | 11:49 | TAMARA | 1 | 33.8 | 33.9 | / | / | 1.299 |  |  | 4.314 | 1.18 |  | 1 | Kinga |  | 3 | 3 | 82855
1 | 0.0 | 25 | Old A | 2025-08-28 | 12:47 | 2025-08-28 | 11:49 | TAMARA | 1 | 0.0 | 0.0 | / | / | 0.008 |  |  |  | 1.27 |  | 1 | Kinga |  | 3 | 1 | 82855
1 | 0.0 | 26 | Old A | 2025-08-28 | 12:47 | 2025-08-28 | 11:49 | TAMARA | 1 | 0.0 | 0.0 | / | / | 0.008 |  |  |  | 1.35 |  | 1 | Kinga |  | 3 | 1 | 82855
1 | 0.0 | 27 | P/FINAL | 2025-08-28 | 12:49 | 2025-08-28 | 11:49 | TAMARA | 1 | 0.0 | 0.0 | / | / | 0.005 |  |  |  | 1.63 |  | 1 | Kinga |  | 3 | 1 | 82855
1 | 0.0 | 28 | P/FINAL | 2025-08-28 | 12:49 | 2025-08-28 | 11:49 | TAMARA | 1 | 0.0 | 0.0 | / | / | 0.004 |  |  | 4.337 | 1.62 |  | 1 | Kinga |  | 3 | 1 | 82855
1 | 0.0 | 29 | Old A | 2025-08-29 | 10:26 | 2025-08-29 | 08:27 | TAMARA | 1 | 0.0 | 0.0 | / | / | 0.001 |  |  |  | 1.31 |  | 1 | Kinga |  | 3 | 1 | 82855
1 | 0.0 | 30 | P/FINAL | 2025-08-29 | 10:27 | 2025-08-29 | 08:27 | TAMARA | 1 | 0.0 | 0.0 | / | / | 0.002 |  |  |  | 1.47 |  | 1 | Kinga |  | 3 | 1 | 82855
1 | 0.0 | 31 | P/FINAL | 2025-08-29 | 10:28 | 2025-08-29 | 08:27 | TAMARA | 1 | 0.0 | 0.0 | / | / | 0.001 |  |  | 4.342 | 1.70 |  | 1 | Kinga |  | 3 | 1 | 82855
2 | 8.0 | 32 | Old A | 2025-08-29 | 10:36 | 2025-08-29 | 08:27 | TAMARA | 1 | 7.9 | 8.1 | / | / | 0.325 |  |  |  | 1.44 |  | 1 | Kinga |  | 3 | 2 | 82855
2 | 8.0 | 33 | Old A | 2025-08-29 | 10:37 | 2025-08-29 | 08:27 | TAMARA | 1 | 7.8 | 7.9 | / | / | 0.322 |  |  |  | 1.32 |  | 1 | Kinga |  | 3 | 2 | 82855
2 | 8.0 | 34 | P/FINAL | 2025-08-29 | 10:38 | 2025-08-29 | 08:27 | TAMARA | 1 | 7.9 | 7.9 | / | / | 0.327 |  |  | 4.330 | 1.45 | 245 | 1 | Kinga |  | 3 | 2 | 82855
2 | 8.0 | 35 | P/FINAL | 2025-08-29 | 10:38 | 2025-08-29 | 08:27 | TAMARA | 1 | 8.0 | 8.0 | / | / | 0.328 |  |  |  | 2.07 | 248 | 1 | Kinga |  | 3 | 2 | 82855
2 | 8.0 | 36 | P/FINAL | 2025-08-29 | 10:40 | 2025-08-29 | 08:27 | TAMARA | 1 | 7.9 | 7.8 | / | / | 0.323 |  |  |  | 1.38 | 257 | 1 | Kinga |  | 3 | 2 | 82855
3 | 32.0 | 37 | Old A | 2025-08-29 | 10:45 | 2025-08-29 | 08:27 | TAMARA | 1 | 32.0 | 32.3 | / | / | 1.232 |  |  |  | 1.12 | 237 | 1 | Kinga |  | 3 | 3 | 82855
3 | 32.0 | 38 | Old A | 2025-08-29 | 10:46 | 2025-08-29 | 08:27 | TAMARA | 1 | 31.8 | 32.0 | / | / | 1.224 |  |  |  | 1.00 |  | 1 | Kinga |  | 3 | 3 | 82855
3 | 32.0 | 39 | P/FINAL | 2025-08-29 | 10:47 | 2025-08-29 | 08:27 | TAMARA | 1 | 33.0 | 33.2 | / | / | 1.270 |  |  | 4.132 | 1.26 |  | 1 | Kinga |  | 3 | 3 | 82855
3 | 32.0 | 40 | P/FINAL | 2025-08-29 | 10:47 | 2025-08-29 | 08:27 | TAMARA | 1 | 32.0 | 33.2 | / | / | 1.234 |  |  |  | 1.36 |  | 1 | Kinga |  | 3 | 3 | 82855
3 | 32.0 | 41 | P/FINAL | 2025-08-29 | 10:48 | 2025-08-29 | 08:27 | TAMARA | 1 | 33.0 | 33.5 | / | / | 1.269 |  |  |  | 2.08 |  | 1 | Kinga |  | 3 | 3 | 82855
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0 mg/L | 4 | 8 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 8 mg/L | 5 | 10 | 8 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 33.4 mg/L | 6 | 12 | 33.4 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 0.3 | 0.0 | YES
8.0 | 7.3 ÷ 8.7 | 8.0 | YES
32.0 | 30.1 ÷ 33.9 | 33.4 | YES
Validation Date | by