## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI93730B-0
1122 | HI93730B-0 | CP-R47 | W 31/1 |  | Parameter Formula | Mo
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Molybdenum Reagent B | 2030-07-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
100 | 90 | 110
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
0638 | 1122 | 1012
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2029-07-01 | 2030-07-01 | 2030-04-01
Reagent Range Min | Reagent Range Max
0.0 mg/L | 40.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-07-30 | 2025-08-19 | PRECI |  |  |  | 0051
[6 empty] | Expiration A | Expiration B | Expiration D
2028-03-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97730 | CTO-640
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.0 | 0.0 | 0.3 |  | MR19 |  | 0.3 | & | 5% | 100% |  | 4.1 | 3.9 | 4.3
2 | 8.0 | 7.3 | 8.7 | [8 empty] | 4.1 | 3.9 | 4.3
3 | 32.0 | 30.1 | 33.9 | [8 empty] | 4.2 | 4.0 | 4.4
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97730 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.0 | 1 | Old B | 2025-07-30 | 11:09 | 2025-07-30 | 09:50 | ERIKA |  | 0.3 | 0.0 | / | / | 0.023 |  |  |  | 2.22 |  | 1 | Andrea V |  | 3 | 1
1 | 0.0 | 2 | Old B | 2025-07-30 | 11:10 | 2025-07-30 | 09:50 | ERIKA |  | 0.3 | 0.2 | / | / | 0.026 |  |  |  | 2.42 |  | 1 | Andrea V |  | 3 | 1
2 | 8.0 | 3 | Old B | 2025-07-30 | 11:23 | 2025-07-30 | 09:50 | ERIKA |  | 8.5 | 8.2 | / | / | 0.348 |  |  |  | 2.52 |  | 1 | Andrea V |  | 3 | 2 | 30952
2 | 8.0 | 4 | Old B | 2025-07-30 | 11:25 | 2025-07-30 | 09:50 | ERIKA |  | 8.5 | 8.3 | / | / | 0.349 |  |  |  | 2.13 |  | 1 | Andrea V |  | 3 | 2 | 30952
1 | 0.0 | 5 | Valid | 2025-07-30 | 11:48 | 2025-07-30 | 09:50 | ERIKA |  | 0.3 | 0.3 | / | / | 0.026 |  |  | 4.300 | 2.39 |  | 1 | Andrea V |  | 3 | 1 | 30952
1 | 0.0 | 6 | Valid | 2025-07-30 | 11:49 | 2025-07-30 | 09:50 | ERIKA |  | 0.3 | 0.0 | / | / | 0.023 |  |  |  | 2.27 |  | 1 | Andrea V |  | 3 | 1 | 30952
2 | 8.0 | 7 | Valid | 2025-07-30 | 11:58 | 2025-07-30 | 09:50 | ERIKA |  | 8.5 | 8.2 | / | / | 0.348 |  |  | 3.977 | 2.46 |  | 1 | Andrea V |  | 3 | 2 | 30952
2 | 8.0 | 8 | Valid | 2025-07-30 | 11:59 | 2025-07-30 | 09:50 | ERIKA |  | 8.3 | 8.1 | / | / | 0.342 |  |  |  | 2.48 |  | 1 | Andrea V |  | 3 | 2 | 30952
2 | 8.0 | 9 | Valid | 2025-07-30 | 12:06 | 2025-07-30 | 09:50 | ERIKA |  | 8.2 | 8.2 | / | / | 0.339 |  |  |  | 2.48 |  | 1 | Andrea V |  | 3 | 2 | 30952
3 | 32.0 | 10 | Old B | 2025-07-30 | 12:54 | 2025-07-30 | 09:50 | ERIKA |  | 33.3 | 33.2 | / | / | 1.283 |  |  |  | 2.24 |  | 1 | Andrea V |  | 3 | 3 | 30952
3 | 32.0 | 11 | Old B | 2025-07-30 | 12:54 | 2025-07-30 | 09:50 | ERIKA |  | 32.7 | 32.8 | / | / | 1.260 |  |  |  | 2.17 |  | 1 | Andrea V |  | 3 | 3 | 30952
3 | 32.0 | 12 | Valid | 2025-07-30 | 12:56 | 2025-07-30 | 09:50 | ERIKA |  | 33.9 | 33.9 | / | / | 1.305 |  |  | 4.075 | 2.84 |  | 1 | Andrea V |  | 3 | 3 | 30952
3 | 32.0 | 13 | Valid | 2025-07-30 | 12:57 | 2025-07-30 | 09:50 | ERIKA |  | 33.9 | 33.8 | / | / | 1.304 |  |  |  | 2.30 |  | 1 | Andrea V |  | 3 | 3 | 30952
3 | 32.0 | 14 | Valid | 2025-07-30 | 12:57 | 2025-07-30 | 09:50 | ERIKA |  | 33.9 | 33.9 | / | / | 1.303 |  |  |  | 2.19 |  | 1 | Andrea V |  | 3 | 3 | 30952
1 | 0.0 | 15 | P/FINAL | 2025-08-19 | 11:38 | 2025-08-19 | 08:49 | GABRIELLA |  | 0.2 | 0.3 | / | / | 0.022 |  |  |  | 1.87 |  | 1 | Kinga |  | 3 | 1 | 30952
1 | 0.0 | 16 | P/FINAL | 2025-08-19 | 11:38 | 2025-08-19 | 08:49 | GABRIELLA |  | 0.4 | 0.3 | / | / | 0.029 |  |  | 4.185 | 2.51 |  | 1 | Kinga |  | 3 | 1 | 30952
2 | 8.0 | 17 | P/FINAL | 2025-08-19 | 11:41 | 2025-08-19 | 08:49 | GABRIELLA |  | 8.6 | 8.7 | / | / | 0.353 |  |  |  | 2.26 | 97 | 1 | Kinga |  | 3 | 2 | 30952
2 | 8.0 | 18 | P/FINAL | 2025-08-19 | 11:42 | 2025-08-19 | 08:49 | GABRIELLA |  | 8.4 | 8.3 | / | / | 0.347 |  |  | 3.833 | 1.90 | 73 | 1 | Kinga |  | 3 | 2 | 30952
3 | 32.0 | 19 | P/FINAL | 2025-08-19 | 11:48 | 2025-08-19 | 08:49 | GABRIELLA |  | 33.6 | 33.5 | / | / | 1.291 |  |  |  | 1.93 | 91 | 1 | Kinga |  | 3 | 3 | 30952
3 | 32.0 | 20 | P/FINAL | 2025-08-19 | 11:48 | 2025-08-19 | 08:49 | GABRIELLA |  | 34.2 | 34.2 | / | / | 1.313 |  |  | 3.990 | 2.01 | 89 | 1 | Kinga |  | 3 | 3 | 30952
3 | 32.0 | 21 | P/FINAL | 2025-08-19 | 11:53 | 2025-08-19 | 08:49 | GABRIELLA |  | 33.6 | 33.8 | / | / | 1.293 |  |  |  | 2.28 | 95 | 1 | Kinga |  | 3 | 3 | 30952
2 | 8.0 | 22 | P/FINAL | 2025-08-19 | 11:53 | 2025-08-19 | 08:49 | GABRIELLA |  | 8.6 | 8.5 | / | / | 0.353 |  |  |  | 2.34 | 87 | 1 | Kinga |  | 3 | 2 | 30952
3 | 32.0 | 23 | P/FINAL | 2025-08-19 | 11:57 | 2025-08-19 | 08:49 | GABRIELLA | PRECI | 33.9 | 33.9 | / | / | 1.305 |  |  |  | 1.98 |  | 1 | Kinga |  | 3 | 3 | 30952
1 | 0.0 | 24 | P/FINAL | 2025-08-19 | 12:33 | 2025-08-18 | 15:45 | GABRIELLA | PRECI | 0.5 | 0.4 | / | / | 0.031 |  |  | 4.232 | 2.48 | 92 | 1 | Andrea V |  | 3 | 1
1 | 0.0 | 25 | P/FINAL | 2025-08-19 | 12:33 | 2025-08-18 | 15:45 | GABRIELLA | PRECI | 0.3 | 0.1 | / | / | 0.026 |  |  |  | 2.10 | 101 | 1 | Andrea V |  | 3 | 1
3 | 32.0 | 26 | P/FINAL | 2025-08-19 | 12:38 | 2025-08-18 | 15:45 | GABRIELLA | PRECI | 33.7 | 33.4 | / | / | 1.296 |  |  | 3.874 | 2.54 |  | 1 | Andrea V |  | 3 | 3 | 30952
3 | 32.0 | 27 | P/FINAL | 2025-08-19 | 12:39 | 2025-08-18 | 15:45 | GABRIELLA | PRECI | 33.5 | 33.2 | / | / | 1.289 |  |  |  | 1.97 | 98 | 1 | Andrea V |  | 3 | 3 | 30952
3 | 32.0 | 28 | P/FINAL | 2025-08-19 | 12:43 | 2025-08-18 | 15:45 | GABRIELLA | PRECI | 33.9 | 33.7 | / | / | 1.304 |  |  |  | 2.07 | 94 | 1 | Andrea V |  | 3 | 3 | 30952
2 | 8.0 | 29 | P/FINAL | 2025-08-19 | 12:49 | 2025-08-18 | 15:45 | GABRIELLA | PRECI | 8.7 | 8.4 | / | / | 0.356 |  |  | 4.005 | 2.11 |  | 1 | Andrea V |  | 3 | 2 | 30952
2 | 8.0 | 30 | P/FINAL | 2025-08-19 | 12:50 | 2025-08-18 | 15:45 | GABRIELLA | PRECI | 8.5 | 8.2 | / | / | 0.348 |  |  |  | 2.44 | 100 | 1 | Andrea V |  | 3 | 2 | 30952
2 | 8.0 | 31 | P/FINAL | 2025-08-19 | 12:58 | 2025-08-18 | 15:45 | GABRIELLA | PRECI | 8.5 | 8.2 | / | / | 0.348 |  |  |  | 2.04 |  | 1 | Andrea V |  | 3 | 2 | 30952
1 | 0.0 | 32 | Old B | 2025-08-19 | 13:00 | 2025-08-18 | 15:45 | GABRIELLA |  | 0.3 | 0.1 | / | / | 0.026 |  |  |  | 2.09 |  | 1 | Andrea V |  | 3 | 1 | 30952
1 | 0.0 | 33 | Old B | 2025-08-19 | 13:01 | 2025-08-18 | 15:45 | GABRIELLA |  | 0.4 | 0.2 | / | / | 0.029 |  |  |  | 2.02 |  | 1 | Andrea V |  | 3 | 1 | 30952
2 | 8.0 | 34 | Old B | 2025-08-19 | 13:02 | 2025-08-18 | 15:45 | GABRIELLA |  | 8.4 | 8.3 | / | / | 0.346 |  |  |  | 2.21 |  | 1 | Andrea V |  | 3 | 2 | 30952
2 | 8.0 | 35 | Old B | 2025-08-19 | 13:02 | 2025-08-18 | 15:45 | GABRIELLA |  | 8.4 | 8.1 | / | / | 0.347 |  |  |  | 2.09 |  | 1 | Andrea V |  | 3 | 2 | 30952
3 | 32.0 | 36 | Old B | 2025-08-19 | 13:40 | 2025-08-18 | 15:45 | GABRIELLA |  | 33.8 | 33.5 | / | / | 1.299 |  |  |  | 2.00 |  | 1 | Andrea V |  | 3 | 3 | 30952
3 | 32.0 | 37 | Old B | 2025-08-19 | 13:41 | 2025-08-18 | 15:45 | GABRIELLA |  | 33.9 | 33.8 | / | / | 1.312 |  |  |  | 2.11 |  | 1 | Andrea V |  | 3 | 3 | 30952
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.3 mg/L | 4 | 8 | 0.3 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 8.5 mg/L | 6 | 12 | 8.5 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 14 | 33.7 mg/L | 7 | 14 | 33.7 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 0.3 | 0.3 | YES
8.0 | 7.3 ÷ 8.7 | 8.5 | YES
32.0 | 30.1 ÷ 33.9 | 33.7 | YES
Validation Date | by